## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
PPG501B1 REV."D" (RESISTANCE VERSUS TEMPERATURE TABLE)
Temperature (°C) | Resistance (Ω) | Tolerance
|  | (±°C) | (±Ω)
-50 | 401.5314 | 0.55 | 1.0921
-49 | 403.5167 | 0.545 | 1.0818
-48 | 405.5013 | 0.54 | 1.0715
-47 | 407.4852 | 0.535 | 1.0612
-46 | 409.4684 | 0.53 | 1.0509
-45 | 411.4509 | 0.525 | 1.0406
-44 | 413.4327 | 0.52 | 1.0304
-43 | 415.4139 | 0.515 | 1.0201
-42 | 417.3943 | 0.51 | 1.0099
-41 | 419.3741 | 0.505 | 0.99963
-40 | 421.3533 | 0.5 | 0.98939
-39 | 423.3317 | 0.495 | 0.97917
-38 | 425.3095 | 0.49 | 0.96896
-37 | 427.2866 | 0.485 | 0.95875
-36 | 429.2631 | 0.48 | 0.94855
-35 | 431.2389 | 0.475 | 0.93836
-34 | 433.2141 | 0.47 | 0.92817
-33 | 435.1886 | 0.465 | 0.918
-32 | 437.1625 | 0.46 | 0.90783
-31 | 439.1357 | 0.455 | 0.89767
-30 | 441.1083 | 0.45 | 0.88752
-29 | 443.0802 | 0.445 | 0.87738
-28 | 445.0515 | 0.44 | 0.86724
-27 | 447.0222 | 0.435 | 0.85711
-26 | 448.9923 | 0.43 | 0.84699
-25 | 450.9617 | 0.425 | 0.83687
-24 | 452.9305 | 0.42 | 0.82676
-23 | 454.8987 | 0.415 | 0.81666
-22 | 456.8662 | 0.41 | 0.80657
-21 | 458.8332 | 0.405 | 0.79649
-20 | 460.7995 | 0.4 | 0.78641
-19 | 462.7652 | 0.395 | 0.77634
-18 | 464.7303 | 0.39 | 0.76627
-17 | 466.6948 | 0.385 | 0.75621
-16 | 468.6587 | 0.38 | 0.74616
-15 | 470.622 | 0.375 | 0.73612
-14 | 472.5847 | 0.37 | 0.72608
-13 | 474.5467 | 0.365 | 0.71605
-12 | 476.5082 | 0.36 | 0.70603
-11 | 478.4691 | 0.355 | 0.69601
-10 | 480.4294 | 0.35 | 0.686
-9 | 482.3891 | 0.345 | 0.67599
-8 | 484.3482 | 0.34 | 0.666
-7 | 486.3067 | 0.335 | 0.65601
-6 | 488.2647 | 0.33 | 0.64602
-5 | 490.222 | 0.325 | 0.63604
-4 | 492.1788 | 0.32 | 0.62607
-3 | 494.1349 | 0.315 | 0.6161
-2 | 496.0905 | 0.31 | 0.60615
-1 | 498.0456 | 0.305 | 0.59619
0 | 500 | 0.3 | 0.58624
1 | 501.9539 | 0.305 | 0.59584
2 | 503.9071 | 0.31 | 0.60543
3 | 505.8599 | 0.315 | 0.61501
4 | 507.812 | 0.32 | 0.62459
5 | 509.7635 | 0.325 | 0.63416
6 | 511.7145 | 0.33 | 0.64373
7 | 513.6649 | 0.335 | 0.65329
8 | 515.6147 | 0.34 | 0.66284
9 | 517.564 | 0.345 | 0.67239
10 | 519.5126 | 0.35 | 0.68193
11 | 521.4607 | 0.355 | 0.69147
12 | 523.4082 | 0.36 | 0.701
13 | 525.3552 | 0.365 | 0.71052
14 | 527.3015 | 0.37 | 0.72004
15 | 529.2473 | 0.375 | 0.72956
16 | 531.1925 | 0.38 | 0.73907
17 | 533.1371 | 0.385 | 0.74857
18 | 535.0811 | 0.39 | 0.75806
19 | 537.0246 | 0.395 | 0.76756
20 | 538.9675 | 0.4 | 0.77704
21 | 540.9098 | 0.405 | 0.78652
22 | 542.8515 | 0.41 | 0.79599
23 | 544.7927 | 0.415 | 0.80546
24 | 546.7333 | 0.42 | 0.81492
25 | 548.6733 | 0.425 | 0.82438
26 | 550.6127 | 0.43 | 0.83383
27 | 552.5516 | 0.435 | 0.84327
28 | 554.4898 | 0.44 | 0.85271
29 | 556.4275 | 0.445 | 0.86214
30 | 558.3646 | 0.45 | 0.87157
31 | 560.3012 | 0.455 | 0.88099
32 | 562.2371 | 0.46 | 0.89041
33 | 564.1725 | 0.465 | 0.89982
34 | 566.1073 | 0.47 | 0.90922
35 | 568.0415 | 0.475 | 0.91862
36 | 569.9752 | 0.48 | 0.92801
37 | 571.9083 | 0.485 | 0.9374
38 | 573.8407 | 0.49 | 0.94678
39 | 575.7727 | 0.495 | 0.95616
40 | 577.704 | 0.5 | 0.96552
41 | 579.6348 | 0.505 | 0.97489
42 | 581.5649 | 0.51 | 0.98425
43 | 583.4946 | 0.515 | 0.9936
44 | 585.4236 | 0.52 | 1.0029
45 | 587.352 | 0.525 | 1.0123
46 | 589.2799 | 0.53 | 1.0216
47 | 591.2072 | 0.535 | 1.0309
48 | 593.1339 | 0.54 | 1.0403
49 | 595.0601 | 0.545 | 1.0496
50 | 596.9856 | 0.55 | 1.0589
51 | 598.9106 | 0.555 | 1.0682
52 | 600.835 | 0.56 | 1.0775
53 | 602.7589 | 0.565 | 1.0868
54 | 604.6821 | 0.57 | 1.0961
55 | 606.6048 | 0.575 | 1.1054
56 | 608.5269 | 0.58 | 1.1146
57 | 610.4484 | 0.585 | 1.1239
58 | 612.3693 | 0.59 | 1.1332
59 | 614.2897 | 0.595 | 1.1424
60 | 616.2095 | 0.6 | 1.1517
61 | 618.1287 | 0.605 | 1.1609
62 | 620.0473 | 0.61 | 1.1702
63 | 621.9654 | 0.615 | 1.1794
64 | 623.8829 | 0.62 | 1.1887
65 | 625.7998 | 0.625 | 1.1979
66 | 627.7161 | 0.63 | 1.2071
67 | 629.6319 | 0.635 | 1.2163
68 | 631.547 | 0.64 | 1.2255
69 | 633.4616 | 0.645 | 1.2347
70 | 635.3756 | 0.65 | 1.2439
71 | 637.2891 | 0.655 | 1.2531
72 | 639.2019 | 0.66 | 1.2623
73 | 641.1142 | 0.665 | 1.2715
74 | 643.0259 | 0.67 | 1.2806
75 | 644.937 | 0.675 | 1.2898
76 | 646.8476 | 0.68 | 1.299
77 | 648.7576 | 0.685 | 1.3081
78 | 650.6669 | 0.69 | 1.3173
79 | 652.5758 | 0.695 | 1.3264
80 | 654.484 | 0.7 | 1.3356
81 | 656.3917 | 0.705 | 1.3447
82 | 658.2987 | 0.71 | 1.3538
83 | 660.2053 | 0.715 | 1.3629
84 | 662.1112 | 0.72 | 1.3721
85 | 664.0165 | 0.725 | 1.3812
86 | 665.9213 | 0.73 | 1.3903
87 | 667.8255 | 0.735 | 1.3994
88 | 669.7291 | 0.74 | 1.4085
89 | 671.6322 | 0.745 | 1.4176
90 | 673.5346 | 0.75 | 1.4266
91 | 675.4365 | 0.755 | 1.4357
92 | 677.3378 | 0.76 | 1.4448
93 | 679.2386 | 0.765 | 1.4538
94 | 681.1387 | 0.77 | 1.4629
95 | 683.0383 | 0.775 | 1.4719
96 | 684.9373 | 0.78 | 1.481
97 | 686.8357 | 0.785 | 1.49
98 | 688.7335 | 0.79 | 1.4991
99 | 690.6308 | 0.795 | 1.5081
100 | 692.5275 | 0.8 | 1.5171
101 | 694.4236 | 0.805 | 1.5261
102 | 696.3191 | 0.81 | 1.5351
103 | 698.2141 | 0.815 | 1.5442
104 | 700.1085 | 0.82 | 1.5532
105 | 702.0023 | 0.825 | 1.5621
106 | 703.8955 | 0.83 | 1.5711
107 | 705.7882 | 0.835 | 1.5801
108 | 707.6802 | 0.84 | 1.5891
109 | 709.5717 | 0.845 | 1.5981
110 | 711.4626 | 0.85 | 1.607
111 | 713.353 | 0.855 | 1.616
112 | 715.2427 | 0.86 | 1.6249
113 | 717.1319 | 0.865 | 1.6339
114 | 719.0205 | 0.87 | 1.6428
115 | 720.9085 | 0.875 | 1.6518
116 | 722.796 | 0.88 | 1.6607
117 | 724.6829 | 0.885 | 1.6696
118 | 726.5691 | 0.89 | 1.6785
119 | 728.4549 | 0.895 | 1.6875
120 | 730.34 | 0.9 | 1.6964
121 | 732.2246 | 0.905 | 1.7053
122 | 734.1085 | 0.91 | 1.7142
123 | 735.992 | 0.915 | 1.7231
124 | 737.8748 | 0.92 | 1.7319
125 | 739.757 | 0.925 | 1.7408
126 | 741.6387 | 0.93 | 1.7497
127 | 743.5198 | 0.935 | 1.7586
128 | 745.4003 | 0.94 | 1.7674
129 | 747.2803 | 0.945 | 1.7763
130 | 749.1596 | 0.95 | 1.7851
131 | 751.0384 | 0.955 | 1.794
132 | 752.9166 | 0.96 | 1.8028
133 | 754.7943 | 0.965 | 1.8116
134 | 756.6713 | 0.97 | 1.8205
135 | 758.5478 | 0.975 | 1.8293
136 | 760.4237 | 0.98 | 1.8381
137 | 762.299 | 0.985 | 1.8469
138 | 764.1737 | 0.99 | 1.8557
139 | 766.0479 | 0.995 | 1.8645
140 | 767.9215 | 1 | 1.8733
141 | 769.7945 | 1.005 | 1.8821
142 | 771.6669 | 1.01 | 1.8909
143 | 773.5388 | 1.015 | 1.8996
144 | 775.4101 | 1.02 | 1.9084
145 | 777.2808 | 1.025 | 1.9172
146 | 779.1509 | 1.03 | 1.9259
147 | 781.0205 | 1.035 | 1.9347
148 | 782.8894 | 1.04 | 1.9434
149 | 784.7578 | 1.045 | 1.9522
150 | 786.6256 | 1.05 | 1.9609
151 | 788.4929 | 1.055 | 1.9696
152 | 790.3595 | 1.06 | 1.9784
153 | 792.2256 | 1.065 | 1.9871
154 | 794.0911 | 1.07 | 1.9958
155 | 795.956 | 1.075 | 2.0045
156 | 797.8204 | 1.08 | 2.0132
157 | 799.6842 | 1.085 | 2.0219
158 | 801.5473 | 1.09 | 2.0306
159 | 803.41 | 1.095 | 2.0392
160 | 805.272 | 1.1 | 2.0479
161 | 807.1335 | 1.105 | 2.0566
162 | 808.9943 | 1.11 | 2.0653
163 | 810.8547 | 1.115 | 2.0739
164 | 812.7144 | 1.12 | 2.0826
165 | 814.5735 | 1.125 | 2.0912
166 | 816.4321 | 1.13 | 2.0999
167 | 818.2901 | 1.135 | 2.1085
168 | 820.1475 | 1.14 | 2.1171
169 | 822.0044 | 1.145 | 2.1258
170 | 823.8606 | 1.15 | 2.1344
171 | 825.7163 | 1.155 | 2.143
172 | 827.5714 | 1.16 | 2.1516
173 | 829.426 | 1.165 | 2.1602
174 | 831.2799 | 1.17 | 2.1688
175 | 833.1333 | 1.175 | 2.1774
176 | 834.9861 | 1.18 | 2.186
177 | 836.8383 | 1.185 | 2.1945
178 | 838.6899 | 1.19 | 2.2031
179 | 840.541 | 1.195 | 2.2117
180 | 842.3915 | 1.2 | 2.2202
181 | 844.2414 | 1.205 | 2.2288
182 | 846.0907 | 1.21 | 2.2373
183 | 847.9395 | 1.215 | 2.2459
184 | 849.7877 | 1.22 | 2.2544
185 | 851.6353 | 1.225 | 2.263
186 | 853.4823 | 1.23 | 2.2715
187 | 855.3288 | 1.235 | 2.28
188 | 857.1746 | 1.24 | 2.2885
189 | 859.0199 | 1.245 | 2.297
190 | 860.8646 | 1.25 | 2.3055
191 | 862.7088 | 1.255 | 2.314
192 | 864.5523 | 1.26 | 2.3225
193 | 866.3953 | 1.265 | 2.331
194 | 868.2377 | 1.27 | 2.3395
195 | 870.0795 | 1.275 | 2.348
196 | 871.9208 | 1.28 | 2.3564
197 | 873.7615 | 1.285 | 2.3649
198 | 875.6015 | 1.29 | 2.3733
199 | 877.4411 | 1.295 | 2.3818
200 | 879.28 | 1.3 | 2.3902
201 | 881.1184 | 1.305 | 2.3987
202 | 882.9561 | 1.31 | 2.4071
203 | 884.7934 | 1.315 | 2.4155
204 | 886.63 | 1.32 | 2.424
205 | 888.466 | 1.325 | 2.4324
206 | 890.3015 | 1.33 | 2.4408
207 | 892.1364 | 1.335 | 2.4492
208 | 893.9707 | 1.34 | 2.4576
209 | 895.8045 | 1.345 | 2.466
210 | 897.6376 | 1.35 | 2.4744
211 | 899.4702 | 1.355 | 2.4828
212 | 901.3022 | 1.36 | 2.4911
213 | 903.1337 | 1.365 | 2.4995
214 | 904.9645 | 1.37 | 2.5079
215 | 906.7948 | 1.375 | 2.5162
216 | 908.6245 | 1.38 | 2.5246
217 | 910.4536 | 1.385 | 2.5329
218 | 912.2821 | 1.39 | 2.5413
219 | 914.1101 | 1.395 | 2.5496
220 | 915.9375 | 1.4 | 2.5579
221 | 917.7643 | 1.405 | 2.5663
222 | 919.5905 | 1.41 | 2.5746
223 | 921.4162 | 1.415 | 2.5829
224 | 923.2413 | 1.42 | 2.5912
225 | 925.0658 | 1.425 | 2.5995
226 | 926.8897 | 1.43 | 2.6078
227 | 928.7131 | 1.435 | 2.6161
228 | 930.5358 | 1.44 | 2.6244
229 | 932.358 | 1.445 | 2.6326
230 | 934.1796 | 1.45 | 2.6409
231 | 936.0007 | 1.455 | 2.6492
232 | 937.8211 | 1.46 | 2.6574
233 | 939.641 | 1.465 | 2.6657
234 | 941.4603 | 1.47 | 2.674
235 | 943.279 | 1.475 | 2.6822
236 | 945.0972 | 1.48 | 2.6904
237 | 946.9148 | 1.485 | 2.6987
238 | 948.7317 | 1.49 | 2.7069
239 | 950.5482 | 1.495 | 2.7151
240 | 952.364 | 1.5 | 2.7233
241 | 954.1793 | 1.505 | 2.7315
242 | 955.9939 | 1.51 | 2.7397
243 | 957.8081 | 1.515 | 2.7479
244 | 959.6216 | 1.52 | 2.7561
245 | 961.4345 | 1.525 | 2.7643
246 | 963.2469 | 1.53 | 2.7725
247 | 965.0587 | 1.535 | 2.7807
248 | 966.8699 | 1.54 | 2.7888
249 | 968.6806 | 1.545 | 2.797
250 | 970.4906 | 1.55 | 2.8052
251 | 972.3001 | 1.555 | 2.8133
252 | 974.109 | 1.56 | 2.8214
253 | 975.9174 | 1.565 | 2.8296
254 | 977.7251 | 1.57 | 2.8377
255 | 979.5323 | 1.575 | 2.8458
256 | 981.3389 | 1.58 | 2.854
257 | 983.1449 | 1.585 | 2.8621
258 | 984.9503 | 1.59 | 2.8702
259 | 986.7552 | 1.595 | 2.8783
260 | 988.5595 | 1.6 | 2.8864
261 | 990.3632 | 1.605 | 2.8945
262 | 992.1663 | 1.61 | 2.9026
263 | 993.9689 | 1.615 | 2.9107
264 | 995.7709 | 1.62 | 2.9187
265 | 997.5723 | 1.625 | 2.9268
266 | 999.3731 | 1.63 | 2.9349
267 | 1001.1734 | 1.635 | 2.9429
268 | 1002.973 | 1.64 | 2.951
269 | 1004.7721 | 1.645 | 2.959
270 | 1006.5706 | 1.65 | 2.9671
271 | 1008.3686 | 1.655 | 2.9751
272 | 1010.1659 | 1.66 | 2.9831
273 | 1011.9627 | 1.665 | 2.9912
274 | 1013.7589 | 1.67 | 2.9992
275 | 1015.5545 | 1.675 | 3.0072
276 | 1017.3496 | 1.68 | 3.0152
277 | 1019.1441 | 1.685 | 3.0232
278 | 1020.9379 | 1.69 | 3.0312
279 | 1022.7313 | 1.695 | 3.0392
280 | 1024.524 | 1.7 | 3.0472
281 | 1026.3162 | 1.705 | 3.0551
282 | 1028.1077 | 1.71 | 3.0631
283 | 1029.8988 | 1.715 | 3.0711
284 | 1031.6892 | 1.72 | 3.079
285 | 1033.479 | 1.725 | 3.087
286 | 1035.2683 | 1.73 | 3.0949
287 | 1037.057 | 1.735 | 3.1029
288 | 1038.8451 | 1.74 | 3.1108
289 | 1040.6327 | 1.745 | 3.1188
290 | 1042.4196 | 1.75 | 3.1267
291 | 1044.206 | 1.755 | 3.1346
292 | 1045.9918 | 1.76 | 3.1425
293 | 1047.7771 | 1.765 | 3.1504
294 | 1049.5617 | 1.77 | 3.1583
295 | 1051.3458 | 1.775 | 3.1662
296 | 1053.1293 | 1.78 | 3.1741
297 | 1054.9122 | 1.785 | 3.182
298 | 1056.6945 | 1.79 | 3.1899
299 | 1058.4763 | 1.795 | 3.1978
300 | 1060.2575 | 1.8 | 3.2056
301 | 1062.0381 | 1.805 | 3.2135
302 | 1063.8181 | 1.81 | 3.2213
303 | 1065.5976 | 1.815 | 3.2292
304 | 1067.3765 | 1.82 | 3.237
305 | 1069.1548 | 1.825 | 3.2449
306 | 1070.9325 | 1.83 | 3.2527
307 | 1072.7097 | 1.835 | 3.2605
308 | 1074.4862 | 1.84 | 3.2684
309 | 1076.2622 | 1.845 | 3.2762
310 | 1078.0376 | 1.85 | 3.284
311 | 1079.8125 | 1.855 | 3.2918
312 | 1081.5867 | 1.86 | 3.2996
313 | 1083.3604 | 1.865 | 3.3074
314 | 1085.1335 | 1.87 | 3.3152
315 | 1086.906 | 1.875 | 3.3229
316 | 1088.678 | 1.88 | 3.3307
317 | 1090.4494 | 1.885 | 3.3385
318 | 1092.2201 | 1.89 | 3.3463
319 | 1093.9904 | 1.895 | 3.354
320 | 1095.76 | 1.9 | 3.3618
321 | 1097.5291 | 1.905 | 3.3695
322 | 1099.2975 | 1.91 | 3.3773
323 | 1101.0655 | 1.915 | 3.385
324 | 1102.8328 | 1.92 | 3.3927
325 | 1104.5995 | 1.925 | 3.4004
326 | 1106.3657 | 1.93 | 3.4082
327 | 1108.1313 | 1.935 | 3.4159
328 | 1109.8963 | 1.94 | 3.4236
329 | 1111.6608 | 1.945 | 3.4313
330 | 1113.4246 | 1.95 | 3.439
331 | 1115.1879 | 1.955 | 3.4467
332 | 1116.9506 | 1.96 | 3.4543
333 | 1118.7128 | 1.965 | 3.462
334 | 1120.4743 | 1.97 | 3.4697
335 | 1122.2353 | 1.975 | 3.4774
336 | 1123.9957 | 1.98 | 3.485
337 | 1125.7555 | 1.985 | 3.4927
338 | 1127.5147 | 1.99 | 3.5003
339 | 1129.2734 | 1.995 | 3.508
340 | 1131.0315 | 2 | 3.5156
341 | 1132.789 | 2.005 | 3.5232
342 | 1134.5459 | 2.01 | 3.5309
343 | 1136.3023 | 2.015 | 3.5385
344 | 1138.0581 | 2.02 | 3.5461
345 | 1139.8133 | 2.025 | 3.5537
346 | 1141.5679 | 2.03 | 3.5613
347 | 1143.322 | 2.035 | 3.5689
348 | 1145.0754 | 2.04 | 3.5765
349 | 1146.8283 | 2.045 | 3.5841
350 | 1148.5806 | 2.05 | 3.5917
351 | 1150.3324 | 2.055 | 3.5992
352 | 1152.0835 | 2.06 | 3.6068
353 | 1153.8341 | 2.065 | 3.6144
354 | 1155.5841 | 2.07 | 3.6219
355 | 1157.3335 | 2.075 | 3.6295
356 | 1159.0824 | 2.08 | 3.637
357 | 1160.8307 | 2.085 | 3.6445
358 | 1162.5783 | 2.09 | 3.6521
359 | 1164.3255 | 2.095 | 3.6596
360 | 1166.072 | 2.1 | 3.6671
361 | 1167.818 | 2.105 | 3.6746
362 | 1169.5633 | 2.11 | 3.6822
363 | 1171.3082 | 2.115 | 3.6897
364 | 1173.0524 | 2.12 | 3.6972
365 | 1174.796 | 2.125 | 3.7046
366 | 1176.5391 | 2.13 | 3.7121
367 | 1178.2816 | 2.135 | 3.7196
368 | 1180.0235 | 2.14 | 3.7271
369 | 1181.7649 | 2.145 | 3.7346
370 | 1183.5056 | 2.15 | 3.742
371 | 1185.2458 | 2.155 | 3.7495
372 | 1186.9854 | 2.16 | 3.7569
373 | 1188.7245 | 2.165 | 3.7644
374 | 1190.4629 | 2.17 | 3.7718
375 | 1192.2008 | 2.175 | 3.7793
376 | 1193.9381 | 2.18 | 3.7867
377 | 1195.6748 | 2.185 | 3.7941
378 | 1197.4109 | 2.19 | 3.8015
379 | 1199.1465 | 2.195 | 3.8089
380 | 1200.8815 | 2.2 | 3.8163
381 | 1202.6159 | 2.205 | 3.8237
382 | 1204.3497 | 2.21 | 3.8311
383 | 1206.083 | 2.215 | 3.8385
384 | 1207.8157 | 2.22 | 3.8459
385 | 1209.5478 | 2.225 | 3.8533
386 | 1211.2793 | 2.23 | 3.8607
387 | 1213.0103 | 2.235 | 3.868
388 | 1214.7406 | 2.24 | 3.8754
389 | 1216.4704 | 2.245 | 3.8827
390 | 1218.1996 | 2.25 | 3.8901
391 | 1219.9283 | 2.255 | 3.8974
392 | 1221.6563 | 2.26 | 3.9048
393 | 1223.3838 | 2.265 | 3.9121
394 | 1225.1107 | 2.27 | 3.9194
395 | 1226.837 | 2.275 | 3.9267
396 | 1228.5628 | 2.28 | 3.934
397 | 1230.288 | 2.285 | 3.9414
398 | 1232.0125 | 2.29 | 3.9487
399 | 1233.7366 | 2.295 | 3.956
400 | 1235.46 | 2.3 | 3.9632
401 | 1237.1829 | 2.305 | 3.9705
402 | 1238.9051 | 2.31 | 3.9778
403 | 1240.6269 | 2.315 | 3.9851
404 | 1242.348 | 2.32 | 3.9923
405 | 1244.0685 | 2.325 | 3.9996
406 | 1245.7885 | 2.33 | 4.0069
407 | 1247.5079 | 2.335 | 4.0141
408 | 1249.2267 | 2.34 | 4.0214
409 | 1250.945 | 2.345 | 4.0286
410 | 1252.6626 | 2.35 | 4.0358
411 | 1254.3797 | 2.355 | 4.0431
412 | 1256.0962 | 2.36 | 4.0503
413 | 1257.8122 | 2.365 | 4.0575
414 | 1259.5275 | 2.37 | 4.0647
415 | 1261.2423 | 2.375 | 4.0719
416 | 1262.9565 | 2.38 | 4.0791
417 | 1264.6701 | 2.385 | 4.0863
418 | 1266.3831 | 2.39 | 4.0935
419 | 1268.0956 | 2.395 | 4.1007
420 | 1269.8075 | 2.4 | 4.1078
421 | 1271.5188 | 2.405 | 4.115
422 | 1273.2295 | 2.41 | 4.1222
423 | 1274.9397 | 2.415 | 4.1293
424 | 1276.6493 | 2.42 | 4.1365
425 | 1278.3583 | 2.425 | 4.1436
426 | 1280.0667 | 2.43 | 4.1508
427 | 1281.7746 | 2.435 | 4.1579
428 | 1283.4818 | 2.44 | 4.165
429 | 1285.1885 | 2.445 | 4.1722
430 | 1286.8946 | 2.45 | 4.1793
431 | 1288.6002 | 2.455 | 4.1864
432 | 1290.3051 | 2.46 | 4.1935
433 | 1292.0095 | 2.465 | 4.2006
434 | 1293.7133 | 2.47 | 4.2077
435 | 1295.4165 | 2.475 | 4.2148
436 | 1297.1192 | 2.48 | 4.2219
437 | 1298.8213 | 2.485 | 4.2289
438 | 1300.5227 | 2.49 | 4.236
439 | 1302.2237 | 2.495 | 4.2431
440 | 1303.924 | 2.5 | 4.2501
441 | 1305.6238 | 2.505 | 4.2572
442 | 1307.3229 | 2.51 | 4.2642
443 | 1309.0216 | 2.515 | 4.2713
444 | 1310.7196 | 2.52 | 4.2783
445 | 1312.417 | 2.525 | 4.2853
446 | 1314.1139 | 2.53 | 4.2924
447 | 1315.8102 | 2.535 | 4.2994
448 | 1317.5059 | 2.54 | 4.3064
449 | 1319.2011 | 2.545 | 4.3134
450 | 1320.8956 | 2.55 | 4.3204
451 | 1322.5896 | 2.555 | 4.3274
452 | 1324.283 | 2.56 | 4.3344
453 | 1325.9759 | 2.565 | 4.3414
454 | 1327.6681 | 2.57 | 4.3484
455 | 1329.3598 | 2.575 | 4.3553
456 | 1331.0509 | 2.58 | 4.3623
457 | 1332.7414 | 2.585 | 4.3693
458 | 1334.4313 | 2.59 | 4.3762
459 | 1336.1207 | 2.595 | 4.3832
460 | 1337.8095 | 2.6 | 4.3901
461 | 1339.4977 | 2.605 | 4.397
462 | 1341.1853 | 2.61 | 4.404
463 | 1342.8724 | 2.615 | 4.4109
464 | 1344.5589 | 2.62 | 4.4178
465 | 1346.2448 | 2.625 | 4.4247
466 | 1347.9301 | 2.63 | 4.4316
467 | 1349.6149 | 2.635 | 4.4385
468 | 1351.299 | 2.64 | 4.4454
469 | 1352.9826 | 2.645 | 4.4523
470 | 1354.6656 | 2.65 | 4.4592
471 | 1356.3481 | 2.655 | 4.4661
472 | 1358.0299 | 2.66 | 4.473
473 | 1359.7112 | 2.665 | 4.4798
474 | 1361.3919 | 2.67 | 4.4867
475 | 1363.072 | 2.675 | 4.4936
476 | 1364.7516 | 2.68 | 4.5004
477 | 1366.4306 | 2.685 | 4.5073
478 | 1368.1089 | 2.69 | 4.5141
479 | 1369.7868 | 2.695 | 4.5209
480 | 1371.464 | 2.7 | 4.5278
481 | 1373.1407 | 2.705 | 4.5346
482 | 1374.8167 | 2.71 | 4.5414
483 | 1376.4923 | 2.715 | 4.5482
484 | 1378.1672 | 2.72 | 4.555
485 | 1379.8415 | 2.725 | 4.5618
486 | 1381.5153 | 2.73 | 4.5686
487 | 1383.1885 | 2.735 | 4.5754
488 | 1384.8611 | 2.74 | 4.5822
489 | 1386.5332 | 2.745 | 4.589
490 | 1388.2046 | 2.75 | 4.5957
491 | 1389.8755 | 2.755 | 4.6025
492 | 1391.5458 | 2.76 | 4.6093
493 | 1393.2156 | 2.765 | 4.616
494 | 1394.8847 | 2.77 | 4.6228
495 | 1396.5533 | 2.775 | 4.6295
496 | 1398.2213 | 2.78 | 4.6362
497 | 1399.8887 | 2.785 | 4.643
498 | 1401.5555 | 2.79 | 4.6497
499 | 1403.2218 | 2.795 | 4.6564
500 | 1404.8875 | 2.8 | 4.6631