## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
KW104R2 (RESISTANCE VS. TEMPERATURE TABLE)
Temp | Resistance
(°C) | Ω (Nominal)
-55 | 11970000
-54.95 | 11924537.6
-54.9 | 11879262.7
-54.85 | 11834174.5
-54.8 | 11789272.3
-54.75 | 11744555.1
-54.7 | 11700022.1
-54.65 | 11655672.6
-54.6 | 11611505.7
-54.55 | 11567520.7
-54.5 | 11523716.6
-54.45 | 11480092.7
-54.4 | 11436648.3
-54.35 | 11393382.5
-54.3 | 11350294.5
-54.25 | 11307383.5
-54.2 | 11264648.8
-54.15 | 11222089.6
-54.1 | 11179705.1
-54.05 | 11137494.6
-54 | 11095457.2
-53.95 | 11053592.2
-53.9 | 11011898.9
-53.85 | 10970376.5
-53.8 | 10929024.2
-53.75 | 10887841.3
-53.7 | 10846827
-53.65 | 10805980.6
-53.6 | 10765301.4
-53.55 | 10724788.7
-53.5 | 10684441.6
-53.45 | 10644259.5
-53.4 | 10604241.6
-53.35 | 10564387.3
-53.3 | 10524695.7
-53.25 | 10485166.3
-53.2 | 10445798.2
-53.15 | 10406590.8
-53.1 | 10367543.3
-53.05 | 10328655.1
-53 | 10289925.5
-52.95 | 10251353.7
-52.9 | 10212939.1
-52.85 | 10174681
-52.8 | 10136578.7
-52.75 | 10098631.5
-52.7 | 10060838.8
-52.65 | 10023199.8
-52.6 | 9985713.9
-52.55 | 9948380.5
-52.5 | 9911198.8
-52.45 | 9874168.1
-52.4 | 9837288
-52.35 | 9800557.5
-52.3 | 9763976.3
-52.25 | 9727543.4
-52.2 | 9691258.4
-52.15 | 9655120.6
-52.1 | 9619129.3
-52.05 | 9583283.9
-52 | 9547583.8
-51.95 | 9512028.3
-51.9 | 9476616.8
-51.85 | 9441348.6
-51.8 | 9406223.2
-51.75 | 9371240
-51.7 | 9336398.2
-51.65 | 9301697.3
-51.6 | 9267136.7
-51.55 | 9232715.8
-51.5 | 9198433.9
-51.45 | 9164290.5
-51.4 | 9130284.9
-51.35 | 9096416.6
-51.3 | 9062684.9
-51.25 | 9029089.3
-51.2 | 8995629.2
-51.15 | 8962304
-51.1 | 8929113.1
-51.05 | 8896055.9
-51 | 8863131.8
-50.95 | 8830340.3
-50.9 | 8797680.8
-50.85 | 8765152.7
-50.8 | 8732755.5
-50.75 | 8700488.5
-50.7 | 8668351.3
-50.65 | 8636343.2
-50.6 | 8604463.7
-50.55 | 8572712.3
-50.5 | 8541088.3
-50.45 | 8509591.3
-50.4 | 8478220.7
-50.35 | 8446975.9
-50.3 | 8415856.5
-50.25 | 8384861.8
-50.2 | 8353991.3
-50.15 | 8323244.5
-50.1 | 8292620.8
-50.05 | 8262119.8
-50 | 8231740.9
-49.95 | 8201483.5
-49.9 | 8171347.2
-49.85 | 8141331.5
-49.8 | 8111435.7
-49.75 | 8081659.4
-49.7 | 8052002.1
-49.65 | 8022463.2
-49.6 | 7993042.3
-49.55 | 7963738.9
-49.5 | 7934552.4
-49.45 | 7905482.3
-49.4 | 7876528.2
-49.35 | 7847689.5
-49.3 | 7818965.8
-49.25 | 7790356.5
-49.2 | 7761861.2
-49.15 | 7733479.3
-49.1 | 7705210.5
-49.05 | 7677054.1
-49 | 7649009.8
-48.95 | 7621077
-48.9 | 7593255.3
-48.85 | 7565544.2
-48.8 | 7537943.2
-48.75 | 7510451.8
-48.7 | 7483069.6
-48.65 | 7455796.1
-48.6 | 7428630.9
-48.55 | 7401573.4
-48.5 | 7374623.3
-48.45 | 7347780
-48.4 | 7321043.1
-48.35 | 7294412.2
-48.3 | 7267886.8
-48.25 | 7241466.4
-48.2 | 7215150.7
-48.15 | 7188939.1
-48.1 | 7162831.2
-48.05 | 7136826.6
-48 | 7110924.8
-47.95 | 7085125.4
-47.9 | 7059428
-47.85 | 7033832.1
-47.8 | 7008337.2
-47.75 | 6982943.1
-47.7 | 6957649.2
-47.65 | 6932455
-47.6 | 6907360.3
-47.55 | 6882364.5
-47.5 | 6857467.3
-47.45 | 6832668.2
-47.4 | 6807966.8
-47.35 | 6783362.7
-47.3 | 6758855.4
-47.25 | 6734444.7
-47.2 | 6710130
-47.15 | 6685910.9
-47.1 | 6661787.1
-47.05 | 6637758.2
-47 | 6613823.6
-46.95 | 6589983.1
-46.9 | 6566236.3
-46.85 | 6542582.7
-46.8 | 6519022
-46.75 | 6495553.7
-46.7 | 6472177.5
-46.65 | 6448893
-46.6 | 6425699.7
-46.55 | 6402597.4
-46.5 | 6379585.6
-46.45 | 6356663.9
-46.4 | 6333832
-46.35 | 6311089.5
-46.3 | 6288436
-46.25 | 6265871.1
-46.2 | 6243394.5
-46.15 | 6221005.7
-46.1 | 6198704.5
-46.05 | 6176490.4
-46 | 6154363.1
-45.95 | 6132322.2
-45.9 | 6110367.4
-45.85 | 6088498.2
-45.8 | 6066714.4
-45.75 | 6045015.5
-45.7 | 6023401.3
-45.65 | 6001871.3
-45.6 | 5980425.2
-45.55 | 5959062.7
-45.5 | 5937783.3
-45.45 | 5916586.8
-45.4 | 5895472.8
-45.35 | 5874441
-45.3 | 5853491
-45.25 | 5832622.4
-45.2 | 5811835
-45.15 | 5791128.4
-45.1 | 5770502.2
-45.05 | 5749956.1
-45 | 5729489.8
-44.95 | 5709102.9
-44.9 | 5688795.2
-44.85 | 5668566.2
-44.8 | 5648415.7
-44.75 | 5628343.3
-44.7 | 5608348.7
-44.65 | 5588431.5
-44.6 | 5568591.6
-44.55 | 5548828.4
-44.5 | 5529141.7
-44.45 | 5509531.3
-44.4 | 5489996.7
-44.35 | 5470537.6
-44.3 | 5451153.8
-44.25 | 5431844.9
-44.2 | 5412610.6
-44.15 | 5393450.6
-44.1 | 5374364.6
-44.05 | 5355352.3
-44 | 5336413.3
-43.95 | 5317547.5
-43.9 | 5298754.4
-43.85 | 5280033.7
-43.8 | 5261385.2
-43.75 | 5242808.6
-43.7 | 5224303.5
-43.65 | 5205869.8
-43.6 | 5187506.9
-43.55 | 5169214.8
-43.5 | 5150993
-43.45 | 5132841.3
-43.4 | 5114759.5
-43.35 | 5096747.1
-43.3 | 5078804
-43.25 | 5060929.7
-43.2 | 5043124.2
-43.15 | 5025387
-43.1 | 5007717.9
-43.05 | 4990116.6
-43 | 4972582.8
-42.95 | 4955116.2
-42.9 | 4937716.6
-42.85 | 4920383.7
-42.8 | 4903117.2
-42.75 | 4885916.8
-42.7 | 4868782.3
-42.65 | 4851713.4
-42.6 | 4834709.8
-42.55 | 4817771.3
-42.5 | 4800897.5
-42.45 | 4784088.3
-42.4 | 4767343.3
-42.35 | 4750662.2
-42.3 | 4734044.9
-42.25 | 4717491.1
-42.2 | 4701000.4
-42.15 | 4684572.7
-42.1 | 4668207.7
-42.05 | 4651905
-42 | 4635664.6
-41.95 | 4619486
-41.9 | 4603369.1
-41.85 | 4587313.6
-41.8 | 4571319.2
-41.75 | 4555385.8
-41.7 | 4539512.9
-41.65 | 4523700.5
-41.6 | 4507948.2
-41.55 | 4492255.8
-41.5 | 4476623.1
-41.45 | 4461049.8
-41.4 | 4445535.6
-41.35 | 4430080.4
-41.3 | 4414683.8
-41.25 | 4399345.7
-41.2 | 4384065.8
-41.15 | 4368843.8
-41.1 | 4353679.6
-41.05 | 4338572.8
-41 | 4323523.4
-40.95 | 4308530.9
-40.9 | 4293595.2
-40.85 | 4278716.1
-40.8 | 4263893.3
-40.75 | 4249126.6
-40.7 | 4234415.8
-40.65 | 4219760.6
-40.6 | 4205160.8
-40.55 | 4190616.2
-40.5 | 4176126.5
-40.45 | 4161691.6
-40.4 | 4147311.2
-40.35 | 4132985.1
-40.3 | 4118713
-40.25 | 4104494.8
-40.2 | 4090330.2
-40.15 | 4076219.1
-40.1 | 4062161.1
-40.05 | 4048156.1
-40 | 4034203.9
-39.95 | 4020304.2
-39.9 | 4006456.8
-39.85 | 3992661.6
-39.8 | 3978918.3
-39.75 | 3965226.6
-39.7 | 3951586.5
-39.65 | 3937997.6
-39.6 | 3924459.8
-39.55 | 3910972.9
-39.5 | 3897536.6
-39.45 | 3884150.7
-39.4 | 3870815.2
-39.35 | 3857529.6
-39.3 | 3844293.9
-39.25 | 3831107.8
-39.2 | 3817971.2
-39.15 | 3804883.8
-39.1 | 3791845.5
-39.05 | 3778855.9
-39 | 3765915.1
-38.95 | 3753022.6
-38.9 | 3740178.5
-38.85 | 3727382.3
-38.8 | 3714634.1
-38.75 | 3701933.5
-38.7 | 3689280.3
-38.65 | 3676674.5
-38.6 | 3664115.7
-38.55 | 3651603.9
-38.5 | 3639138.7
-38.45 | 3626720.1
-38.4 | 3614347.8
-38.35 | 3602021.7
-38.3 | 3589741.5
-38.25 | 3577507.2
-38.2 | 3565318.4
-38.15 | 3553175
-38.1 | 3541076.8
-38.05 | 3529023.7
-38 | 3517015.5
-37.95 | 3505051.9
-37.9 | 3493132.9
-37.85 | 3481258.1
-37.8 | 3469427.5
-37.75 | 3457640.9
-37.7 | 3445898.1
-37.65 | 3434198.9
-37.6 | 3422543.2
-37.55 | 3410930.7
-37.5 | 3399361.3
-37.45 | 3387834.8
-37.4 | 3376351.1
-37.35 | 3364910
-37.3 | 3353511.2
-37.25 | 3342154.8
-37.2 | 3330840.3
-37.15 | 3319567.8
-37.1 | 3308337
-37.05 | 3297147.8
-37 | 3286000
-36.95 | 3274893.4
-36.9 | 3263827.9
-36.85 | 3252803.3
-36.8 | 3241819.4
-36.75 | 3230876.2
-36.7 | 3219973.3
-36.65 | 3209110.7
-36.6 | 3198288.2
-36.55 | 3187505.6
-36.5 | 3176762.8
-36.45 | 3166059.6
-36.4 | 3155395.9
-36.35 | 3144771.5
-36.3 | 3134186.2
-36.25 | 3123639.9
-36.2 | 3113132.5
-36.15 | 3102663.7
-36.1 | 3092233.5
-36.05 | 3081841.6
-36 | 3071488
-35.95 | 3061172.4
-35.9 | 3050894.8
-35.85 | 3040654.9
-35.8 | 3030452.6
-35.75 | 3020287.8
-35.7 | 3010160.3
-35.65 | 3000070
-35.6 | 2990016.7
-35.55 | 2980000.3
-35.5 | 2970020.6
-35.45 | 2960077.5
-35.4 | 2950170.9
-35.35 | 2940300.5
-35.3 | 2930466.3
-35.25 | 2920668.1
-35.2 | 2910905.8
-35.15 | 2901179.2
-35.1 | 2891488.1
-35.05 | 2881832.6
-35 | 2872212.3
-34.95 | 2862627.2
-34.9 | 2853077.1
-34.85 | 2843561.8
-34.8 | 2834081.4
-34.75 | 2824635.5
-34.7 | 2815224.1
-34.65 | 2805847.1
-34.6 | 2796504.3
-34.55 | 2787195.5
-34.5 | 2777920.6
-34.45 | 2768679.6
-34.4 | 2759472.2
-34.35 | 2750298.4
-34.3 | 2741157.9
-34.25 | 2732050.8
-34.2 | 2722976.7
-34.15 | 2713935.7
-34.1 | 2704927.6
-34.05 | 2695952.2
-34 | 2687009.4
-33.95 | 2678099.1
-33.9 | 2669221.2
-33.85 | 2660375.5
-33.8 | 2651561.9
-33.75 | 2642780.3
-33.7 | 2634030.6
-33.65 | 2625312.6
-33.6 | 2616626.2
-33.55 | 2607971.3
-33.5 | 2599347.8
-33.45 | 2590755.5
-33.4 | 2582194.3
-33.35 | 2573664.1
-33.3 | 2565164.8
-33.25 | 2556696.2
-33.2 | 2548258.3
-33.15 | 2539850.8
-33.1 | 2531473.8
-33.05 | 2523127.1
-33 | 2514810.5
-32.95 | 2506523.9
-32.9 | 2498267.3
-32.85 | 2490040.4
-32.8 | 2481843.3
-32.75 | 2473675.7
-32.7 | 2465537.6
-32.65 | 2457428.8
-32.6 | 2449349.3
-32.55 | 2441298.8
-32.5 | 2433277.4
-32.45 | 2425284.8
-32.4 | 2417321
-32.35 | 2409385.9
-32.3 | 2401479.3
-32.25 | 2393601.2
-32.2 | 2385751.4
-32.15 | 2377929.8
-32.1 | 2370136.3
-32.05 | 2362370.9
-32 | 2354633.3
-31.95 | 2346923.4
-31.9 | 2339241.3
-31.85 | 2331586.7
-31.8 | 2323959.6
-31.75 | 2316359.9
-31.7 | 2308787.4
-31.65 | 2301242
-31.6 | 2293723.6
-31.55 | 2286232.2
-31.5 | 2278767.6
-31.45 | 2271329.8
-31.4 | 2263918.5
-31.35 | 2256533.8
-31.3 | 2249175.5
-31.25 | 2241843.5
-31.2 | 2234537.7
-31.15 | 2227258
-31.1 | 2220004.3
-31.05 | 2212776.5
-31 | 2205574.6
-30.95 | 2198398.3
-30.9 | 2191247.6
-30.85 | 2184122.5
-30.8 | 2177022.7
-30.75 | 2169948.3
-30.7 | 2162899.1
-30.65 | 2155875
-30.6 | 2148875.9
-30.55 | 2141901.7
-30.5 | 2134952.4
-30.45 | 2128027.8
-30.4 | 2121127.8
-30.35 | 2114252.4
-30.3 | 2107401.4
-30.25 | 2100574.8
-30.2 | 2093772.4
-30.15 | 2086994.2
-30.1 | 2080240
-30.05 | 2073509.9
-30 | 2066803.6
-29.95 | 2060121.1
-29.9 | 2053462.3
-29.85 | 2046827.2
-29.8 | 2040215.5
-29.75 | 2033627.3
-29.7 | 2027062.5
-29.65 | 2020520.9
-29.6 | 2014002.4
-29.55 | 2007507
-29.5 | 2001034.6
-29.45 | 1994585.1
-29.4 | 1988158.5
-29.35 | 1981754.5
-29.3 | 1975373.2
-29.25 | 1969014.4
-29.2 | 1962678.1
-29.15 | 1956364.2
-29.1 | 1950072.5
-29.05 | 1943803.1
-29 | 1937555.8
-28.95 | 1931330.5
-28.9 | 1925127.1
-28.85 | 1918945.7
-28.8 | 1912786
-28.75 | 1906648
-28.7 | 1900531.7
-28.65 | 1894436.8
-28.6 | 1888363.5
-28.55 | 1882311.5
-28.5 | 1876280.8
-28.45 | 1870271.3
-28.4 | 1864282.9
-28.35 | 1858315.6
-28.3 | 1852369.3
-28.25 | 1846443.8
-28.2 | 1840539.2
-28.15 | 1834655.2
-28.1 | 1828792
-28.05 | 1822949.3
-28 | 1817127.1
-27.95 | 1811325.3
-27.9 | 1805543.8
-27.85 | 1799782.6
-27.8 | 1794041.6
-27.75 | 1788320.8
-27.7 | 1782619.9
-27.65 | 1776939
-27.6 | 1771278
-27.55 | 1765636.7
-27.5 | 1760015.2
-27.45 | 1754413.4
-27.4 | 1748831.1
-27.35 | 1743268.4
-27.3 | 1737725.1
-27.25 | 1732201.1
-27.2 | 1726696.4
-27.15 | 1721211
-27.1 | 1715744.6
-27.05 | 1710297.4
-27 | 1704869.1
-26.95 | 1699459.8
-26.9 | 1694069.3
-26.85 | 1688697.6
-26.8 | 1683344.6
-26.75 | 1678010.3
-26.7 | 1672694.5
-26.65 | 1667397.2
-26.6 | 1662118.3
-26.55 | 1656857.8
-26.5 | 1651615.6
-26.45 | 1646391.6
-26.4 | 1641185.8
-26.35 | 1635998
-26.3 | 1630828.3
-26.25 | 1625676.5
-26.2 | 1620542.6
-26.15 | 1615426.5
-26.1 | 1610328.2
-26.05 | 1605247.5
-26 | 1600184.4
-25.95 | 1595138.9
-25.9 | 1590110.9
-25.85 | 1585100.3
-25.8 | 1580107
-25.75 | 1575131
-25.7 | 1570172.3
-25.65 | 1565230.7
-25.6 | 1560306.2
-25.55 | 1555398.7
-25.5 | 1550508.2
-25.45 | 1545634.6
-25.4 | 1540777.8
-25.35 | 1535937.8
-25.3 | 1531114.5
-25.25 | 1526307.8
-25.2 | 1521517.7
-25.15 | 1516744.2
-25.1 | 1511987.1
-25.05 | 1507246.4
-25 | 1502522.1
-24.95 | 1497814
-24.9 | 1493122.2
-24.85 | 1488446.5
-24.8 | 1483786.9
-24.75 | 1479143.3
-24.7 | 1474515.7
-24.65 | 1469904.1
-24.6 | 1465308.3
-24.55 | 1460728.2
-24.5 | 1456164
-24.45 | 1451615.4
-24.4 | 1447082.4
-24.35 | 1442565
-24.3 | 1438063.1
-24.25 | 1433576.6
-24.2 | 1429105.6
-24.15 | 1424649.8
-24.1 | 1420209.4
-24.05 | 1415784.1
-24 | 1411374.1
-23.95 | 1406979.1
-23.9 | 1402599.2
-23.85 | 1398234.3
-23.8 | 1393884.3
-23.75 | 1389549.2
-23.7 | 1385228.9
-23.65 | 1380923.4
-23.6 | 1376632.6
-23.55 | 1372356.5
-23.5 | 1368095
-23.45 | 1363848
-23.4 | 1359615.6
-23.35 | 1355397.6
-23.3 | 1351193.9
-23.25 | 1347004.7
-23.2 | 1342829.7
-23.15 | 1338668.9
-23.1 | 1334522.4
-23.05 | 1330389.9
-23 | 1326271.6
-22.95 | 1322167.2
-22.9 | 1318076.9
-22.85 | 1314000.4
-22.8 | 1309937.8
-22.75 | 1305889.1
-22.7 | 1301854.1
-22.65 | 1297832.8
-22.6 | 1293825.2
-22.55 | 1289831.2
-22.5 | 1285850.8
-22.45 | 1281883.9
-22.4 | 1277930.5
-22.35 | 1273990.5
-22.3 | 1270063.8
-22.25 | 1266150.5
-22.2 | 1262250.4
-22.15 | 1258363.5
-22.1 | 1254489.9
-22.05 | 1250629.3
-22 | 1246781.8
-21.95 | 1242947.4
-21.9 | 1239125.9
-21.85 | 1235317.4
-21.8 | 1231521.7
-21.75 | 1227738.9
-21.7 | 1223968.8
-21.65 | 1220211.6
-21.6 | 1216467
-21.55 | 1212735
-21.5 | 1209015.7
-21.45 | 1205308.9
-21.4 | 1201614.6
-21.35 | 1197932.8
-21.3 | 1194263.4
-21.25 | 1190606.4
-21.2 | 1186961.7
-21.15 | 1183329.3
-21.1 | 1179709.1
-21.05 | 1176101.1
-21 | 1172505.3
-20.95 | 1168921.5
-20.9 | 1165349.9
-20.85 | 1161790.2
-20.8 | 1158242.5
-20.75 | 1154706.8
-20.7 | 1151182.9
-20.65 | 1147670.9
-20.6 | 1144170.7
-20.55 | 1140682.2
-20.5 | 1137205.4
-20.45 | 1133740.3
-20.4 | 1130286.9
-20.35 | 1126845
-20.3 | 1123414.6
-20.25 | 1119995.8
-20.2 | 1116588.4
-20.15 | 1113192.4
-20.1 | 1109807.9
-20.05 | 1106434.6
-20 | 1103072.6
-19.95 | 1099721.9
-19.9 | 1096382.4
-19.85 | 1093054.1
-19.8 | 1089736.9
-19.75 | 1086430.8
-19.7 | 1083135.7
-19.65 | 1079851.7
-19.6 | 1076578.6
-19.55 | 1073316.4
-19.5 | 1070065.1
-19.45 | 1066824.7
-19.4 | 1063595.1
-19.35 | 1060376.3
-19.3 | 1057168.2
-19.25 | 1053970.8
-19.2 | 1050784
-19.15 | 1047607.8
-19.1 | 1044442.3
-19.05 | 1041287.3
-19 | 1038142.7
-18.95 | 1035008.7
-18.9 | 1031885
-18.85 | 1028771.8
-18.8 | 1025668.9
-18.75 | 1022576.3
-18.7 | 1019494
-18.65 | 1016421.9
-18.6 | 1013360
-18.55 | 1010308.3
-18.5 | 1007266.7
-18.45 | 1004235.2
-18.4 | 1001213.8
-18.35 | 998202.4
-18.3 | 995201
-18.25 | 992209.5
-18.2 | 989227.9
-18.15 | 986256.2
-18.1 | 983294.3
-18.05 | 980342.3
-18 | 977400
-17.95 | 974467.4
-17.9 | 971544.6
-17.85 | 968631.4
-17.8 | 965727.8
-17.75 | 962833.9
-17.7 | 959949.5
-17.65 | 957074.6
-17.6 | 954209.2
-17.55 | 951353.3
-17.5 | 948506.8
-17.45 | 945669.6
-17.4 | 942841.9
-17.35 | 940023.4
-17.3 | 937214.3
-17.25 | 934414.4
-17.2 | 931623.7
-17.15 | 928842.2
-17.1 | 926069.9
-17.05 | 923306.7
-17 | 920552.6
-16.95 | 917807.5
-16.9 | 915071.5
-16.85 | 912344.5
-16.8 | 909626.4
-16.75 | 906917.3
-16.7 | 904217
-16.65 | 901525.7
-16.6 | 898843.1
-16.55 | 896169.4
-16.5 | 893504.4
-16.45 | 890848.2
-16.4 | 888200.7
-16.35 | 885561.9
-16.3 | 882931.7
-16.25 | 880310.1
-16.2 | 877697.1
-16.15 | 875092.7
-16.1 | 872496.8
-16.05 | 869909.4
-16 | 867330.4
-15.95 | 864759.9
-15.9 | 862197.8
-15.85 | 859644.1
-15.8 | 857098.7
-15.75 | 854561.6
-15.7 | 852032.8
-15.65 | 849512.3
-15.6 | 847000
-15.55 | 844495.9
-15.5 | 841999.9
-15.45 | 839512.1
-15.4 | 837032.4
-15.35 | 834560.8
-15.3 | 832097.2
-15.25 | 829641.7
-15.2 | 827194.2
-15.15 | 824754.6
-15.1 | 822323
-15.05 | 819899.3
-15 | 817483.4
-14.95 | 815075.4
-14.9 | 812675.3
-14.85 | 810282.9
-14.8 | 807898.4
-14.75 | 805521.5
-14.7 | 803152.4
-14.65 | 800791
-14.6 | 798437.2
-14.55 | 796091.1
-14.5 | 793752.6
-14.45 | 791421.6
-14.4 | 789098.3
-14.35 | 786782.4
-14.3 | 784474.1
-14.25 | 782173.2
-14.2 | 779879.8
-14.15 | 777593.8
-14.1 | 775315.2
-14.05 | 773043.9
-14 | 770780.1
-13.95 | 768523.5
-13.9 | 766274.2
-13.85 | 764032.2
-13.8 | 761797.4
-13.75 | 759569.9
-13.7 | 757349.5
-13.65 | 755136.4
-13.6 | 752930.3
-13.55 | 750731.4
-13.5 | 748539.5
-13.45 | 746354.8
-13.4 | 744177
-13.35 | 742006.3
-13.3 | 739842.6
-13.25 | 737685.8
-13.2 | 735536
-13.15 | 733393.1
-13.1 | 731257.1
-13.05 | 729128
-13 | 727005.7
-12.95 | 724890.3
-12.9 | 722781.6
-12.85 | 720679.7
-12.8 | 718584.6
-12.75 | 716496.2
-12.7 | 714414.5
-12.65 | 712339.5
-12.6 | 710271.1
-12.55 | 708209.4
-12.5 | 706154.2
-12.45 | 704105.7
-12.4 | 702063.7
-12.35 | 700028.3
-12.3 | 697999.4
-12.25 | 695977
-12.2 | 693961.1
-12.15 | 691951.6
-12.1 | 689948.5
-12.05 | 687951.9
-12 | 685961.6
-11.95 | 683977.7
-11.9 | 682000.1
-11.85 | 680028.9
-11.8 | 678063.9
-11.75 | 676105.3
-11.7 | 674152.8
-11.65 | 672206.6
-11.6 | 670266.6
-11.55 | 668332.8
-11.5 | 666405.2
-11.45 | 664483.7
-11.4 | 662568.3
-11.35 | 660659.1
-11.3 | 658755.9
-11.25 | 656858.8
-11.2 | 654967.7
-11.15 | 653082.6
-11.1 | 651203.5
-11.05 | 649330.4
-11 | 647463.3
-10.95 | 645602.1
-10.9 | 643746.8
-10.85 | 641897.4
-10.8 | 640053.8
-10.75 | 638216.1
-10.7 | 636384.3
-10.65 | 634558.3
-10.6 | 632738
-10.55 | 630923.6
-10.5 | 629114.8
-10.45 | 627311.8
-10.4 | 625514.6
-10.35 | 623723
-10.3 | 621937.1
-10.25 | 620156.8
-10.2 | 618382.2
-10.15 | 616613.2
-10.1 | 614849.8
-10.05 | 613092
-10 | 611339.7
-9.95 | 609592.9
-9.9 | 607851.7
-9.85 | 606116
-9.8 | 604385.8
-9.75 | 602661
-9.7 | 600941.7
-9.65 | 599227.7
-9.6 | 597519.2
-9.55 | 595816.1
-9.5 | 594118.4
-9.45 | 592426
-9.4 | 590738.9
-9.35 | 589057.1
-9.3 | 587380.7
-9.25 | 585709.5
-9.2 | 584043.6
-9.15 | 582382.9
-9.1 | 580727.4
-9.05 | 579077.2
-9 | 577432.1
-8.95 | 575792.2
-8.9 | 574157.5
-8.85 | 572527.9
-8.8 | 570903.4
-8.75 | 569284
-8.7 | 567669.7
-8.65 | 566060.4
-8.6 | 564456.2
-8.55 | 562857
-8.5 | 561262.9
-8.45 | 559673.7
-8.4 | 558089.5
-8.35 | 556510.3
-8.3 | 554936
-8.25 | 553366.7
-8.2 | 551802.2
-8.15 | 550242.7
-8.1 | 548688
-8.05 | 547138.2
-8 | 545593.2
-7.95 | 544053.1
-7.9 | 542517.8
-7.85 | 540987.2
-7.8 | 539461.5
-7.75 | 537940.5
-7.7 | 536424.2
-7.65 | 534912.7
-7.6 | 533405.9
-7.55 | 531903.8
-7.5 | 530406.4
-7.45 | 528913.6
-7.4 | 527425.5
-7.35 | 525942
-7.3 | 524463.2
-7.25 | 522988.9
-7.2 | 521519.3
-7.15 | 520054.2
-7.1 | 518593.6
-7.05 | 517137.6
-7 | 515686.2
-6.95 | 514239.2
-6.9 | 512796.7
-6.85 | 511358.7
-6.8 | 509925.2
-6.75 | 508496.1
-6.7 | 507071.5
-6.65 | 505651.3
-6.6 | 504235.5
-6.55 | 502824
-6.5 | 501417
-6.45 | 500014.3
-6.4 | 498615.9
-6.35 | 497221.9
-6.3 | 495832.2
-6.25 | 494446.8
-6.2 | 493065.7
-6.15 | 491688.8
-6.1 | 490316.3
-6.05 | 488947.9
-6 | 487583.8
-5.95 | 486223.9
-5.9 | 484868.2
-5.85 | 483516.7
-5.8 | 482169.3
-5.75 | 480826.2
-5.7 | 479487.1
-5.65 | 478152.2
-5.6 | 476821.4
-5.55 | 475494.7
-5.5 | 474172.1
-5.45 | 472853.6
-5.4 | 471539.1
-5.35 | 470228.7
-5.3 | 468922.3
-5.25 | 467620
-5.2 | 466321.6
-5.15 | 465027.3
-5.1 | 463736.9
-5.05 | 462450.5
-5 | 461168
-4.95 | 459889.5
-4.9 | 458614.9
-4.85 | 457344.2
-4.8 | 456077.4
-4.75 | 454814.5
-4.7 | 453555.5
-4.65 | 452300.4
-4.6 | 451049.1
-4.55 | 449801.6
-4.5 | 448557.9
-4.45 | 447318.1
-4.4 | 446082.1
-4.35 | 444849.8
-4.3 | 443621.3
-4.25 | 442396.6
-4.2 | 441175.6
-4.15 | 439958.4
-4.1 | 438744.8
-4.05 | 437535
-4 | 436328.9
-3.95 | 435126.5
-3.9 | 433927.7
-3.85 | 432732.6
-3.8 | 431541.2
-3.75 | 430353.4
-3.7 | 429169.2
-3.65 | 427988.6
-3.6 | 426811.6
-3.55 | 425638.3
-3.5 | 424468.4
-3.45 | 423302.2
-3.4 | 422139.5
-3.35 | 420980.3
-3.3 | 419824.7
-3.25 | 418672.6
-3.2 | 417524
-3.15 | 416378.9
-3.1 | 415237.3
-3.05 | 414099.1
-3 | 412964.4
-2.95 | 411833.1
-2.9 | 410705.3
-2.85 | 409580.9
-2.8 | 408459.9
-2.75 | 407342.4
-2.7 | 406228.2
-2.65 | 405117.4
-2.6 | 404009.9
-2.55 | 402905.9
-2.5 | 401805.1
-2.45 | 400707.7
-2.4 | 399613.6
-2.35 | 398522.9
-2.3 | 397435.4
-2.25 | 396351.2
-2.2 | 395270.3
-2.15 | 394192.7
-2.1 | 393118.4
-2.05 | 392047.2
-2 | 390979.4
-1.95 | 389914.7
-1.9 | 388853.3
-1.85 | 387795
-1.8 | 386740
-1.75 | 385688.1
-1.7 | 384639.5
-1.65 | 383593.9
-1.6 | 382551.6
-1.55 | 381512.4
-1.5 | 380476.3
-1.45 | 379443.3
-1.4 | 378413.4
-1.35 | 377386.7
-1.3 | 376363
-1.25 | 375342.4
-1.2 | 374324.9
-1.15 | 373310.5
-1.1 | 372299
-1.05 | 371290.7
-1 | 370285.4
-0.95 | 369283
-0.9 | 368283.7
-0.85 | 367287.4
-0.8 | 366294.1
-0.75 | 365303.8
-0.7 | 364316.4
-0.65 | 363332
-0.6 | 362350.6
-0.55 | 361372.1
-0.5 | 360396.5
-0.45 | 359423.9
-0.4 | 358454.1
-0.35 | 357487.3
-0.3 | 356523.4
-0.25 | 355562.3
-0.2 | 354604.1
-0.15 | 353648.8
-0.1 | 352696.4
-0.05 | 351746.8
0 | 350800
0.05 | 349854.6
0.1 | 348912
0.15 | 347972.2
0.2 | 347035.3
0.25 | 346101.1
0.3 | 345169.8
0.35 | 344241.2
0.4 | 343315.4
0.45 | 342392.4
0.5 | 341472.1
0.55 | 340554.6
0.6 | 339639.8
0.65 | 338727.8
0.7 | 337818.5
0.75 | 336911.9
0.8 | 336007.9
0.85 | 335106.7
0.9 | 334208.2
0.95 | 333312.4
1 | 332419.2
1.05 | 331528.7
1.1 | 330640.8
1.15 | 329755.6
1.2 | 328873
1.25 | 327993
1.3 | 327115.7
1.35 | 326240.9
1.4 | 325368.8
1.45 | 324499.2
1.5 | 323632.3
1.55 | 322767.9
1.6 | 321906.1
1.65 | 321046.8
1.7 | 320190.1
1.75 | 319335.9
1.8 | 318484.3
1.85 | 317635.2
1.9 | 316788.6
1.95 | 315944.5
2 | 315102.9
2.05 | 314263.8
2.1 | 313427.2
2.15 | 312593.1
2.2 | 311761.4
2.25 | 310932.2
2.3 | 310105.4
2.35 | 309281.1
2.4 | 308459.2
2.45 | 307639.8
2.5 | 306822.8
2.55 | 306008.2
2.6 | 305196
2.65 | 304386.2
2.7 | 303578.7
2.75 | 302773.7
2.8 | 301971
2.85 | 301170.7
2.9 | 300372.8
2.95 | 299577.2
3 | 298784
3.05 | 297993.1
3.1 | 297204.5
3.15 | 296418.2
3.2 | 295634.3
3.25 | 294852.7
3.3 | 294073.3
3.35 | 293296.3
3.4 | 292521.5
3.45 | 291749
3.5 | 290978.8
3.55 | 290210.8
3.6 | 289445.1
3.65 | 288681.7
3.7 | 287920.5
3.75 | 287161.5
3.8 | 286404.7
3.85 | 285650.2
3.9 | 284897.9
3.95 | 284147.8
4 | 283399.8
4.05 | 282654.1
4.1 | 281910.5
4.15 | 281169.2
4.2 | 280430
4.25 | 279692.9
4.3 | 278958
4.35 | 278225.3
4.4 | 277494.7
4.45 | 276766.2
4.5 | 276039.9
4.55 | 275315.7
4.6 | 274593.6
4.65 | 273873.6
4.7 | 273155.7
4.75 | 272439.9
4.8 | 271726.2
4.85 | 271014.6
4.9 | 270305
4.95 | 269597.5
5 | 268892.1
5.05 | 268188.7
5.1 | 267487.4
5.15 | 266788.1
5.2 | 266090.8
5.25 | 265395.6
5.3 | 264702.4
5.35 | 264011.2
5.4 | 263322.1
5.45 | 262634.9
5.5 | 261949.7
5.55 | 261266.5
5.6 | 260585.3
5.65 | 259906.1
5.7 | 259228.8
5.75 | 258553.5
5.8 | 257880.2
5.85 | 257208.8
5.9 | 256539.4
5.95 | 255871.9
6 | 255206.3
6.05 | 254542.7
6.1 | 253881
6.15 | 253221.2
6.2 | 252563.3
6.25 | 251907.3
6.3 | 251253.2
6.35 | 250601
6.4 | 249950.7
6.45 | 249302.2
6.5 | 248655.7
6.55 | 248011
6.6 | 247368.1
6.65 | 246727.1
6.7 | 246088
6.75 | 245450.7
6.8 | 244815.3
6.85 | 244181.6
6.9 | 243549.8
6.95 | 242919.9
7 | 242291.7
7.05 | 241665.4
7.1 | 241040.8
7.15 | 240418.1
7.2 | 239797.1
7.25 | 239177.9
7.3 | 238560.5
7.35 | 237944.9
7.4 | 237331.1
7.45 | 236719
7.5 | 236108.7
7.55 | 235500.1
7.6 | 234893.3
7.65 | 234288.2
7.7 | 233684.8
7.75 | 233083.2
7.8 | 232483.3
7.85 | 231885.2
7.9 | 231288.7
7.95 | 230694
8 | 230100.9
8.05 | 229509.6
8.1 | 228919.9
8.15 | 228331.9
8.2 | 227745.7
8.25 | 227161
8.3 | 226578.1
8.35 | 225996.8
8.4 | 225417.2
8.45 | 224839.3
8.5 | 224263
8.55 | 223688.3
8.6 | 223115.3
8.65 | 222543.9
8.7 | 221974.2
8.75 | 221406
8.8 | 220839.5
8.85 | 220274.7
8.9 | 219711.4
8.95 | 219149.7
9 | 218589.6
9.05 | 218031.1
9.1 | 217474.3
9.15 | 216919
9.2 | 216365.2
9.25 | 215813.1
9.3 | 215262.5
9.35 | 214713.5
9.4 | 214166
9.45 | 213620.1
9.5 | 213075.8
9.55 | 212533
9.6 | 211991.7
9.65 | 211452
9.7 | 210913.8
9.75 | 210377.1
9.8 | 209842
9.85 | 209308.4
9.9 | 208776.3
9.95 | 208245.6
10 | 207716.5
10.05 | 207188.9
10.1 | 206662.8
10.15 | 206138.2
10.2 | 205615.1
10.25 | 205093.4
10.3 | 204573.2
10.35 | 204054.5
10.4 | 203537.3
10.45 | 203021.5
10.5 | 202507.2
10.55 | 201994.3
10.6 | 201482.8
10.65 | 200972.9
10.7 | 200464.3
10.75 | 199957.2
10.8 | 199451.5
10.85 | 198947.3
10.9 | 198444.4
10.95 | 197943
11 | 197443
11.05 | 196944.4
11.1 | 196447.2
11.15 | 195951.5
11.2 | 195457.1
11.25 | 194964.1
11.3 | 194472.4
11.35 | 193982.2
11.4 | 193493.3
11.45 | 193005.9
11.5 | 192519.7
11.55 | 192035
11.6 | 191551.6
11.65 | 191069.6
11.7 | 190588.9
11.75 | 190109.6
11.8 | 189631.6
11.85 | 189154.9
11.9 | 188679.6
11.95 | 188205.6
12 | 187733
12.05 | 187261.7
12.1 | 186791.7
12.15 | 186323
12.2 | 185855.6
12.25 | 185389.5
12.3 | 184924.8
12.35 | 184461.3
12.4 | 183999.1
12.45 | 183538.2
12.5 | 183078.7
12.55 | 182620.3
12.6 | 182163.3
12.65 | 181707.6
12.7 | 181253.1
12.75 | 180799.9
12.8 | 180347.9
12.85 | 179897.2
12.9 | 179447.8
12.95 | 178999.6
13 | 178552.7
13.05 | 178107
13.1 | 177662.6
13.15 | 177219.4
13.2 | 176777.4
13.25 | 176336.6
13.3 | 175897.1
13.35 | 175458.8
13.4 | 175021.8
13.45 | 174585.9
13.5 | 174151.2
13.55 | 173717.8
13.6 | 173285.6
13.65 | 172854.5
13.7 | 172424.7
13.75 | 171996
13.8 | 171568.6
13.85 | 171142.3
13.9 | 170717.2
13.95 | 170293.3
14 | 169870.6
14.05 | 169449
14.1 | 169028.6
14.15 | 168609.4
14.2 | 168191.3
14.25 | 167774.4
14.3 | 167358.6
14.35 | 166944
14.4 | 166530.5
14.45 | 166118.2
14.5 | 165707
14.55 | 165296.9
14.6 | 164888
14.65 | 164480.2
14.7 | 164073.6
14.75 | 163668
14.8 | 163263.6
14.85 | 162860.3
14.9 | 162458.1
14.95 | 162057
15 | 161657.1
15.05 | 161258.2
15.1 | 160860.4
15.15 | 160463.7
15.2 | 160068.1
15.25 | 159673.6
15.3 | 159280.2
15.35 | 158887.9
15.4 | 158496.6
15.45 | 158106.4
15.5 | 157717.3
15.55 | 157329.3
15.6 | 156942.3
15.65 | 156556.4
15.7 | 156171.6
15.75 | 155787.8
15.8 | 155405
15.85 | 155023.3
15.9 | 154642.7
15.95 | 154263.1
16 | 153884.5
16.05 | 153507
16.1 | 153130.5
16.15 | 152755.1
16.2 | 152380.6
16.25 | 152007.2
16.3 | 151634.9
16.35 | 151263.5
16.4 | 150893.2
16.45 | 150523.8
16.5 | 150155.5
16.55 | 149788.2
16.6 | 149421.9
16.65 | 149056.6
16.7 | 148692.2
16.75 | 148328.9
16.8 | 147966.6
16.85 | 147605.3
16.9 | 147244.9
16.95 | 146885.5
17 | 146527.1
17.05 | 146169.7
17.1 | 145813.3
17.15 | 145457.8
17.2 | 145103.3
17.25 | 144749.8
17.3 | 144397.2
17.35 | 144045.6
17.4 | 143694.9
17.45 | 143345.2
17.5 | 142996.5
17.55 | 142648.7
17.6 | 142301.8
17.65 | 141955.9
17.7 | 141610.9
17.75 | 141266.9
17.8 | 140923.7
17.85 | 140581.6
17.9 | 140240.3
17.95 | 139900
18 | 139560.6
18.05 | 139222.1
18.1 | 138884.6
18.15 | 138547.9
18.2 | 138212.2
18.25 | 137877.3
18.3 | 137543.4
18.35 | 137210.4
18.4 | 136878.3
18.45 | 136547.1
18.5 | 136216.8
18.55 | 135887.3
18.6 | 135558.8
18.65 | 135231.1
18.7 | 134904.4
18.75 | 134578.5
18.8 | 134253.5
18.85 | 133929.4
18.9 | 133606.1
18.95 | 133283.7
19 | 132962.2
19.05 | 132641.6
19.1 | 132321.8
19.15 | 132002.9
19.2 | 131684.8
19.25 | 131367.6
19.3 | 131051.3
19.35 | 130735.8
19.4 | 130421.2
19.45 | 130107.4
19.5 | 129794.4
19.55 | 129482.3
19.6 | 129171
19.65 | 128860.6
19.7 | 128551
19.75 | 128242.2
19.8 | 127934.3
19.85 | 127627.1
19.9 | 127320.9
19.95 | 127015.4
20 | 126710.7
20.05 | 126406.9
20.1 | 126103.9
20.15 | 125801.7
20.2 | 125500.3
20.25 | 125199.7
20.3 | 124899.9
20.35 | 124600.9
20.4 | 124302.8
20.45 | 124005.4
20.5 | 123708.8
20.55 | 123413
20.6 | 123118
20.65 | 122823.8
20.7 | 122530.4
20.75 | 122237.7
20.8 | 121945.9
20.85 | 121654.8
20.9 | 121364.5
20.95 | 121074.9
21 | 120786.2
21.05 | 120498.2
21.1 | 120211
21.15 | 119924.5
21.2 | 119638.8
21.25 | 119353.9
21.3 | 119069.7
21.35 | 118786.3
21.4 | 118503.7
21.45 | 118221.8
21.5 | 117940.6
21.55 | 117660.2
21.6 | 117380.5
21.65 | 117101.6
21.7 | 116823.5
21.75 | 116546
21.8 | 116269.3
21.85 | 115993.4
21.9 | 115718.1
21.95 | 115443.6
22 | 115169.8
22.05 | 114896.8
22.1 | 114624.5
22.15 | 114352.9
22.2 | 114082
22.25 | 113811.8
22.3 | 113542.4
22.35 | 113273.7
22.4 | 113005.6
22.45 | 112738.3
22.5 | 112471.7
22.55 | 112205.8
22.6 | 111940.6
22.65 | 111676.2
22.7 | 111412.4
22.75 | 111149.3
22.8 | 110886.9
22.85 | 110625.2
22.9 | 110364.2
22.95 | 110103.8
23 | 109844.2
23.05 | 109585.2
23.1 | 109327
23.15 | 109069.4
23.2 | 108812.5
23.25 | 108556.2
23.3 | 108300.7
23.35 | 108045.8
23.4 | 107791.6
23.45 | 107538
23.5 | 107285.2
23.55 | 107033
23.6 | 106781.4
23.65 | 106530.5
23.7 | 106280.3
23.75 | 106030.7
23.8 | 105781.8
23.85 | 105533.6
23.9 | 105286
23.95 | 105039
24 | 104792.7
24.05 | 104547.1
24.1 | 104302.1
24.15 | 104057.7
24.2 | 103814
24.25 | 103570.9
24.3 | 103328.4
24.35 | 103086.6
24.4 | 102845.4
24.45 | 102604.9
24.5 | 102364.9
24.55 | 102125.7
24.6 | 101887
24.65 | 101648.9
24.7 | 101411.5
24.75 | 101174.7
24.8 | 100938.6
24.85 | 100703
24.9 | 100468
24.95 | 100233.7
25 | 100000
25.05 | 99766.9
25.1 | 99534.4
25.15 | 99302.5
25.2 | 99071.2
25.25 | 98840.5
25.3 | 98610.4
25.35 | 98381
25.4 | 98152.1
25.45 | 97923.8
25.5 | 97696.1
25.55 | 97469
25.6 | 97242.5
25.65 | 97016.6
25.7 | 96791.2
25.75 | 96566.5
25.8 | 96342.3
25.85 | 96118.8
25.9 | 95895.8
25.95 | 95673.3
26 | 95451.5
26.05 | 95230.2
26.1 | 95009.6
26.15 | 94789.4
26.2 | 94569.9
26.25 | 94350.9
26.3 | 94132.5
26.35 | 93914.7
26.4 | 93697.4
26.45 | 93480.7
26.5 | 93264.5
26.55 | 93049
26.6 | 92833.9
26.65 | 92619.4
26.7 | 92405.5
26.75 | 92192.2
26.8 | 91979.4
26.85 | 91767.1
26.9 | 91555.4
26.95 | 91344.2
27 | 91133.6
27.05 | 90923.5
27.1 | 90714
27.15 | 90505
27.2 | 90296.5
27.25 | 90088.6
27.3 | 89881.2
27.35 | 89674.4
27.4 | 89468.1
27.45 | 89262.3
27.5 | 89057.1
27.55 | 88852.4
27.6 | 88648.2
27.65 | 88444.5
27.7 | 88241.4
27.75 | 88038.7
27.8 | 87836.7
27.85 | 87635.1
27.9 | 87434
27.95 | 87233.5
28 | 87033.5
28.05 | 86833.9
28.1 | 86635
28.15 | 86436.5
28.2 | 86238.5
28.25 | 86041
28.3 | 85844.1
28.35 | 85647.6
28.4 | 85451.7
28.45 | 85256.2
28.5 | 85061.3
28.55 | 84866.8
28.6 | 84672.9
28.65 | 84479.4
28.7 | 84286.5
28.75 | 84094
28.8 | 83902
28.85 | 83710.6
28.9 | 83519.6
28.95 | 83329.1
29 | 83139.1
29.05 | 82949.5
29.1 | 82760.5
29.15 | 82571.9
29.2 | 82383.9
29.25 | 82196.3
29.3 | 82009.2
29.35 | 81822.5
29.4 | 81636.4
29.45 | 81450.7
29.5 | 81265.5
29.55 | 81080.7
29.6 | 80896.4
29.65 | 80712.6
29.7 | 80529.3
29.75 | 80346.5
29.8 | 80164.1
29.85 | 79982.1
29.9 | 79800.6
29.95 | 79619.6
30 | 79439.1
30.05 | 79259
30.1 | 79079.4
30.15 | 78900.2
30.2 | 78721.5
30.25 | 78543.2
30.3 | 78365.4
30.35 | 78188
30.4 | 78011.1
30.45 | 77834.7
30.5 | 77658.7
30.55 | 77483.1
30.6 | 77308
30.65 | 77133.3
30.7 | 76959.1
30.75 | 76785.3
30.8 | 76611.9
30.85 | 76439
30.9 | 76266.5
30.95 | 76094.5
31 | 75922.9
31.05 | 75751.7
31.1 | 75581
31.15 | 75410.7
31.2 | 75240.8
31.25 | 75071.4
31.3 | 74902.4
31.35 | 74733.8
31.4 | 74565.6
31.45 | 74397.9
31.5 | 74230.6
31.55 | 74063.7
31.6 | 73897.2
31.65 | 73731.1
31.7 | 73565.5
31.75 | 73400.3
31.8 | 73235.5
31.85 | 73071.1
31.9 | 72907.2
31.95 | 72743.6
32 | 72580.5
32.05 | 72417.7
32.1 | 72255.4
32.15 | 72093.5
32.2 | 71932
32.25 | 71770.9
32.3 | 71610.2
32.35 | 71449.9
32.4 | 71290
32.45 | 71130.5
32.5 | 70971.4
32.55 | 70812.7
32.6 | 70654.5
32.65 | 70496.6
32.7 | 70339.1
32.75 | 70182
32.8 | 70025.3
32.85 | 69869
32.9 | 69713
32.95 | 69557.5
33 | 69402.4
33.05 | 69247.6
33.1 | 69093.2
33.15 | 68939.3
33.2 | 68785.7
33.25 | 68632.5
33.3 | 68479.6
33.35 | 68327.2
33.4 | 68175.1
33.45 | 68023.5
33.5 | 67872.2
33.55 | 67721.2
33.6 | 67570.7
33.65 | 67420.5
33.7 | 67270.7
33.75 | 67121.3
33.8 | 66972.2
33.85 | 66823.6
33.9 | 66675.3
33.95 | 66527.3
34 | 66379.7
34.05 | 66232.5
34.1 | 66085.7
34.15 | 65939.2
34.2 | 65793.1
34.25 | 65647.4
34.3 | 65502
34.35 | 65357
34.4 | 65212.3
34.45 | 65068
34.5 | 64924.1
34.55 | 64780.5
34.6 | 64637.3
34.65 | 64494.4
34.7 | 64351.9
34.75 | 64209.8
34.8 | 64068
34.85 | 63926.5
34.9 | 63785.4
34.95 | 63644.7
35 | 63504.2
35.05 | 63364.2
35.1 | 63224.5
35.15 | 63085.1
35.2 | 62946.1
35.25 | 62807.4
35.3 | 62669.1
35.35 | 62531.1
35.4 | 62393.5
35.45 | 62256.2
35.5 | 62119.2
35.55 | 61982.6
35.6 | 61846.3
35.65 | 61710.3
35.7 | 61574.7
35.75 | 61439.4
35.8 | 61304.5
35.85 | 61169.9
35.9 | 61035.6
35.95 | 60901.6
36 | 60768
36.05 | 60634.7
36.1 | 60501.8
36.15 | 60369.1
36.2 | 60236.8
36.25 | 60104.8
36.3 | 59973.2
36.35 | 59841.8
36.4 | 59710.8
36.45 | 59580.2
36.5 | 59449.8
36.55 | 59319.7
36.6 | 59190
36.65 | 59060.6
36.7 | 58931.5
36.75 | 58802.8
36.8 | 58674.3
36.85 | 58546.2
36.9 | 58418.3
36.95 | 58290.8
37 | 58163.6
37.05 | 58036.8
37.1 | 57910.2
37.15 | 57783.9
37.2 | 57658
37.25 | 57532.3
37.3 | 57407
37.35 | 57281.9
37.4 | 57157.2
37.45 | 57032.8
37.5 | 56908.7
37.55 | 56784.9
37.6 | 56661.4
37.65 | 56538.2
37.7 | 56415.3
37.75 | 56292.7
37.8 | 56170.4
37.85 | 56048.4
37.9 | 55926.7
37.95 | 55805.2
38 | 55684.1
38.05 | 55563.3
38.1 | 55442.8
38.15 | 55322.6
38.2 | 55202.6
38.25 | 55083
38.3 | 54963.6
38.35 | 54844.6
38.4 | 54725.8
38.45 | 54607.3
38.5 | 54489.1
38.55 | 54371.2
38.6 | 54253.6
38.65 | 54136.3
38.7 | 54019.2
38.75 | 53902.5
38.8 | 53786
38.85 | 53669.8
38.9 | 53553.9
38.95 | 53438.3
39 | 53322.9
39.05 | 53207.9
39.1 | 53093.1
39.15 | 52978.6
39.2 | 52864.3
39.25 | 52750.4
39.3 | 52636.7
39.35 | 52523.3
39.4 | 52410.2
39.45 | 52297.3
39.5 | 52184.7
39.55 | 52072.4
39.6 | 51960.4
39.65 | 51848.6
39.7 | 51737.1
39.75 | 51625.9
39.8 | 51514.9
39.85 | 51404.3
39.9 | 51293.8
39.95 | 51183.7
40 | 51073.8
40.05 | 50964.2
40.1 | 50854.8
40.15 | 50745.7
40.2 | 50636.9
40.25 | 50528.3
40.3 | 50420
40.35 | 50312
40.4 | 50204.2
40.45 | 50096.7
40.5 | 49989.4
40.55 | 49882.4
40.6 | 49775.7
40.65 | 49669.2
40.7 | 49563
40.75 | 49457
40.8 | 49351.3
40.85 | 49245.8
40.9 | 49140.6
40.95 | 49035.6
41 | 48930.9
41.05 | 48826.5
41.1 | 48722.3
41.15 | 48618.3
41.2 | 48514.6
41.25 | 48411.2
41.3 | 48308
41.35 | 48205
41.4 | 48102.3
41.45 | 47999.8
41.5 | 47897.6
41.55 | 47795.6
41.6 | 47693.9
41.65 | 47592.4
41.7 | 47491.2
41.75 | 47390.2
41.8 | 47289.4
41.85 | 47188.9
41.9 | 47088.6
41.95 | 46988.6
42 | 46888.8
42.05 | 46789.2
42.1 | 46689.9
42.15 | 46590.8
42.2 | 46492
42.25 | 46393.4
42.3 | 46295
42.35 | 46196.9
42.4 | 46099
42.45 | 46001.3
42.5 | 45903.8
42.55 | 45806.6
42.6 | 45709.7
42.65 | 45612.9
42.7 | 45516.4
42.75 | 45420.1
42.8 | 45324.1
42.85 | 45228.3
42.9 | 45132.7
42.95 | 45037.3
43 | 44942.2
43.05 | 44847.2
43.1 | 44752.6
43.15 | 44658.1
43.2 | 44563.9
43.25 | 44469.8
43.3 | 44376.1
43.35 | 44282.5
43.4 | 44189.1
43.45 | 44096
43.5 | 44003.1
43.55 | 43910.4
43.6 | 43818
43.65 | 43725.7
43.7 | 43633.7
43.75 | 43541.9
43.8 | 43450.3
43.85 | 43358.9
43.9 | 43267.8
43.95 | 43176.9
44 | 43086.1
44.05 | 42995.6
44.1 | 42905.3
44.15 | 42815.2
44.2 | 42725.4
44.25 | 42635.7
44.3 | 42546.3
44.35 | 42457.1
44.4 | 42368
44.45 | 42279.2
44.5 | 42190.6
44.55 | 42102.2
44.6 | 42014.1
44.65 | 41926.1
44.7 | 41838.3
44.75 | 41750.8
44.8 | 41663.4
44.85 | 41576.3
44.9 | 41489.3
44.95 | 41402.6
45 | 41316.1
45.05 | 41229.7
45.1 | 41143.6
45.15 | 41057.7
45.2 | 40972
45.25 | 40886.5
45.3 | 40801.1
45.35 | 40716
45.4 | 40631.1
45.45 | 40546.4
45.5 | 40461.9
45.55 | 40377.6
45.6 | 40293.5
45.65 | 40209.5
45.7 | 40125.8
45.75 | 40042.3
45.8 | 39959
45.85 | 39875.8
45.9 | 39792.9
45.95 | 39710.1
46 | 39627.6
46.05 | 39545.2
46.1 | 39463.1
46.15 | 39381.1
46.2 | 39299.3
46.25 | 39217.7
46.3 | 39136.3
46.35 | 39055.1
46.4 | 38974.1
46.45 | 38893.3
46.5 | 38812.6
46.55 | 38732.2
46.6 | 38651.9
46.65 | 38571.8
46.7 | 38492
46.75 | 38412.3
46.8 | 38332.7
46.85 | 38253.4
46.9 | 38174.3
46.95 | 38095.3
47 | 38016.5
47.05 | 37937.9
47.1 | 37859.5
47.15 | 37781.3
47.2 | 37703.3
47.25 | 37625.4
47.3 | 37547.7
47.35 | 37470.2
47.4 | 37392.9
47.45 | 37315.8
47.5 | 37238.8
47.55 | 37162
47.6 | 37085.4
47.65 | 37009
47.7 | 36932.8
47.75 | 36856.7
47.8 | 36780.8
47.85 | 36705.1
47.9 | 36629.6
47.95 | 36554.2
48 | 36479
48.05 | 36404
48.1 | 36329.2
48.15 | 36254.5
48.2 | 36180
48.25 | 36105.7
48.3 | 36031.5
48.35 | 35957.6
48.4 | 35883.8
48.45 | 35810.1
48.5 | 35736.7
48.55 | 35663.4
48.6 | 35590.3
48.65 | 35517.3
48.7 | 35444.5
48.75 | 35371.9
48.8 | 35299.5
48.85 | 35227.2
48.9 | 35155.1
48.95 | 35083.1
49 | 35011.3
49.05 | 34939.7
49.1 | 34868.3
49.15 | 34797
49.2 | 34725.9
49.25 | 34654.9
49.3 | 34584.1
49.35 | 34513.5
49.4 | 34443
49.45 | 34372.7
49.5 | 34302.6
49.55 | 34232.6
49.6 | 34162.8
49.65 | 34093.1
49.7 | 34023.6
49.75 | 33954.3
49.8 | 33885.1
49.85 | 33816.1
49.9 | 33747.2
49.95 | 33678.5
50 | 33610
50.05 | 33541.6
50.1 | 33473.4
50.15 | 33405.3
50.2 | 33337.4
50.25 | 33269.6
50.3 | 33202
50.35 | 33134.6
50.4 | 33067.3
50.45 | 33000.2
50.5 | 32933.2
50.55 | 32866.3
50.6 | 32799.7
50.65 | 32733.1
50.7 | 32666.8
50.75 | 32600.5
50.8 | 32534.5
50.85 | 32468.5
50.9 | 32402.8
50.95 | 32337.2
51 | 32271.7
51.05 | 32206.4
51.1 | 32141.2
51.15 | 32076.2
51.2 | 32011.3
51.25 | 31946.6
51.3 | 31882
51.35 | 31817.6
51.4 | 31753.3
51.45 | 31689.2
51.5 | 31625.2
51.55 | 31561.4
51.6 | 31497.7
51.65 | 31434.1
51.7 | 31370.7
51.75 | 31307.4
51.8 | 31244.3
51.85 | 31181.4
51.9 | 31118.5
51.95 | 31055.8
52 | 30993.3
52.05 | 30930.9
52.1 | 30868.6
52.15 | 30806.5
52.2 | 30744.5
52.25 | 30682.7
52.3 | 30621
52.35 | 30559.5
52.4 | 30498
52.45 | 30436.8
52.5 | 30375.6
52.55 | 30314.6
52.6 | 30253.8
52.65 | 30193.1
52.7 | 30132.5
52.75 | 30072
52.8 | 30011.7
52.85 | 29951.5
52.9 | 29891.5
52.95 | 29831.6
53 | 29771.9
53.05 | 29712.2
53.1 | 29652.7
53.15 | 29593.4
53.2 | 29534.1
53.25 | 29475.1
53.3 | 29416.1
53.35 | 29357.3
53.4 | 29298.6
53.45 | 29240
53.5 | 29181.6
53.55 | 29123.3
53.6 | 29065.2
53.65 | 29007.1
53.7 | 28949.2
53.75 | 28891.5
53.8 | 28833.8
53.85 | 28776.3
53.9 | 28718.9
53.95 | 28661.7
54 | 28604.6
54.05 | 28547.6
54.1 | 28490.7
54.15 | 28434
54.2 | 28377.4
54.25 | 28320.9
54.3 | 28264.5
54.35 | 28208.3
54.4 | 28152.2
54.45 | 28096.2
54.5 | 28040.4
54.55 | 27984.7
54.6 | 27929.1
54.65 | 27873.6
54.7 | 27818.3
54.75 | 27763
54.8 | 27707.9
54.85 | 27653
54.9 | 27598.1
54.95 | 27543.4
55 | 27488.8
55.05 | 27434.3
55.1 | 27379.9
55.15 | 27325.7
55.2 | 27271.6
55.25 | 27217.6
55.3 | 27163.7
55.35 | 27110
55.4 | 27056.3
55.45 | 27002.8
55.5 | 26949.4
55.55 | 26896.1
55.6 | 26843
55.65 | 26789.9
55.7 | 26737
55.75 | 26684.2
55.8 | 26631.5
55.85 | 26579
55.9 | 26526.5
55.95 | 26474.2
56 | 26422
56.05 | 26369.9
56.1 | 26317.9
56.15 | 26266.1
56.2 | 26214.3
56.25 | 26162.7
56.3 | 26111.2
56.35 | 26059.7
56.4 | 26008.5
56.45 | 25957.3
56.5 | 25906.2
56.55 | 25855.3
56.6 | 25804.4
56.65 | 25753.7
56.7 | 25703.1
56.75 | 25652.6
56.8 | 25602.2
56.85 | 25552
56.9 | 25501.8
56.95 | 25451.8
57 | 25401.8
57.05 | 25352
57.1 | 25302.3
57.15 | 25252.7
57.2 | 25203.2
57.25 | 25153.8
57.3 | 25104.5
57.35 | 25055.4
57.4 | 25006.3
57.45 | 24957.4
57.5 | 24908.5
57.55 | 24859.8
57.6 | 24811.2
57.65 | 24762.7
57.7 | 24714.2
57.75 | 24665.9
57.8 | 24617.8
57.85 | 24569.7
57.9 | 24521.7
57.95 | 24473.8
58 | 24426
58.05 | 24378.4
58.1 | 24330.8
58.15 | 24283.4
58.2 | 24236
58.25 | 24188.8
58.3 | 24141.6
58.35 | 24094.6
58.4 | 24047.7
58.45 | 24000.8
58.5 | 23954.1
58.55 | 23907.5
58.6 | 23861
58.65 | 23814.6
58.7 | 23768.2
58.75 | 23722
58.8 | 23675.9
58.85 | 23629.9
58.9 | 23584
58.95 | 23538.2
59 | 23492.5
59.05 | 23446.9
59.1 | 23401.4
59.15 | 23356
59.2 | 23310.7
59.25 | 23265.5
59.3 | 23220.4
59.35 | 23175.4
59.4 | 23130.5
59.45 | 23085.6
59.5 | 23040.9
59.55 | 22996.3
59.6 | 22951.8
59.65 | 22907.4
59.7 | 22863.1
59.75 | 22818.8
59.8 | 22774.7
59.85 | 22730.7
59.9 | 22686.8
59.95 | 22642.9
60 | 22599.2
60.05 | 22555.5
60.1 | 22512
60.15 | 22468.5
60.2 | 22425.2
60.25 | 22381.9
60.3 | 22338.7
60.35 | 22295.7
60.4 | 22252.7
60.45 | 22209.8
60.5 | 22167
60.55 | 22124.3
60.6 | 22081.7
60.65 | 22039.2
60.7 | 21996.8
60.75 | 21954.4
60.8 | 21912.2
60.85 | 21870
60.9 | 21828
60.95 | 21786
61 | 21744.2
61.05 | 21702.4
61.1 | 21660.7
61.15 | 21619.1
61.2 | 21577.6
61.25 | 21536.2
61.3 | 21494.9
61.35 | 21453.6
61.4 | 21412.5
61.45 | 21371.4
61.5 | 21330.5
61.55 | 21289.6
61.6 | 21248.8
61.65 | 21208.1
61.7 | 21167.5
61.75 | 21127
61.8 | 21086.5
61.85 | 21046.2
61.9 | 21005.9
61.95 | 20965.7
62 | 20925.7
62.05 | 20885.7
62.1 | 20845.7
62.15 | 20805.9
62.2 | 20766.2
62.25 | 20726.5
62.3 | 20687
62.35 | 20647.5
62.4 | 20608.1
62.45 | 20568.8
62.5 | 20529.5
62.55 | 20490.4
62.6 | 20451.3
62.65 | 20412.4
62.7 | 20373.5
62.75 | 20334.7
62.8 | 20296
62.85 | 20257.3
62.9 | 20218.8
62.95 | 20180.3
63 | 20141.9
63.05 | 20103.6
63.1 | 20065.4
63.15 | 20027.2
63.2 | 19989.2
63.25 | 19951.2
63.3 | 19913.3
63.35 | 19875.5
63.4 | 19837.8
63.45 | 19800.1
63.5 | 19762.6
63.55 | 19725.1
63.6 | 19687.7
63.65 | 19650.3
63.7 | 19613.1
63.75 | 19575.9
63.8 | 19538.8
63.85 | 19501.8
63.9 | 19464.9
63.95 | 19428.1
64 | 19391.3
64.05 | 19354.6
64.1 | 19318
64.15 | 19281.5
64.2 | 19245
64.25 | 19208.6
64.3 | 19172.3
64.35 | 19136.1
64.4 | 19100
64.45 | 19063.9
64.5 | 19027.9
64.55 | 18992
64.6 | 18956.2
64.65 | 18920.4
64.7 | 18884.8
64.75 | 18849.2
64.8 | 18813.6
64.85 | 18778.2
64.9 | 18742.8
64.95 | 18707.5
65 | 18672.3
65.05 | 18637.1
65.1 | 18602.1
65.15 | 18567.1
65.2 | 18532.1
65.25 | 18497.3
65.3 | 18462.5
65.35 | 18427.8
65.4 | 18393.2
65.45 | 18358.6
65.5 | 18324.2
65.55 | 18289.8
65.6 | 18255.4
65.65 | 18221.2
65.7 | 18187
65.75 | 18152.9
65.8 | 18118.8
65.85 | 18084.9
65.9 | 18051
65.95 | 18017.1
66 | 17983.4
66.05 | 17949.7
66.1 | 17916.1
66.15 | 17882.6
66.2 | 17849.1
66.25 | 17815.7
66.3 | 17782.4
66.35 | 17749.1
66.4 | 17715.9
66.45 | 17682.8
66.5 | 17649.8
66.55 | 17616.8
66.6 | 17583.9
66.65 | 17551.1
66.7 | 17518.3
66.75 | 17485.6
66.8 | 17453
66.85 | 17420.5
66.9 | 17388
66.95 | 17355.6
67 | 17323.2
67.05 | 17290.9
67.1 | 17258.7
67.15 | 17226.6
67.2 | 17194.5
67.25 | 17162.5
67.3 | 17130.6
67.35 | 17098.7
67.4 | 17066.9
67.45 | 17035.2
67.5 | 17003.5
67.55 | 16971.9
67.6 | 16940.3
67.65 | 16908.9
67.7 | 16877.5
67.75 | 16846.1
67.8 | 16814.9
67.85 | 16783.7
67.9 | 16752.5
67.95 | 16721.5
68 | 16690.4
68.05 | 16659.5
68.1 | 16628.6
68.15 | 16597.8
68.2 | 16567.1
68.25 | 16536.4
68.3 | 16505.8
68.35 | 16475.2
68.4 | 16444.7
68.45 | 16414.3
68.5 | 16383.9
68.55 | 16353.6
68.6 | 16323.4
68.65 | 16293.2
68.7 | 16263.1
68.75 | 16233.1
68.8 | 16203.1
68.85 | 16173.2
68.9 | 16143.3
68.95 | 16113.5
69 | 16083.8
69.05 | 16054.1
69.1 | 16024.5
69.15 | 15995
69.2 | 15965.5
69.25 | 15936.1
69.3 | 15906.7
69.35 | 15877.4
69.4 | 15848.2
69.45 | 15819
69.5 | 15789.9
69.55 | 15760.9
69.6 | 15731.9
69.65 | 15702.9
69.7 | 15674.1
69.75 | 15645.3
69.8 | 15616.5
69.85 | 15587.8
69.9 | 15559.2
69.95 | 15530.6
70 | 15502.1
70.05 | 15473.7
70.1 | 15445.3
70.15 | 15416.9
70.2 | 15388.7
70.25 | 15360.5
70.3 | 15332.3
70.35 | 15304.2
70.4 | 15276.2
70.45 | 15248.2
70.5 | 15220.3
70.55 | 15192.4
70.6 | 15164.6
70.65 | 15136.9
70.7 | 15109.2
70.75 | 15081.5
70.8 | 15054
70.85 | 15026.4
70.9 | 14999
70.95 | 14971.6
71 | 14944.2
71.05 | 14917
71.1 | 14889.7
71.15 | 14862.5
71.2 | 14835.4
71.25 | 14808.4
71.3 | 14781.4
71.35 | 14754.4
71.4 | 14727.5
71.45 | 14700.7
71.5 | 14673.9
71.55 | 14647.2
71.6 | 14620.5
71.65 | 14593.9
71.7 | 14567.3
71.75 | 14540.8
71.8 | 14514.4
71.85 | 14488
71.9 | 14461.6
71.95 | 14435.3
72 | 14409.1
72.05 | 14382.9
72.1 | 14356.8
72.15 | 14330.7
72.2 | 14304.7
72.25 | 14278.7
72.3 | 14252.8
72.35 | 14227
72.4 | 14201.2
72.45 | 14175.4
72.5 | 14149.7
72.55 | 14124.1
72.6 | 14098.5
72.65 | 14072.9
72.7 | 14047.5
72.75 | 14022
72.8 | 13996.6
72.85 | 13971.3
72.9 | 13946
72.95 | 13920.8
73 | 13895.6
73.05 | 13870.5
73.1 | 13845.5
73.15 | 13820.4
73.2 | 13795.5
73.25 | 13770.6
73.3 | 13745.7
73.35 | 13720.9
73.4 | 13696.1
73.45 | 13671.4
73.5 | 13646.7
73.55 | 13622.1
73.6 | 13597.6
73.65 | 13573.1
73.7 | 13548.6
73.75 | 13524.2
73.8 | 13499.9
73.85 | 13475.5
73.9 | 13451.3
73.95 | 13427.1
74 | 13402.9
74.05 | 13378.8
74.1 | 13354.8
74.15 | 13330.7
74.2 | 13306.8
74.25 | 13282.9
74.3 | 13259
74.35 | 13235.2
74.4 | 13211.4
74.45 | 13187.7
74.5 | 13164
74.55 | 13140.4
74.6 | 13116.8
74.65 | 13093.3
74.7 | 13069.9
74.75 | 13046.4
74.8 | 13023
74.85 | 12999.7
74.9 | 12976.4
74.95 | 12953.2
75 | 12930
75.05 | 12906.9
75.1 | 12883.8
75.15 | 12860.7
75.2 | 12837.7
75.25 | 12814.8
75.3 | 12791.9
75.35 | 12769
75.4 | 12746.2
75.45 | 12723.4
75.5 | 12700.7
75.55 | 12678
75.6 | 12655.4
75.65 | 12632.8
75.7 | 12610.3
75.75 | 12587.8
75.8 | 12565.4
75.85 | 12543
75.9 | 12520.6
75.95 | 12498.3
76 | 12476.1
76.05 | 12453.8
76.1 | 12431.7
76.15 | 12409.5
76.2 | 12387.5
76.25 | 12365.4
76.3 | 12343.4
76.35 | 12321.5
76.4 | 12299.6
76.45 | 12277.7
76.5 | 12255.9
76.55 | 12234.1
76.6 | 12212.4
76.65 | 12190.7
76.7 | 12169.1
76.75 | 12147.5
76.8 | 12125.9
76.85 | 12104.4
76.9 | 12083
76.95 | 12061.5
77 | 12040.2
77.05 | 12018.8
77.1 | 11997.5
77.15 | 11976.3
77.2 | 11955.1
77.25 | 11933.9
77.3 | 11912.8
77.35 | 11891.7
77.4 | 11870.7
77.45 | 11849.7
77.5 | 11828.7
77.55 | 11807.8
77.6 | 11787
77.65 | 11766.1
77.7 | 11745.4
77.75 | 11724.6
77.8 | 11703.9
77.85 | 11683.3
77.9 | 11662.6
77.95 | 11642.1
78 | 11621.5
78.05 | 11601
78.1 | 11580.6
78.15 | 11560.2
78.2 | 11539.8
78.25 | 11519.5
78.3 | 11499.2
78.35 | 11479
78.4 | 11458.8
78.45 | 11438.6
78.5 | 11418.5
78.55 | 11398.4
78.6 | 11378.3
78.65 | 11358.3
78.7 | 11338.4
78.75 | 11318.4
78.8 | 11298.6
78.85 | 11278.7
78.9 | 11258.9
78.95 | 11239.1
79 | 11219.4
79.05 | 11199.7
79.1 | 11180.1
79.15 | 11160.5
79.2 | 11140.9
79.25 | 11121.4
79.3 | 11101.9
79.35 | 11082.4
79.4 | 11063
79.45 | 11043.6
79.5 | 11024.3
79.55 | 11005
79.6 | 10985.8
79.65 | 10966.5
79.7 | 10947.4
79.75 | 10928.2
79.8 | 10909.1
79.85 | 10890
79.9 | 10871
79.95 | 10852
80 | 10833.1
80.05 | 10814.1
80.1 | 10795.3
80.15 | 10776.4
80.2 | 10757.6
80.25 | 10738.9
80.3 | 10720.1
80.35 | 10701.4
80.4 | 10682.8
80.45 | 10664.2
80.5 | 10645.6
80.55 | 10627
80.6 | 10608.5
80.65 | 10590.1
80.7 | 10571.6
80.75 | 10553.2
80.8 | 10534.9
80.85 | 10516.6
80.9 | 10498.3
80.95 | 10480
81 | 10461.8
81.05 | 10443.6
81.1 | 10425.5
81.15 | 10407.4
81.2 | 10389.3
81.25 | 10371.3
81.3 | 10353.3
81.35 | 10335.3
81.4 | 10317.4
81.45 | 10299.5
81.5 | 10281.6
81.55 | 10263.8
81.6 | 10246
81.65 | 10228.3
81.7 | 10210.6
81.75 | 10192.9
81.8 | 10175.2
81.85 | 10157.6
81.9 | 10140
81.95 | 10122.5
82 | 10105
82.05 | 10087.5
82.1 | 10070.1
82.15 | 10052.7
82.2 | 10035.3
82.25 | 10018
82.3 | 10000.7
82.35 | 9983.4
82.4 | 9966.2
82.45 | 9949
82.5 | 9931.8
82.55 | 9914.7
82.6 | 9897.6
82.65 | 9880.5
82.7 | 9863.5
82.75 | 9846.5
82.8 | 9829.5
82.85 | 9812.6
82.9 | 9795.7
82.95 | 9778.8
83 | 9762
83.05 | 9745.2
83.1 | 9728.4
83.15 | 9711.7
83.2 | 9695
83.25 | 9678.3
83.3 | 9661.7
83.35 | 9645.1
83.4 | 9628.5
83.45 | 9612
83.5 | 9595.5
83.55 | 9579
83.6 | 9562.6
83.65 | 9546.2
83.7 | 9529.8
83.75 | 9513.4
83.8 | 9497.1
83.85 | 9480.8
83.9 | 9464.6
83.95 | 9448.4
84 | 9432.2
84.05 | 9416.1
84.1 | 9399.9
84.15 | 9383.8
84.2 | 9367.8
84.25 | 9351.8
84.3 | 9335.8
84.35 | 9319.8
84.4 | 9303.9
84.45 | 9288
84.5 | 9272.1
84.55 | 9256.3
84.6 | 9240.4
84.65 | 9224.7
84.7 | 9208.9
84.75 | 9193.2
84.8 | 9177.5
84.85 | 9161.9
84.9 | 9146.2
84.95 | 9130.6
85 | 9115.1
85.05 | 9099.5
85.1 | 9084
85.15 | 9068.6
85.2 | 9053.1
85.25 | 9037.7
85.3 | 9022.3
85.35 | 9007
85.4 | 8991.7
85.45 | 8976.4
85.5 | 8961.1
85.55 | 8945.9
85.6 | 8930.7
85.65 | 8915.5
85.7 | 8900.3
85.75 | 8885.2
85.8 | 8870.1
85.85 | 8855.1
85.9 | 8840
85.95 | 8825
86 | 8810.1
86.05 | 8795.1
86.1 | 8780.2
86.15 | 8765.3
86.2 | 8750.5
86.25 | 8735.7
86.3 | 8720.9
86.35 | 8706.1
86.4 | 8691.3
86.45 | 8676.6
86.5 | 8662
86.55 | 8647.3
86.6 | 8632.7
86.65 | 8618.1
86.7 | 8603.5
86.75 | 8589
86.8 | 8574.4
86.85 | 8560
86.9 | 8545.5
86.95 | 8531.1
87 | 8516.7
87.05 | 8502.3
87.1 | 8487.9
87.15 | 8473.6
87.2 | 8459.3
87.25 | 8445.1
87.3 | 8430.8
87.35 | 8416.6
87.4 | 8402.4
87.45 | 8388.3
87.5 | 8374.2
87.55 | 8360.1
87.6 | 8346
87.65 | 8331.9
87.7 | 8317.9
87.75 | 8303.9
87.8 | 8290
87.85 | 8276
87.9 | 8262.1
87.95 | 8248.2
88 | 8234.4
88.05 | 8220.5
88.1 | 8206.7
88.15 | 8193
88.2 | 8179.2
88.25 | 8165.5
88.3 | 8151.8
88.35 | 8138.1
88.4 | 8124.5
88.45 | 8110.8
88.5 | 8097.2
88.55 | 8083.7
88.6 | 8070.1
88.65 | 8056.6
88.7 | 8043.1
88.75 | 8029.7
88.8 | 8016.2
88.85 | 8002.8
88.9 | 7989.4
88.95 | 7976.1
89 | 7962.7
89.05 | 7949.4
89.1 | 7936.1
89.15 | 7922.9
89.2 | 7909.6
89.25 | 7896.4
89.3 | 7883.2
89.35 | 7870.1
89.4 | 7857
89.45 | 7843.8
89.5 | 7830.8
89.55 | 7817.7
89.6 | 7804.7
89.65 | 7791.7
89.7 | 7778.7
89.75 | 7765.7
89.8 | 7752.8
89.85 | 7739.9
89.9 | 7727
89.95 | 7714.1
90 | 7701.3
90.05 | 7688.5
90.1 | 7675.7
90.15 | 7662.9
90.2 | 7650.2
90.25 | 7637.5
90.3 | 7624.8
90.35 | 7612.1
90.4 | 7599.5
90.45 | 7586.8
90.5 | 7574.2
90.55 | 7561.7
90.6 | 7549.1
90.65 | 7536.6
90.7 | 7524.1
90.75 | 7511.6
90.8 | 7499.2
90.85 | 7486.8
90.9 | 7474.3
90.95 | 7462
91 | 7449.6
91.05 | 7437.3
91.1 | 7425
91.15 | 7412.7
91.2 | 7400.4
91.25 | 7388.2
91.3 | 7375.9
91.35 | 7363.8
91.4 | 7351.6
91.45 | 7339.4
91.5 | 7327.3
91.55 | 7315.2
91.6 | 7303.1
91.65 | 7291.1
91.7 | 7279
91.75 | 7267
91.8 | 7255
91.85 | 7243.1
91.9 | 7231.1
91.95 | 7219.2
92 | 7207.3
92.05 | 7195.4
92.1 | 7183.6
92.15 | 7171.7
92.2 | 7159.9
92.25 | 7148.1
92.3 | 7136.4
92.35 | 7124.6
92.4 | 7112.9
92.45 | 7101.2
92.5 | 7089.5
92.55 | 7077.9
92.6 | 7066.2
92.65 | 7054.6
92.7 | 7043
92.75 | 7031.5
92.8 | 7019.9
92.85 | 7008.4
92.9 | 6996.9
92.95 | 6985.4
93 | 6974
93.05 | 6962.5
93.1 | 6951.1
93.15 | 6939.7
93.2 | 6928.3
93.25 | 6917
93.3 | 6905.7
93.35 | 6894.4
93.4 | 6883.1
93.45 | 6871.8
93.5 | 6860.6
93.55 | 6849.3
93.6 | 6838.1
93.65 | 6826.9
93.7 | 6815.8
93.75 | 6804.6
93.8 | 6793.5
93.85 | 6782.4
93.9 | 6771.3
93.95 | 6760.3
94 | 6749.3
94.05 | 6738.2
94.1 | 6727.2
94.15 | 6716.3
94.2 | 6705.3
94.25 | 6694.4
94.3 | 6683.5
94.35 | 6672.6
94.4 | 6661.7
94.45 | 6650.8
94.5 | 6640
94.55 | 6629.2
94.6 | 6618.4
94.65 | 6607.6
94.7 | 6596.9
94.75 | 6586.1
94.8 | 6575.4
94.85 | 6564.7
94.9 | 6554.1
94.95 | 6543.4
95 | 6532.8
95.05 | 6522.2
95.1 | 6511.6
95.15 | 6501
95.2 | 6490.5
95.25 | 6479.9
95.3 | 6469.4
95.35 | 6458.9
95.4 | 6448.4
95.45 | 6438
95.5 | 6427.5
95.55 | 6417.1
95.6 | 6406.7
95.65 | 6396.4
95.7 | 6386
95.75 | 6375.7
95.8 | 6365.3
95.85 | 6355
95.9 | 6344.7
95.95 | 6334.5
96 | 6324.2
96.05 | 6314
96.1 | 6303.8
96.15 | 6293.6
96.2 | 6283.5
96.25 | 6273.3
96.3 | 6263.2
96.35 | 6253.1
96.4 | 6243
96.45 | 6232.9
96.5 | 6222.8
96.55 | 6212.8
96.6 | 6202.8
96.65 | 6192.8
96.7 | 6182.8
96.75 | 6172.8
96.8 | 6162.9
96.85 | 6153
96.9 | 6143.1
96.95 | 6133.2
97 | 6123.3
97.05 | 6113.4
97.1 | 6103.6
97.15 | 6093.8
97.2 | 6084
97.25 | 6074.2
97.3 | 6064.4
97.35 | 6054.7
97.4 | 6045
97.45 | 6035.3
97.5 | 6025.6
97.55 | 6015.9
97.6 | 6006.2
97.65 | 5996.6
97.7 | 5987
97.75 | 5977.4
97.8 | 5967.8
97.85 | 5958.2
97.9 | 5948.7
97.95 | 5939.1
98 | 5929.6
98.05 | 5920.1
98.1 | 5910.7
98.15 | 5901.2
98.2 | 5891.7
98.25 | 5882.3
98.3 | 5872.9
98.35 | 5863.5
98.4 | 5854.1
98.45 | 5844.8
98.5 | 5835.4
98.55 | 5826.1
98.6 | 5816.8
98.65 | 5807.5
98.7 | 5798.2
98.75 | 5789
98.8 | 5779.7
98.85 | 5770.5
98.9 | 5761.3
98.95 | 5752.1
99 | 5743
99.05 | 5733.8
99.1 | 5724.7
99.15 | 5715.5
99.2 | 5706.4
99.25 | 5697.3
99.3 | 5688.3
99.35 | 5679.2
99.4 | 5670.2
99.45 | 5661.2
99.5 | 5652.2
99.55 | 5643.2
99.6 | 5634.2
99.65 | 5625.2
99.7 | 5616.3
99.75 | 5607.4
99.8 | 5598.5
99.85 | 5589.6
99.9 | 5580.7
99.95 | 5571.8
100 | 5563
100.05 | 5554.2
100.1 | 5545.4
100.15 | 5536.6
100.2 | 5527.8
100.25 | 5519
100.3 | 5510.3
100.35 | 5501.6
100.4 | 5492.8
100.45 | 5484.1
100.5 | 5475.5
100.55 | 5466.8
100.6 | 5458.1
100.65 | 5449.5
100.7 | 5440.9
100.75 | 5432.3
100.8 | 5423.7
100.85 | 5415.1
100.9 | 5406.6
100.95 | 5398
101 | 5389.5
101.05 | 5381
101.1 | 5372.5
101.15 | 5364
101.2 | 5355.5
101.25 | 5347.1
101.3 | 5338.6
101.35 | 5330.2
101.4 | 5321.8
101.45 | 5313.4
101.5 | 5305.1
101.55 | 5296.7
101.6 | 5288.4
101.65 | 5280
101.7 | 5271.7
101.75 | 5263.4
101.8 | 5255.1
101.85 | 5246.9
101.9 | 5238.6
101.95 | 5230.4
102 | 5222.2
102.05 | 5213.9
102.1 | 5205.8
102.15 | 5197.6
102.2 | 5189.4
102.25 | 5181.3
102.3 | 5173.1
102.35 | 5165
102.4 | 5156.9
102.45 | 5148.8
102.5 | 5140.7
102.55 | 5132.7
102.6 | 5124.6
102.65 | 5116.6
102.7 | 5108.6
102.75 | 5100.6
102.8 | 5092.6
102.85 | 5084.6
102.9 | 5076.6
102.95 | 5068.7
103 | 5060.8
103.05 | 5052.8
103.1 | 5044.9
103.15 | 5037.1
103.2 | 5029.2
103.25 | 5021.3
103.3 | 5013.5
103.35 | 5005.6
103.4 | 4997.8
103.45 | 4990
103.5 | 4982.2
103.55 | 4974.4
103.6 | 4966.7
103.65 | 4958.9
103.7 | 4951.2
103.75 | 4943.5
103.8 | 4935.8
103.85 | 4928.1
103.9 | 4920.4
103.95 | 4912.7
104 | 4905.1
104.05 | 4897.4
104.1 | 4889.8
104.15 | 4882.2
104.2 | 4874.6
104.25 | 4867
104.3 | 4859.5
104.35 | 4851.9
104.4 | 4844.4
104.45 | 4836.8
104.5 | 4829.3
104.55 | 4821.8
104.6 | 4814.3
104.65 | 4806.8
104.7 | 4799.4
104.75 | 4791.9
104.8 | 4784.5
104.85 | 4777.1
104.9 | 4769.7
104.95 | 4762.3
105 | 4754.9
105.05 | 4747.5
105.1 | 4740.1
105.15 | 4732.8
105.2 | 4725.5
105.25 | 4718.2
105.3 | 4710.9
105.35 | 4703.6
105.4 | 4696.3
105.45 | 4689
105.5 | 4681.8
105.55 | 4674.5
105.6 | 4667.3
105.65 | 4660.1
105.7 | 4652.9
105.75 | 4645.7
105.8 | 4638.5
105.85 | 4631.4
105.9 | 4624.2
105.95 | 4617.1
106 | 4609.9
106.05 | 4602.8
106.1 | 4595.7
106.15 | 4588.6
106.2 | 4581.6
106.25 | 4574.5
106.3 | 4567.4
106.35 | 4560.4
106.4 | 4553.4
106.45 | 4546.4
106.5 | 4539.4
106.55 | 4532.4
106.6 | 4525.4
106.65 | 4518.5
106.7 | 4511.5
106.75 | 4504.6
106.8 | 4497.6
106.85 | 4490.7
106.9 | 4483.8
106.95 | 4476.9
107 | 4470.1
107.05 | 4463.2
107.1 | 4456.3
107.15 | 4449.5
107.2 | 4442.7
107.25 | 4435.9
107.3 | 4429
107.35 | 4422.3
107.4 | 4415.5
107.45 | 4408.7
107.5 | 4401.9
107.55 | 4395.2
107.6 | 4388.5
107.65 | 4381.8
107.7 | 4375
107.75 | 4368.3
107.8 | 4361.7
107.85 | 4355
107.9 | 4348.3
107.95 | 4341.7
108 | 4335
108.05 | 4328.4
108.1 | 4321.8
108.15 | 4315.2
108.2 | 4308.6
108.25 | 4302
108.3 | 4295.4
108.35 | 4288.9
108.4 | 4282.3
108.45 | 4275.8
108.5 | 4269.3
108.55 | 4262.8
108.6 | 4256.3
108.65 | 4249.8
108.7 | 4243.3
108.75 | 4236.8
108.8 | 4230.4
108.85 | 4223.9
108.9 | 4217.5
108.95 | 4211.1
109 | 4204.7
109.05 | 4198.3
109.1 | 4191.9
109.15 | 4185.5
109.2 | 4179.2
109.25 | 4172.8
109.3 | 4166.5
109.35 | 4160.1
109.4 | 4153.8
109.45 | 4147.5
109.5 | 4141.2
109.55 | 4134.9
109.6 | 4128.6
109.65 | 4122.4
109.7 | 4116.1
109.75 | 4109.9
109.8 | 4103.7
109.85 | 4097.4
109.9 | 4091.2
109.95 | 4085
110 | 4078.8
110.05 | 4072.7
110.1 | 4066.5
110.15 | 4060.3
110.2 | 4054.2
110.25 | 4048.1
110.3 | 4041.9
110.35 | 4035.8
110.4 | 4029.7
110.45 | 4023.6
110.5 | 4017.5
110.55 | 4011.5
110.6 | 4005.4
110.65 | 3999.4
110.7 | 3993.3
110.75 | 3987.3
110.8 | 3981.3
110.85 | 3975.3
110.9 | 3969.3
110.95 | 3963.3
111 | 3957.3
111.05 | 3951.3
111.1 | 3945.4
111.15 | 3939.4
111.2 | 3933.5
111.25 | 3927.6
111.3 | 3921.7
111.35 | 3915.7
111.4 | 3909.9
111.45 | 3904
111.5 | 3898.1
111.55 | 3892.2
111.6 | 3886.4
111.65 | 3880.5
111.7 | 3874.7
111.75 | 3868.9
111.8 | 3863.1
111.85 | 3857.3
111.9 | 3851.5
111.95 | 3845.7
112 | 3839.9
112.05 | 3834.2
112.1 | 3828.4
112.15 | 3822.7
112.2 | 3816.9
112.25 | 3811.2
112.3 | 3805.5
112.35 | 3799.8
112.4 | 3794.1
112.45 | 3788.4
112.5 | 3782.7
112.55 | 3777.1
112.6 | 3771.4
112.65 | 3765.8
112.7 | 3760.1
112.75 | 3754.5
112.8 | 3748.9
112.85 | 3743.3
112.9 | 3737.7
112.95 | 3732.1
113 | 3726.5
113.05 | 3721
113.1 | 3715.4
113.15 | 3709.9
113.2 | 3704.3
113.25 | 3698.8
113.3 | 3693.3
113.35 | 3687.8
113.4 | 3682.3
113.45 | 3676.8
113.5 | 3671.3
113.55 | 3665.8
113.6 | 3660.4
113.65 | 3654.9
113.7 | 3649.5
113.75 | 3644
113.8 | 3638.6
113.85 | 3633.2
113.9 | 3627.8
113.95 | 3622.4
114 | 3617
114.05 | 3611.6
114.1 | 3606.2
114.15 | 3600.9
114.2 | 3595.5
114.25 | 3590.2
114.3 | 3584.9
114.35 | 3579.5
114.4 | 3574.2
114.45 | 3568.9
114.5 | 3563.6
114.55 | 3558.3
114.6 | 3553
114.65 | 3547.8
114.7 | 3542.5
114.75 | 3537.3
114.8 | 3532
114.85 | 3526.8
114.9 | 3521.6
114.95 | 3516.3
115 | 3511.1
115.05 | 3505.9
115.1 | 3500.8
115.15 | 3495.6
115.2 | 3490.4
115.25 | 3485.2
115.3 | 3480.1
115.35 | 3474.9
115.4 | 3469.8
115.45 | 3464.7
115.5 | 3459.6
115.55 | 3454.4
115.6 | 3449.3
115.65 | 3444.3
115.7 | 3439.2
115.75 | 3434.1
115.8 | 3429
115.85 | 3424
115.9 | 3418.9
115.95 | 3413.9
116 | 3408.9
116.05 | 3403.8
116.1 | 3398.8
116.15 | 3393.8
116.2 | 3388.8
116.25 | 3383.8
116.3 | 3378.8
116.35 | 3373.9
116.4 | 3368.9
116.45 | 3363.9
116.5 | 3359
116.55 | 3354.1
116.6 | 3349.1
116.65 | 3344.2
116.7 | 3339.3
116.75 | 3334.4
116.8 | 3329.5
116.85 | 3324.6
116.9 | 3319.7
116.95 | 3314.9
117 | 3310
117.05 | 3305.1
117.1 | 3300.3
117.15 | 3295.4
117.2 | 3290.6
117.25 | 3285.8
117.3 | 3281
117.35 | 3276.2
117.4 | 3271.4
117.45 | 3266.6
117.5 | 3261.8
117.55 | 3257
117.6 | 3252.3
117.65 | 3247.5
117.7 | 3242.8
117.75 | 3238
117.8 | 3233.3
117.85 | 3228.5
117.9 | 3223.8
117.95 | 3219.1
118 | 3214.4
118.05 | 3209.7
118.1 | 3205
118.15 | 3200.4
118.2 | 3195.7
118.25 | 3191
118.3 | 3186.4
118.35 | 3181.7
118.4 | 3177.1
118.45 | 3172.5
118.5 | 3167.8
118.55 | 3163.2
118.6 | 3158.6
118.65 | 3154
118.7 | 3149.4
118.75 | 3144.8
118.8 | 3140.3
118.85 | 3135.7
118.9 | 3131.1
118.95 | 3126.6
119 | 3122
119.05 | 3117.5
119.1 | 3113
119.15 | 3108.4
119.2 | 3103.9
119.25 | 3099.4
119.3 | 3094.9
119.35 | 3090.4
119.4 | 3085.9
119.45 | 3081.4
119.5 | 3077
119.55 | 3072.5
119.6 | 3068.1
119.65 | 3063.6
119.7 | 3059.2
119.75 | 3054.7
119.8 | 3050.3
119.85 | 3045.9
119.9 | 3041.5
119.95 | 3037.1
120 | 3032.7
120.05 | 3028.3
120.1 | 3023.9
120.15 | 3019.5
120.2 | 3015.2
120.25 | 3010.8
120.3 | 3006.5
120.35 | 3002.1
120.4 | 2997.8
120.45 | 2993.4
120.5 | 2989.1
120.55 | 2984.8
120.6 | 2980.5
120.65 | 2976.2
120.7 | 2971.9
120.75 | 2967.6
120.8 | 2963.3
120.85 | 2959.1
120.9 | 2954.8
120.95 | 2950.5
121 | 2946.3
121.05 | 2942
121.1 | 2937.8
121.15 | 2933.6
121.2 | 2929.3
121.25 | 2925.1
121.3 | 2920.9
121.35 | 2916.7
121.4 | 2912.5
121.45 | 2908.3
121.5 | 2904.2
121.55 | 2900
121.6 | 2895.8
121.65 | 2891.6
121.7 | 2887.5
121.75 | 2883.3
121.8 | 2879.2
121.85 | 2875.1
121.9 | 2870.9
121.95 | 2866.8
122 | 2862.7
122.05 | 2858.6
122.1 | 2854.5
122.15 | 2850.4
122.2 | 2846.3
122.25 | 2842.3
122.3 | 2838.2
122.35 | 2834.1
122.4 | 2830.1
122.45 | 2826
122.5 | 2822
122.55 | 2817.9
122.6 | 2813.9
122.65 | 2809.9
122.7 | 2805.9
122.75 | 2801.8
122.8 | 2797.8
122.85 | 2793.8
122.9 | 2789.8
122.95 | 2785.9
123 | 2781.9
123.05 | 2777.9
123.1 | 2773.9
123.15 | 2770
123.2 | 2766
123.25 | 2762.1
123.3 | 2758.1
123.35 | 2754.2
123.4 | 2750.3
123.45 | 2746.4
123.5 | 2742.5
123.55 | 2738.5
123.6 | 2734.6
123.65 | 2730.8
123.7 | 2726.9
123.75 | 2723
123.8 | 2719.1
123.85 | 2715.2
123.9 | 2711.4
123.95 | 2707.5
124 | 2703.7
124.05 | 2699.8
124.1 | 2696
124.15 | 2692.2
124.2 | 2688.3
124.25 | 2684.5
124.3 | 2680.7
124.35 | 2676.9
124.4 | 2673.1
124.45 | 2669.3
124.5 | 2665.5
124.55 | 2661.7
124.6 | 2658
124.65 | 2654.2
124.7 | 2650.4
124.75 | 2646.7
124.8 | 2642.9
124.85 | 2639.2
124.9 | 2635.5
124.95 | 2631.7
125 | 2628
125.05 | 2624.3
125.1 | 2620.6
125.15 | 2616.9
125.2 | 2613.2
125.25 | 2609.5
125.3 | 2605.8
125.35 | 2602.1
125.4 | 2598.4
125.45 | 2594.7
125.5 | 2591.1
125.55 | 2587.4
125.6 | 2583.8
125.65 | 2580.1
125.7 | 2576.5
125.75 | 2572.9
125.8 | 2569.2
125.85 | 2565.6
125.9 | 2562
125.95 | 2558.4
126 | 2554.8
126.05 | 2551.2
126.1 | 2547.6
126.15 | 2544
126.2 | 2540.4
126.25 | 2536.8
126.3 | 2533.3
126.35 | 2529.7
126.4 | 2526.1
126.45 | 2522.6
126.5 | 2519
126.55 | 2515.5
126.6 | 2512
126.65 | 2508.4
126.7 | 2504.9
126.75 | 2501.4
126.8 | 2497.9
126.85 | 2494.4
126.9 | 2490.9
126.95 | 2487.4
127 | 2483.9
127.05 | 2480.4
127.1 | 2476.9
127.15 | 2473.5
127.2 | 2470
127.25 | 2466.5
127.3 | 2463.1
127.35 | 2459.6
127.4 | 2456.2
127.45 | 2452.7
127.5 | 2449.3
127.55 | 2445.9
127.6 | 2442.5
127.65 | 2439
127.7 | 2435.6
127.75 | 2432.2
127.8 | 2428.8
127.85 | 2425.4
127.9 | 2422
127.95 | 2418.7
128 | 2415.3
128.05 | 2411.9
128.1 | 2408.5
128.15 | 2405.2
128.2 | 2401.8
128.25 | 2398.5
128.3 | 2395.1
128.35 | 2391.8
128.4 | 2388.5
128.45 | 2385.1
128.5 | 2381.8
128.55 | 2378.5
128.6 | 2375.2
128.65 | 2371.9
128.7 | 2368.6
128.75 | 2365.3
128.8 | 2362
128.85 | 2358.7
128.9 | 2355.4
128.95 | 2352.1
129 | 2348.9
129.05 | 2345.6
129.1 | 2342.3
129.15 | 2339.1
129.2 | 2335.8
129.25 | 2332.6
129.3 | 2329.3
129.35 | 2326.1
129.4 | 2322.9
129.45 | 2319.7
129.5 | 2316.4
129.55 | 2313.2
129.6 | 2310
129.65 | 2306.8
129.7 | 2303.6
129.75 | 2300.4
129.8 | 2297.2
129.85 | 2294.1
129.9 | 2290.9
129.95 | 2287.7
130 | 2284.5
130.05 | 2281.4
130.1 | 2278.2
130.15 | 2275.1
130.2 | 2271.9
130.25 | 2268.8
130.3 | 2265.6
130.35 | 2262.5
130.4 | 2259.4
130.45 | 2256.3
130.5 | 2253.1
130.55 | 2250
130.6 | 2246.9
130.65 | 2243.8
130.7 | 2240.7
130.75 | 2237.6
130.8 | 2234.6
130.85 | 2231.5
130.9 | 2228.4
130.95 | 2225.3
131 | 2222.3
131.05 | 2219.2
131.1 | 2216.1
131.15 | 2213.1
131.2 | 2210
131.25 | 2207
131.3 | 2204
131.35 | 2200.9
131.4 | 2197.9
131.45 | 2194.9
131.5 | 2191.9
131.55 | 2188.8
131.6 | 2185.8
131.65 | 2182.8
131.7 | 2179.8
131.75 | 2176.8
131.8 | 2173.8
131.85 | 2170.9
131.9 | 2167.9
131.95 | 2164.9
132 | 2161.9
132.05 | 2159
132.1 | 2156
132.15 | 2153.1
132.2 | 2150.1
132.25 | 2147.2
132.3 | 2144.2
132.35 | 2141.3
132.4 | 2138.3
132.45 | 2135.4
132.5 | 2132.5
132.55 | 2129.6
132.6 | 2126.7
132.65 | 2123.7
132.7 | 2120.8
132.75 | 2117.9
132.8 | 2115
132.85 | 2112.2
132.9 | 2109.3
132.95 | 2106.4
133 | 2103.5
133.05 | 2100.6
133.1 | 2097.8
133.15 | 2094.9
133.2 | 2092
133.25 | 2089.2
133.3 | 2086.3
133.35 | 2083.5
133.4 | 2080.7
133.45 | 2077.8
133.5 | 2075
133.55 | 2072.2
133.6 | 2069.3
133.65 | 2066.5
133.7 | 2063.7
133.75 | 2060.9
133.8 | 2058.1
133.85 | 2055.3
133.9 | 2052.5
133.95 | 2049.7
134 | 2046.9
134.05 | 2044.1
134.1 | 2041.3
134.15 | 2038.6
134.2 | 2035.8
134.25 | 2033
134.3 | 2030.3
134.35 | 2027.5
134.4 | 2024.8
134.45 | 2022
134.5 | 2019.3
134.55 | 2016.5
134.6 | 2013.8
134.65 | 2011.1
134.7 | 2008.3
134.75 | 2005.6
134.8 | 2002.9
134.85 | 2000.2
134.9 | 1997.5
134.95 | 1994.8
135 | 1992.1