## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
KW302J2 (RESISTANCE VS. TEMPERATURE TABLE)
Temp (°C) | Resistance
Ω (Nominal)
-55 | 289154.7
-54.95 | 288086.634
-54.9 | 287022.906
-54.85 | 285963.489
-54.8 | 284908.371
-54.75 | 283857.531
-54.7 | 282810.951
-54.65 | 281768.61
-54.6 | 280730.49
-54.55 | 279696.573
-54.5 | 278666.841
-54.45 | 277641.273
-54.4 | 276619.857
-54.35 | 275602.566
-54.3 | 274589.388
-54.25 | 273580.305
-54.2 | 272575.296
-54.15 | 271574.346
-54.1 | 270577.434
-54.05 | 269584.545
-54 | 268595.661
-53.95 | 267610.764
-53.9 | 266629.836
-53.85 | 265652.859
-53.8 | 264679.818
-53.75 | 263710.692
-53.7 | 262745.469
-53.65 | 261784.131
-53.6 | 260826.657
-53.55 | 259873.032
-53.5 | 258923.241
-53.45 | 257977.266
-53.4 | 257035.089
-53.35 | 256096.698
-53.3 | 255162.069
-53.25 | 254231.193
-53.2 | 253304.049
-53.15 | 252380.622
-53.1 | 251460.897
-53.05 | 250544.859
-53 | 249632.487
-52.95 | 248723.769
-52.9 | 247818.687
-52.85 | 246917.229
-52.8 | 246019.374
-52.75 | 245125.11
-52.7 | 244234.419
-52.65 | 243347.286
-52.6 | 242463.699
-52.55 | 241583.64
-52.5 | 240707.091
-52.45 | 239834.04
-52.4 | 238964.472
-52.35 | 238098.372
-52.3 | 237235.725
-52.25 | 236376.513
-52.2 | 235520.724
-52.15 | 234668.343
-52.1 | 233819.352
-52.05 | 232973.742
-52 | 232131.495
-51.95 | 231292.596
-51.9 | 230457.033
-51.85 | 229624.788
-51.8 | 228795.852
-51.75 | 227970.204
-51.7 | 227147.835
-51.65 | 226328.73
-51.6 | 225512.874
-51.55 | 224700.252
-51.5 | 223890.849
-51.45 | 223084.656
-51.4 | 222281.658
-51.35 | 221481.837
-51.3 | 220685.181
-51.25 | 219891.681
-51.2 | 219101.316
-51.15 | 218314.08
-51.1 | 217529.955
-51.05 | 216748.926
-51 | 215970.984
-50.95 | 215196.114
-50.9 | 214424.304
-50.85 | 213655.539
-50.8 | 212889.807
-50.75 | 212127.093
-50.7 | 211367.388
-50.65 | 210610.674
-50.6 | 209856.942
-50.55 | 209106.18
-50.5 | 208358.373
-50.45 | 207613.509
-50.4 | 206871.573
-50.35 | 206132.556
-50.3 | 205396.446
-50.25 | 204663.228
-50.2 | 203932.89
-50.15 | 203205.42
-50.1 | 202480.806
-50.05 | 201759.036
-50 | 201040.098
-49.95 | 200323.98
-49.9 | 199610.667
-49.85 | 198900.153
-49.8 | 198192.42
-49.75 | 197487.462
-49.7 | 196785.261
-49.65 | 196085.808
-49.6 | 195389.094
-49.55 | 194695.104
-49.5 | 194003.829
-49.45 | 193315.254
-49.4 | 192629.37
-49.35 | 191946.162
-49.3 | 191265.624
-49.25 | 190587.744
-49.2 | 189912.507
-49.15 | 189239.904
-49.1 | 188569.923
-49.05 | 187902.555
-49 | 187237.788
-48.95 | 186575.607
-48.9 | 185916.006
-48.85 | 185258.973
-48.8 | 184604.499
-48.75 | 183952.566
-48.7 | 183303.171
-48.65 | 182656.299
-48.6 | 182011.944
-48.55 | 181370.088
-48.5 | 180730.725
-48.45 | 180093.846
-48.4 | 179459.436
-48.35 | 178827.489
-48.3 | 178197.993
-48.25 | 177570.936
-48.2 | 176946.309
-48.15 | 176324.103
-48.1 | 175704.306
-48.05 | 175086.906
-48 | 174471.9
-47.95 | 173859.27
-47.9 | 173249.01
-47.85 | 172641.111
-47.8 | 172035.558
-47.75 | 171432.348
-47.7 | 170831.466
-47.65 | 170232.903
-47.6 | 169636.65
-47.55 | 169042.701
-47.5 | 168451.041
-47.45 | 167861.661
-47.4 | 167274.552
-47.35 | 166689.708
-47.3 | 166107.114
-47.25 | 165526.764
-47.2 | 164948.649
-47.15 | 164372.757
-47.1 | 163799.082
-47.05 | 163227.612
-47 | 162658.338
-46.95 | 162091.251
-46.9 | 161526.342
-46.85 | 160963.605
-46.8 | 160403.025
-46.75 | 159844.599
-46.7 | 159288.312
-46.65 | 158734.161
-46.6 | 158182.134
-46.55 | 157632.222
-46.5 | 157084.416
-46.45 | 156538.707
-46.4 | 155995.089
-46.35 | 155453.55
-46.3 | 154914.084
-46.25 | 154376.682
-46.2 | 153841.332
-46.15 | 153308.031
-46.1 | 152776.764
-46.05 | 152247.528
-46 | 151720.314
-45.95 | 151195.11
-45.9 | 150671.91
-45.85 | 150150.705
-45.8 | 149631.489
-45.75 | 149114.253
-45.7 | 148598.985
-45.65 | 148085.679
-45.6 | 147574.332
-45.55 | 147064.926
-45.5 | 146557.461
-45.45 | 146051.928
-45.4 | 145548.315
-45.35 | 145046.616
-45.3 | 144546.825
-45.25 | 144048.933
-45.2 | 143552.931
-45.15 | 143058.81
-45.1 | 142566.567
-45.05 | 142076.19
-45 | 141587.673
-44.95 | 141101.007
-44.9 | 140616.186
-44.85 | 140133.201
-44.8 | 139652.046
-44.75 | 139172.712
-44.7 | 138695.193
-44.65 | 138219.48
-44.6 | 137745.567
-44.55 | 137273.445
-44.5 | 136803.108
-44.45 | 136334.55
-44.4 | 135867.759
-44.35 | 135402.732
-44.3 | 134939.457
-44.25 | 134477.934
-44.2 | 134018.151
-44.15 | 133560.102
-44.1 | 133103.778
-44.05 | 132649.173
-44 | 132196.281
-43.95 | 131745.096
-43.9 | 131295.609
-43.85 | 130847.814
-43.8 | 130401.702
-43.75 | 129957.27
-43.7 | 129514.506
-43.65 | 129073.407
-43.6 | 128633.964
-43.55 | 128196.174
-43.5 | 127760.025
-43.45 | 127325.514
-43.4 | 126892.635
-43.35 | 126461.379
-43.3 | 126031.737
-43.25 | 125603.709
-43.2 | 125177.283
-43.15 | 124752.453
-43.1 | 124329.216
-43.05 | 123907.563
-43 | 123487.485
-42.95 | 123068.982
-42.9 | 122652.042
-42.85 | 122236.659
-42.8 | 121822.83
-42.75 | 121410.549
-42.7 | 120999.804
-42.65 | 120590.595
-42.6 | 120182.91
-42.55 | 119776.749
-42.5 | 119372.103
-42.45 | 118968.963
-42.4 | 118567.326
-42.35 | 118167.186
-42.3 | 117768.537
-42.25 | 117371.373
-42.2 | 116975.685
-42.15 | 116581.47
-42.1 | 116188.722
-42.05 | 115797.432
-42 | 115407.6
-41.95 | 115019.214
-41.9 | 114632.271
-41.85 | 114246.765
-41.8 | 113862.69
-41.75 | 113480.04
-41.7 | 113098.809
-41.65 | 112718.994
-41.6 | 112340.586
-41.55 | 111963.579
-41.5 | 111587.97
-41.45 | 111213.753
-41.4 | 110840.919
-41.35 | 110469.465
-41.3 | 110099.388
-41.25 | 109730.676
-41.2 | 109363.329
-41.15 | 108997.341
-41.1 | 108632.703
-41.05 | 108269.415
-41 | 107907.465
-40.95 | 107546.853
-40.9 | 107187.57
-40.85 | 106829.616
-40.8 | 106472.979
-40.75 | 106117.656
-40.7 | 105763.644
-40.65 | 105410.934
-40.6 | 105059.526
-40.55 | 104709.411
-40.5 | 104360.583
-40.45 | 104013.039
-40.4 | 103666.773
-40.35 | 103321.779
-40.3 | 102978.054
-40.25 | 102635.592
-40.2 | 102294.39
-40.15 | 101954.439
-40.1 | 101615.733
-40.05 | 101278.272
-40 | 100942.05
-39.95 | 100607.061
-39.9 | 100273.299
-39.85 | 99940.758
-39.8 | 99609.438
-39.75 | 99279.33
-39.7 | 98950.431
-39.65 | 98622.735
-39.6 | 98296.239
-39.55 | 97970.937
-39.5 | 97646.823
-39.45 | 97323.894
-39.4 | 97002.147
-39.35 | 96681.573
-39.3 | 96362.169
-39.25 | 96043.932
-39.2 | 95726.856
-39.15 | 95410.935
-39.1 | 95096.166
-39.05 | 94782.546
-39 | 94470.069
-38.95 | 94158.729
-38.9 | 93848.523
-38.85 | 93539.448
-38.8 | 93231.495
-38.75 | 92924.664
-38.7 | 92618.949
-38.65 | 92314.344
-38.6 | 92010.849
-38.55 | 91708.455
-38.5 | 91407.159
-38.45 | 91106.955
-38.4 | 90807.843
-38.35 | 90509.817
-38.3 | 90212.871
-38.25 | 89917.002
-38.2 | 89622.204
-38.15 | 89328.474
-38.1 | 89035.812
-38.05 | 88744.206
-38 | 88453.656
-37.95 | 88164.159
-37.9 | 87875.709
-37.85 | 87588.303
-37.8 | 87301.932
-37.75 | 87016.599
-37.7 | 86732.298
-37.65 | 86449.023
-37.6 | 86166.771
-37.55 | 85885.536
-37.5 | 85605.318
-37.45 | 85326.108
-37.4 | 85047.906
-37.35 | 84770.709
-37.3 | 84494.508
-37.25 | 84219.303
-37.2 | 83945.091
-37.15 | 83671.863
-37.1 | 83399.619
-37.05 | 83128.356
-37 | 82858.068
-36.95 | 82588.752
-36.9 | 82320.402
-36.85 | 82053.018
-36.8 | 81786.594
-36.75 | 81521.127
-36.7 | 81256.611
-36.65 | 80993.046
-36.6 | 80730.426
-36.55 | 80468.748
-36.5 | 80208.009
-36.45 | 79948.203
-36.4 | 79689.327
-36.35 | 79431.381
-36.3 | 79174.356
-36.25 | 78918.252
-36.2 | 78663.063
-36.15 | 78408.786
-36.1 | 78155.421
-36.05 | 77902.959
-36 | 77651.4
-35.95 | 77400.741
-35.9 | 77150.973
-35.85 | 76902.102
-35.8 | 76654.116
-35.75 | 76407.015
-35.7 | 76160.793
-35.65 | 75915.453
-35.6 | 75670.983
-35.55 | 75427.386
-35.5 | 75184.659
-35.45 | 74942.793
-35.4 | 74701.788
-35.35 | 74461.641
-35.3 | 74222.349
-35.25 | 73983.909
-35.2 | 73746.315
-35.15 | 73509.564
-35.1 | 73273.656
-35.05 | 73038.585
-35 | 72804.348
-34.95 | 72570.942
-34.9 | 72338.364
-34.85 | 72106.611
-34.8 | 71875.68
-34.75 | 71645.568
-34.7 | 71416.272
-34.65 | 71187.786
-34.6 | 70960.11
-34.55 | 70733.238
-34.5 | 70507.173
-34.45 | 70281.903
-34.4 | 70057.434
-34.35 | 69833.754
-34.3 | 69610.869
-34.25 | 69388.767
-34.2 | 69167.451
-34.15 | 68946.918
-34.1 | 68727.162
-34.05 | 68508.183
-34 | 68289.975
-33.95 | 68072.535
-33.9 | 67855.863
-33.85 | 67639.953
-33.8 | 67424.805
-33.75 | 67210.413
-33.7 | 66996.777
-33.65 | 66783.894
-33.6 | 66571.758
-33.55 | 66360.369
-33.5 | 66149.721
-33.45 | 65939.817
-33.4 | 65730.648
-33.35 | 65522.214
-33.3 | 65314.512
-33.25 | 65107.539
-33.2 | 64901.292
-33.15 | 64695.768
-33.1 | 64490.967
-33.05 | 64286.88
-33 | 64083.513
-32.95 | 63880.854
-32.9 | 63678.906
-32.85 | 63477.666
-32.8 | 63277.131
-32.75 | 63077.295
-32.7 | 62878.161
-32.65 | 62679.72
-32.6 | 62481.975
-32.55 | 62284.92
-32.5 | 62088.555
-32.45 | 61892.874
-32.4 | 61697.874
-32.35 | 61503.558
-32.3 | 61309.917
-32.25 | 61116.954
-32.2 | 60924.663
-32.15 | 60733.041
-32.1 | 60542.088
-32.05 | 60351.798
-32 | 60162.174
-31.95 | 59973.207
-31.9 | 59784.9
-31.85 | 59597.244
-31.8 | 59410.245
-31.75 | 59223.894
-31.7 | 59038.191
-31.65 | 58853.133
-31.6 | 58668.717
-31.55 | 58484.943
-31.5 | 58301.805
-31.45 | 58119.303
-31.4 | 57937.434
-31.35 | 57756.195
-31.3 | 57575.586
-31.25 | 57395.601
-31.2 | 57216.24
-31.15 | 57037.5
-31.1 | 56859.378
-31.05 | 56681.874
-31 | 56504.982
-30.95 | 56328.705
-30.9 | 56153.034
-30.85 | 55977.972
-30.8 | 55803.516
-30.75 | 55629.66
-30.7 | 55456.407
-30.65 | 55283.748
-30.6 | 55111.689
-30.55 | 54940.221
-30.5 | 54769.347
-30.45 | 54599.058
-30.4 | 54429.36
-30.35 | 54260.244
-30.3 | 54091.71
-30.25 | 53923.758
-30.2 | 53756.385
-30.15 | 53589.585
-30.1 | 53423.361
-30.05 | 53257.707
-30 | 53092.623
-29.95 | 52928.106
-29.9 | 52764.156
-29.85 | 52600.767
-29.8 | 52437.939
-29.75 | 52275.672
-29.7 | 52113.96
-29.65 | 51952.803
-29.6 | 51792.198
-29.55 | 51632.142
-29.5 | 51472.638
-29.45 | 51313.677
-29.4 | 51155.262
-29.35 | 50997.39
-29.3 | 50840.058
-29.25 | 50683.263
-29.2 | 50527.005
-29.15 | 50371.281
-29.1 | 50216.088
-29.05 | 50061.429
-29 | 49907.295
-28.95 | 49753.689
-28.9 | 49600.605
-28.85 | 49448.046
-28.8 | 49296.006
-28.75 | 49144.485
-28.7 | 48993.48
-28.65 | 48842.991
-28.6 | 48693.012
-28.55 | 48543.546
-28.5 | 48394.59
-28.45 | 48246.138
-28.4 | 48098.193
-28.35 | 47950.752
-28.3 | 47803.809
-28.25 | 47657.37
-28.2 | 47511.426
-28.15 | 47365.977
-28.1 | 47221.023
-28.05 | 47076.561
-28 | 46932.591
-27.95 | 46789.107
-27.9 | 46646.112
-27.85 | 46503.6
-27.8 | 46361.571
-27.75 | 46220.025
-27.7 | 46078.956
-27.65 | 45938.367
-27.6 | 45798.252
-27.55 | 45658.614
-27.5 | 45519.447
-27.45 | 45380.748
-27.4 | 45242.52
-27.35 | 45104.76
-27.3 | 44967.465
-27.25 | 44830.635
-27.2 | 44694.267
-27.15 | 44558.358
-27.1 | 44422.908
-27.05 | 44287.914
-27 | 44153.376
-26.95 | 44019.291
-26.9 | 43885.659
-26.85 | 43752.477
-26.8 | 43619.745
-26.75 | 43487.457
-26.7 | 43355.616
-26.65 | 43224.219
-26.6 | 43093.263
-26.55 | 42962.748
-26.5 | 42832.671
-26.45 | 42703.032
-26.4 | 42573.828
-26.35 | 42445.059
-26.3 | 42316.722
-26.25 | 42188.814
-26.2 | 42061.338
-26.15 | 41934.288
-26.1 | 41807.664
-26.05 | 41681.466
-26 | 41555.688
-25.95 | 41430.333
-25.9 | 41305.401
-25.85 | 41180.883
-25.8 | 41056.782
-25.75 | 40933.098
-25.7 | 40809.828
-25.65 | 40686.969
-25.6 | 40564.521
-25.55 | 40442.481
-25.5 | 40320.852
-25.45 | 40199.625
-25.4 | 40078.806
-25.35 | 39958.389
-25.3 | 39838.374
-25.25 | 39718.758
-25.2 | 39599.544
-25.15 | 39480.726
-25.1 | 39362.301
-25.05 | 39244.275
-25 | 39126.639
-24.95 | 39009.396
-24.9 | 38892.543
-24.85 | 38776.08
-24.8 | 38660.001
-24.75 | 38544.312
-24.7 | 38429.004
-24.65 | 38314.08
-24.6 | 38199.54
-24.55 | 38085.378
-24.5 | 37971.597
-24.45 | 37858.191
-24.4 | 37745.163
-24.35 | 37632.51
-24.3 | 37520.232
-24.25 | 37408.323
-24.2 | 37296.786
-24.15 | 37185.618
-24.1 | 37074.819
-24.05 | 36964.389
-24 | 36854.322
-23.95 | 36744.618
-23.9 | 36635.277
-23.85 | 36526.299
-23.8 | 36417.681
-23.75 | 36309.423
-23.7 | 36201.522
-23.65 | 36093.975
-23.6 | 35986.785
-23.55 | 35879.949
-23.5 | 35773.464
-23.45 | 35667.333
-23.4 | 35561.55
-23.35 | 35456.115
-23.3 | 35351.028
-23.25 | 35246.286
-23.2 | 35141.892
-23.15 | 35037.84
-23.1 | 34934.13
-23.05 | 34830.762
-23 | 34727.733
-22.95 | 34625.043
-22.9 | 34522.692
-22.85 | 34420.674
-22.8 | 34318.995
-22.75 | 34217.646
-22.7 | 34116.633
-22.65 | 34015.95
-22.6 | 33915.597
-22.55 | 33815.574
-22.5 | 33715.878
-22.45 | 33616.509
-22.4 | 33517.467
-22.35 | 33418.749
-22.3 | 33320.352
-22.25 | 33222.279
-22.2 | 33124.527
-22.15 | 33027.096
-22.1 | 32929.983
-22.05 | 32833.185
-22 | 32736.705
-21.95 | 32640.54
-21.9 | 32544.69
-21.85 | 32449.152
-21.8 | 32353.926
-21.75 | 32259.012
-21.7 | 32164.407
-21.65 | 32070.111
-21.6 | 31976.121
-21.55 | 31882.437
-21.5 | 31789.059
-21.45 | 31695.987
-21.4 | 31603.215
-21.35 | 31510.746
-21.3 | 31418.58
-21.25 | 31326.711
-21.2 | 31235.142
-21.15 | 31143.87
-21.1 | 31052.895
-21.05 | 30962.217
-21 | 30871.833
-20.95 | 30781.743
-20.9 | 30691.944
-20.85 | 30602.436
-20.8 | 30513.219
-20.75 | 30424.293
-20.7 | 30335.652
-20.65 | 30247.302
-20.6 | 30159.237
-20.55 | 30071.454
-20.5 | 29983.959
-20.45 | 29896.746
-20.4 | 29809.815
-20.35 | 29723.166
-20.3 | 29636.799
-20.25 | 29550.708
-20.2 | 29464.896
-20.15 | 29379.363
-20.1 | 29294.103
-20.05 | 29209.122
-20 | 29124.414
-19.95 | 29039.979
-19.9 | 28955.814
-19.85 | 28871.925
-19.8 | 28788.303
-19.75 | 28704.951
-19.7 | 28621.869
-19.65 | 28539.054
-19.6 | 28456.506
-19.55 | 28374.225
-19.5 | 28292.205
-19.45 | 28210.452
-19.4 | 28128.96
-19.35 | 28047.732
-19.3 | 27966.765
-19.25 | 27886.056
-19.2 | 27805.608
-19.15 | 27725.418
-19.1 | 27645.486
-19.05 | 27565.809
-19 | 27486.39
-18.95 | 27407.223
-18.9 | 27328.311
-18.85 | 27249.651
-18.8 | 27171.246
-18.75 | 27093.09
-18.7 | 27015.183
-18.65 | 26937.528
-18.6 | 26860.119
-18.55 | 26782.959
-18.5 | 26706.048
-18.45 | 26629.38
-18.4 | 26552.958
-18.35 | 26476.779
-18.3 | 26400.846
-18.25 | 26325.153
-18.2 | 26249.703
-18.15 | 26174.493
-18.1 | 26099.523
-18.05 | 26024.793
-18 | 25950.3
-17.95 | 25876.044
-17.9 | 25802.028
-17.85 | 25728.246
-17.8 | 25654.698
-17.75 | 25581.384
-17.7 | 25508.304
-17.65 | 25435.455
-17.6 | 25362.84
-17.55 | 25290.456
-17.5 | 25218.3
-17.45 | 25146.375
-17.4 | 25074.678
-17.35 | 25003.209
-17.3 | 24931.968
-17.25 | 24860.952
-17.2 | 24790.161
-17.15 | 24719.595
-17.1 | 24649.251
-17.05 | 24579.132
-17 | 24509.235
-16.95 | 24439.557
-16.9 | 24370.104
-16.85 | 24300.867
-16.8 | 24231.852
-16.75 | 24163.053
-16.7 | 24094.473
-16.65 | 24026.109
-16.6 | 23957.964
-16.55 | 23890.032
-16.5 | 23822.313
-16.45 | 23754.81
-16.4 | 23687.52
-16.35 | 23620.443
-16.3 | 23553.576
-16.25 | 23486.922
-16.2 | 23420.478
-16.15 | 23354.241
-16.1 | 23288.214
-16.05 | 23222.397
-16 | 23156.784
-15.95 | 23091.381
-15.9 | 23026.182
-15.85 | 22961.187
-15.8 | 22896.399
-15.75 | 22831.812
-15.7 | 22767.429
-15.65 | 22703.25
-15.6 | 22639.272
-15.55 | 22575.495
-15.5 | 22511.916
-15.45 | 22448.538
-15.4 | 22385.361
-15.35 | 22322.379
-15.3 | 22259.595
-15.25 | 22197.009
-15.2 | 22134.621
-15.15 | 22072.425
-15.1 | 22010.427
-15.05 | 21948.621
-15 | 21887.01
-14.95 | 21825.588
-14.9 | 21764.361
-14.85 | 21703.326
-14.8 | 21642.483
-14.75 | 21581.829
-14.7 | 21521.364
-14.65 | 21461.088
-14.6 | 21400.998
-14.55 | 21341.1
-14.5 | 21281.385
-14.45 | 21221.859
-14.4 | 21162.516
-14.35 | 21103.362
-14.3 | 21044.388
-14.25 | 20985.6
-14.2 | 20926.995
-14.15 | 20868.573
-14.1 | 20810.334
-14.05 | 20752.275
-14 | 20694.396
-13.95 | 20636.697
-13.9 | 20579.178
-13.85 | 20521.839
-13.8 | 20464.677
-13.75 | 20407.692
-13.7 | 20350.884
-13.65 | 20294.253
-13.6 | 20237.796
-13.55 | 20181.516
-13.5 | 20125.413
-13.45 | 20069.481
-13.4 | 20013.723
-13.35 | 19958.136
-13.3 | 19902.723
-13.25 | 19847.481
-13.2 | 19792.413
-13.15 | 19737.513
-13.1 | 19682.781
-13.05 | 19628.22
-13 | 19573.83
-12.95 | 19519.605
-12.9 | 19465.551
-12.85 | 19411.659
-12.8 | 19357.938
-12.75 | 19304.382
-12.7 | 19250.991
-12.65 | 19197.762
-12.6 | 19144.701
-12.55 | 19091.802
-12.5 | 19039.065
-12.45 | 18986.493
-12.4 | 18934.083
-12.35 | 18881.832
-12.3 | 18829.743
-12.25 | 18777.816
-12.2 | 18726.048
-12.15 | 18674.439
-12.1 | 18622.986
-12.05 | 18571.695
-12 | 18520.56
-11.95 | 18469.584
-11.9 | 18418.764
-11.85 | 18368.097
-11.8 | 18317.589
-11.75 | 18267.234
-11.7 | 18217.035
-11.65 | 18166.989
-11.6 | 18117.096
-11.55 | 18067.359
-11.5 | 18017.772
-11.45 | 17968.338
-11.4 | 17919.054
-11.35 | 17869.92
-11.3 | 17820.939
-11.25 | 17772.108
-11.2 | 17723.424
-11.15 | 17674.89
-11.1 | 17626.506
-11.05 | 17578.269
-11 | 17530.179
-10.95 | 17482.233
-10.9 | 17434.437
-10.85 | 17386.788
-10.8 | 17339.28
-10.75 | 17291.922
-10.7 | 17244.705
-10.65 | 17197.632
-10.6 | 17150.703
-10.55 | 17103.918
-10.5 | 17057.277
-10.45 | 17010.774
-10.4 | 16964.415
-10.35 | 16918.197
-10.3 | 16872.12
-10.25 | 16826.181
-10.2 | 16780.383
-10.15 | 16734.726
-10.1 | 16689.207
-10.05 | 16643.823
-10 | 16598.58
-9.95 | 16553.475
-9.9 | 16508.505
-9.85 | 16463.673
-9.8 | 16418.976
-9.75 | 16374.414
-9.7 | 16329.987
-9.65 | 16285.695
-9.6 | 16241.538
-9.55 | 16197.516
-9.5 | 16153.626
-9.45 | 16109.868
-9.4 | 16066.242
-9.35 | 16022.751
-9.3 | 15979.389
-9.25 | 15936.159
-9.2 | 15893.058
-9.15 | 15850.089
-9.1 | 15807.249
-9.05 | 15764.541
-9 | 15721.959
-8.95 | 15679.506
-8.9 | 15637.182
-8.85 | 15594.984
-8.8 | 15552.915
-8.75 | 15510.972
-8.7 | 15469.155
-8.65 | 15427.464
-8.6 | 15385.899
-8.55 | 15344.46
-8.5 | 15303.147
-8.45 | 15261.954
-8.4 | 15220.887
-8.35 | 15179.946
-8.3 | 15139.125
-8.25 | 15098.427
-8.2 | 15057.852
-8.15 | 15017.4
-8.1 | 14977.068
-8.05 | 14936.856
-8 | 14896.767
-7.95 | 14856.798
-7.9 | 14816.949
-7.85 | 14777.217
-7.8 | 14737.605
-7.75 | 14698.113
-7.7 | 14658.741
-7.65 | 14619.483
-7.6 | 14580.345
-7.55 | 14541.324
-7.5 | 14502.417
-7.45 | 14463.63
-7.4 | 14424.957
-7.35 | 14386.401
-7.3 | 14347.959
-7.25 | 14309.631
-7.2 | 14271.42
-7.15 | 14233.323
-7.1 | 14195.337
-7.05 | 14157.468
-7 | 14119.71
-6.95 | 14082.063
-6.9 | 14044.53
-6.85 | 14007.108
-6.8 | 13969.8
-6.75 | 13932.6
-6.7 | 13895.514
-6.65 | 13858.536
-6.6 | 13821.669
-6.55 | 13784.91
-6.5 | 13748.262
-6.45 | 13711.722
-6.4 | 13675.293
-6.35 | 13638.969
-6.3 | 13602.756
-6.25 | 13566.648
-6.2 | 13530.648
-6.15 | 13494.756
-6.1 | 13458.969
-6.05 | 13423.29
-6 | 13387.716
-5.95 | 13352.247
-5.9 | 13316.883
-5.85 | 13281.624
-5.8 | 13246.467
-5.75 | 13211.418
-5.7 | 13176.471
-5.65 | 13141.629
-5.6 | 13106.889
-5.55 | 13072.251
-5.5 | 13037.715
-5.45 | 13003.284
-5.4 | 12968.952
-5.35 | 12934.722
-5.3 | 12900.594
-5.25 | 12866.565
-5.2 | 12832.638
-5.15 | 12798.81
-5.1 | 12765.084
-5.05 | 12731.457
-5 | 12697.926
-4.95 | 12664.497
-4.9 | 12631.164
-4.85 | 12597.933
-4.8 | 12564.795
-4.75 | 12531.759
-4.7 | 12498.819
-4.65 | 12465.975
-4.6 | 12433.227
-4.55 | 12400.575
-4.5 | 12368.022
-4.45 | 12335.562
-4.4 | 12303.198
-4.35 | 12270.93
-4.3 | 12238.755
-4.25 | 12206.676
-4.2 | 12174.69
-4.15 | 12142.8
-4.1 | 12111
-4.05 | 12079.296
-4 | 12047.685
-3.95 | 12016.164
-3.9 | 11984.736
-3.85 | 11953.401
-3.8 | 11922.159
-3.75 | 11891.007
-3.7 | 11859.945
-3.65 | 11828.976
-3.6 | 11798.097
-3.55 | 11767.308
-3.5 | 11736.609
-3.45 | 11706
-3.4 | 11675.481
-3.35 | 11645.049
-3.3 | 11614.707
-3.25 | 11584.455
-3.2 | 11554.287
-3.15 | 11524.212
-3.1 | 11494.221
-3.05 | 11464.32
-3 | 11434.506
-2.95 | 11404.776
-2.9 | 11375.136
-2.85 | 11345.58
-2.8 | 11316.111
-2.75 | 11286.726
-2.7 | 11257.428
-2.65 | 11228.217
-2.6 | 11199.087
-2.55 | 11170.044
-2.5 | 11141.085
-2.45 | 11112.21
-2.4 | 11083.419
-2.35 | 11054.712
-2.3 | 11026.089
-2.25 | 10997.547
-2.2 | 10969.089
-2.15 | 10940.712
-2.1 | 10912.419
-2.05 | 10884.207
-2 | 10856.079
-1.95 | 10828.029
-1.9 | 10800.063
-1.85 | 10772.175
-1.8 | 10744.371
-1.75 | 10716.645
-1.7 | 10689
-1.65 | 10661.436
-1.6 | 10633.95
-1.55 | 10606.542
-1.5 | 10579.218
-1.45 | 10551.969
-1.4 | 10524.798
-1.35 | 10497.708
-1.3 | 10470.696
-1.25 | 10443.762
-1.2 | 10416.903
-1.15 | 10390.125
-1.1 | 10363.422
-1.05 | 10336.797
-1 | 10309.95
-0.95 | 10283.49
-0.9 | 10257.108
-0.85 | 10230.804
-0.8 | 10204.572
-0.75 | 10178.418
-0.7 | 10152.339
-0.65 | 10126.335
-0.6 | 10100.406
-0.55 | 10074.549
-0.5 | 10048.77
-0.45 | 10023.063
-0.4 | 9997.431
-0.35 | 9971.871
-0.3 | 9946.386
-0.25 | 9920.973
-0.2 | 9895.632
-0.15 | 9870.366
-0.1 | 9845.172
-0.05 | 9820.05
0 | 9795
0.05 | 9770.022
0.1 | 9745.116
0.15 | 9720.279
0.2 | 9695.514
0.25 | 9670.821
0.3 | 9646.2
0.35 | 9621.648
0.4 | 9597.165
0.45 | 9572.754
0.5 | 9548.409
0.55 | 9524.136
0.6 | 9499.935
0.65 | 9475.8
0.7 | 9451.734
0.75 | 9427.737
0.8 | 9403.809
0.85 | 9379.95
0.9 | 9356.157
0.95 | 9332.433
1 | 9308.775
1.05 | 9285.186
1.1 | 9261.666
1.15 | 9238.209
1.2 | 9214.821
1.25 | 9191.499
1.3 | 9168.243
1.35 | 9145.056
1.4 | 9121.932
1.45 | 9098.874
1.5 | 9075.882
1.55 | 9052.956
1.6 | 9030.093
1.65 | 9007.296
1.7 | 8984.565
1.75 | 8961.897
1.8 | 8939.292
1.85 | 8916.753
1.9 | 8894.277
1.95 | 8871.867
2 | 8849.517
2.05 | 8827.233
2.1 | 8805.012
2.15 | 8782.854
2.2 | 8760.756
2.25 | 8738.724
2.3 | 8716.752
2.35 | 8694.843
2.4 | 8672.994
2.45 | 8651.208
2.5 | 8629.485
2.55 | 8607.822
2.6 | 8586.219
2.65 | 8564.679
2.7 | 8543.199
2.75 | 8521.779
2.8 | 8500.422
2.85 | 8479.122
2.9 | 8457.882
2.95 | 8436.705
3 | 8415.585
3.05 | 8394.525
3.1 | 8373.525
3.15 | 8352.582
3.2 | 8331.702
3.25 | 8310.876
3.3 | 8290.11
3.35 | 8269.404
3.4 | 8248.755
3.45 | 8228.166
3.5 | 8207.631
3.55 | 8187.156
3.6 | 8166.738
3.65 | 8146.377
3.7 | 8126.073
3.75 | 8105.829
3.8 | 8085.639
3.85 | 8065.506
3.9 | 8045.427
3.95 | 8025.408
4 | 8005.443
4.05 | 7985.535
4.1 | 7965.681
4.15 | 7945.884
4.2 | 7926.141
4.25 | 7906.455
4.3 | 7886.823
4.35 | 7867.245
4.4 | 7847.724
4.45 | 7828.254
4.5 | 7808.841
4.55 | 7789.482
4.6 | 7770.177
4.65 | 7750.926
4.7 | 7731.726
4.75 | 7712.583
4.8 | 7693.491
4.85 | 7674.453
4.9 | 7655.469
4.95 | 7636.539
5 | 7617.657
5.05 | 7598.832
5.1 | 7580.058
5.15 | 7561.335
5.2 | 7542.666
5.25 | 7524.048
5.3 | 7505.481
5.35 | 7486.965
5.4 | 7468.503
5.45 | 7450.089
5.5 | 7431.729
5.55 | 7413.417
5.6 | 7395.159
5.65 | 7376.949
5.7 | 7358.793
5.75 | 7340.685
5.8 | 7322.625
5.85 | 7304.619
5.9 | 7286.661
5.95 | 7268.751
6 | 7250.892
6.05 | 7233.084
6.1 | 7215.324
6.15 | 7197.612
6.2 | 7179.951
6.25 | 7162.338
6.3 | 7144.773
6.35 | 7127.256
6.4 | 7109.79
6.45 | 7092.369
6.5 | 7074.999
6.55 | 7057.674
6.6 | 7040.4
6.65 | 7023.171
6.7 | 7005.99
6.75 | 6988.857
6.8 | 6971.769
6.85 | 6954.732
6.9 | 6937.74
6.95 | 6920.793
7 | 6903.894
7.05 | 6887.043
7.1 | 6870.237
7.15 | 6853.476
7.2 | 6836.763
7.25 | 6820.095
7.3 | 6803.472
7.35 | 6786.897
7.4 | 6770.364
7.45 | 6753.879
7.5 | 6737.439
7.55 | 6721.044
7.6 | 6704.694
7.65 | 6688.389
7.7 | 6672.126
7.75 | 6655.911
7.8 | 6639.738
7.85 | 6623.61
7.9 | 6607.527
7.95 | 6591.489
8 | 6575.493
8.05 | 6559.539
8.1 | 6543.633
8.15 | 6527.766
8.2 | 6511.944
8.25 | 6496.167
8.3 | 6480.432
8.35 | 6464.739
8.4 | 6449.091
8.45 | 6433.482
8.5 | 6417.918
8.55 | 6402.396
8.6 | 6386.919
8.65 | 6371.481
8.7 | 6356.085
8.75 | 6340.731
8.8 | 6325.419
8.85 | 6310.149
8.9 | 6294.921
8.95 | 6279.735
9 | 6264.591
9.05 | 6249.486
9.1 | 6234.423
9.15 | 6219.399
9.2 | 6204.417
9.25 | 6189.477
9.3 | 6174.576
9.35 | 6159.717
9.4 | 6144.897
9.45 | 6130.116
9.5 | 6115.377
9.55 | 6100.677
9.6 | 6086.019
9.65 | 6071.4
9.7 | 6056.817
9.75 | 6042.279
9.8 | 6027.777
9.85 | 6013.314
9.9 | 5998.89
9.95 | 5984.508
10 | 5970.162
10.05 | 5955.855
10.1 | 5941.587
10.15 | 5927.358
10.2 | 5913.168
10.25 | 5899.014
10.3 | 5884.899
10.35 | 5870.823
10.4 | 5856.786
10.45 | 5842.785
10.5 | 5828.823
10.55 | 5814.897
10.6 | 5801.01
10.65 | 5787.159
10.7 | 5773.347
10.75 | 5759.571
10.8 | 5745.834
10.85 | 5732.13
10.9 | 5718.468
10.95 | 5704.839
11 | 5691.246
11.05 | 5677.692
11.1 | 5664.174
11.15 | 5650.692
11.2 | 5637.246
11.25 | 5623.836
11.3 | 5610.462
11.35 | 5597.124
11.4 | 5583.822
11.45 | 5570.556
11.5 | 5557.323
11.55 | 5544.129
11.6 | 5530.968
11.65 | 5517.843
11.7 | 5504.754
11.75 | 5491.698
11.8 | 5478.678
11.85 | 5465.694
11.9 | 5452.743
11.95 | 5439.828
12 | 5426.946
12.05 | 5414.1
12.1 | 5401.287
12.15 | 5388.51
12.2 | 5375.766
12.25 | 5363.055
12.3 | 5350.38
12.35 | 5337.738
12.4 | 5325.129
12.45 | 5312.553
12.5 | 5300.013
12.55 | 5287.503
12.6 | 5275.029
12.65 | 5262.588
12.7 | 5250.18
12.75 | 5237.805
12.8 | 5225.46
12.85 | 5213.151
12.9 | 5200.875
12.95 | 5188.629
13 | 5176.419
13.05 | 5164.239
13.1 | 5152.092
13.15 | 5139.978
13.2 | 5127.894
13.25 | 5115.846
13.3 | 5103.825
13.35 | 5091.84
13.4 | 5079.885
13.45 | 5067.96
13.5 | 5056.071
13.55 | 5044.209
13.6 | 5032.38
13.65 | 5020.584
13.7 | 5008.818
13.75 | 4997.082
13.8 | 4985.379
13.85 | 4973.706
13.9 | 4962.063
13.95 | 4950.453
14 | 4938.87
14.05 | 4927.32
14.1 | 4915.803
14.15 | 4904.313
14.2 | 4892.853
14.25 | 4881.426
14.3 | 4870.026
14.35 | 4858.659
14.4 | 4847.319
14.45 | 4836.012
14.5 | 4824.732
14.55 | 4813.482
14.6 | 4802.265
14.65 | 4791.075
14.7 | 4779.912
14.75 | 4768.782
14.8 | 4757.682
14.85 | 4746.609
14.9 | 4735.563
14.95 | 4724.55
15 | 4713.564
15.05 | 4702.608
15.1 | 4691.679
15.15 | 4680.78
15.2 | 4669.911
15.25 | 4659.069
15.3 | 4648.254
15.35 | 4637.469
15.4 | 4626.711
15.45 | 4615.983
15.5 | 4605.282
15.55 | 4594.611
15.6 | 4583.964
15.65 | 4573.347
15.7 | 4562.76
15.75 | 4552.197
15.8 | 4541.664
15.85 | 4531.158
15.9 | 4520.679
15.95 | 4510.227
16 | 4499.802
16.05 | 4489.407
16.1 | 4479.036
16.15 | 4468.695
16.2 | 4458.378
16.25 | 4448.091
16.3 | 4437.828
16.35 | 4427.592
16.4 | 4417.383
16.45 | 4407.201
16.5 | 4397.046
16.55 | 4386.918
16.6 | 4376.814
16.65 | 4366.74
16.7 | 4356.69
16.75 | 4346.664
16.8 | 4336.668
16.85 | 4326.696
16.9 | 4316.751
16.95 | 4306.83
17 | 4296.936
17.05 | 4287.066
17.1 | 4277.223
17.15 | 4267.407
17.2 | 4257.615
17.25 | 4247.847
17.3 | 4238.106
17.35 | 4228.392
17.4 | 4218.699
17.45 | 4209.036
17.5 | 4199.394
17.55 | 4189.779
17.6 | 4180.188
17.65 | 4170.621
17.7 | 4161.081
17.75 | 4151.565
17.8 | 4142.073
17.85 | 4132.605
17.9 | 4123.161
17.95 | 4113.744
18 | 4104.351
18.05 | 4094.979
18.1 | 4085.634
18.15 | 4076.313
18.2 | 4067.016
18.25 | 4057.743
18.3 | 4048.491
18.35 | 4039.266
18.4 | 4030.065
18.45 | 4020.885
18.5 | 4011.732
18.55 | 4002.6
18.6 | 3993.492
18.65 | 3984.408
18.7 | 3975.348
18.75 | 3966.312
18.8 | 3957.297
18.85 | 3948.306
18.9 | 3939.339
18.95 | 3930.393
19 | 3921.471
19.05 | 3912.573
19.1 | 3903.696
19.15 | 3894.843
19.2 | 3886.011
19.25 | 3877.203
19.3 | 3868.419
19.35 | 3859.656
19.4 | 3850.914
19.45 | 3842.199
19.5 | 3833.502
19.55 | 3824.829
19.6 | 3816.177
19.65 | 3807.549
19.7 | 3798.942
19.75 | 3790.356
19.8 | 3781.794
19.85 | 3773.253
19.9 | 3764.733
19.95 | 3756.237
20 | 3747.759
20.05 | 3739.305
20.1 | 3730.872
20.15 | 3722.463
20.2 | 3714.072
20.25 | 3705.705
20.3 | 3697.356
20.35 | 3689.031
20.4 | 3680.727
20.45 | 3672.444
20.5 | 3664.182
20.55 | 3655.941
20.6 | 3647.721
20.65 | 3639.522
20.7 | 3631.344
20.75 | 3623.187
20.8 | 3615.051
20.85 | 3606.933
20.9 | 3598.839
20.95 | 3590.763
21 | 3582.708
21.05 | 3574.674
21.1 | 3566.661
21.15 | 3558.669
21.2 | 3550.695
21.25 | 3542.742
21.3 | 3534.81
21.35 | 3526.899
21.4 | 3519.006
21.45 | 3511.134
21.5 | 3503.28
21.55 | 3495.45
21.6 | 3487.635
21.65 | 3479.844
21.7 | 3472.071
21.75 | 3464.316
21.8 | 3456.582
21.85 | 3448.869
21.9 | 3441.174
21.95 | 3433.5
22 | 3425.844
22.05 | 3418.206
22.1 | 3410.589
22.15 | 3402.99
22.2 | 3395.412
22.25 | 3387.852
22.3 | 3380.31
22.35 | 3372.789
22.4 | 3365.286
22.45 | 3357.801
22.5 | 3350.337
22.55 | 3342.891
22.6 | 3335.463
22.65 | 3328.056
22.7 | 3320.664
22.75 | 3313.293
22.8 | 3305.94
22.85 | 3298.605
22.9 | 3291.288
22.95 | 3283.992
23 | 3276.711
23.05 | 3269.451
23.1 | 3262.209
23.15 | 3254.982
23.2 | 3247.776
23.25 | 3240.588
23.3 | 3233.418
23.35 | 3226.266
23.4 | 3219.132
23.45 | 3212.013
23.5 | 3204.915
23.55 | 3197.835
23.6 | 3190.77
23.65 | 3183.726
23.7 | 3176.697
23.75 | 3169.686
23.8 | 3162.693
23.85 | 3155.718
23.9 | 3148.761
23.95 | 3141.819
24 | 3134.898
24.05 | 3127.992
24.1 | 3121.101
24.15 | 3114.231
24.2 | 3107.376
24.25 | 3100.539
24.3 | 3093.72
24.35 | 3086.916
24.4 | 3080.13
24.45 | 3073.359
24.5 | 3066.606
24.55 | 3059.871
24.6 | 3053.154
24.65 | 3046.452
24.7 | 3039.765
24.75 | 3033.096
24.8 | 3026.445
24.85 | 3019.809
24.9 | 3013.188
24.95 | 3006.585
25 | 3000
25.05 | 2993.43
25.1 | 2986.875
25.15 | 2980.338
25.2 | 2973.819
25.25 | 2967.312
25.3 | 2960.823
25.35 | 2954.352
25.4 | 2947.893
25.45 | 2941.455
25.5 | 2935.029
25.55 | 2928.621
25.6 | 2922.228
25.65 | 2915.85
25.7 | 2909.487
25.75 | 2903.142
25.8 | 2896.812
25.85 | 2890.497
25.9 | 2884.2
25.95 | 2877.918
26 | 2871.648
26.05 | 2865.396
26.1 | 2859.159
26.15 | 2852.94
26.2 | 2846.733
26.25 | 2840.544
26.3 | 2834.367
26.35 | 2828.208
26.4 | 2822.061
26.45 | 2815.932
26.5 | 2809.818
26.55 | 2803.719
26.6 | 2797.635
26.65 | 2791.563
26.7 | 2785.509
26.75 | 2779.47
26.8 | 2773.446
26.85 | 2767.434
26.9 | 2761.44
26.95 | 2755.458
27 | 2749.494
27.05 | 2743.542
27.1 | 2737.605
27.15 | 2731.683
27.2 | 2725.776
27.25 | 2719.884
27.3 | 2714.004
27.35 | 2708.139
27.4 | 2702.292
27.45 | 2696.454
27.5 | 2690.634
27.55 | 2684.826
27.6 | 2679.036
27.65 | 2673.255
27.7 | 2667.492
27.75 | 2661.741
27.8 | 2656.005
27.85 | 2650.284
27.9 | 2644.575
27.95 | 2638.881
28 | 2633.202
28.05 | 2627.535
28.1 | 2621.883
28.15 | 2616.243
28.2 | 2610.618
28.25 | 2605.008
28.3 | 2599.41
28.35 | 2593.827
28.4 | 2588.256
28.45 | 2582.7
28.5 | 2577.156
28.55 | 2571.627
28.6 | 2566.11
28.65 | 2560.608
28.7 | 2555.118
28.75 | 2549.643
28.8 | 2544.18
28.85 | 2538.732
28.9 | 2533.296
28.95 | 2527.872
29 | 2522.463
29.05 | 2517.066
29.1 | 2511.684
29.15 | 2506.314
29.2 | 2500.956
29.25 | 2495.61
29.3 | 2490.279
29.35 | 2484.963
29.4 | 2479.656
29.45 | 2474.364
29.5 | 2469.084
29.55 | 2463.816
29.6 | 2458.563
29.65 | 2453.322
29.7 | 2448.093
29.75 | 2442.876
29.8 | 2437.674
29.85 | 2432.481
29.9 | 2427.303
29.95 | 2422.137
30 | 2416.983
30.05 | 2411.844
30.1 | 2406.714
30.15 | 2401.599
30.2 | 2396.496
30.25 | 2391.405
30.3 | 2386.326
30.35 | 2381.259
30.4 | 2376.204
30.45 | 2371.161
30.5 | 2366.13
30.55 | 2361.111
30.6 | 2356.107
30.65 | 2351.112
30.7 | 2346.129
30.75 | 2341.161
30.8 | 2336.202
30.85 | 2331.255
30.9 | 2326.323
30.95 | 2321.4
31 | 2316.489
31.05 | 2311.59
31.1 | 2306.703
31.15 | 2301.828
31.2 | 2296.965
31.25 | 2292.114
31.3 | 2287.272
31.35 | 2282.445
31.4 | 2277.627
31.45 | 2272.821
31.5 | 2268.027
31.55 | 2263.245
31.6 | 2258.475
31.65 | 2253.717
31.7 | 2248.968
31.75 | 2244.231
31.8 | 2239.506
31.85 | 2234.793
31.9 | 2230.089
31.95 | 2225.397
32 | 2220.717
32.05 | 2216.049
32.1 | 2211.39
32.15 | 2206.743
32.2 | 2202.108
32.25 | 2197.482
32.3 | 2192.868
32.35 | 2188.266
32.4 | 2183.676
32.45 | 2179.095
32.5 | 2174.526
32.55 | 2169.966
32.6 | 2165.418
32.65 | 2160.882
32.7 | 2156.355
32.75 | 2151.84
32.8 | 2147.334
32.85 | 2142.84
32.9 | 2138.358
32.95 | 2133.885
33 | 2129.421
33.05 | 2124.972
33.1 | 2120.529
33.15 | 2116.101
33.2 | 2111.679
33.25 | 2107.272
33.3 | 2102.871
33.35 | 2098.485
33.4 | 2094.105
33.45 | 2089.737
33.5 | 2085.381
33.55 | 2081.034
33.6 | 2076.699
33.65 | 2072.37
33.7 | 2068.056
33.75 | 2063.751
33.8 | 2059.455
33.85 | 2055.168
33.9 | 2050.893
33.95 | 2046.627
34 | 2042.373
34.05 | 2038.128
34.1 | 2033.892
34.15 | 2029.668
34.2 | 2025.453
34.25 | 2021.247
34.3 | 2017.053
34.35 | 2012.868
34.4 | 2008.692
34.45 | 2004.528
34.5 | 2000.373
34.55 | 1996.227
34.6 | 1992.09
34.65 | 1987.965
34.7 | 1983.846
34.75 | 1979.742
34.8 | 1975.644
34.85 | 1971.555
34.9 | 1967.478
34.95 | 1963.41
35 | 1959.351
35.05 | 1955.301
35.1 | 1951.263
35.15 | 1947.231
35.2 | 1943.211
35.25 | 1939.2
35.3 | 1935.198
35.35 | 1931.205
35.4 | 1927.224
35.45 | 1923.249
35.5 | 1919.286
35.55 | 1915.329
35.6 | 1911.384
35.65 | 1907.448
35.7 | 1903.521
35.75 | 1899.603
35.8 | 1895.694
35.85 | 1891.794
35.9 | 1887.903
35.95 | 1884.021
36 | 1880.151
36.05 | 1876.287
36.1 | 1872.432
36.15 | 1868.586
36.2 | 1864.749
36.25 | 1860.924
36.3 | 1857.105
36.35 | 1853.295
36.4 | 1849.494
36.45 | 1845.702
36.5 | 1841.919
36.55 | 1838.145
36.6 | 1834.38
36.65 | 1830.624
36.7 | 1826.877
36.75 | 1823.139
36.8 | 1819.407
36.85 | 1815.687
36.9 | 1811.973
36.95 | 1808.268
37 | 1804.575
37.05 | 1800.888
37.1 | 1797.21
37.15 | 1793.538
37.2 | 1789.878
37.25 | 1786.224
37.3 | 1782.579
37.35 | 1778.946
37.4 | 1775.316
37.45 | 1771.698
37.5 | 1768.089
37.55 | 1764.486
37.6 | 1760.892
37.65 | 1757.307
37.7 | 1753.728
37.75 | 1750.161
37.8 | 1746.6
37.85 | 1743.048
37.9 | 1739.505
37.95 | 1735.968
38 | 1732.44
38.05 | 1728.921
38.1 | 1725.408
38.15 | 1721.907
38.2 | 1718.412
38.25 | 1714.923
38.3 | 1711.446
38.35 | 1707.975
38.4 | 1704.51
38.45 | 1701.057
38.5 | 1697.61
38.55 | 1694.169
38.6 | 1690.74
38.65 | 1687.317
38.7 | 1683.9
38.75 | 1680.495
38.8 | 1677.093
38.85 | 1673.703
38.9 | 1670.319
38.95 | 1666.944
39 | 1663.575
39.05 | 1660.215
39.1 | 1656.861
39.15 | 1653.516
39.2 | 1650.18
39.25 | 1646.85
39.3 | 1643.526
39.35 | 1640.214
39.4 | 1636.905
39.45 | 1633.608
39.5 | 1630.314
39.55 | 1627.032
39.6 | 1623.756
39.65 | 1620.486
39.7 | 1617.225
39.75 | 1613.97
39.8 | 1610.724
39.85 | 1607.484
39.9 | 1604.253
39.95 | 1601.028
40 | 1597.812
40.05 | 1594.602
40.1 | 1591.401
40.15 | 1588.206
40.2 | 1585.02
40.25 | 1581.84
40.3 | 1578.666
40.35 | 1575.501
40.4 | 1572.342
40.45 | 1569.192
40.5 | 1566.048
40.55 | 1562.91
40.6 | 1559.781
40.65 | 1556.658
40.7 | 1553.544
40.75 | 1550.436
40.8 | 1547.334
40.85 | 1544.238
40.9 | 1541.151
40.95 | 1538.073
41 | 1535.001
41.05 | 1531.935
41.1 | 1528.875
41.15 | 1525.824
41.2 | 1522.779
41.25 | 1519.74
41.3 | 1516.71
41.35 | 1513.683
41.4 | 1510.668
41.45 | 1507.656
41.5 | 1504.653
41.55 | 1501.656
41.6 | 1498.665
41.65 | 1495.683
41.7 | 1492.707
41.75 | 1489.737
41.8 | 1486.773
41.85 | 1483.818
41.9 | 1480.869
41.95 | 1477.926
42 | 1474.989
42.05 | 1472.058
42.1 | 1469.136
42.15 | 1466.22
42.2 | 1463.31
42.25 | 1460.406
42.3 | 1457.511
42.35 | 1454.622
42.4 | 1451.736
42.45 | 1448.862
42.5 | 1445.991
42.55 | 1443.126
42.6 | 1440.27
42.65 | 1437.417
42.7 | 1434.573
42.75 | 1431.735
42.8 | 1428.903
42.85 | 1426.08
42.9 | 1423.26
42.95 | 1420.446
43 | 1417.641
43.05 | 1414.842
43.1 | 1412.049
43.15 | 1409.259
43.2 | 1406.478
43.25 | 1403.706
43.3 | 1400.937
43.35 | 1398.174
43.4 | 1395.417
43.45 | 1392.669
43.5 | 1389.924
43.55 | 1387.188
43.6 | 1384.455
43.65 | 1381.731
43.7 | 1379.013
43.75 | 1376.298
43.8 | 1373.592
43.85 | 1370.892
43.9 | 1368.198
43.95 | 1365.507
44 | 1362.825
44.05 | 1360.149
44.1 | 1357.479
44.15 | 1354.815
44.2 | 1352.154
44.25 | 1349.502
44.3 | 1346.856
44.35 | 1344.216
44.4 | 1341.579
44.45 | 1338.951
44.5 | 1336.329
44.55 | 1333.71
44.6 | 1331.1
44.65 | 1328.493
44.7 | 1325.895
44.75 | 1323.3
44.8 | 1320.711
44.85 | 1318.131
44.9 | 1315.554
44.95 | 1312.983
45 | 1310.418
45.05 | 1307.859
45.1 | 1305.306
45.15 | 1302.756
45.2 | 1300.215
45.25 | 1297.677
45.3 | 1295.148
45.35 | 1292.622
45.4 | 1290.102
45.45 | 1287.588
45.5 | 1285.08
45.55 | 1282.578
45.6 | 1280.079
45.65 | 1277.589
45.7 | 1275.102
45.75 | 1272.621
45.8 | 1270.146
45.85 | 1267.677
45.9 | 1265.214
45.95 | 1262.754
46 | 1260.3
46.05 | 1257.852
46.1 | 1255.41
46.15 | 1252.974
46.2 | 1250.541
46.25 | 1248.117
46.3 | 1245.696
46.35 | 1243.281
46.4 | 1240.869
46.45 | 1238.466
46.5 | 1236.066
46.55 | 1233.672
46.6 | 1231.284
46.65 | 1228.899
46.7 | 1226.523
46.75 | 1224.15
46.8 | 1221.78
46.85 | 1219.419
46.9 | 1217.061
46.95 | 1214.709
47 | 1212.363
47.05 | 1210.02
47.1 | 1207.686
47.15 | 1205.355
47.2 | 1203.027
47.25 | 1200.708
47.3 | 1198.392
47.35 | 1196.079
47.4 | 1193.775
47.45 | 1191.474
47.5 | 1189.179
47.55 | 1186.887
47.6 | 1184.601
47.65 | 1182.321
47.7 | 1180.047
47.75 | 1177.776
47.8 | 1175.511
47.85 | 1173.252
47.9 | 1170.996
47.95 | 1168.746
48 | 1166.499
48.05 | 1164.258
48.1 | 1162.023
48.15 | 1159.791
48.2 | 1157.568
48.25 | 1155.345
48.3 | 1153.131
48.35 | 1150.917
48.4 | 1148.712
48.45 | 1146.51
48.5 | 1144.314
48.55 | 1142.121
48.6 | 1139.934
48.65 | 1137.753
48.7 | 1135.575
48.75 | 1133.403
48.8 | 1131.234
48.85 | 1129.071
48.9 | 1126.914
48.95 | 1124.76
49 | 1122.609
49.05 | 1120.464
49.1 | 1118.325
49.15 | 1116.192
49.2 | 1114.059
49.25 | 1111.935
49.3 | 1109.814
49.35 | 1107.696
49.4 | 1105.584
49.45 | 1103.478
49.5 | 1101.375
49.55 | 1099.278
49.6 | 1097.184
49.65 | 1095.096
49.7 | 1093.011
49.75 | 1090.932
49.8 | 1088.856
49.85 | 1086.786
49.9 | 1084.719
49.95 | 1082.658
50 | 1080.6
50.05 | 1078.548
50.1 | 1076.499
50.15 | 1074.456
50.2 | 1072.416
50.25 | 1070.382
50.3 | 1068.351
50.35 | 1066.323
50.4 | 1064.301
50.45 | 1062.285
50.5 | 1060.272
50.55 | 1058.262
50.6 | 1056.258
50.65 | 1054.26
50.7 | 1052.262
50.75 | 1050.273
50.8 | 1048.284
50.85 | 1046.304
50.9 | 1044.324
50.95 | 1042.35
51 | 1040.379
51.05 | 1038.414
51.1 | 1036.455
51.15 | 1034.496
51.2 | 1032.543
51.25 | 1030.596
51.3 | 1028.652
51.35 | 1026.711
51.4 | 1024.776
51.45 | 1022.844
51.5 | 1020.915
51.55 | 1018.992
51.6 | 1017.072
51.65 | 1015.158
51.7 | 1013.247
51.75 | 1011.339
51.8 | 1009.437
51.85 | 1007.538
51.9 | 1005.642
51.95 | 1003.752
52 | 1001.865
52.05 | 999.984
52.1 | 998.106
52.15 | 996.231
52.2 | 994.362
52.25 | 992.496
52.3 | 990.633
52.35 | 988.773
52.4 | 986.919
52.45 | 985.071
52.5 | 983.223
52.55 | 981.381
52.6 | 979.542
52.65 | 977.709
52.7 | 975.879
52.75 | 974.052
52.8 | 972.228
52.85 | 970.41
52.9 | 968.595
52.95 | 966.783
53 | 964.977
53.05 | 963.174
53.1 | 961.374
53.15 | 959.58
53.2 | 957.786
53.25 | 955.998
53.3 | 954.216
53.35 | 952.434
53.4 | 950.658
53.45 | 948.885
53.5 | 947.118
53.55 | 945.354
53.6 | 943.59
53.65 | 941.835
53.7 | 940.08
53.75 | 938.331
53.8 | 936.585
53.85 | 934.842
53.9 | 933.102
53.95 | 931.368
54 | 929.637
54.05 | 927.909
54.1 | 926.184
54.15 | 924.465
54.2 | 922.746
54.25 | 921.033
54.3 | 919.326
54.35 | 917.619
54.4 | 915.918
54.45 | 914.22
54.5 | 912.525
54.55 | 910.833
54.6 | 909.144
54.65 | 907.461
54.7 | 905.781
54.75 | 904.104
54.8 | 902.43
54.85 | 900.759
54.9 | 899.094
54.95 | 897.432
55 | 895.773
55.05 | 894.117
55.1 | 892.464
55.15 | 890.814
55.2 | 889.17
55.25 | 887.529
55.3 | 885.891
55.35 | 884.256
55.4 | 882.624
55.45 | 880.995
55.5 | 879.372
55.55 | 877.749
55.6 | 876.132
55.65 | 874.518
55.7 | 872.907
55.75 | 871.302
55.8 | 869.697
55.85 | 868.095
55.9 | 866.499
55.95 | 864.906
56 | 863.316
56.05 | 861.729
56.1 | 860.145
56.15 | 858.564
56.2 | 856.986
56.25 | 855.414
56.3 | 853.842
56.35 | 852.276
56.4 | 850.71
56.45 | 849.15
56.5 | 847.593
56.55 | 846.039
56.6 | 844.488
56.65 | 842.943
56.7 | 841.398
56.75 | 839.856
56.8 | 838.32
56.85 | 836.784
56.9 | 835.254
56.95 | 833.724
57 | 832.2
57.05 | 830.679
57.1 | 829.161
57.15 | 827.646
57.2 | 826.134
57.25 | 824.625
57.3 | 823.119
57.35 | 821.616
57.4 | 820.116
57.45 | 818.619
57.5 | 817.128
57.55 | 815.637
57.6 | 814.149
57.65 | 812.667
57.7 | 811.185
57.75 | 809.709
57.8 | 808.233
57.85 | 806.763
57.9 | 805.293
57.95 | 803.829
58 | 802.365
58.05 | 800.907
58.1 | 799.452
58.15 | 797.997
58.2 | 796.548
58.25 | 795.102
58.3 | 793.656
58.35 | 792.216
58.4 | 790.779
58.45 | 789.342
58.5 | 787.911
58.55 | 786.483
58.6 | 785.055
58.65 | 783.633
58.7 | 782.214
58.75 | 780.795
58.8 | 779.382
58.85 | 777.969
58.9 | 776.562
58.95 | 775.155
59 | 773.754
59.05 | 772.353
59.1 | 770.958
59.15 | 769.563
59.2 | 768.174
59.25 | 766.785
59.3 | 765.399
59.35 | 764.019
59.4 | 762.639
59.45 | 761.262
59.5 | 759.888
59.55 | 758.517
59.6 | 757.149
59.65 | 755.784
59.7 | 754.422
59.75 | 753.063
59.8 | 751.707
59.85 | 750.351
59.9 | 749.001
59.95 | 747.654
60 | 746.307
60.05 | 744.966
60.1 | 743.625
60.15 | 742.287
60.2 | 740.955
60.25 | 739.623
60.3 | 738.294
60.35 | 736.968
60.4 | 735.645
60.45 | 734.322
60.5 | 733.005
60.55 | 731.691
60.6 | 730.377
60.65 | 729.069
60.7 | 727.761
60.75 | 726.456
60.8 | 725.154
60.85 | 723.855
60.9 | 722.559
60.95 | 721.266
61 | 719.973
61.05 | 718.686
61.1 | 717.399
61.15 | 716.118
61.2 | 714.837
61.25 | 713.559
61.3 | 712.284
61.35 | 711.012
61.4 | 709.74
61.45 | 708.474
61.5 | 707.208
61.55 | 705.948
61.6 | 704.688
61.65 | 703.431
61.7 | 702.177
61.75 | 700.923
61.8 | 699.675
61.85 | 698.427
61.9 | 697.185
61.95 | 695.943
62 | 694.704
62.05 | 693.468
62.1 | 692.232
62.15 | 691.002
62.2 | 689.772
62.25 | 688.545
62.3 | 687.324
62.35 | 686.1
62.4 | 684.882
62.45 | 683.667
62.5 | 682.452
62.55 | 681.24
62.6 | 680.031
62.65 | 678.825
62.7 | 677.622
62.75 | 676.419
62.8 | 675.219
62.85 | 674.022
62.9 | 672.828
62.95 | 671.637
63 | 670.449
63.05 | 669.261
63.1 | 668.076
63.15 | 666.894
63.2 | 665.715
63.25 | 664.536
63.3 | 663.363
63.35 | 662.19
63.4 | 661.02
63.45 | 659.853
63.5 | 658.686
63.55 | 657.522
63.6 | 656.364
63.65 | 655.203
63.7 | 654.048
63.75 | 652.896
63.8 | 651.744
63.85 | 650.595
63.9 | 649.449
63.95 | 648.303
64 | 647.163
64.05 | 646.023
64.1 | 644.886
64.15 | 643.749
64.2 | 642.618
64.25 | 641.487
64.3 | 640.359
64.35 | 639.231
64.4 | 638.109
64.45 | 636.987
64.5 | 635.868
64.55 | 634.752
64.6 | 633.636
64.65 | 632.526
64.7 | 631.416
64.75 | 630.306
64.8 | 629.202
64.85 | 628.098
64.9 | 626.997
64.95 | 625.899
65 | 624.801
65.05 | 623.706
65.1 | 622.614
65.15 | 621.525
65.2 | 620.436
65.25 | 619.35
65.3 | 618.267
65.35 | 617.187
65.4 | 616.107
65.45 | 615.03
65.5 | 613.956
65.55 | 612.882
65.6 | 611.811
65.65 | 610.743
65.7 | 609.678
65.75 | 608.613
65.8 | 607.551
65.85 | 606.492
65.9 | 605.436
65.95 | 604.38
66 | 603.327
66.05 | 602.274
66.1 | 601.224
66.15 | 600.177
66.2 | 599.133
66.25 | 598.092
66.3 | 597.051
66.35 | 596.01
66.4 | 594.975
66.45 | 593.94
66.5 | 592.908
66.55 | 591.876
66.6 | 590.85
66.65 | 589.824
66.7 | 588.798
66.75 | 587.778
66.8 | 586.755
66.85 | 585.738
66.9 | 584.721
66.95 | 583.707
67 | 582.696
67.05 | 581.685
67.1 | 580.677
67.15 | 579.672
67.2 | 578.67
67.25 | 577.668
67.3 | 576.666
67.35 | 575.67
67.4 | 574.674
67.45 | 573.678
67.5 | 572.688
67.55 | 571.698
67.6 | 570.708
67.65 | 569.724
67.7 | 568.74
67.75 | 567.756
67.8 | 566.778
67.85 | 565.797
67.9 | 564.822
67.95 | 563.847
68 | 562.875
68.05 | 561.906
68.1 | 560.937
68.15 | 559.971
68.2 | 559.005
68.25 | 558.042
68.3 | 557.082
68.35 | 556.122
68.4 | 555.165
68.45 | 554.211
68.5 | 553.257
68.55 | 552.306
68.6 | 551.355
68.65 | 550.41
68.7 | 549.462
68.75 | 548.52
68.8 | 547.578
68.85 | 546.636
68.9 | 545.7
68.95 | 544.761
69 | 543.828
69.05 | 542.895
69.1 | 541.965
69.15 | 541.035
69.2 | 540.108
69.25 | 539.184
69.3 | 538.26
69.35 | 537.339
69.4 | 536.418
69.45 | 535.5
69.5 | 534.582
69.55 | 533.67
69.6 | 532.755
69.65 | 531.846
69.7 | 530.937
69.75 | 530.028
69.8 | 529.125
69.85 | 528.219
69.9 | 527.319
69.95 | 526.419
70 | 525.519
70.05 | 524.622
70.1 | 523.728
70.15 | 522.834
70.2 | 521.943
70.25 | 521.055
70.3 | 520.167
70.35 | 519.282
70.4 | 518.397
70.45 | 517.515
70.5 | 516.633
70.55 | 515.754
70.6 | 514.875
70.65 | 514.002
70.7 | 513.126
70.75 | 512.256
70.8 | 511.383
70.85 | 510.516
70.9 | 509.649
70.95 | 508.782
71 | 507.918
71.05 | 507.057
71.1 | 506.196
71.15 | 505.338
71.2 | 504.48
71.25 | 503.625
71.3 | 502.773
71.35 | 501.921
71.4 | 501.069
71.45 | 500.22
71.5 | 499.374
71.55 | 498.528
71.6 | 497.685
71.65 | 496.842
71.7 | 496.002
71.75 | 495.165
71.8 | 494.328
71.85 | 493.491
71.9 | 492.657
71.95 | 491.826
72 | 490.995
72.05 | 490.167
72.1 | 489.339
72.15 | 488.514
72.2 | 487.689
72.25 | 486.867
72.3 | 486.045
72.35 | 485.226
72.4 | 484.407
72.45 | 483.591
72.5 | 482.778
72.55 | 481.965
72.6 | 481.152
72.65 | 480.345
72.7 | 479.535
72.75 | 478.728
72.8 | 477.924
72.85 | 477.12
72.9 | 476.319
72.95 | 475.518
73 | 474.72
73.05 | 473.922
73.1 | 473.127
73.15 | 472.332
73.2 | 471.54
73.25 | 470.748
73.3 | 469.959
73.35 | 469.17
73.4 | 468.384
73.45 | 467.598
73.5 | 466.815
73.55 | 466.032
73.6 | 465.252
73.65 | 464.475
73.7 | 463.695
73.75 | 462.921
73.8 | 462.147
73.85 | 461.373
73.9 | 460.602
73.95 | 459.831
74 | 459.063
74.05 | 458.295
74.1 | 457.53
74.15 | 456.765
74.2 | 456.003
74.25 | 455.241
74.3 | 454.482
74.35 | 453.726
74.4 | 452.967
74.45 | 452.214
74.5 | 451.458
74.55 | 450.705
74.6 | 449.955
74.65 | 449.205
74.7 | 448.458
74.75 | 447.711
74.8 | 446.967
74.85 | 446.223
74.9 | 445.479
74.95 | 444.738
75 | 444
75.05 | 443.259
75.1 | 442.521
75.15 | 441.786
75.2 | 441.048
75.25 | 440.316
75.3 | 439.581
75.35 | 438.852
75.4 | 438.12
75.45 | 437.394
75.5 | 436.665
75.55 | 435.939
75.6 | 435.216
75.65 | 434.493
75.7 | 433.773
75.75 | 433.053
75.8 | 432.333
75.85 | 431.616
75.9 | 430.899
75.95 | 430.185
76 | 429.474
76.05 | 428.76
76.1 | 428.052
76.15 | 427.341
76.2 | 426.633
76.25 | 425.928
76.3 | 425.223
76.35 | 424.521
76.4 | 423.819
76.45 | 423.117
76.5 | 422.418
76.55 | 421.719
76.6 | 421.023
76.65 | 420.327
76.7 | 419.634
76.75 | 418.941
76.8 | 418.251
76.85 | 417.561
76.9 | 416.871
76.95 | 416.184
77 | 415.497
77.05 | 414.813
77.1 | 414.129
77.15 | 413.448
77.2 | 412.767
77.25 | 412.089
77.3 | 411.408
77.35 | 410.733
77.4 | 410.058
77.45 | 409.383
77.5 | 408.711
77.55 | 408.039
77.6 | 407.367
77.65 | 406.698
77.7 | 406.032
77.75 | 405.366
77.8 | 404.7
77.85 | 404.034
77.9 | 403.374
77.95 | 402.711
78 | 402.051
78.05 | 401.391
78.1 | 400.734
78.15 | 400.077
78.2 | 399.423
78.25 | 398.769
78.3 | 398.118
78.35 | 397.467
78.4 | 396.816
78.45 | 396.168
78.5 | 395.52
78.55 | 394.872
78.6 | 394.227
78.65 | 393.585
78.7 | 392.94
78.75 | 392.301
78.8 | 391.659
78.85 | 391.02
78.9 | 390.384
78.95 | 389.745
79 | 389.112
79.05 | 388.476
79.1 | 387.843
79.15 | 387.213
79.2 | 386.58
79.25 | 385.953
79.3 | 385.323
79.35 | 384.696
79.4 | 384.072
79.45 | 383.448
79.5 | 382.824
79.55 | 382.2
79.6 | 381.579
79.65 | 380.961
79.7 | 380.343
79.75 | 379.725
79.8 | 379.107
79.85 | 378.492
79.9 | 377.88
79.95 | 377.265
80 | 376.653
80.05 | 376.044
80.1 | 375.435
80.15 | 374.826
80.2 | 374.22
80.25 | 373.614
80.3 | 373.008
80.35 | 372.405
80.4 | 371.802
80.45 | 371.202
80.5 | 370.602
80.55 | 370.002
80.6 | 369.405
80.65 | 368.808
80.7 | 368.211
80.75 | 367.617
80.8 | 367.023
80.85 | 366.432
80.9 | 365.841
80.95 | 365.25
81 | 364.662
81.05 | 364.074
81.1 | 363.486
81.15 | 362.901
81.2 | 362.316
81.25 | 361.734
81.3 | 361.152
81.35 | 360.57
81.4 | 359.991
81.45 | 359.412
81.5 | 358.833
81.55 | 358.257
81.6 | 357.681
81.65 | 357.105
81.7 | 356.532
81.75 | 355.959
81.8 | 355.389
81.85 | 354.819
81.9 | 354.249
81.95 | 353.682
82 | 353.112
82.05 | 352.548
82.1 | 351.981
82.15 | 351.417
82.2 | 350.856
82.25 | 350.295
82.3 | 349.734
82.35 | 349.173
82.4 | 348.615
82.45 | 348.057
82.5 | 347.499
82.55 | 346.944
82.6 | 346.389
82.65 | 345.837
82.7 | 345.285
82.75 | 344.733
82.8 | 344.181
82.85 | 343.632
82.9 | 343.083
82.95 | 342.537
83 | 341.991
83.05 | 341.445
83.1 | 340.902
83.15 | 340.359
83.2 | 339.816
83.25 | 339.276
83.3 | 338.733
83.35 | 338.196
83.4 | 337.656
83.45 | 337.119
83.5 | 336.585
83.55 | 336.048
83.6 | 335.514
83.65 | 334.98
83.7 | 334.449
83.75 | 333.918
83.8 | 333.387
83.85 | 332.859
83.9 | 332.331
83.95 | 331.803
84 | 331.275
84.05 | 330.75
84.1 | 330.225
84.15 | 329.703
84.2 | 329.181
84.25 | 328.659
84.3 | 328.14
84.35 | 327.618
84.4 | 327.102
84.45 | 326.583
84.5 | 326.067
84.55 | 325.551
84.6 | 325.035
84.65 | 324.522
84.7 | 324.009
84.75 | 323.496
84.8 | 322.986
84.85 | 322.476
84.9 | 321.969
84.95 | 321.459
85 | 320.952
85.05 | 320.445
85.1 | 319.941
85.15 | 319.437
85.2 | 318.933
85.25 | 318.429
85.3 | 317.928
85.35 | 317.427
85.4 | 316.929
85.45 | 316.431
85.5 | 315.933
85.55 | 315.435
85.6 | 314.94
85.65 | 314.445
85.7 | 313.95
85.75 | 313.455
85.8 | 312.963
85.85 | 312.471
85.9 | 311.982
85.95 | 311.493
86 | 311.004
86.05 | 310.515
86.1 | 310.029
86.15 | 309.543
86.2 | 309.057
86.25 | 308.574
86.3 | 308.088
86.35 | 307.608
86.4 | 307.125
86.45 | 306.645
86.5 | 306.165
86.55 | 305.685
86.6 | 305.208
86.65 | 304.731
86.7 | 304.254
86.75 | 303.777
86.8 | 303.303
86.85 | 302.829
86.9 | 302.358
86.95 | 301.884
87 | 301.413
87.05 | 300.942
87.1 | 300.474
87.15 | 300.006
87.2 | 299.538
87.25 | 299.07
87.3 | 298.605
87.35 | 298.14
87.4 | 297.675
87.45 | 297.21
87.5 | 296.748
87.55 | 296.286
87.6 | 295.827
87.65 | 295.365
87.7 | 294.906
87.75 | 294.447
87.8 | 293.991
87.85 | 293.535
87.9 | 293.079
87.95 | 292.623
88 | 292.167
88.05 | 291.714
88.1 | 291.261
88.15 | 290.811
88.2 | 290.361
88.25 | 289.908
88.3 | 289.461
88.35 | 289.011
88.4 | 288.564
88.45 | 288.117
88.5 | 287.67
88.55 | 287.226
88.6 | 286.782
88.65 | 286.338
88.7 | 285.894
88.75 | 285.453
88.8 | 285.012
88.85 | 284.571
88.9 | 284.13
88.95 | 283.692
89 | 283.254
89.05 | 282.816
89.1 | 282.381
89.15 | 281.946
89.2 | 281.511
89.25 | 281.076
89.3 | 280.641
89.35 | 280.209
89.4 | 279.777
89.45 | 279.348
89.5 | 278.916
89.55 | 278.487
89.6 | 278.058
89.65 | 277.632
89.7 | 277.203
89.75 | 276.777
89.8 | 276.351
89.85 | 275.928
89.9 | 275.502
89.95 | 275.079
90 | 274.656
90.05 | 274.236
90.1 | 273.813
90.15 | 273.393
90.2 | 272.973
90.25 | 272.556
90.3 | 272.139
90.35 | 271.719
90.4 | 271.305
90.45 | 270.888
90.5 | 270.474
90.55 | 270.06
90.6 | 269.646
90.65 | 269.232
90.7 | 268.821
90.75 | 268.41
90.8 | 267.999
90.85 | 267.588
90.9 | 267.18
90.95 | 266.772
91 | 266.364
91.05 | 265.956
91.1 | 265.551
91.15 | 265.146
91.2 | 264.741
91.25 | 264.336
91.3 | 263.934
91.35 | 263.532
91.4 | 263.13
91.45 | 262.728
91.5 | 262.329
91.55 | 261.927
91.6 | 261.528
91.65 | 261.132
91.7 | 260.733
91.75 | 260.337
91.8 | 259.941
91.85 | 259.545
91.9 | 259.152
91.95 | 258.756
92 | 258.363
92.05 | 257.97
92.1 | 257.58
92.15 | 257.187
92.2 | 256.797
92.25 | 256.407
92.3 | 256.02
92.35 | 255.63
92.4 | 255.243
92.45 | 254.856
92.5 | 254.469
92.55 | 254.085
92.6 | 253.698
92.65 | 253.314
92.7 | 252.93
92.75 | 252.549
92.8 | 252.165
92.85 | 251.784
92.9 | 251.403
92.95 | 251.022
93 | 250.644
93.05 | 250.266
93.1 | 249.885
93.15 | 249.51
93.2 | 249.132
93.25 | 248.757
93.3 | 248.379
93.35 | 248.007
93.4 | 247.632
93.45 | 247.257
93.5 | 246.885
93.55 | 246.513
93.6 | 246.141
93.65 | 245.772
93.7 | 245.4
93.75 | 245.031
93.8 | 244.662
93.85 | 244.293
93.9 | 243.927
93.95 | 243.558
94 | 243.192
94.05 | 242.826
94.1 | 242.463
94.15 | 242.097
94.2 | 241.734
94.25 | 241.371
94.3 | 241.008
94.35 | 240.648
94.4 | 240.285
94.45 | 239.925
94.5 | 239.565
94.55 | 239.205
94.6 | 238.848
94.65 | 238.488
94.7 | 238.131
94.75 | 237.774
94.8 | 237.42
94.85 | 237.063
94.9 | 236.709
94.95 | 236.355
95 | 236.001
95.05 | 235.647
95.1 | 235.296
95.15 | 234.945
95.2 | 234.594
95.25 | 234.243
95.3 | 233.892
95.35 | 233.544
95.4 | 233.193
95.45 | 232.845
95.5 | 232.5
95.55 | 232.152
95.6 | 231.807
95.65 | 231.459
95.7 | 231.114
95.75 | 230.769
95.8 | 230.427
95.85 | 230.082
95.9 | 229.74
95.95 | 229.398
96 | 229.056
96.05 | 228.717
96.1 | 228.375
96.15 | 228.036
96.2 | 227.697
96.25 | 227.358
96.3 | 227.022
96.35 | 226.683
96.4 | 226.347
96.45 | 226.011
96.5 | 225.675
96.55 | 225.342
96.6 | 225.006
96.65 | 224.673
96.7 | 224.34
96.75 | 224.007
96.8 | 223.674
96.85 | 223.344
96.9 | 223.014
96.95 | 222.681
97 | 222.354
97.05 | 222.024
97.1 | 221.694
97.15 | 221.367
97.2 | 221.04
97.25 | 220.713
97.3 | 220.386
97.35 | 220.062
97.4 | 219.735
97.45 | 219.411
97.5 | 219.087
97.55 | 218.763
97.6 | 218.442
97.65 | 218.118
97.7 | 217.797
97.75 | 217.476
97.8 | 217.155
97.85 | 216.834
97.9 | 216.516
97.95 | 216.195
98 | 215.877
98.05 | 215.559
98.1 | 215.241
98.15 | 214.926
98.2 | 214.608
98.25 | 214.293
98.3 | 213.978
98.35 | 213.663
98.4 | 213.351
98.45 | 213.036
98.5 | 212.724
98.55 | 212.412
98.6 | 212.1
98.65 | 211.788
98.7 | 211.476
98.75 | 211.167
98.8 | 210.855
98.85 | 210.546
98.9 | 210.237
98.95 | 209.931
99 | 209.622
99.05 | 209.316
99.1 | 209.01
99.15 | 208.704
99.2 | 208.398
99.25 | 208.092
99.3 | 207.789
99.35 | 207.483
99.4 | 207.18
99.45 | 206.877
99.5 | 206.574
99.55 | 206.274
99.6 | 205.971
99.65 | 205.671
99.7 | 205.371
99.75 | 205.071
99.8 | 204.771
99.85 | 204.474
99.9 | 204.174
99.95 | 203.877
100 | 203.58
100.05 | 203.283
100.1 | 202.986
100.15 | 202.692
100.2 | 202.395
100.25 | 202.101
100.3 | 201.807
100.35 | 201.513
100.4 | 201.219
100.45 | 200.928
100.5 | 200.637
100.55 | 200.343
100.6 | 200.052
100.65 | 199.761
100.7 | 199.473
100.75 | 199.182
100.8 | 198.894
100.85 | 198.603
100.9 | 198.315
100.95 | 198.027
101 | 197.742
101.05 | 197.454
101.1 | 197.169
101.15 | 196.881
101.2 | 196.596
101.25 | 196.311
101.3 | 196.029
101.35 | 195.744
101.4 | 195.462
101.45 | 195.177
101.5 | 194.895
101.55 | 194.613
101.6 | 194.331
101.65 | 194.052
101.7 | 193.77
101.75 | 193.491
101.8 | 193.212
101.85 | 192.933
101.9 | 192.654
101.95 | 192.375
102 | 192.099
102.05 | 191.82
102.1 | 191.544
102.15 | 191.268
102.2 | 190.992
102.25 | 190.716
102.3 | 190.443
102.35 | 190.167
102.4 | 189.894
102.45 | 189.621
102.5 | 189.348
102.55 | 189.075
102.6 | 188.805
102.65 | 188.532
102.7 | 188.262
102.75 | 187.989
102.8 | 187.719
102.85 | 187.449
102.9 | 187.182
102.95 | 186.912
103 | 186.645
103.05 | 186.375
103.1 | 186.108
103.15 | 185.841
103.2 | 185.574
103.25 | 185.31
103.3 | 185.043
103.35 | 184.779
103.4 | 184.515
103.45 | 184.248
103.5 | 183.984
103.55 | 183.723
103.6 | 183.459
103.65 | 183.198
103.7 | 182.934
103.75 | 182.673
103.8 | 182.412
103.85 | 182.151
103.9 | 181.89
103.95 | 181.632
104 | 181.371
104.05 | 181.113
104.1 | 180.855
104.15 | 180.594
104.2 | 180.339
104.25 | 180.081
104.3 | 179.823
104.35 | 179.568
104.4 | 179.31
104.45 | 179.055
104.5 | 178.8
104.55 | 178.545
104.6 | 178.293
104.65 | 178.038
104.7 | 177.783
104.75 | 177.531
104.8 | 177.279
104.85 | 177.027
104.9 | 176.775
104.95 | 176.523
105 | 176.274
105.05 | 176.022
105.1 | 175.773
105.15 | 175.524
105.2 | 175.275
105.25 | 175.026
105.3 | 174.777
105.35 | 174.528
105.4 | 174.282
105.45 | 174.033
105.5 | 173.787
105.55 | 173.541
105.6 | 173.295
105.65 | 173.049
105.7 | 172.803
105.75 | 172.56
105.8 | 172.314
105.85 | 172.071
105.9 | 171.828
105.95 | 171.585
106 | 171.342
106.05 | 171.099
106.1 | 170.859
106.15 | 170.616
106.2 | 170.376
106.25 | 170.136
106.3 | 169.896
106.35 | 169.656
106.4 | 169.416
106.45 | 169.176
106.5 | 168.939
106.55 | 168.699
106.6 | 168.462
106.65 | 168.225
106.7 | 167.988
106.75 | 167.751
106.8 | 167.514
106.85 | 167.28
106.9 | 167.043
106.95 | 166.809
107 | 166.575
107.05 | 166.341
107.1 | 166.107
107.15 | 165.873
107.2 | 165.639
107.25 | 165.405
107.3 | 165.174
107.35 | 164.943
107.4 | 164.709
107.45 | 164.478
107.5 | 164.247
107.55 | 164.019
107.6 | 163.788
107.65 | 163.557
107.7 | 163.329
107.75 | 163.101
107.8 | 162.87
107.85 | 162.642
107.9 | 162.414
107.95 | 162.189
108 | 161.961
108.05 | 161.733
108.1 | 161.508
108.15 | 161.283
108.2 | 161.055
108.25 | 160.83
108.3 | 160.605
108.35 | 160.383
108.4 | 160.158
108.45 | 159.933
108.5 | 159.711
108.55 | 159.489
108.6 | 159.264
108.65 | 159.042
108.7 | 158.82
108.75 | 158.601
108.8 | 158.379
108.85 | 158.157
108.9 | 157.938
108.95 | 157.716
109 | 157.497
109.05 | 157.278
109.1 | 157.059
109.15 | 156.84
109.2 | 156.624
109.25 | 156.405
109.3 | 156.186
109.35 | 155.97
109.4 | 155.754
109.45 | 155.538
109.5 | 155.322
109.55 | 155.106
109.6 | 154.89
109.65 | 154.674
109.7 | 154.461
109.75 | 154.245
109.8 | 154.032
109.85 | 153.819
109.9 | 153.603
109.95 | 153.393
110 | 153.18
110.05 | 152.967
110.1 | 152.754
110.15 | 152.544
110.2 | 152.331
110.25 | 152.121
110.3 | 151.911
110.35 | 151.701
110.4 | 151.491
110.45 | 151.281
110.5 | 151.071
110.55 | 150.864
110.6 | 150.654
110.65 | 150.447
110.7 | 150.24
110.75 | 150.03
110.8 | 149.823
110.85 | 149.619
110.9 | 149.412
110.95 | 149.205
111 | 148.998
111.05 | 148.794
111.1 | 148.59
111.15 | 148.383
111.2 | 148.179
111.25 | 147.975
111.3 | 147.771
111.35 | 147.567
111.4 | 147.366
111.45 | 147.162
111.5 | 146.961
111.55 | 146.757
111.6 | 146.556
111.65 | 146.355
111.7 | 146.154
111.75 | 145.953
111.8 | 145.752
111.85 | 145.551
111.9 | 145.353
111.95 | 145.152
112 | 144.954
112.05 | 144.756
112.1 | 144.555
112.15 | 144.357
112.2 | 144.159
112.25 | 143.961
112.3 | 143.766
112.35 | 143.568
112.4 | 143.37
112.45 | 143.175
112.5 | 142.98
112.55 | 142.782
112.6 | 142.587
112.65 | 142.392
112.7 | 142.197
112.75 | 142.005
112.8 | 141.81
112.85 | 141.615
112.9 | 141.423
112.95 | 141.228
113 | 141.036
113.05 | 140.844
113.1 | 140.652
113.15 | 140.46
113.2 | 140.268
113.25 | 140.076
113.3 | 139.887
113.35 | 139.695
113.4 | 139.506
113.45 | 139.314
113.5 | 139.125
113.55 | 138.936
113.6 | 138.747
113.65 | 138.558
113.7 | 138.369
113.75 | 138.18
113.8 | 137.994
113.85 | 137.805
113.9 | 137.619
113.95 | 137.43
114 | 137.244
114.05 | 137.058
114.1 | 136.872
114.15 | 136.686
114.2 | 136.5
114.25 | 136.314
114.3 | 136.131
114.35 | 135.945
114.4 | 135.762
114.45 | 135.576
114.5 | 135.393
114.55 | 135.21
114.6 | 135.027
114.65 | 134.844
114.7 | 134.661
114.75 | 134.478
114.8 | 134.298
114.85 | 134.115
114.9 | 133.935
114.95 | 133.752
115 | 133.572
115.05 | 133.392
115.1 | 133.212
115.15 | 133.032
115.2 | 132.852
115.25 | 132.672
115.3 | 132.492
115.35 | 132.315
115.4 | 132.135
115.45 | 131.958
115.5 | 131.778
115.55 | 131.601
115.6 | 131.424
115.65 | 131.247
115.7 | 131.07
115.75 | 130.893
115.8 | 130.716
115.85 | 130.542
115.9 | 130.365
115.95 | 130.191
116 | 130.014
116.05 | 129.84
116.1 | 129.666
116.15 | 129.492
116.2 | 129.318
116.25 | 129.144
116.3 | 128.97
116.35 | 128.796
116.4 | 128.622
116.45 | 128.451
116.5 | 128.277
116.55 | 128.106
116.6 | 127.935
116.65 | 127.764
116.7 | 127.59
116.75 | 127.419
116.8 | 127.251
116.85 | 127.08
116.9 | 126.909
116.95 | 126.738
117 | 126.57
117.05 | 126.399
117.1 | 126.231
117.15 | 126.063
117.2 | 125.892
117.25 | 125.724
117.3 | 125.556
117.35 | 125.388
117.4 | 125.22
117.45 | 125.055
117.5 | 124.887
117.55 | 124.719
117.6 | 124.554
117.65 | 124.386
117.7 | 124.221
117.75 | 124.056
117.8 | 123.891
117.85 | 123.726
117.9 | 123.561
117.95 | 123.396
118 | 123.231
118.05 | 123.066
118.1 | 122.904
118.15 | 122.739
118.2 | 122.577
118.25 | 122.412
118.3 | 122.25
118.35 | 122.088
118.4 | 121.926
118.45 | 121.764
118.5 | 121.602
118.55 | 121.44
118.6 | 121.278
118.65 | 121.116
118.7 | 120.957
118.75 | 120.795
118.8 | 120.636
118.85 | 120.474
118.9 | 120.315
118.95 | 120.156
119 | 119.997
119.05 | 119.838
119.1 | 119.679
119.15 | 119.52
119.2 | 119.361
119.25 | 119.205
119.3 | 119.046
119.35 | 118.887
119.4 | 118.731
119.45 | 118.575
119.5 | 118.416
119.55 | 118.26
119.6 | 118.104
119.65 | 117.948
119.7 | 117.792
119.75 | 117.636
119.8 | 117.48
119.85 | 117.327
119.9 | 117.171
119.95 | 117.015
120 | 116.862
120.05 | 116.709
120.1 | 116.553
120.15 | 116.4
120.2 | 116.247
120.25 | 116.094
120.3 | 115.941
120.35 | 115.788
120.4 | 115.635
120.45 | 115.482
120.5 | 115.332
120.55 | 115.179
120.6 | 115.029
120.65 | 114.876
120.7 | 114.726
120.75 | 114.573
120.8 | 114.423
120.85 | 114.273
120.9 | 114.123
120.95 | 113.973
121 | 113.823
121.05 | 113.673
121.1 | 113.526
121.15 | 113.376
121.2 | 113.226
121.25 | 113.079
121.3 | 112.932
121.35 | 112.782
121.4 | 112.635
121.45 | 112.488
121.5 | 112.341
121.55 | 112.194
121.6 | 112.047
121.65 | 111.9
121.7 | 111.753
121.75 | 111.606
121.8 | 111.459
121.85 | 111.315
121.9 | 111.168
121.95 | 111.024
122 | 110.88
122.05 | 110.733
122.1 | 110.589
122.15 | 110.445
122.2 | 110.301
122.25 | 110.157
122.3 | 110.013
122.35 | 109.869
122.4 | 109.725
122.45 | 109.584
122.5 | 109.44
122.55 | 109.296
122.6 | 109.155
122.65 | 109.014
122.7 | 108.87
122.75 | 108.729
122.8 | 108.588
122.85 | 108.447
122.9 | 108.306
122.95 | 108.165
123 | 108.024
123.05 | 107.883
123.1 | 107.742
123.15 | 107.604
123.2 | 107.463
123.25 | 107.322
123.3 | 107.184
123.35 | 107.046
123.4 | 106.905
123.45 | 106.767
123.5 | 106.629
123.55 | 106.491
123.6 | 106.353
123.65 | 106.215
123.7 | 106.077
123.75 | 105.939
123.8 | 105.801
123.85 | 105.666
123.9 | 105.528
123.95 | 105.39
124 | 105.255
124.05 | 105.12
124.1 | 104.982
124.15 | 104.847
124.2 | 104.712
124.25 | 104.577
124.3 | 104.442
124.35 | 104.307
124.4 | 104.172
124.45 | 104.037
124.5 | 103.902
124.55 | 103.767
124.6 | 103.635
124.65 | 103.5
124.7 | 103.368
124.75 | 103.233
124.8 | 103.101
124.85 | 102.969
124.9 | 102.834
124.95 | 102.702
125 | 102.57
125.05 | 102.438
125.1 | 102.306
125.15 | 102.174
125.2 | 102.042
125.25 | 101.913
125.3 | 101.781
125.35 | 101.649
125.4 | 101.52
125.45 | 101.388
125.5 | 101.259
125.55 | 101.127
125.6 | 100.998
125.65 | 100.869
125.7 | 100.74
125.75 | 100.608
125.8 | 100.479
125.85 | 100.35
125.9 | 100.224
125.95 | 100.095
126 | 99.966
126.05 | 99.837
126.1 | 99.711
126.15 | 99.582
126.2 | 99.456
126.25 | 99.327
126.3 | 99.201
126.35 | 99.072
126.4 | 98.946
126.45 | 98.82
126.5 | 98.694
126.55 | 98.568
126.6 | 98.442
126.65 | 98.316
126.7 | 98.19
126.75 | 98.064
126.8 | 97.938
126.85 | 97.815
126.9 | 97.689
126.95 | 97.563
127 | 97.44
127.05 | 97.317
127.1 | 97.191
127.15 | 97.068
127.2 | 96.945
127.25 | 96.819
127.3 | 96.696
127.35 | 96.573
127.4 | 96.45
127.45 | 96.327
127.5 | 96.204
127.55 | 96.084
127.6 | 95.961
127.65 | 95.838
127.7 | 95.718
127.75 | 95.595
127.8 | 95.472
127.85 | 95.352
127.9 | 95.232
127.95 | 95.109
128 | 94.989
128.05 | 94.869
128.1 | 94.749
128.15 | 94.629
128.2 | 94.509
128.25 | 94.389
128.3 | 94.269
128.35 | 94.149
128.4 | 94.029
128.45 | 93.909
128.5 | 93.792
128.55 | 93.672
128.6 | 93.555
128.65 | 93.435
128.7 | 93.318
128.75 | 93.198
128.8 | 93.081
128.85 | 92.964
128.9 | 92.847
128.95 | 92.727
129 | 92.61
129.05 | 92.493
129.1 | 92.376
129.15 | 92.262
129.2 | 92.145
129.25 | 92.028
129.3 | 91.911
129.35 | 91.797
129.4 | 91.68
129.45 | 91.563
129.5 | 91.449
129.55 | 91.332
129.6 | 91.218
129.65 | 91.104
129.7 | 90.99
129.75 | 90.873
129.8 | 90.759
129.85 | 90.645
129.9 | 90.531
129.95 | 90.417
130 | 90.303
130.05 | 90.189
130.1 | 90.078
130.15 | 89.964
130.2 | 89.85
130.25 | 89.736
130.3 | 89.625
130.35 | 89.511
130.4 | 89.4
130.45 | 89.286
130.5 | 89.175
130.55 | 89.064
130.6 | 88.953
130.65 | 88.839
130.7 | 88.728
130.75 | 88.617
130.8 | 88.506
130.85 | 88.395
130.9 | 88.284
130.95 | 88.173
131 | 88.065
131.05 | 87.954
131.1 | 87.843
131.15 | 87.735
131.2 | 87.624
131.25 | 87.513
131.3 | 87.405
131.35 | 87.297
131.4 | 87.186
131.45 | 87.078
131.5 | 86.97
131.55 | 86.859
131.6 | 86.751
131.65 | 86.643
131.7 | 86.535
131.75 | 86.427
131.8 | 86.319
131.85 | 86.211
131.9 | 86.103
131.95 | 85.998
132 | 85.89
132.05 | 85.782
132.1 | 85.677
132.15 | 85.569
132.2 | 85.464
132.25 | 85.356
132.3 | 85.251
132.35 | 85.143
132.4 | 85.038
132.45 | 84.933
132.5 | 84.828
132.55 | 84.72
132.6 | 84.615
132.65 | 84.51
132.7 | 84.405
132.75 | 84.3
132.8 | 84.195
132.85 | 84.093
132.9 | 83.988
132.95 | 83.883
133 | 83.778
133.05 | 83.676
133.1 | 83.571
133.15 | 83.469
133.2 | 83.364
133.25 | 83.262
133.3 | 83.157
133.35 | 83.055
133.4 | 82.953
133.45 | 82.851
133.5 | 82.746
133.55 | 82.644
133.6 | 82.542
133.65 | 82.44
133.7 | 82.338
133.75 | 82.236
133.8 | 82.134
133.85 | 82.035
133.9 | 81.933
133.95 | 81.831
134 | 81.729
134.05 | 81.63
134.1 | 81.528
134.15 | 81.429
134.2 | 81.327
134.25 | 81.228
134.3 | 81.126
134.35 | 81.027
134.4 | 80.928
134.45 | 80.826
134.5 | 80.727
134.55 | 80.628
134.6 | 80.529
134.65 | 80.43
134.7 | 80.331
134.75 | 80.232
134.8 | 80.133
134.85 | 80.034
134.9 | 79.935
134.95 | 79.839
135 | 79.74