## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
KW503J2 (RESISTANCE VS. TEMPERATURE TABLE)
Temp (°C) | Resistance
Ω (Nominal)
-55 | 4819245
-54.95 | 4801443.9
-54.9 | 4783715.1
-54.85 | 4766058.15
-54.8 | 4748472.85
-54.75 | 4730958.85
-54.7 | 4713515.85
-54.65 | 4696143.5
-54.6 | 4678841.5
-54.55 | 4661609.55
-54.5 | 4644447.35
-54.45 | 4627354.55
-54.4 | 4610330.95
-54.35 | 4593376.1
-54.3 | 4576489.8
-54.25 | 4559671.75
-54.2 | 4542921.6
-54.15 | 4526239.1
-54.1 | 4509623.9
-54.05 | 4493075.75
-54 | 4476594.35
-53.95 | 4460179.4
-53.9 | 4443830.6
-53.85 | 4427547.65
-53.8 | 4411330.3
-53.75 | 4395178.2
-53.7 | 4379091.15
-53.65 | 4363068.85
-53.6 | 4347110.95
-53.55 | 4331217.2
-53.5 | 4315387.35
-53.45 | 4299621.1
-53.4 | 4283918.15
-53.35 | 4268278.3
-53.3 | 4252701.15
-53.25 | 4237186.55
-53.2 | 4221734.15
-53.15 | 4206343.7
-53.1 | 4191014.95
-53.05 | 4175747.65
-53 | 4160541.45
-52.95 | 4145396.15
-52.9 | 4130311.45
-52.85 | 4115287.15
-52.8 | 4100322.9
-52.75 | 4085418.5
-52.7 | 4070573.65
-52.65 | 4055788.1
-52.6 | 4041061.65
-52.55 | 4026394
-52.5 | 4011784.85
-52.45 | 3997234
-52.4 | 3982741.2
-52.35 | 3968306.2
-52.3 | 3953928.75
-52.25 | 3939608.55
-52.2 | 3925345.4
-52.15 | 3911139.05
-52.1 | 3896989.2
-52.05 | 3882895.7
-52 | 3868858.25
-51.95 | 3854876.6
-51.9 | 3840950.55
-51.85 | 3827079.8
-51.8 | 3813264.2
-51.75 | 3799503.4
-51.7 | 3785797.25
-51.65 | 3772145.5
-51.6 | 3758547.9
-51.55 | 3745004.2
-51.5 | 3731514.15
-51.45 | 3718077.6
-51.4 | 3704694.3
-51.35 | 3691363.95
-51.3 | 3678086.35
-51.25 | 3664861.35
-51.2 | 3651688.6
-51.15 | 3638568
-51.1 | 3625499.25
-51.05 | 3612482.1
-51 | 3599516.4
-50.95 | 3586601.9
-50.9 | 3573738.4
-50.85 | 3560925.65
-50.8 | 3548163.45
-50.75 | 3535451.55
-50.7 | 3522789.8
-50.65 | 3510177.9
-50.6 | 3497615.7
-50.55 | 3485103
-50.5 | 3472639.55
-50.45 | 3460225.15
-50.4 | 3447859.55
-50.35 | 3435542.6
-50.3 | 3423274.1
-50.25 | 3411053.8
-50.2 | 3398881.5
-50.15 | 3386757
-50.1 | 3374680.1
-50.05 | 3362650.6
-50 | 3350668.3
-49.95 | 3338733
-49.9 | 3326844.45
-49.85 | 3315002.55
-49.8 | 3303207
-49.75 | 3291457.7
-49.7 | 3279754.35
-49.65 | 3268096.8
-49.6 | 3256484.9
-49.55 | 3244918.4
-49.5 | 3233397.15
-49.45 | 3221920.9
-49.4 | 3210489.5
-49.35 | 3199102.7
-49.3 | 3187760.4
-49.25 | 3176462.4
-49.2 | 3165208.45
-49.15 | 3153998.4
-49.1 | 3142832.05
-49.05 | 3131709.25
-49 | 3120629.8
-48.95 | 3109593.45
-48.9 | 3098600.1
-48.85 | 3087649.55
-48.8 | 3076741.65
-48.75 | 3065876.1
-48.7 | 3055052.85
-48.65 | 3044271.65
-48.6 | 3033532.4
-48.55 | 3022834.8
-48.5 | 3012178.75
-48.45 | 3001564.1
-48.4 | 2990990.6
-48.35 | 2980458.15
-48.3 | 2969966.55
-48.25 | 2959515.6
-48.2 | 2949105.15
-48.15 | 2938735.05
-48.1 | 2928405.1
-48.05 | 2918115.1
-48 | 2907865
-47.95 | 2897654.5
-47.9 | 2887483.5
-47.85 | 2877351.85
-47.8 | 2867259.3
-47.75 | 2857205.8
-47.7 | 2847191.1
-47.65 | 2837215.05
-47.6 | 2827277.5
-47.55 | 2817378.35
-47.5 | 2807517.35
-47.45 | 2797694.35
-47.4 | 2787909.2
-47.35 | 2778161.8
-47.3 | 2768451.9
-47.25 | 2758779.4
-47.2 | 2749144.15
-47.15 | 2739545.95
-47.1 | 2729984.7
-47.05 | 2720460.2
-47 | 2710972.3
-46.95 | 2701520.85
-46.9 | 2692105.7
-46.85 | 2682726.75
-46.8 | 2673383.75
-46.75 | 2664076.65
-46.7 | 2654805.2
-46.65 | 2645569.35
-46.6 | 2636368.9
-46.55 | 2627203.7
-46.5 | 2618073.6
-46.45 | 2608978.45
-46.4 | 2599918.15
-46.35 | 2590892.5
-46.3 | 2581901.4
-46.25 | 2572944.7
-46.2 | 2564022.2
-46.15 | 2555133.85
-46.1 | 2546279.4
-46.05 | 2537458.8
-46 | 2528671.9
-45.95 | 2519918.5
-45.9 | 2511198.5
-45.85 | 2502511.75
-45.8 | 2493858.15
-45.75 | 2485237.55
-45.7 | 2476649.75
-45.65 | 2468094.65
-45.6 | 2459572.2
-45.55 | 2451082.1
-45.5 | 2442624.35
-45.45 | 2434198.8
-45.4 | 2425805.25
-45.35 | 2417443.6
-45.3 | 2409113.75
-45.25 | 2400815.55
-45.2 | 2392548.85
-45.15 | 2384313.5
-45.1 | 2376109.45
-45.05 | 2367936.5
-45 | 2359794.55
-44.95 | 2351683.45
-44.9 | 2343603.1
-44.85 | 2335553.35
-44.8 | 2327534.1
-44.75 | 2319545.2
-44.7 | 2311586.55
-44.65 | 2303658
-44.6 | 2295759.45
-44.55 | 2287890.75
-44.5 | 2280051.8
-44.45 | 2272242.5
-44.4 | 2264462.65
-44.35 | 2256712.2
-44.3 | 2248990.95
-44.25 | 2241298.9
-44.2 | 2233635.85
-44.15 | 2226001.7
-44.1 | 2218396.3
-44.05 | 2210819.55
-44 | 2203271.35
-43.95 | 2195751.6
-43.9 | 2188260.15
-43.85 | 2180796.9
-43.8 | 2173361.7
-43.75 | 2165954.5
-43.7 | 2158575.1
-43.65 | 2151223.45
-43.6 | 2143899.4
-43.55 | 2136602.9
-43.5 | 2129333.75
-43.45 | 2122091.9
-43.4 | 2114877.25
-43.35 | 2107689.65
-43.3 | 2100528.95
-43.25 | 2093395.15
-43.2 | 2086288.05
-43.15 | 2079207.55
-43.1 | 2072153.6
-43.05 | 2065126.05
-43 | 2058124.75
-42.95 | 2051149.7
-42.9 | 2044200.7
-42.85 | 2037277.65
-42.8 | 2030380.5
-42.75 | 2023509.15
-42.7 | 2016663.4
-42.65 | 2009843.25
-42.6 | 2003048.5
-42.55 | 1996279.15
-42.5 | 1989535.05
-42.45 | 1982816.05
-42.4 | 1976122.1
-42.35 | 1969453.1
-42.3 | 1962808.95
-42.25 | 1956189.55
-42.2 | 1949594.75
-42.15 | 1943024.5
-42.1 | 1936478.7
-42.05 | 1929957.2
-42 | 1923460
-41.95 | 1916986.9
-41.9 | 1910537.85
-41.85 | 1904112.75
-41.8 | 1897711.5
-41.75 | 1891334
-41.7 | 1884980.15
-41.65 | 1878649.9
-41.6 | 1872343.1
-41.55 | 1866059.65
-41.5 | 1859799.5
-41.45 | 1853562.55
-41.4 | 1847348.65
-41.35 | 1841157.75
-41.3 | 1834989.8
-41.25 | 1828844.6
-41.2 | 1822722.15
-41.15 | 1816622.35
-41.1 | 1810545.05
-41.05 | 1804490.25
-41 | 1798457.75
-40.95 | 1792447.55
-40.9 | 1786459.5
-40.85 | 1780493.6
-40.8 | 1774549.65
-40.75 | 1768627.6
-40.7 | 1762727.4
-40.65 | 1756848.9
-40.6 | 1750992.1
-40.55 | 1745156.85
-40.5 | 1739343.05
-40.45 | 1733550.65
-40.4 | 1727779.55
-40.35 | 1722029.65
-40.3 | 1716300.9
-40.25 | 1710593.2
-40.2 | 1704906.5
-40.15 | 1699240.65
-40.1 | 1693595.55
-40.05 | 1687971.2
-40 | 1682367.5
-39.95 | 1676784.35
-39.9 | 1671221.65
-39.85 | 1665679.3
-39.8 | 1660157.3
-39.75 | 1654655.5
-39.7 | 1649173.85
-39.65 | 1643712.25
-39.6 | 1638270.65
-39.55 | 1632848.95
-39.5 | 1627447.05
-39.45 | 1622064.9
-39.4 | 1616702.45
-39.35 | 1611359.55
-39.3 | 1606036.15
-39.25 | 1600732.2
-39.2 | 1595447.6
-39.15 | 1590182.25
-39.1 | 1584936.1
-39.05 | 1579709.1
-39 | 1574501.15
-38.95 | 1569312.15
-38.9 | 1564142.05
-38.85 | 1558990.8
-38.8 | 1553858.25
-38.75 | 1548744.4
-38.7 | 1543649.15
-38.65 | 1538572.4
-38.6 | 1533514.15
-38.55 | 1528474.25
-38.5 | 1523452.65
-38.45 | 1518449.25
-38.4 | 1513464.05
-38.35 | 1508496.95
-38.3 | 1503547.85
-38.25 | 1498616.7
-38.2 | 1493703.4
-38.15 | 1488807.9
-38.1 | 1483930.2
-38.05 | 1479070.1
-38 | 1474227.6
-37.95 | 1469402.65
-37.9 | 1464595.15
-37.85 | 1459805.05
-37.8 | 1455032.2
-37.75 | 1450276.65
-37.7 | 1445538.3
-37.65 | 1440817.05
-37.6 | 1436112.85
-37.55 | 1431425.6
-37.5 | 1426755.3
-37.45 | 1422101.8
-37.4 | 1417465.1
-37.35 | 1412845.15
-37.3 | 1408241.8
-37.25 | 1403655.05
-37.2 | 1399084.85
-37.15 | 1394531.05
-37.1 | 1389993.65
-37.05 | 1385472.6
-37 | 1380967.8
-36.95 | 1376479.2
-36.9 | 1372006.7
-36.85 | 1367550.3
-36.8 | 1363109.9
-36.75 | 1358685.45
-36.7 | 1354276.85
-36.65 | 1349884.1
-36.6 | 1345507.1
-36.55 | 1341145.8
-36.5 | 1336800.15
-36.45 | 1332470.05
-36.4 | 1328155.45
-36.35 | 1323856.35
-36.3 | 1319572.6
-36.25 | 1315304.2
-36.2 | 1311051.05
-36.15 | 1306813.1
-36.1 | 1302590.35
-36.05 | 1298382.65
-36 | 1294190
-35.95 | 1290012.35
-35.9 | 1285849.55
-35.85 | 1281701.7
-35.8 | 1277568.6
-35.75 | 1273450.25
-35.7 | 1269346.55
-35.65 | 1265257.55
-35.6 | 1261183.05
-35.55 | 1257123.1
-35.5 | 1253077.65
-35.45 | 1249046.55
-35.4 | 1245029.8
-35.35 | 1241027.35
-35.3 | 1237039.15
-35.25 | 1233065.15
-35.2 | 1229105.25
-35.15 | 1225159.4
-35.1 | 1221227.6
-35.05 | 1217309.75
-35 | 1213405.8
-34.95 | 1209515.7
-34.9 | 1205639.4
-34.85 | 1201776.85
-34.8 | 1197928
-34.75 | 1194092.8
-34.7 | 1190271.2
-34.65 | 1186463.1
-34.6 | 1182668.5
-34.55 | 1178887.3
-34.5 | 1175119.55
-34.45 | 1171365.05
-34.4 | 1167623.9
-34.35 | 1163895.9
-34.3 | 1160181.15
-34.25 | 1156479.45
-34.2 | 1152790.85
-34.15 | 1149115.3
-34.1 | 1145452.7
-34.05 | 1141803.05
-34 | 1138166.25
-33.95 | 1134542.25
-33.9 | 1130931.05
-33.85 | 1127332.55
-33.8 | 1123746.75
-33.75 | 1120173.55
-33.7 | 1116612.95
-33.65 | 1113064.9
-33.6 | 1109529.3
-33.55 | 1106006.15
-33.5 | 1102495.35
-33.45 | 1098996.95
-33.4 | 1095510.8
-33.35 | 1092036.9
-33.3 | 1088575.2
-33.25 | 1085125.65
-33.2 | 1081688.2
-33.15 | 1078262.8
-33.1 | 1074849.45
-33.05 | 1071448
-33 | 1068058.55
-32.95 | 1064680.9
-32.9 | 1061315.1
-32.85 | 1057961.1
-32.8 | 1054618.85
-32.75 | 1051288.25
-32.7 | 1047969.35
-32.65 | 1044662
-32.6 | 1041366.25
-32.55 | 1038082
-32.5 | 1034809.25
-32.45 | 1031547.9
-32.4 | 1028297.9
-32.35 | 1025059.3
-32.3 | 1021831.95
-32.25 | 1018615.9
-32.2 | 1015411.05
-32.15 | 1012217.35
-32.1 | 1009034.8
-32.05 | 1005863.3
-32 | 1002702.9
-31.95 | 999553.45
-31.9 | 996415
-31.85 | 993287.4
-31.8 | 990170.75
-31.75 | 987064.9
-31.7 | 983969.85
-31.65 | 980885.55
-31.6 | 977811.95
-31.55 | 974749.05
-31.5 | 971696.75
-31.45 | 968655.05
-31.4 | 965623.9
-31.35 | 962603.25
-31.3 | 959593.1
-31.25 | 956593.35
-31.2 | 953604
-31.15 | 950625
-31.1 | 947656.3
-31.05 | 944697.9
-31 | 941749.7
-30.95 | 938811.75
-30.9 | 935883.9
-30.85 | 932966.2
-30.8 | 930058.6
-30.75 | 927161
-30.7 | 924273.45
-30.65 | 921395.8
-30.6 | 918528.15
-30.55 | 915670.35
-30.5 | 912822.45
-30.45 | 909984.3
-30.4 | 907156
-30.35 | 904337.4
-30.3 | 901528.5
-30.25 | 898729.3
-30.2 | 895939.75
-30.15 | 893159.75
-30.1 | 890389.35
-30.05 | 887628.45
-30 | 884877.05
-29.95 | 882135.1
-29.9 | 879402.6
-29.85 | 876679.45
-29.8 | 873965.65
-29.75 | 871261.2
-29.7 | 868566
-29.65 | 865880.05
-29.6 | 863203.3
-29.55 | 860535.7
-29.5 | 857877.3
-29.45 | 855227.95
-29.4 | 852587.7
-29.35 | 849956.5
-29.3 | 847334.3
-29.25 | 844721.05
-29.2 | 842116.75
-29.15 | 839521.35
-29.1 | 836934.8
-29.05 | 834357.15
-29 | 831788.25
-28.95 | 829228.15
-28.9 | 826676.75
-28.85 | 824134.1
-28.8 | 821600.1
-28.75 | 819074.75
-28.7 | 816558
-28.65 | 814049.85
-28.6 | 811550.2
-28.55 | 809059.1
-28.5 | 806576.5
-28.45 | 804102.3
-28.4 | 801636.55
-28.35 | 799179.2
-28.3 | 796730.15
-28.25 | 794289.5
-28.2 | 791857.1
-28.15 | 789432.95
-28.1 | 787017.05
-28.05 | 784609.35
-28 | 782209.85
-27.95 | 779818.45
-27.9 | 777435.2
-27.85 | 775060
-27.8 | 772692.85
-27.75 | 770333.75
-27.7 | 767982.6
-27.65 | 765639.45
-27.6 | 763304.2
-27.55 | 760976.9
-27.5 | 758657.45
-27.45 | 756345.8
-27.4 | 754042
-27.35 | 751746
-27.3 | 749457.75
-27.25 | 747177.25
-27.2 | 744904.45
-27.15 | 742639.3
-27.1 | 740381.8
-27.05 | 738131.9
-27 | 735889.6
-26.95 | 733654.85
-26.9 | 731427.65
-26.85 | 729207.95
-26.8 | 726995.75
-26.75 | 724790.95
-26.7 | 722593.6
-26.65 | 720403.65
-26.6 | 718221.05
-26.55 | 716045.8
-26.5 | 713877.85
-26.45 | 711717.2
-26.4 | 709563.8
-26.35 | 707417.65
-26.3 | 705278.7
-26.25 | 703146.9
-26.2 | 701022.3
-26.15 | 698904.8
-26.1 | 696794.4
-26.05 | 694691.1
-26 | 692594.8
-25.95 | 690505.55
-25.9 | 688423.35
-25.85 | 686348.05
-25.8 | 684279.7
-25.75 | 682218.3
-25.7 | 680163.8
-25.65 | 678116.15
-25.6 | 676075.35
-25.55 | 674041.35
-25.5 | 672014.2
-25.45 | 669993.75
-25.4 | 667980.1
-25.35 | 665973.15
-25.3 | 663972.9
-25.25 | 661979.3
-25.2 | 659992.4
-25.15 | 658012.1
-25.1 | 656038.35
-25.05 | 654071.25
-25 | 652110.65
-24.95 | 650156.6
-24.9 | 648209.05
-24.85 | 646268
-24.8 | 644333.35
-24.75 | 642405.2
-24.7 | 640483.4
-24.65 | 638568
-24.6 | 636659
-24.55 | 634756.3
-24.5 | 632859.95
-24.45 | 630969.85
-24.4 | 629086.05
-24.35 | 627208.5
-24.3 | 625337.2
-24.25 | 623472.05
-24.2 | 621613.1
-24.15 | 619760.3
-24.1 | 617913.65
-24.05 | 616073.15
-24 | 614238.7
-23.95 | 612410.3
-23.9 | 610587.95
-23.85 | 608771.65
-23.8 | 606961.35
-23.75 | 605157.05
-23.7 | 603358.7
-23.65 | 601566.25
-23.6 | 599779.75
-23.55 | 597999.15
-23.5 | 596224.4
-23.45 | 594455.55
-23.4 | 592692.5
-23.35 | 590935.25
-23.3 | 589183.8
-23.25 | 587438.1
-23.2 | 585698.2
-23.15 | 583964
-23.1 | 582235.5
-23.05 | 580512.7
-23 | 578795.55
-22.95 | 577084.05
-22.9 | 575378.2
-22.85 | 573677.9
-22.8 | 571983.25
-22.75 | 570294.1
-22.7 | 568610.55
-22.65 | 566932.5
-22.6 | 565259.95
-22.55 | 563592.9
-22.5 | 561931.3
-22.45 | 560275.15
-22.4 | 558624.45
-22.35 | 556979.15
-22.3 | 555339.2
-22.25 | 553704.65
-22.2 | 552075.45
-22.15 | 550451.6
-22.1 | 548833.05
-22.05 | 547219.75
-22 | 545611.75
-21.95 | 544009
-21.9 | 542411.5
-21.85 | 540819.2
-21.8 | 539232.1
-21.75 | 537650.2
-21.7 | 536073.45
-21.65 | 534501.85
-21.6 | 532935.35
-21.55 | 531373.95
-21.5 | 529817.65
-21.45 | 528266.45
-21.4 | 526720.25
-21.35 | 525179.1
-21.3 | 523643
-21.25 | 522111.85
-21.2 | 520585.7
-21.15 | 519064.5
-21.1 | 517548.25
-21.05 | 516036.95
-21 | 514530.55
-20.95 | 513029.05
-20.9 | 511532.4
-20.85 | 510040.6
-20.8 | 508553.65
-20.75 | 507071.55
-20.7 | 505594.2
-20.65 | 504121.7
-20.6 | 502653.95
-20.55 | 501190.9
-20.5 | 499732.65
-20.45 | 498279.1
-20.4 | 496830.25
-20.35 | 495386.1
-20.3 | 493946.65
-20.25 | 492511.8
-20.2 | 491081.6
-20.15 | 489656.05
-20.1 | 488235.05
-20.05 | 486818.7
-20 | 485406.9
-19.95 | 483999.65
-19.9 | 482596.9
-19.85 | 481198.75
-19.8 | 479805.05
-19.75 | 478415.85
-19.7 | 477031.15
-19.65 | 475650.9
-19.6 | 474275.1
-19.55 | 472903.75
-19.5 | 471536.75
-19.45 | 470174.2
-19.4 | 468816
-19.35 | 467462.2
-19.3 | 466112.75
-19.25 | 464767.6
-19.2 | 463426.8
-19.15 | 462090.3
-19.1 | 460758.1
-19.05 | 459430.15
-19 | 458106.5
-18.95 | 456787.05
-18.9 | 455471.85
-18.85 | 454160.85
-18.8 | 452854.1
-18.75 | 451551.5
-18.7 | 450253.05
-18.65 | 448958.8
-18.6 | 447668.65
-18.55 | 446382.65
-18.5 | 445100.8
-18.45 | 443823
-18.4 | 442549.3
-18.35 | 441279.65
-18.3 | 440014.1
-18.25 | 438752.55
-18.2 | 437495.05
-18.15 | 436241.55
-18.1 | 434992.05
-18.05 | 433746.55
-18 | 432505
-17.95 | 431267.4
-17.9 | 430033.8
-17.85 | 428804.1
-17.8 | 427578.3
-17.75 | 426356.4
-17.7 | 425138.4
-17.65 | 423924.25
-17.6 | 422714
-17.55 | 421507.6
-17.5 | 420305
-17.45 | 419106.25
-17.4 | 417911.3
-17.35 | 416720.15
-17.3 | 415532.8
-17.25 | 414349.2
-17.2 | 413169.35
-17.15 | 411993.25
-17.1 | 410820.85
-17.05 | 409652.2
-17 | 408487.25
-16.95 | 407325.95
-16.9 | 406168.4
-16.85 | 405014.45
-16.8 | 403864.2
-16.75 | 402717.55
-16.7 | 401574.55
-16.65 | 400435.15
-16.6 | 399299.4
-16.55 | 398167.2
-16.5 | 397038.55
-16.45 | 395913.5
-16.4 | 394792
-16.35 | 393674.05
-16.3 | 392559.6
-16.25 | 391448.7
-16.2 | 390341.3
-16.15 | 389237.35
-16.1 | 388136.9
-16.05 | 387039.95
-16 | 385946.4
-15.95 | 384856.35
-15.9 | 383769.7
-15.85 | 382686.45
-15.8 | 381606.65
-15.75 | 380530.2
-15.7 | 379457.15
-15.65 | 378387.5
-15.6 | 377321.2
-15.55 | 376258.25
-15.5 | 375198.6
-15.45 | 374142.3
-15.4 | 373089.35
-15.35 | 372039.65
-15.3 | 370993.25
-15.25 | 369950.15
-15.2 | 368910.35
-15.15 | 367873.75
-15.1 | 366840.45
-15.05 | 365810.35
-15 | 364783.5
-14.95 | 363759.8
-14.9 | 362739.35
-14.85 | 361722.1
-14.8 | 360708.05
-14.75 | 359697.15
-14.7 | 358689.4
-14.65 | 357684.8
-14.6 | 356683.3
-14.55 | 355685
-14.5 | 354689.75
-14.45 | 353697.65
-14.4 | 352708.6
-14.35 | 351722.7
-14.3 | 350739.8
-14.25 | 349760
-14.2 | 348783.25
-14.15 | 347809.55
-14.1 | 346838.9
-14.05 | 345871.25
-14 | 344906.6
-13.95 | 343944.95
-13.9 | 342986.3
-13.85 | 342030.65
-13.8 | 341077.95
-13.75 | 340128.2
-13.7 | 339181.4
-13.65 | 338237.55
-13.6 | 337296.6
-13.55 | 336358.6
-13.5 | 335423.55
-13.45 | 334491.35
-13.4 | 333562.05
-13.35 | 332635.6
-13.3 | 331712.05
-13.25 | 330791.35
-13.2 | 329873.55
-13.15 | 328958.55
-13.1 | 328046.35
-13.05 | 327137
-13 | 326230.5
-12.95 | 325326.75
-12.9 | 324425.85
-12.85 | 323527.65
-12.8 | 322632.3
-12.75 | 321739.7
-12.7 | 320849.85
-12.65 | 319962.7
-12.6 | 319078.35
-12.55 | 318196.7
-12.5 | 317317.75
-12.45 | 316441.55
-12.4 | 315568.05
-12.35 | 314697.2
-12.3 | 313829.05
-12.25 | 312963.6
-12.2 | 312100.8
-12.15 | 311240.65
-12.1 | 310383.1
-12.05 | 309528.25
-12 | 308676
-11.95 | 307826.4
-11.9 | 306979.4
-11.85 | 306134.95
-11.8 | 305293.15
-11.75 | 304453.9
-11.7 | 303617.25
-11.65 | 302783.15
-11.6 | 301951.6
-11.55 | 301122.65
-11.5 | 300296.2
-11.45 | 299472.3
-11.4 | 298650.9
-11.35 | 297832
-11.3 | 297015.65
-11.25 | 296201.8
-11.2 | 295390.4
-11.15 | 294581.5
-11.1 | 293775.1
-11.05 | 292971.15
-11 | 292169.65
-10.95 | 291370.55
-10.9 | 290573.95
-10.85 | 289779.8
-10.8 | 288988
-10.75 | 288198.7
-10.7 | 287411.75
-10.65 | 286627.2
-10.6 | 285845.05
-10.55 | 285065.3
-10.5 | 284287.95
-10.45 | 283512.9
-10.4 | 282740.25
-10.35 | 281969.95
-10.3 | 281202
-10.25 | 280436.35
-10.2 | 279673.05
-10.15 | 278912.1
-10.1 | 278153.45
-10.05 | 277397.05
-10 | 276643
-9.95 | 275891.25
-9.9 | 275141.75
-9.85 | 274394.55
-9.8 | 273649.6
-9.75 | 272906.9
-9.7 | 272166.45
-9.65 | 271428.25
-9.6 | 270692.3
-9.55 | 269958.6
-9.5 | 269227.1
-9.45 | 268497.8
-9.4 | 267770.7
-9.35 | 267045.85
-9.3 | 266323.15
-9.25 | 265602.65
-9.2 | 264884.3
-9.15 | 264168.15
-9.1 | 263454.15
-9.05 | 262742.35
-9 | 262032.65
-8.95 | 261325.1
-8.9 | 260619.7
-8.85 | 259916.4
-8.8 | 259215.25
-8.75 | 258516.2
-8.7 | 257819.25
-8.65 | 257124.4
-8.6 | 256431.65
-8.55 | 255741
-8.5 | 255052.45
-8.45 | 254365.9
-8.4 | 253681.45
-8.35 | 252999.1
-8.3 | 252318.75
-8.25 | 251640.45
-8.2 | 250964.2
-8.15 | 250290
-8.1 | 249617.8
-8.05 | 248947.6
-8 | 248279.45
-7.95 | 247613.3
-7.9 | 246949.15
-7.85 | 246286.95
-7.8 | 245626.75
-7.75 | 244968.55
-7.7 | 244312.35
-7.65 | 243658.05
-7.6 | 243005.75
-7.55 | 242355.4
-7.5 | 241706.95
-7.45 | 241060.5
-7.4 | 240415.95
-7.35 | 239773.35
-7.3 | 239132.65
-7.25 | 238493.85
-7.2 | 237857
-7.15 | 237222.05
-7.1 | 236588.95
-7.05 | 235957.8
-7 | 235328.5
-6.95 | 234701.05
-6.9 | 234075.5
-6.85 | 233451.8
-6.8 | 232830
-6.75 | 232210
-6.7 | 231591.9
-6.65 | 230975.6
-6.6 | 230361.15
-6.55 | 229748.5
-6.5 | 229137.7
-6.45 | 228528.7
-6.4 | 227921.55
-6.35 | 227316.15
-6.3 | 226712.6
-6.25 | 226110.8
-6.2 | 225510.8
-6.15 | 224912.6
-6.1 | 224316.15
-6.05 | 223721.5
-6 | 223128.6
-5.95 | 222537.45
-5.9 | 221948.05
-5.85 | 221360.4
-5.8 | 220774.45
-5.75 | 220190.3
-5.7 | 219607.85
-5.65 | 219027.15
-5.6 | 218448.15
-5.55 | 217870.85
-5.5 | 217295.25
-5.45 | 216721.4
-5.4 | 216149.2
-5.35 | 215578.7
-5.3 | 215009.9
-5.25 | 214442.75
-5.2 | 213877.3
-5.15 | 213313.5
-5.1 | 212751.4
-5.05 | 212190.95
-5 | 211632.1
-4.95 | 211074.95
-4.9 | 210519.4
-4.85 | 209965.55
-4.8 | 209413.25
-4.75 | 208862.65
-4.7 | 208313.65
-4.65 | 207766.25
-4.6 | 207220.45
-4.55 | 206676.25
-4.5 | 206133.7
-4.45 | 205592.7
-4.4 | 205053.3
-4.35 | 204515.5
-4.3 | 203979.25
-4.25 | 203444.6
-4.2 | 202911.5
-4.15 | 202380
-4.1 | 201850
-4.05 | 201321.6
-4 | 200794.75
-3.95 | 200269.4
-3.9 | 199745.6
-3.85 | 199223.35
-3.8 | 198702.65
-3.75 | 198183.45
-3.7 | 197665.75
-3.65 | 197149.6
-3.6 | 196634.95
-3.55 | 196121.8
-3.5 | 195610.15
-3.45 | 195100
-3.4 | 194591.35
-3.35 | 194084.15
-3.3 | 193578.45
-3.25 | 193074.25
-3.2 | 192571.45
-3.15 | 192070.2
-3.1 | 191570.35
-3.05 | 191072
-3 | 190575.1
-2.95 | 190079.6
-2.9 | 189585.6
-2.85 | 189093
-2.8 | 188601.85
-2.75 | 188112.1
-2.7 | 187623.8
-2.65 | 187136.95
-2.6 | 186651.45
-2.55 | 186167.4
-2.5 | 185684.75
-2.45 | 185203.5
-2.4 | 184723.65
-2.35 | 184245.2
-2.3 | 183768.15
-2.25 | 183292.45
-2.2 | 182818.15
-2.15 | 182345.2
-2.1 | 181873.65
-2.05 | 181403.45
-2 | 180934.65
-1.95 | 180467.15
-1.9 | 180001.05
-1.85 | 179536.25
-1.8 | 179072.85
-1.75 | 178610.75
-1.7 | 178150
-1.65 | 177690.6
-1.6 | 177232.5
-1.55 | 176775.7
-1.5 | 176320.3
-1.45 | 175866.15
-1.4 | 175413.3
-1.35 | 174961.8
-1.3 | 174511.6
-1.25 | 174062.7
-1.2 | 173615.05
-1.15 | 173168.75
-1.1 | 172723.7
-1.05 | 172279.95
-1 | 171832.5
-0.95 | 171391.5
-0.9 | 170951.8
-0.85 | 170513.4
-0.8 | 170076.2
-0.75 | 169640.3
-0.7 | 169205.65
-0.65 | 168772.25
-0.6 | 168340.1
-0.55 | 167909.15
-0.5 | 167479.5
-0.45 | 167051.05
-0.4 | 166623.85
-0.35 | 166197.85
-0.3 | 165773.1
-0.25 | 165349.55
-0.2 | 164927.2
-0.15 | 164506.1
-0.1 | 164086.2
-0.05 | 163667.5
0 | 163250
0.05 | 162833.7
0.1 | 162418.6
0.15 | 162004.65
0.2 | 161591.9
0.25 | 161180.35
0.3 | 160770
0.35 | 160360.8
0.4 | 159952.75
0.45 | 159545.9
0.5 | 159140.15
0.55 | 158735.6
0.6 | 158332.25
0.65 | 157930
0.7 | 157528.9
0.75 | 157128.95
0.8 | 156730.15
0.85 | 156332.5
0.9 | 155935.95
0.95 | 155540.55
1 | 155146.25
1.05 | 154753.1
1.1 | 154361.1
1.15 | 153970.15
1.2 | 153580.35
1.25 | 153191.65
1.3 | 152804.05
1.35 | 152417.6
1.4 | 152032.2
1.45 | 151647.9
1.5 | 151264.7
1.55 | 150882.6
1.6 | 150501.55
1.65 | 150121.6
1.7 | 149742.75
1.75 | 149364.95
1.8 | 148988.2
1.85 | 148612.55
1.9 | 148237.95
1.95 | 147864.45
2 | 147491.95
2.05 | 147120.55
2.1 | 146750.2
2.15 | 146380.9
2.2 | 146012.6
2.25 | 145645.4
2.3 | 145279.2
2.35 | 144914.05
2.4 | 144549.9
2.45 | 144186.8
2.5 | 143824.75
2.55 | 143463.7
2.6 | 143103.65
2.65 | 142744.65
2.7 | 142386.65
2.75 | 142029.65
2.8 | 141673.7
2.85 | 141318.7
2.9 | 140964.7
2.95 | 140611.75
3 | 140259.75
3.05 | 139908.75
3.1 | 139558.75
3.15 | 139209.7
3.2 | 138861.7
3.25 | 138514.6
3.3 | 138168.5
3.35 | 137823.4
3.4 | 137479.25
3.45 | 137136.1
3.5 | 136793.85
3.55 | 136452.6
3.6 | 136112.3
3.65 | 135772.95
3.7 | 135434.55
3.75 | 135097.15
3.8 | 134760.65
3.85 | 134425.1
3.9 | 134090.45
3.95 | 133756.8
4 | 133424.05
4.05 | 133092.25
4.1 | 132761.35
4.15 | 132431.4
4.2 | 132102.35
4.25 | 131774.25
4.3 | 131447.05
4.35 | 131120.75
4.4 | 130795.4
4.45 | 130470.9
4.5 | 130147.35
4.55 | 129824.7
4.6 | 129502.95
4.65 | 129182.1
4.7 | 128862.1
4.75 | 128543.05
4.8 | 128224.85
4.85 | 127907.55
4.9 | 127591.15
4.95 | 127275.65
5 | 126960.95
5.05 | 126647.2
5.1 | 126334.3
5.15 | 126022.25
5.2 | 125711.1
5.25 | 125400.8
5.3 | 125091.35
5.35 | 124782.75
5.4 | 124475.05
5.45 | 124168.15
5.5 | 123862.15
5.55 | 123556.95
5.6 | 123252.65
5.65 | 122949.15
5.7 | 122646.55
5.75 | 122344.75
5.8 | 122043.75
5.85 | 121743.65
5.9 | 121444.35
5.95 | 121145.85
6 | 120848.2
6.05 | 120551.4
6.1 | 120255.4
6.15 | 119960.2
6.2 | 119665.85
6.25 | 119372.3
6.3 | 119079.55
6.35 | 118787.6
6.4 | 118496.5
6.45 | 118206.15
6.5 | 117916.65
6.55 | 117627.9
6.6 | 117340
6.65 | 117052.85
6.7 | 116766.5
6.75 | 116480.95
6.8 | 116196.15
6.85 | 115912.2
6.9 | 115629
6.95 | 115346.55
7 | 115064.9
7.05 | 114784.05
7.1 | 114503.95
7.15 | 114224.6
7.2 | 113946.05
7.25 | 113668.25
7.3 | 113391.2
7.35 | 113114.95
7.4 | 112839.4
7.45 | 112564.65
7.5 | 112290.65
7.55 | 112017.4
7.6 | 111744.9
7.65 | 111473.15
7.7 | 111202.1
7.75 | 110931.85
7.8 | 110662.3
7.85 | 110393.5
7.9 | 110125.45
7.95 | 109858.15
8 | 109591.55
8.05 | 109325.65
8.1 | 109060.55
8.15 | 108796.1
8.2 | 108532.4
8.25 | 108269.45
8.3 | 108007.2
8.35 | 107745.65
8.4 | 107484.85
8.45 | 107224.7
8.5 | 106965.3
8.55 | 106706.6
8.6 | 106448.65
8.65 | 106191.35
8.7 | 105934.75
8.75 | 105678.85
8.8 | 105423.65
8.85 | 105169.15
8.9 | 104915.35
8.95 | 104662.25
9 | 104409.85
9.05 | 104158.1
9.1 | 103907.05
9.15 | 103656.65
9.2 | 103406.95
9.25 | 103157.95
9.3 | 102909.6
9.35 | 102661.95
9.4 | 102414.95
9.45 | 102168.6
9.5 | 101922.95
9.55 | 101677.95
9.6 | 101433.65
9.65 | 101190
9.7 | 100946.95
9.75 | 100704.65
9.8 | 100462.95
9.85 | 100221.9
9.9 | 99981.5
9.95 | 99741.8
10 | 99502.7
10.05 | 99264.25
10.1 | 99026.45
10.15 | 98789.3
10.2 | 98552.8
10.25 | 98316.9
10.3 | 98081.65
10.35 | 97847.05
10.4 | 97613.1
10.45 | 97379.75
10.5 | 97147.05
10.55 | 96914.95
10.6 | 96683.5
10.65 | 96452.65
10.7 | 96222.45
10.75 | 95992.85
10.8 | 95763.9
10.85 | 95535.5
10.9 | 95307.8
10.95 | 95080.65
11 | 94854.1
11.05 | 94628.2
11.1 | 94402.9
11.15 | 94178.2
11.2 | 93954.1
11.25 | 93730.6
11.3 | 93507.7
11.35 | 93285.4
11.4 | 93063.7
11.45 | 92842.6
11.5 | 92622.05
11.55 | 92402.15
11.6 | 92182.8
11.65 | 91964.05
11.7 | 91745.9
11.75 | 91528.3
11.8 | 91311.3
11.85 | 91094.9
11.9 | 90879.05
11.95 | 90663.8
12 | 90449.1
12.05 | 90235
12.1 | 90021.45
12.15 | 89808.5
12.2 | 89596.1
12.25 | 89384.25
12.3 | 89173
12.35 | 88962.3
12.4 | 88752.15
12.45 | 88542.55
12.5 | 88333.55
12.55 | 88125.05
12.6 | 87917.15
12.65 | 87709.8
12.7 | 87503
12.75 | 87296.75
12.8 | 87091
12.85 | 86885.85
12.9 | 86681.25
12.95 | 86477.15
13 | 86273.65
13.05 | 86070.65
13.1 | 85868.2
13.15 | 85666.3
13.2 | 85464.9
13.25 | 85264.1
13.3 | 85063.75
13.35 | 84864
13.4 | 84664.75
13.45 | 84466
13.5 | 84267.85
13.55 | 84070.15
13.6 | 83873
13.65 | 83676.4
13.7 | 83480.3
13.75 | 83284.7
13.8 | 83089.65
13.85 | 82895.1
13.9 | 82701.05
13.95 | 82507.55
14 | 82314.5
14.05 | 82122
14.1 | 81930.05
14.15 | 81738.55
14.2 | 81547.55
14.25 | 81357.1
14.3 | 81167.1
14.35 | 80977.65
14.4 | 80788.65
14.45 | 80600.2
14.5 | 80412.2
14.55 | 80224.7
14.6 | 80037.75
14.65 | 79851.25
14.7 | 79665.2
14.75 | 79479.7
14.8 | 79294.7
14.85 | 79110.15
14.9 | 78926.05
14.95 | 78742.5
15 | 78559.4
15.05 | 78376.8
15.1 | 78194.65
15.15 | 78013
15.2 | 77831.85
15.25 | 77651.15
15.3 | 77470.9
15.35 | 77291.15
15.4 | 77111.85
15.45 | 76933.05
15.5 | 76754.7
15.55 | 76576.85
15.6 | 76399.4
15.65 | 76222.45
15.7 | 76046
15.75 | 75869.95
15.8 | 75694.4
15.85 | 75519.3
15.9 | 75344.65
15.95 | 75170.45
16 | 74996.7
16.05 | 74823.45
16.1 | 74650.6
16.15 | 74478.25
16.2 | 74306.3
16.25 | 74134.85
16.3 | 73963.8
16.35 | 73793.2
16.4 | 73623.05
16.45 | 73453.35
16.5 | 73284.1
16.55 | 73115.3
16.6 | 72946.9
16.65 | 72779
16.7 | 72611.5
16.75 | 72444.4
16.8 | 72277.8
16.85 | 72111.6
16.9 | 71945.85
16.95 | 71780.5
17 | 71615.6
17.05 | 71451.1
17.1 | 71287.05
17.15 | 71123.45
17.2 | 70960.25
17.25 | 70797.45
17.3 | 70635.1
17.35 | 70473.2
17.4 | 70311.65
17.45 | 70150.6
17.5 | 69989.9
17.55 | 69829.65
17.6 | 69669.8
17.65 | 69510.35
17.7 | 69351.35
17.75 | 69192.75
17.8 | 69034.55
17.85 | 68876.75
17.9 | 68719.35
17.95 | 68562.4
18 | 68405.85
18.05 | 68249.65
18.1 | 68093.9
18.15 | 67938.55
18.2 | 67783.6
18.25 | 67629.05
18.3 | 67474.85
18.35 | 67321.1
18.4 | 67167.75
18.45 | 67014.75
18.5 | 66862.2
18.55 | 66710
18.6 | 66558.2
18.65 | 66406.8
18.7 | 66255.8
18.75 | 66105.2
18.8 | 65954.95
18.85 | 65805.1
18.9 | 65655.65
18.95 | 65506.55
19 | 65357.85
19.05 | 65209.55
19.1 | 65061.6
19.15 | 64914.05
19.2 | 64766.85
19.25 | 64620.05
19.3 | 64473.65
19.35 | 64327.6
19.4 | 64181.9
19.45 | 64036.65
19.5 | 63891.7
19.55 | 63747.15
19.6 | 63602.95
19.65 | 63459.15
19.7 | 63315.7
19.75 | 63172.6
19.8 | 63029.9
19.85 | 62887.55
19.9 | 62745.55
19.95 | 62603.95
20 | 62462.65
20.05 | 62321.75
20.1 | 62181.2
20.15 | 62041.05
20.2 | 61901.2
20.25 | 61761.75
20.3 | 61622.6
20.35 | 61483.85
20.4 | 61345.45
20.45 | 61207.4
20.5 | 61069.7
20.55 | 60932.35
20.6 | 60795.35
20.65 | 60658.7
20.7 | 60522.4
20.75 | 60386.45
20.8 | 60250.85
20.85 | 60115.55
20.9 | 59980.65
20.95 | 59846.05
21 | 59711.8
21.05 | 59577.9
21.1 | 59444.35
21.15 | 59311.15
21.2 | 59178.25
21.25 | 59045.7
21.3 | 58913.5
21.35 | 58781.65
21.4 | 58650.1
21.45 | 58518.9
21.5 | 58388
21.55 | 58257.5
21.6 | 58127.25
21.65 | 57997.4
21.7 | 57867.85
21.75 | 57738.6
21.8 | 57609.7
21.85 | 57481.15
21.9 | 57352.9
21.95 | 57225
22 | 57097.4
22.05 | 56970.1
22.1 | 56843.15
22.15 | 56716.5
22.2 | 56590.2
22.25 | 56464.2
22.3 | 56338.5
22.35 | 56213.15
22.4 | 56088.1
22.45 | 55963.35
22.5 | 55838.95
22.55 | 55714.85
22.6 | 55591.05
22.65 | 55467.6
22.7 | 55344.4
22.75 | 55221.55
22.8 | 55099
22.85 | 54976.75
22.9 | 54854.8
22.95 | 54733.2
23 | 54611.85
23.05 | 54490.85
23.1 | 54370.15
23.15 | 54249.7
23.2 | 54129.6
23.25 | 54009.8
23.3 | 53890.3
23.35 | 53771.1
23.4 | 53652.2
23.45 | 53533.55
23.5 | 53415.25
23.55 | 53297.25
23.6 | 53179.5
23.65 | 53062.1
23.7 | 52944.95
23.75 | 52828.1
23.8 | 52711.55
23.85 | 52595.3
23.9 | 52479.35
23.95 | 52363.65
24 | 52248.3
24.05 | 52133.2
24.1 | 52018.35
24.15 | 51903.85
24.2 | 51789.6
24.25 | 51675.65
24.3 | 51562
24.35 | 51448.6
24.4 | 51335.5
24.45 | 51222.65
24.5 | 51110.1
24.55 | 50997.85
24.6 | 50885.9
24.65 | 50774.2
24.7 | 50662.75
24.75 | 50551.6
24.8 | 50440.75
24.85 | 50330.15
24.9 | 50219.8
24.95 | 50109.75
25 | 50000
25.05 | 49890.5
25.1 | 49781.25
25.15 | 49672.3
25.2 | 49563.65
25.25 | 49455.2
25.3 | 49347.05
25.35 | 49239.2
25.4 | 49131.55
25.45 | 49024.25
25.5 | 48917.15
25.55 | 48810.35
25.6 | 48703.8
25.65 | 48597.5
25.7 | 48491.45
25.75 | 48385.7
25.8 | 48280.2
25.85 | 48174.95
25.9 | 48070
25.95 | 47965.3
26 | 47860.8
26.05 | 47756.6
26.1 | 47652.65
26.15 | 47549
26.2 | 47445.55
26.25 | 47342.4
26.3 | 47239.45
26.35 | 47136.8
26.4 | 47034.35
26.45 | 46932.2
26.5 | 46830.3
26.55 | 46728.65
26.6 | 46627.25
26.65 | 46526.05
26.7 | 46425.15
26.75 | 46324.5
26.8 | 46224.1
26.85 | 46123.9
26.9 | 46024
26.95 | 45924.3
27 | 45824.9
27.05 | 45725.7
27.1 | 45626.75
27.15 | 45528.05
27.2 | 45429.6
27.25 | 45331.4
27.3 | 45233.4
27.35 | 45135.65
27.4 | 45038.2
27.45 | 44940.9
27.5 | 44843.9
27.55 | 44747.1
27.6 | 44650.6
27.65 | 44554.25
27.7 | 44458.2
27.75 | 44362.35
27.8 | 44266.75
27.85 | 44171.4
27.9 | 44076.25
27.95 | 43981.35
28 | 43886.7
28.05 | 43792.25
28.1 | 43698.05
28.15 | 43604.05
28.2 | 43510.3
28.25 | 43416.8
28.3 | 43323.5
28.35 | 43230.45
28.4 | 43137.6
28.45 | 43045
28.5 | 42952.6
28.55 | 42860.45
28.6 | 42768.5
28.65 | 42676.8
28.7 | 42585.3
28.75 | 42494.05
28.8 | 42403
28.85 | 42312.2
28.9 | 42221.6
28.95 | 42131.2
29 | 42041.05
29.05 | 41951.1
29.1 | 41861.4
29.15 | 41771.9
29.2 | 41682.6
29.25 | 41593.5
29.3 | 41504.65
29.35 | 41416.05
29.4 | 41327.6
29.45 | 41239.4
29.5 | 41151.4
29.55 | 41063.6
29.6 | 40976.05
29.65 | 40888.7
29.7 | 40801.55
29.75 | 40714.6
29.8 | 40627.9
29.85 | 40541.35
29.9 | 40455.05
29.95 | 40368.95
30 | 40283.05
30.05 | 40197.4
30.1 | 40111.9
30.15 | 40026.65
30.2 | 39941.6
30.25 | 39856.75
30.3 | 39772.1
30.35 | 39687.65
30.4 | 39603.4
30.45 | 39519.35
30.5 | 39435.5
30.55 | 39351.85
30.6 | 39268.45
30.65 | 39185.2
30.7 | 39102.15
30.75 | 39019.35
30.8 | 38936.7
30.85 | 38854.25
30.9 | 38772.05
30.95 | 38690
31 | 38608.15
31.05 | 38526.5
31.1 | 38445.05
31.15 | 38363.8
31.2 | 38282.75
31.25 | 38201.9
31.3 | 38121.2
31.35 | 38040.75
31.4 | 37960.45
31.45 | 37880.35
31.5 | 37800.45
31.55 | 37720.75
31.6 | 37641.25
31.65 | 37561.95
31.7 | 37482.8
31.75 | 37403.85
31.8 | 37325.1
31.85 | 37246.55
31.9 | 37168.15
31.95 | 37089.95
32 | 37011.95
32.05 | 36934.15
32.1 | 36856.5
32.15 | 36779.05
32.2 | 36701.8
32.25 | 36624.7
32.3 | 36547.8
32.35 | 36471.1
32.4 | 36394.6
32.45 | 36318.25
32.5 | 36242.1
32.55 | 36166.1
32.6 | 36090.3
32.65 | 36014.7
32.7 | 35939.25
32.75 | 35864
32.8 | 35788.9
32.85 | 35714
32.9 | 35639.3
32.95 | 35564.75
33 | 35490.35
33.05 | 35416.2
33.1 | 35342.15
33.15 | 35268.35
33.2 | 35194.65
33.25 | 35121.2
33.3 | 35047.85
33.35 | 34974.75
33.4 | 34901.75
33.45 | 34828.95
33.5 | 34756.35
33.55 | 34683.9
33.6 | 34611.65
33.65 | 34539.5
33.7 | 34467.6
33.75 | 34395.85
33.8 | 34324.25
33.85 | 34252.8
33.9 | 34181.55
33.95 | 34110.45
34 | 34039.55
34.05 | 33968.8
34.1 | 33898.2
34.15 | 33827.8
34.2 | 33757.55
34.25 | 33687.45
34.3 | 33617.55
34.35 | 33547.8
34.4 | 33478.2
34.45 | 33408.8
34.5 | 33339.55
34.55 | 33270.45
34.6 | 33201.5
34.65 | 33132.75
34.7 | 33064.1
34.75 | 32995.7
34.8 | 32927.4
34.85 | 32859.25
34.9 | 32791.3
34.95 | 32723.5
35 | 32655.85
35.05 | 32588.35
35.1 | 32521.05
35.15 | 32453.85
35.2 | 32386.85
35.25 | 32320
35.3 | 32253.3
35.35 | 32186.75
35.4 | 32120.4
35.45 | 32054.15
35.5 | 31988.1
35.55 | 31922.15
35.6 | 31856.4
35.65 | 31790.8
35.7 | 31725.35
35.75 | 31660.05
35.8 | 31594.9
35.85 | 31529.9
35.9 | 31465.05
35.95 | 31400.35
36 | 31335.85
36.05 | 31271.45
36.1 | 31207.2
36.15 | 31143.1
36.2 | 31079.15
36.25 | 31015.4
36.3 | 30951.75
36.35 | 30888.25
36.4 | 30824.9
36.45 | 30761.7
36.5 | 30698.65
36.55 | 30635.75
36.6 | 30573
36.65 | 30510.4
36.7 | 30447.95
36.75 | 30385.65
36.8 | 30323.45
36.85 | 30261.45
36.9 | 30199.55
36.95 | 30137.8
37 | 30076.25
37.05 | 30014.8
37.1 | 29953.5
37.15 | 29892.3
37.2 | 29831.3
37.25 | 29770.4
37.3 | 29709.65
37.35 | 29649.1
37.4 | 29588.6
37.45 | 29528.3
37.5 | 29468.15
37.55 | 29408.1
37.6 | 29348.2
37.65 | 29288.45
37.7 | 29228.8
37.75 | 29169.35
37.8 | 29110
37.85 | 29050.8
37.9 | 28991.75
37.95 | 28932.8
38 | 28874
38.05 | 28815.35
38.1 | 28756.8
38.15 | 28698.45
38.2 | 28640.2
38.25 | 28582.05
38.3 | 28524.1
38.35 | 28466.25
38.4 | 28408.5
38.45 | 28350.95
38.5 | 28293.5
38.55 | 28236.15
38.6 | 28179
38.65 | 28121.95
38.7 | 28065
38.75 | 28008.25
38.8 | 27951.55
38.85 | 27895.05
38.9 | 27838.65
38.95 | 27782.4
39 | 27726.25
39.05 | 27670.25
39.1 | 27614.35
39.15 | 27558.6
39.2 | 27503
39.25 | 27447.5
39.3 | 27392.1
39.35 | 27336.9
39.4 | 27281.75
39.45 | 27226.8
39.5 | 27171.9
39.55 | 27117.2
39.6 | 27062.6
39.65 | 27008.1
39.7 | 26953.75
39.75 | 26899.5
39.8 | 26845.4
39.85 | 26791.4
39.9 | 26737.55
39.95 | 26683.8
40 | 26630.2
40.05 | 26576.7
40.1 | 26523.35
40.15 | 26470.1
40.2 | 26417
40.25 | 26364
40.3 | 26311.1
40.35 | 26258.35
40.4 | 26205.7
40.45 | 26153.2
40.5 | 26100.8
40.55 | 26048.5
40.6 | 25996.35
40.65 | 25944.3
40.7 | 25892.4
40.75 | 25840.6
40.8 | 25788.9
40.85 | 25737.3
40.9 | 25685.85
40.95 | 25634.55
41 | 25583.35
41.05 | 25532.25
41.1 | 25481.25
41.15 | 25430.4
41.2 | 25379.65
41.25 | 25329
41.3 | 25278.5
41.35 | 25228.05
41.4 | 25177.8
41.45 | 25127.6
41.5 | 25077.55
41.55 | 25027.6
41.6 | 24977.75
41.65 | 24928.05
41.7 | 24878.45
41.75 | 24828.95
41.8 | 24779.55
41.85 | 24730.3
41.9 | 24681.15
41.95 | 24632.1
42 | 24583.15
42.05 | 24534.3
42.1 | 24485.6
42.15 | 24437
42.2 | 24388.5
42.25 | 24340.1
42.3 | 24291.85
42.35 | 24243.7
42.4 | 24195.6
42.45 | 24147.7
42.5 | 24099.85
42.55 | 24052.1
42.6 | 24004.5
42.65 | 23956.95
42.7 | 23909.55
42.75 | 23862.25
42.8 | 23815.05
42.85 | 23768
42.9 | 23721
42.95 | 23674.1
43 | 23627.35
43.05 | 23580.7
43.1 | 23534.15
43.15 | 23487.65
43.2 | 23441.3
43.25 | 23395.1
43.3 | 23348.95
43.35 | 23302.9
43.4 | 23256.95
43.45 | 23211.15
43.5 | 23165.4
43.55 | 23119.8
43.6 | 23074.25
43.65 | 23028.85
43.7 | 22983.55
43.75 | 22938.3
43.8 | 22893.2
43.85 | 22848.2
43.9 | 22803.3
43.95 | 22758.45
44 | 22713.75
44.05 | 22669.15
44.1 | 22624.65
44.15 | 22580.25
44.2 | 22535.9
44.25 | 22491.7
44.3 | 22447.6
44.35 | 22403.6
44.4 | 22359.65
44.45 | 22315.85
44.5 | 22272.15
44.55 | 22228.5
44.6 | 22185
44.65 | 22141.55
44.7 | 22098.25
44.75 | 22055
44.8 | 22011.85
44.85 | 21968.85
44.9 | 21925.9
44.95 | 21883.05
45 | 21840.3
45.05 | 21797.65
45.1 | 21755.1
45.15 | 21712.6
45.2 | 21670.25
45.25 | 21627.95
45.3 | 21585.8
45.35 | 21543.7
45.4 | 21501.7
45.45 | 21459.8
45.5 | 21418
45.55 | 21376.3
45.6 | 21334.65
45.65 | 21293.15
45.7 | 21251.7
45.75 | 21210.35
45.8 | 21169.1
45.85 | 21127.95
45.9 | 21086.9
45.95 | 21045.9
46 | 21005
46.05 | 20964.2
46.1 | 20923.5
46.15 | 20882.9
46.2 | 20842.35
46.25 | 20801.95
46.3 | 20761.6
46.35 | 20721.35
46.4 | 20681.15
46.45 | 20641.1
46.5 | 20601.1
46.55 | 20561.2
46.6 | 20521.4
46.65 | 20481.65
46.7 | 20442.05
46.75 | 20402.5
46.8 | 20363
46.85 | 20323.65
46.9 | 20284.35
46.95 | 20245.15
47 | 20206.05
47.05 | 20167
47.1 | 20128.1
47.15 | 20089.25
47.2 | 20050.45
47.25 | 20011.8
47.3 | 19973.2
47.35 | 19934.65
47.4 | 19896.25
47.45 | 19857.9
47.5 | 19819.65
47.55 | 19781.45
47.6 | 19743.35
47.65 | 19705.35
47.7 | 19667.45
47.75 | 19629.6
47.8 | 19591.85
47.85 | 19554.2
47.9 | 19516.6
47.95 | 19479.1
48 | 19441.65
48.05 | 19404.3
48.1 | 19367.05
48.15 | 19329.85
48.2 | 19292.8
48.25 | 19255.75
48.3 | 19218.85
48.35 | 19181.95
48.4 | 19145.2
48.45 | 19108.5
48.5 | 19071.9
48.55 | 19035.35
48.6 | 18998.9
48.65 | 18962.55
48.7 | 18926.25
48.75 | 18890.05
48.8 | 18853.9
48.85 | 18817.85
48.9 | 18781.9
48.95 | 18746
49 | 18710.15
49.05 | 18674.4
49.1 | 18638.75
49.15 | 18603.2
49.2 | 18567.65
49.25 | 18532.25
49.3 | 18496.9
49.35 | 18461.6
49.4 | 18426.4
49.45 | 18391.3
49.5 | 18356.25
49.55 | 18321.3
49.6 | 18286.4
49.65 | 18251.6
49.7 | 18216.85
49.75 | 18182.2
49.8 | 18147.6
49.85 | 18113.1
49.9 | 18078.65
49.95 | 18044.3
50 | 18010
50.05 | 17975.8
50.1 | 17941.65
50.15 | 17907.6
50.2 | 17873.6
50.25 | 17839.7
50.3 | 17805.85
50.35 | 17772.05
50.4 | 17738.35
50.45 | 17704.75
50.5 | 17671.2
50.55 | 17637.7
50.6 | 17604.3
50.65 | 17571
50.7 | 17537.7
50.75 | 17504.55
50.8 | 17471.4
50.85 | 17438.4
50.9 | 17405.4
50.95 | 17372.5
51 | 17339.65
51.05 | 17306.9
51.1 | 17274.25
51.15 | 17241.6
51.2 | 17209.05
51.25 | 17176.6
51.3 | 17144.2
51.35 | 17111.85
51.4 | 17079.6
51.45 | 17047.4
51.5 | 17015.25
51.55 | 16983.2
51.6 | 16951.2
51.65 | 16919.3
51.7 | 16887.45
51.75 | 16855.65
51.8 | 16823.95
51.85 | 16792.3
51.9 | 16760.7
51.95 | 16729.2
52 | 16697.75
52.05 | 16666.4
52.1 | 16635.1
52.15 | 16603.85
52.2 | 16572.7
52.25 | 16541.6
52.3 | 16510.55
52.35 | 16479.55
52.4 | 16448.65
52.45 | 16417.85
52.5 | 16387.05
52.55 | 16356.35
52.6 | 16325.7
52.65 | 16295.15
52.7 | 16264.65
52.75 | 16234.2
52.8 | 16203.8
52.85 | 16173.5
52.9 | 16143.25
52.95 | 16113.05
53 | 16082.95
53.05 | 16052.9
53.1 | 16022.9
53.15 | 15993
53.2 | 15963.1
53.25 | 15933.3
53.3 | 15903.6
53.35 | 15873.9
53.4 | 15844.3
53.45 | 15814.75
53.5 | 15785.3
53.55 | 15755.9
53.6 | 15726.5
53.65 | 15697.25
53.7 | 15668
53.75 | 15638.85
53.8 | 15609.75
53.85 | 15580.7
53.9 | 15551.7
53.95 | 15522.8
54 | 15493.95
54.05 | 15465.15
54.1 | 15436.4
54.15 | 15407.75
54.2 | 15379.1
54.25 | 15350.55
54.3 | 15322.1
54.35 | 15293.65
54.4 | 15265.3
54.45 | 15237
54.5 | 15208.75
54.55 | 15180.55
54.6 | 15152.4
54.65 | 15124.35
54.7 | 15096.35
54.75 | 15068.4
54.8 | 15040.5
54.85 | 15012.65
54.9 | 14984.9
54.95 | 14957.2
55 | 14929.55
55.05 | 14901.95
55.1 | 14874.4
55.15 | 14846.9
55.2 | 14819.5
55.25 | 14792.15
55.3 | 14764.85
55.35 | 14737.6
55.4 | 14710.4
55.45 | 14683.25
55.5 | 14656.2
55.55 | 14629.15
55.6 | 14602.2
55.65 | 14575.3
55.7 | 14548.45
55.75 | 14521.7
55.8 | 14494.95
55.85 | 14468.25
55.9 | 14441.65
55.95 | 14415.1
56 | 14388.6
56.05 | 14362.15
56.1 | 14335.75
56.15 | 14309.4
56.2 | 14283.1
56.25 | 14256.9
56.3 | 14230.7
56.35 | 14204.6
56.4 | 14178.5
56.45 | 14152.5
56.5 | 14126.55
56.55 | 14100.65
56.6 | 14074.8
56.65 | 14049.05
56.7 | 14023.3
56.75 | 13997.6
56.8 | 13972
56.85 | 13946.4
56.9 | 13920.9
56.95 | 13895.4
57 | 13870
57.05 | 13844.65
57.1 | 13819.35
57.15 | 13794.1
57.2 | 13768.9
57.25 | 13743.75
57.3 | 13718.65
57.35 | 13693.6
57.4 | 13668.6
57.45 | 13643.65
57.5 | 13618.8
57.55 | 13593.95
57.6 | 13569.15
57.65 | 13544.45
57.7 | 13519.75
57.75 | 13495.15
57.8 | 13470.55
57.85 | 13446.05
57.9 | 13421.55
57.95 | 13397.15
58 | 13372.75
58.05 | 13348.45
58.1 | 13324.2
58.15 | 13299.95
58.2 | 13275.8
58.25 | 13251.7
58.3 | 13227.6
58.35 | 13203.6
58.4 | 13179.65
58.45 | 13155.7
58.5 | 13131.85
58.55 | 13108.05
58.6 | 13084.25
58.65 | 13060.55
58.7 | 13036.9
58.75 | 13013.25
58.8 | 12989.7
58.85 | 12966.15
58.9 | 12942.7
58.95 | 12919.25
59 | 12895.9
59.05 | 12872.55
59.1 | 12849.3
59.15 | 12826.05
59.2 | 12802.9
59.25 | 12779.75
59.3 | 12756.65
59.35 | 12733.65
59.4 | 12710.65
59.45 | 12687.7
59.5 | 12664.8
59.55 | 12641.95
59.6 | 12619.15
59.65 | 12596.4
59.7 | 12573.7
59.75 | 12551.05
59.8 | 12528.45
59.85 | 12505.85
59.9 | 12483.35
59.95 | 12460.9
60 | 12438.45
60.05 | 12416.1
60.1 | 12393.75
60.15 | 12371.45
60.2 | 12349.25
60.25 | 12327.05
60.3 | 12304.9
60.35 | 12282.8
60.4 | 12260.75
60.45 | 12238.7
60.5 | 12216.75
60.55 | 12194.85
60.6 | 12172.95
60.65 | 12151.15
60.7 | 12129.35
60.75 | 12107.6
60.8 | 12085.9
60.85 | 12064.25
60.9 | 12042.65
60.95 | 12021.1
61 | 11999.55
61.05 | 11978.1
61.1 | 11956.65
61.15 | 11935.3
61.2 | 11913.95
61.25 | 11892.65
61.3 | 11871.4
61.35 | 11850.2
61.4 | 11829
61.45 | 11807.9
61.5 | 11786.8
61.55 | 11765.8
61.6 | 11744.8
61.65 | 11723.85
61.7 | 11702.95
61.75 | 11682.05
61.8 | 11661.25
61.85 | 11640.45
61.9 | 11619.75
61.95 | 11599.05
62 | 11578.4
62.05 | 11557.8
62.1 | 11537.2
62.15 | 11516.7
62.2 | 11496.2
62.25 | 11475.75
62.3 | 11455.4
62.35 | 11435
62.4 | 11414.7
62.45 | 11394.45
62.5 | 11374.2
62.55 | 11354
62.6 | 11333.85
62.65 | 11313.75
62.7 | 11293.7
62.75 | 11273.65
62.8 | 11253.65
62.85 | 11233.7
62.9 | 11213.8
62.95 | 11193.95
63 | 11174.15
63.05 | 11154.35
63.1 | 11134.6
63.15 | 11114.9
63.2 | 11095.25
63.25 | 11075.6
63.3 | 11056.05
63.35 | 11036.5
63.4 | 11017
63.45 | 10997.55
63.5 | 10978.1
63.55 | 10958.7
63.6 | 10939.4
63.65 | 10920.05
63.7 | 10900.8
63.75 | 10881.6
63.8 | 10862.4
63.85 | 10843.25
63.9 | 10824.15
63.95 | 10805.05
64 | 10786.05
64.05 | 10767.05
64.1 | 10748.1
64.15 | 10729.15
64.2 | 10710.3
64.25 | 10691.45
64.3 | 10672.65
64.35 | 10653.85
64.4 | 10635.15
64.45 | 10616.45
64.5 | 10597.8
64.55 | 10579.2
64.6 | 10560.6
64.65 | 10542.1
64.7 | 10523.6
64.75 | 10505.1
64.8 | 10486.7
64.85 | 10468.3
64.9 | 10449.95
64.95 | 10431.65
65 | 10413.35
65.05 | 10395.1
65.1 | 10376.9
65.15 | 10358.75
65.2 | 10340.6
65.25 | 10322.5
65.3 | 10304.45
65.35 | 10286.45
65.4 | 10268.45
65.45 | 10250.5
65.5 | 10232.6
65.55 | 10214.7
65.6 | 10196.85
65.65 | 10179.05
65.7 | 10161.3
65.75 | 10143.55
65.8 | 10125.85
65.85 | 10108.2
65.9 | 10090.6
65.95 | 10073
66 | 10055.45
66.05 | 10037.9
66.1 | 10020.4
66.15 | 10002.95
66.2 | 9985.55
66.25 | 9968.2
66.3 | 9950.85
66.35 | 9933.5
66.4 | 9916.25
66.45 | 9899
66.5 | 9881.8
66.55 | 9864.6
66.6 | 9847.5
66.65 | 9830.4
66.7 | 9813.3
66.75 | 9796.3
66.8 | 9779.25
66.85 | 9762.3
66.9 | 9745.35
66.95 | 9728.45
67 | 9711.6
67.05 | 9694.75
67.1 | 9677.95
67.15 | 9661.2
67.2 | 9644.5
67.25 | 9627.8
67.3 | 9611.1
67.35 | 9594.5
67.4 | 9577.9
67.45 | 9561.3
67.5 | 9544.8
67.55 | 9528.3
67.6 | 9511.8
67.65 | 9495.4
67.7 | 9479
67.75 | 9462.6
67.8 | 9446.3
67.85 | 9429.95
67.9 | 9413.7
67.95 | 9397.45
68 | 9381.25
68.05 | 9365.1
68.1 | 9348.95
68.15 | 9332.85
68.2 | 9316.75
68.25 | 9300.7
68.3 | 9284.7
68.35 | 9268.7
68.4 | 9252.75
68.45 | 9236.85
68.5 | 9220.95
68.55 | 9205.1
68.6 | 9189.25
68.65 | 9173.5
68.7 | 9157.7
68.75 | 9142
68.8 | 9126.3
68.85 | 9110.6
68.9 | 9095
68.95 | 9079.35
69 | 9063.8
69.05 | 9048.25
69.1 | 9032.75
69.15 | 9017.25
69.2 | 9001.8
69.25 | 8986.4
69.3 | 8971
69.35 | 8955.65
69.4 | 8940.3
69.45 | 8925
69.5 | 8909.7
69.55 | 8894.5
69.6 | 8879.25
69.65 | 8864.1
69.7 | 8848.95
69.75 | 8833.8
69.8 | 8818.75
69.85 | 8803.65
69.9 | 8788.65
69.95 | 8773.65
70 | 8758.65
70.05 | 8743.7
70.1 | 8728.8
70.15 | 8713.9
70.2 | 8699.05
70.25 | 8684.25
70.3 | 8669.45
70.35 | 8654.7
70.4 | 8639.95
70.45 | 8625.25
70.5 | 8610.55
70.55 | 8595.9
70.6 | 8581.25
70.65 | 8566.7
70.7 | 8552.1
70.75 | 8537.6
70.8 | 8523.05
70.85 | 8508.6
70.9 | 8494.15
70.95 | 8479.7
71 | 8465.3
71.05 | 8450.95
71.1 | 8436.6
71.15 | 8422.3
71.2 | 8408
71.25 | 8393.75
71.3 | 8379.55
71.35 | 8365.35
71.4 | 8351.15
71.45 | 8337
71.5 | 8322.9
71.55 | 8308.8
71.6 | 8294.75
71.65 | 8280.7
71.7 | 8266.7
71.75 | 8252.75
71.8 | 8238.8
71.85 | 8224.85
71.9 | 8210.95
71.95 | 8197.1
72 | 8183.25
72.05 | 8169.45
72.1 | 8155.65
72.15 | 8141.9
72.2 | 8128.15
72.25 | 8114.45
72.3 | 8100.75
72.35 | 8087.1
72.4 | 8073.45
72.45 | 8059.85
72.5 | 8046.3
72.55 | 8032.75
72.6 | 8019.2
72.65 | 8005.75
72.7 | 7992.25
72.75 | 7978.8
72.8 | 7965.4
72.85 | 7952
72.9 | 7938.65
72.95 | 7925.3
73 | 7912
73.05 | 7898.7
73.1 | 7885.45
73.15 | 7872.2
73.2 | 7859
73.25 | 7845.8
73.3 | 7832.65
73.35 | 7819.5
73.4 | 7806.4
73.45 | 7793.3
73.5 | 7780.25
73.55 | 7767.2
73.6 | 7754.2
73.65 | 7741.25
73.7 | 7728.25
73.75 | 7715.35
73.8 | 7702.45
73.85 | 7689.55
73.9 | 7676.7
73.95 | 7663.85
74 | 7651.05
74.05 | 7638.25
74.1 | 7625.5
74.15 | 7612.75
74.2 | 7600.05
74.25 | 7587.35
74.3 | 7574.7
74.35 | 7562.1
74.4 | 7549.45
74.45 | 7536.9
74.5 | 7524.3
74.55 | 7511.75
74.6 | 7499.25
74.65 | 7486.75
74.7 | 7474.3
74.75 | 7461.85
74.8 | 7449.45
74.85 | 7437.05
74.9 | 7424.65
74.95 | 7412.3
75 | 7400
75.05 | 7387.65
75.1 | 7375.35
75.15 | 7363.1
75.2 | 7350.8
75.25 | 7338.6
75.3 | 7326.35
75.35 | 7314.2
75.4 | 7302
75.45 | 7289.9
75.5 | 7277.75
75.55 | 7265.65
75.6 | 7253.6
75.65 | 7241.55
75.7 | 7229.55
75.75 | 7217.55
75.8 | 7205.55
75.85 | 7193.6
75.9 | 7181.65
75.95 | 7169.75
76 | 7157.9
76.05 | 7146
76.1 | 7134.2
76.15 | 7122.35
76.2 | 7110.55
76.25 | 7098.8
76.3 | 7087.05
76.35 | 7075.35
76.4 | 7063.65
76.45 | 7051.95
76.5 | 7040.3
76.55 | 7028.65
76.6 | 7017.05
76.65 | 7005.45
76.7 | 6993.9
76.75 | 6982.35
76.8 | 6970.85
76.85 | 6959.35
76.9 | 6947.85
76.95 | 6936.4
77 | 6924.95
77.05 | 6913.55
77.1 | 6902.15
77.15 | 6890.8
77.2 | 6879.45
77.25 | 6868.15
77.3 | 6856.8
77.35 | 6845.55
77.4 | 6834.3
77.45 | 6823.05
77.5 | 6811.85
77.55 | 6800.65
77.6 | 6789.45
77.65 | 6778.3
77.7 | 6767.2
77.75 | 6756.1
77.8 | 6745
77.85 | 6733.9
77.9 | 6722.9
77.95 | 6711.85
78 | 6700.85
78.05 | 6689.85
78.1 | 6678.9
78.15 | 6667.95
78.2 | 6657.05
78.25 | 6646.15
78.3 | 6635.3
78.35 | 6624.45
78.4 | 6613.6
78.45 | 6602.8
78.5 | 6592
78.55 | 6581.2
78.6 | 6570.45
78.65 | 6559.75
78.7 | 6549
78.75 | 6538.35
78.8 | 6527.65
78.85 | 6517
78.9 | 6506.4
78.95 | 6495.75
79 | 6485.2
79.05 | 6474.6
79.1 | 6464.05
79.15 | 6453.55
79.2 | 6443
79.25 | 6432.55
79.3 | 6422.05
79.35 | 6411.6
79.4 | 6401.2
79.45 | 6390.8
79.5 | 6380.4
79.55 | 6370
79.6 | 6359.65
79.65 | 6349.35
79.7 | 6339.05
79.75 | 6328.75
79.8 | 6318.45
79.85 | 6308.2
79.9 | 6298
79.95 | 6287.75
80 | 6277.55
80.05 | 6267.4
80.1 | 6257.25
80.15 | 6247.1
80.2 | 6237
80.25 | 6226.9
80.3 | 6216.8
80.35 | 6206.75
80.4 | 6196.7
80.45 | 6186.7
80.5 | 6176.7
80.55 | 6166.7
80.6 | 6156.75
80.65 | 6146.8
80.7 | 6136.85
80.75 | 6126.95
80.8 | 6117.05
80.85 | 6107.2
80.9 | 6097.35
80.95 | 6087.5
81 | 6077.7
81.05 | 6067.9
81.1 | 6058.1
81.15 | 6048.35
81.2 | 6038.6
81.25 | 6028.9
81.3 | 6019.2
81.35 | 6009.5
81.4 | 5999.85
81.45 | 5990.2
81.5 | 5980.55
81.55 | 5970.95
81.6 | 5961.35
81.65 | 5951.75
81.7 | 5942.2
81.75 | 5932.65
81.8 | 5923.15
81.85 | 5913.65
81.9 | 5904.15
81.95 | 5894.7
82 | 5885.2
82.05 | 5875.8
82.1 | 5866.35
82.15 | 5856.95
82.2 | 5847.6
82.25 | 5838.25
82.3 | 5828.9
82.35 | 5819.55
82.4 | 5810.25
82.45 | 5800.95
82.5 | 5791.65
82.55 | 5782.4
82.6 | 5773.15
82.65 | 5763.95
82.7 | 5754.75
82.75 | 5745.55
82.8 | 5736.35
82.85 | 5727.2
82.9 | 5718.05
82.95 | 5708.95
83 | 5699.85
83.05 | 5690.75
83.1 | 5681.7
83.15 | 5672.65
83.2 | 5663.6
83.25 | 5654.6
83.3 | 5645.55
83.35 | 5636.6
83.4 | 5627.6
83.45 | 5618.65
83.5 | 5609.75
83.55 | 5600.8
83.6 | 5591.9
83.65 | 5583
83.7 | 5574.15
83.75 | 5565.3
83.8 | 5556.45
83.85 | 5547.65
83.9 | 5538.85
83.95 | 5530.05
84 | 5521.25
84.05 | 5512.5
84.1 | 5503.75
84.15 | 5495.05
84.2 | 5486.35
84.25 | 5477.65
84.3 | 5469
84.35 | 5460.3
84.4 | 5451.7
84.45 | 5443.05
84.5 | 5434.45
84.55 | 5425.85
84.6 | 5417.25
84.65 | 5408.7
84.7 | 5400.15
84.75 | 5391.6
84.8 | 5383.1
84.85 | 5374.6
84.9 | 5366.15
84.95 | 5357.65
85 | 5349.2
85.05 | 5340.75
85.1 | 5332.35
85.15 | 5323.95
85.2 | 5315.55
85.25 | 5307.15
85.3 | 5298.8
85.35 | 5290.45
85.4 | 5282.15
85.45 | 5273.85
85.5 | 5265.55
85.55 | 5257.25
85.6 | 5249
85.65 | 5240.75
85.7 | 5232.5
85.75 | 5224.25
85.8 | 5216.05
85.85 | 5207.85
85.9 | 5199.7
85.95 | 5191.55
86 | 5183.4
86.05 | 5175.25
86.1 | 5167.15
86.15 | 5159.05
86.2 | 5150.95
86.25 | 5142.9
86.3 | 5134.8
86.35 | 5126.8
86.4 | 5118.75
86.45 | 5110.75
86.5 | 5102.75
86.55 | 5094.75
86.6 | 5086.8
86.65 | 5078.85
86.7 | 5070.9
86.75 | 5062.95
86.8 | 5055.05
86.85 | 5047.15
86.9 | 5039.3
86.95 | 5031.4
87 | 5023.55
87.05 | 5015.7
87.1 | 5007.9
87.15 | 5000.1
87.2 | 4992.3
87.25 | 4984.5
87.3 | 4976.75
87.35 | 4969
87.4 | 4961.25
87.45 | 4953.5
87.5 | 4945.8
87.55 | 4938.1
87.6 | 4930.45
87.65 | 4922.75
87.7 | 4915.1
87.75 | 4907.45
87.8 | 4899.85
87.85 | 4892.25
87.9 | 4884.65
87.95 | 4877.05
88 | 4869.45
88.05 | 4861.9
88.1 | 4854.35
88.15 | 4846.85
88.2 | 4839.35
88.25 | 4831.8
88.3 | 4824.35
88.35 | 4816.85
88.4 | 4809.4
88.45 | 4801.95
88.5 | 4794.5
88.55 | 4787.1
88.6 | 4779.7
88.65 | 4772.3
88.7 | 4764.9
88.75 | 4757.55
88.8 | 4750.2
88.85 | 4742.85
88.9 | 4735.5
88.95 | 4728.2
89 | 4720.9
89.05 | 4713.6
89.1 | 4706.35
89.15 | 4699.1
89.2 | 4691.85
89.25 | 4684.6
89.3 | 4677.35
89.35 | 4670.15
89.4 | 4662.95
89.45 | 4655.8
89.5 | 4648.6
89.55 | 4641.45
89.6 | 4634.3
89.65 | 4627.2
89.7 | 4620.05
89.75 | 4612.95
89.8 | 4605.85
89.85 | 4598.8
89.9 | 4591.7
89.95 | 4584.65
90 | 4577.6
90.05 | 4570.6
90.1 | 4563.55
90.15 | 4556.55
90.2 | 4549.55
90.25 | 4542.6
90.3 | 4535.65
90.35 | 4528.65
90.4 | 4521.75
90.45 | 4514.8
90.5 | 4507.9
90.55 | 4501
90.6 | 4494.1
90.65 | 4487.2
90.7 | 4480.35
90.75 | 4473.5
90.8 | 4466.65
90.85 | 4459.8
90.9 | 4453
90.95 | 4446.2
91 | 4439.4
91.05 | 4432.6
91.1 | 4425.85
91.15 | 4419.1
91.2 | 4412.35
91.25 | 4405.6
91.3 | 4398.9
91.35 | 4392.2
91.4 | 4385.5
91.45 | 4378.8
91.5 | 4372.15
91.55 | 4365.45
91.6 | 4358.8
91.65 | 4352.2
91.7 | 4345.55
91.75 | 4338.95
91.8 | 4332.35
91.85 | 4325.75
91.9 | 4319.2
91.95 | 4312.6
92 | 4306.05
92.05 | 4299.5
92.1 | 4293
92.15 | 4286.45
92.2 | 4279.95
92.25 | 4273.45
92.3 | 4267
92.35 | 4260.5
92.4 | 4254.05
92.45 | 4247.6
92.5 | 4241.15
92.55 | 4234.75
92.6 | 4228.3
92.65 | 4221.9
92.7 | 4215.5
92.75 | 4209.15
92.8 | 4202.75
92.85 | 4196.4
92.9 | 4190.05
92.95 | 4183.7
93 | 4177.4
93.05 | 4171.1
93.1 | 4164.75
93.15 | 4158.5
93.2 | 4152.2
93.25 | 4145.95
93.3 | 4139.65
93.35 | 4133.45
93.4 | 4127.2
93.45 | 4120.95
93.5 | 4114.75
93.55 | 4108.55
93.6 | 4102.35
93.65 | 4096.2
93.7 | 4090
93.75 | 4083.85
93.8 | 4077.7
93.85 | 4071.55
93.9 | 4065.45
93.95 | 4059.3
94 | 4053.2
94.05 | 4047.1
94.1 | 4041.05
94.15 | 4034.95
94.2 | 4028.9
94.25 | 4022.85
94.3 | 4016.8
94.35 | 4010.8
94.4 | 4004.75
94.45 | 3998.75
94.5 | 3992.75
94.55 | 3986.75
94.6 | 3980.8
94.65 | 3974.8
94.7 | 3968.85
94.75 | 3962.9
94.8 | 3957
94.85 | 3951.05
94.9 | 3945.15
94.95 | 3939.25
95 | 3933.35
95.05 | 3927.45
95.1 | 3921.6
95.15 | 3915.75
95.2 | 3909.9
95.25 | 3904.05
95.3 | 3898.2
95.35 | 3892.4
95.4 | 3886.55
95.45 | 3880.75
95.5 | 3875
95.55 | 3869.2
95.6 | 3863.45
95.65 | 3857.65
95.7 | 3851.9
95.75 | 3846.15
95.8 | 3840.45
95.85 | 3834.7
95.9 | 3829
95.95 | 3823.3
96 | 3817.6
96.05 | 3811.95
96.1 | 3806.25
96.15 | 3800.6
96.2 | 3794.95
96.25 | 3789.3
96.3 | 3783.7
96.35 | 3778.05
96.4 | 3772.45
96.45 | 3766.85
96.5 | 3761.25
96.55 | 3755.7
96.6 | 3750.1
96.65 | 3744.55
96.7 | 3739
96.75 | 3733.45
96.8 | 3727.9
96.85 | 3722.4
96.9 | 3716.9
96.95 | 3711.35
97 | 3705.9
97.05 | 3700.4
97.1 | 3694.9
97.15 | 3689.45
97.2 | 3684
97.25 | 3678.55
97.3 | 3673.1
97.35 | 3667.7
97.4 | 3662.25
97.45 | 3656.85
97.5 | 3651.45
97.55 | 3646.05
97.6 | 3640.7
97.65 | 3635.3
97.7 | 3629.95
97.75 | 3624.6
97.8 | 3619.25
97.85 | 3613.9
97.9 | 3608.6
97.95 | 3603.25
98 | 3597.95
98.05 | 3592.65
98.1 | 3587.35
98.15 | 3582.1
98.2 | 3576.8
98.25 | 3571.55
98.3 | 3566.3
98.35 | 3561.05
98.4 | 3555.85
98.45 | 3550.6
98.5 | 3545.4
98.55 | 3540.2
98.6 | 3535
98.65 | 3529.8
98.7 | 3524.6
98.75 | 3519.45
98.8 | 3514.25
98.85 | 3509.1
98.9 | 3503.95
98.95 | 3498.85
99 | 3493.7
99.05 | 3488.6
99.1 | 3483.5
99.15 | 3478.4
99.2 | 3473.3
99.25 | 3468.2
99.3 | 3463.15
99.35 | 3458.05
99.4 | 3453
99.45 | 3447.95
99.5 | 3442.9
99.55 | 3437.9
99.6 | 3432.85
99.65 | 3427.85
99.7 | 3422.85
99.75 | 3417.85
99.8 | 3412.85
99.85 | 3407.9
99.9 | 3402.9
99.95 | 3397.95
100 | 3393
100.05 | 3388.05
100.1 | 3383.1
100.15 | 3378.2
100.2 | 3373.25
100.25 | 3368.35
100.3 | 3363.45
100.35 | 3358.55
100.4 | 3353.65
100.45 | 3348.8
100.5 | 3343.95
100.55 | 3339.05
100.6 | 3334.2
100.65 | 3329.35
100.7 | 3324.55
100.75 | 3319.7
100.8 | 3314.9
100.85 | 3310.05
100.9 | 3305.25
100.95 | 3300.45
101 | 3295.7
101.05 | 3290.9
101.1 | 3286.15
101.15 | 3281.35
101.2 | 3276.6
101.25 | 3271.85
101.3 | 3267.15
101.35 | 3262.4
101.4 | 3257.7
101.45 | 3252.95
101.5 | 3248.25
101.55 | 3243.55
101.6 | 3238.85
101.65 | 3234.2
101.7 | 3229.5
101.75 | 3224.85
101.8 | 3220.2
101.85 | 3215.55
101.9 | 3210.9
101.95 | 3206.25
102 | 3201.65
102.05 | 3197
102.1 | 3192.4
102.15 | 3187.8
102.2 | 3183.2
102.25 | 3178.6
102.3 | 3174.05
102.35 | 3169.45
102.4 | 3164.9
102.45 | 3160.35
102.5 | 3155.8
102.55 | 3151.25
102.6 | 3146.75
102.65 | 3142.2
102.7 | 3137.7
102.75 | 3133.15
102.8 | 3128.65
102.85 | 3124.15
102.9 | 3119.7
102.95 | 3115.2
103 | 3110.75
103.05 | 3106.25
103.1 | 3101.8
103.15 | 3097.35
103.2 | 3092.9
103.25 | 3088.5
103.3 | 3084.05
103.35 | 3079.65
103.4 | 3075.25
103.45 | 3070.8
103.5 | 3066.4
103.55 | 3062.05
103.6 | 3057.65
103.65 | 3053.3
103.7 | 3048.9
103.75 | 3044.55
103.8 | 3040.2
103.85 | 3035.85
103.9 | 3031.5
103.95 | 3027.2
104 | 3022.85
104.05 | 3018.55
104.1 | 3014.25
104.15 | 3009.9
104.2 | 3005.65
104.25 | 3001.35
104.3 | 2997.05
104.35 | 2992.8
104.4 | 2988.5
104.45 | 2984.25
104.5 | 2980
104.55 | 2975.75
104.6 | 2971.55
104.65 | 2967.3
104.7 | 2963.05
104.75 | 2958.85
104.8 | 2954.65
104.85 | 2950.45
104.9 | 2946.25
104.95 | 2942.05
105 | 2937.9
105.05 | 2933.7
105.1 | 2929.55
105.15 | 2925.4
105.2 | 2921.25
105.25 | 2917.1
105.3 | 2912.95
105.35 | 2908.8
105.4 | 2904.7
105.45 | 2900.55
105.5 | 2896.45
105.55 | 2892.35
105.6 | 2888.25
105.65 | 2884.15
105.7 | 2880.05
105.75 | 2876
105.8 | 2871.9
105.85 | 2867.85
105.9 | 2863.8
105.95 | 2859.75
106 | 2855.7
106.05 | 2851.65
106.1 | 2847.65
106.15 | 2843.6
106.2 | 2839.6
106.25 | 2835.6
106.3 | 2831.6
106.35 | 2827.6
106.4 | 2823.6
106.45 | 2819.6
106.5 | 2815.65
106.55 | 2811.65
106.6 | 2807.7
106.65 | 2803.75
106.7 | 2799.8
106.75 | 2795.85
106.8 | 2791.9
106.85 | 2788
106.9 | 2784.05
106.95 | 2780.15
107 | 2776.25
107.05 | 2772.35
107.1 | 2768.45
107.15 | 2764.55
107.2 | 2760.65
107.25 | 2756.75
107.3 | 2752.9
107.35 | 2749.05
107.4 | 2745.15
107.45 | 2741.3
107.5 | 2737.45
107.55 | 2733.65
107.6 | 2729.8
107.65 | 2725.95
107.7 | 2722.15
107.75 | 2718.35
107.8 | 2714.5
107.85 | 2710.7
107.9 | 2706.9
107.95 | 2703.15
108 | 2699.35
108.05 | 2695.55
108.1 | 2691.8
108.15 | 2688.05
108.2 | 2684.25
108.25 | 2680.5
108.3 | 2676.75
108.35 | 2673.05
108.4 | 2669.3
108.45 | 2665.55
108.5 | 2661.85
108.55 | 2658.15
108.6 | 2654.4
108.65 | 2650.7
108.7 | 2647
108.75 | 2643.35
108.8 | 2639.65
108.85 | 2635.95
108.9 | 2632.3
108.95 | 2628.6
109 | 2624.95
109.05 | 2621.3
109.1 | 2617.65
109.15 | 2614
109.2 | 2610.4
109.25 | 2606.75
109.3 | 2603.1
109.35 | 2599.5
109.4 | 2595.9
109.45 | 2592.3
109.5 | 2588.7
109.55 | 2585.1
109.6 | 2581.5
109.65 | 2577.9
109.7 | 2574.35
109.75 | 2570.75
109.8 | 2567.2
109.85 | 2563.65
109.9 | 2560.05
109.95 | 2556.55
110 | 2553
110.05 | 2549.45
110.1 | 2545.9
110.15 | 2542.4
110.2 | 2538.85
110.25 | 2535.35
110.3 | 2531.85
110.35 | 2528.35
110.4 | 2524.85
110.45 | 2521.35
110.5 | 2517.85
110.55 | 2514.4
110.6 | 2510.9
110.65 | 2507.45
110.7 | 2504
110.75 | 2500.5
110.8 | 2497.05
110.85 | 2493.65
110.9 | 2490.2
110.95 | 2486.75
111 | 2483.3
111.05 | 2479.9
111.1 | 2476.5
111.15 | 2473.05
111.2 | 2469.65
111.25 | 2466.25
111.3 | 2462.85
111.35 | 2459.45
111.4 | 2456.1
111.45 | 2452.7
111.5 | 2449.35
111.55 | 2445.95
111.6 | 2442.6
111.65 | 2439.25
111.7 | 2435.9
111.75 | 2432.55
111.8 | 2429.2
111.85 | 2425.85
111.9 | 2422.55
111.95 | 2419.2
112 | 2415.9
112.05 | 2412.6
112.1 | 2409.25
112.15 | 2405.95
112.2 | 2402.65
112.25 | 2399.35
112.3 | 2396.1
112.35 | 2392.8
112.4 | 2389.5
112.45 | 2386.25
112.5 | 2383
112.55 | 2379.7
112.6 | 2376.45
112.65 | 2373.2
112.7 | 2369.95
112.75 | 2366.75
112.8 | 2363.5
112.85 | 2360.25
112.9 | 2357.05
112.95 | 2353.8
113 | 2350.6
113.05 | 2347.4
113.1 | 2344.2
113.15 | 2341
113.2 | 2337.8
113.25 | 2334.6
113.3 | 2331.45
113.35 | 2328.25
113.4 | 2325.1
113.45 | 2321.9
113.5 | 2318.75
113.55 | 2315.6
113.6 | 2312.45
113.65 | 2309.3
113.7 | 2306.15
113.75 | 2303
113.8 | 2299.9
113.85 | 2296.75
113.9 | 2293.65
113.95 | 2290.5
114 | 2287.4
114.05 | 2284.3
114.1 | 2281.2
114.15 | 2278.1
114.2 | 2275
114.25 | 2271.9
114.3 | 2268.85
114.35 | 2265.75
114.4 | 2262.7
114.45 | 2259.6
114.5 | 2256.55
114.55 | 2253.5
114.6 | 2250.45
114.65 | 2247.4
114.7 | 2244.35
114.75 | 2241.3
114.8 | 2238.3
114.85 | 2235.25
114.9 | 2232.25
114.95 | 2229.2
115 | 2226.2
115.05 | 2223.2
115.1 | 2220.2
115.15 | 2217.2
115.2 | 2214.2
115.25 | 2211.2
115.3 | 2208.2
115.35 | 2205.25
115.4 | 2202.25
115.45 | 2199.3
115.5 | 2196.3
115.55 | 2193.35
115.6 | 2190.4
115.65 | 2187.45
115.7 | 2184.5
115.75 | 2181.55
115.8 | 2178.6
115.85 | 2175.7
115.9 | 2172.75
115.95 | 2169.85
116 | 2166.9
116.05 | 2164
116.1 | 2161.1
116.15 | 2158.2
116.2 | 2155.3
116.25 | 2152.4
116.3 | 2149.5
116.35 | 2146.6
116.4 | 2143.7
116.45 | 2140.85
116.5 | 2137.95
116.55 | 2135.1
116.6 | 2132.25
116.65 | 2129.4
116.7 | 2126.5
116.75 | 2123.65
116.8 | 2120.85
116.85 | 2118
116.9 | 2115.15
116.95 | 2112.3
117 | 2109.5
117.05 | 2106.65
117.1 | 2103.85
117.15 | 2101.05
117.2 | 2098.2
117.25 | 2095.4
117.3 | 2092.6
117.35 | 2089.8
117.4 | 2087
117.45 | 2084.25
117.5 | 2081.45
117.55 | 2078.65
117.6 | 2075.9
117.65 | 2073.1
117.7 | 2070.35
117.75 | 2067.6
117.8 | 2064.85
117.85 | 2062.1
117.9 | 2059.35
117.95 | 2056.6
118 | 2053.85
118.05 | 2051.1
118.1 | 2048.4
118.15 | 2045.65
118.2 | 2042.95
118.25 | 2040.2
118.3 | 2037.5
118.35 | 2034.8
118.4 | 2032.1
118.45 | 2029.4
118.5 | 2026.7
118.55 | 2024
118.6 | 2021.3
118.65 | 2018.6
118.7 | 2015.95
118.75 | 2013.25
118.8 | 2010.6
118.85 | 2007.9
118.9 | 2005.25
118.95 | 2002.6
119 | 1999.95
119.05 | 1997.3
119.1 | 1994.65
119.15 | 1992
119.2 | 1989.35
119.25 | 1986.75
119.3 | 1984.1
119.35 | 1981.45
119.4 | 1978.85
119.45 | 1976.25
119.5 | 1973.6
119.55 | 1971
119.6 | 1968.4
119.65 | 1965.8
119.7 | 1963.2
119.75 | 1960.6
119.8 | 1958
119.85 | 1955.45
119.9 | 1952.85
119.95 | 1950.25
120 | 1947.7
120.05 | 1945.15
120.1 | 1942.55
120.15 | 1940
120.2 | 1937.45
120.25 | 1934.9
120.3 | 1932.35
120.35 | 1929.8
120.4 | 1927.25
120.45 | 1924.7
120.5 | 1922.2
120.55 | 1919.65
120.6 | 1917.15
120.65 | 1914.6
120.7 | 1912.1
120.75 | 1909.55
120.8 | 1907.05
120.85 | 1904.55
120.9 | 1902.05
120.95 | 1899.55
121 | 1897.05
121.05 | 1894.55
121.1 | 1892.1
121.15 | 1889.6
121.2 | 1887.1
121.25 | 1884.65
121.3 | 1882.2
121.35 | 1879.7
121.4 | 1877.25
121.45 | 1874.8
121.5 | 1872.35
121.55 | 1869.9
121.6 | 1867.45
121.65 | 1865
121.7 | 1862.55
121.75 | 1860.1
121.8 | 1857.65
121.85 | 1855.25
121.9 | 1852.8
121.95 | 1850.4
122 | 1848
122.05 | 1845.55
122.1 | 1843.15
122.15 | 1840.75
122.2 | 1838.35
122.25 | 1835.95
122.3 | 1833.55
122.35 | 1831.15
122.4 | 1828.75
122.45 | 1826.4
122.5 | 1824
122.55 | 1821.6
122.6 | 1819.25
122.65 | 1816.9
122.7 | 1814.5
122.75 | 1812.15
122.8 | 1809.8
122.85 | 1807.45
122.9 | 1805.1
122.95 | 1802.75
123 | 1800.4
123.05 | 1798.05
123.1 | 1795.7
123.15 | 1793.4
123.2 | 1791.05
123.25 | 1788.7
123.3 | 1786.4
123.35 | 1784.1
123.4 | 1781.75
123.45 | 1779.45
123.5 | 1777.15
123.55 | 1774.85
123.6 | 1772.55
123.65 | 1770.25
123.7 | 1767.95
123.75 | 1765.65
123.8 | 1763.35
123.85 | 1761.1
123.9 | 1758.8
123.95 | 1756.5
124 | 1754.25
124.05 | 1752
124.1 | 1749.7
124.15 | 1747.45
124.2 | 1745.2
124.25 | 1742.95
124.3 | 1740.7
124.35 | 1738.45
124.4 | 1736.2
124.45 | 1733.95
124.5 | 1731.7
124.55 | 1729.45
124.6 | 1727.25
124.65 | 1725
124.7 | 1722.8
124.75 | 1720.55
124.8 | 1718.35
124.85 | 1716.15
124.9 | 1713.9
124.95 | 1711.7
125 | 1709.5
125.05 | 1707.3
125.1 | 1705.1
125.15 | 1702.9
125.2 | 1700.7
125.25 | 1698.55
125.3 | 1696.35
125.35 | 1694.15
125.4 | 1692
125.45 | 1689.8
125.5 | 1687.65
125.55 | 1685.45
125.6 | 1683.3
125.65 | 1681.15
125.7 | 1679
125.75 | 1676.8
125.8 | 1674.65
125.85 | 1672.5
125.9 | 1670.4
125.95 | 1668.25
126 | 1666.1
126.05 | 1663.95
126.1 | 1661.85
126.15 | 1659.7
126.2 | 1657.6
126.25 | 1655.45
126.3 | 1653.35
126.35 | 1651.2
126.4 | 1649.1
126.45 | 1647
126.5 | 1644.9
126.55 | 1642.8
126.6 | 1640.7
126.65 | 1638.6
126.7 | 1636.5
126.75 | 1634.4
126.8 | 1632.3
126.85 | 1630.25
126.9 | 1628.15
126.95 | 1626.05
127 | 1624
127.05 | 1621.95
127.1 | 1619.85
127.15 | 1617.8
127.2 | 1615.75
127.25 | 1613.65
127.3 | 1611.6
127.35 | 1609.55
127.4 | 1607.5
127.45 | 1605.45
127.5 | 1603.4
127.55 | 1601.4
127.6 | 1599.35
127.65 | 1597.3
127.7 | 1595.3
127.75 | 1593.25
127.8 | 1591.2
127.85 | 1589.2
127.9 | 1587.2
127.95 | 1585.15
128 | 1583.15
128.05 | 1581.15
128.1 | 1579.15
128.15 | 1577.15
128.2 | 1575.15
128.25 | 1573.15
128.3 | 1571.15
128.35 | 1569.15
128.4 | 1567.15
128.45 | 1565.15
128.5 | 1563.2
128.55 | 1561.2
128.6 | 1559.25
128.65 | 1557.25
128.7 | 1555.3
128.75 | 1553.3
128.8 | 1551.35
128.85 | 1549.4
128.9 | 1547.45
128.95 | 1545.45
129 | 1543.5
129.05 | 1541.55
129.1 | 1539.6
129.15 | 1537.7
129.2 | 1535.75
129.25 | 1533.8
129.3 | 1531.85
129.35 | 1529.95
129.4 | 1528
129.45 | 1526.05
129.5 | 1524.15
129.55 | 1522.2
129.6 | 1520.3
129.65 | 1518.4
129.7 | 1516.5
129.75 | 1514.55
129.8 | 1512.65
129.85 | 1510.75
129.9 | 1508.85
129.95 | 1506.95
130 | 1505.05
130.05 | 1503.15
130.1 | 1501.3
130.15 | 1499.4
130.2 | 1497.5
130.25 | 1495.6
130.3 | 1493.75
130.35 | 1491.85
130.4 | 1490
130.45 | 1488.1
130.5 | 1486.25
130.55 | 1484.4
130.6 | 1482.55
130.65 | 1480.65
130.7 | 1478.8
130.75 | 1476.95
130.8 | 1475.1
130.85 | 1473.25
130.9 | 1471.4
130.95 | 1469.55
131 | 1467.75
131.05 | 1465.9
131.1 | 1464.05
131.15 | 1462.25
131.2 | 1460.4
131.25 | 1458.55
131.3 | 1456.75
131.35 | 1454.95
131.4 | 1453.1
131.45 | 1451.3
131.5 | 1449.5
131.55 | 1447.65
131.6 | 1445.85
131.65 | 1444.05
131.7 | 1442.25
131.75 | 1440.45
131.8 | 1438.65
131.85 | 1436.85
131.9 | 1435.05
131.95 | 1433.3
132 | 1431.5
132.05 | 1429.7
132.1 | 1427.95
132.15 | 1426.15
132.2 | 1424.4
132.25 | 1422.6
132.3 | 1420.85
132.35 | 1419.05
132.4 | 1417.3
132.45 | 1415.55
132.5 | 1413.8
132.55 | 1412
132.6 | 1410.25
132.65 | 1408.5
132.7 | 1406.75
132.75 | 1405
132.8 | 1403.25
132.85 | 1401.55
132.9 | 1399.8
132.95 | 1398.05
133 | 1396.3
133.05 | 1394.6
133.1 | 1392.85
133.15 | 1391.15
133.2 | 1389.4
133.25 | 1387.7
133.3 | 1385.95
133.35 | 1384.25
133.4 | 1382.55
133.45 | 1380.85
133.5 | 1379.1
133.55 | 1377.4
133.6 | 1375.7
133.65 | 1374
133.7 | 1372.3
133.75 | 1370.6
133.8 | 1368.9
133.85 | 1367.25
133.9 | 1365.55
133.95 | 1363.85
134 | 1362.15
134.05 | 1360.5
134.1 | 1358.8
134.15 | 1357.15
134.2 | 1355.45
134.25 | 1353.8
134.3 | 1352.1
134.35 | 1350.45
134.4 | 1348.8
134.45 | 1347.1
134.5 | 1345.45
134.55 | 1343.8
134.6 | 1342.15
134.65 | 1340.5
134.7 | 1338.85
134.75 | 1337.2
134.8 | 1335.55
134.85 | 1333.9
134.9 | 1332.25
134.95 | 1330.65
135 | 1329