## Curve
Littelfuse.com
Disclaimer Notice
Information furnished is believed to be accurate and reliable. However, users should independently evaluate the suitability of and test each product selected for their own applications. Littelfuse products are not designed for, and may not be used in, all applications. Read complete Disclaimer Notice at:
www.littelfuse.com/disclaimer-electronics
© 2017 Littelfuse, Inc.
Specifications subject to change without notice.
Revised: 07/10/17
KW503R2 REV NONE (RESISTANCE VS. TEMPERATURE TABLE)
Temp | Resistance (Ω)
(°C) | 50,000 Ω @ +25°C
-55 | 5985000
-54.95 | 5962268.8
-54.9 | 5939631.35
-54.85 | 5917087.25
-54.8 | 5894636.15
-54.75 | 5872277.55
-54.7 | 5850011.05
-54.65 | 5827836.3
-54.6 | 5805752.85
-54.55 | 5783760.35
-54.5 | 5761858.3
-54.45 | 5740046.35
-54.4 | 5718324.15
-54.35 | 5696691.25
-54.3 | 5675147.25
-54.25 | 5653691.75
-54.2 | 5632324.4
-54.15 | 5611044.8
-54.1 | 5589852.55
-54.05 | 5568747.3
-54 | 5547728.6
-53.95 | 5526796.1
-53.9 | 5505949.45
-53.85 | 5485188.25
-53.8 | 5464512.1
-53.75 | 5443920.65
-53.7 | 5423413.5
-53.65 | 5402990.3
-53.6 | 5382650.7
-53.55 | 5362394.35
-53.5 | 5342220.8
-53.45 | 5322129.75
-53.4 | 5302120.8
-53.35 | 5282193.65
-53.3 | 5262347.85
-53.25 | 5242583.15
-53.2 | 5222899.1
-53.15 | 5203295.4
-53.1 | 5183771.65
-53.05 | 5164327.55
-53 | 5144962.75
-52.95 | 5125676.85
-52.9 | 5106469.55
-52.85 | 5087340.5
-52.8 | 5068289.35
-52.75 | 5049315.75
-52.7 | 5030419.4
-52.65 | 5011599.9
-52.6 | 4992856.95
-52.55 | 4974190.25
-52.5 | 4955599.4
-52.45 | 4937084.05
-52.4 | 4918644
-52.35 | 4900278.75
-52.3 | 4881988.15
-52.25 | 4863771.7
-52.2 | 4845629.2
-52.15 | 4827560.3
-52.1 | 4809564.65
-52.05 | 4791641.95
-52 | 4773791.9
-51.95 | 4756014.15
-51.9 | 4738308.4
-51.85 | 4720674.3
-51.8 | 4703111.6
-51.75 | 4685620
-51.7 | 4668199.1
-51.65 | 4650848.65
-51.6 | 4633568.35
-51.55 | 4616357.9
-51.5 | 4599216.95
-51.45 | 4582145.25
-51.4 | 4565142.45
-51.35 | 4548208.3
-51.3 | 4531342.45
-51.25 | 4514544.65
-51.2 | 4497814.6
-51.15 | 4481152
-51.1 | 4464556.55
-51.05 | 4448027.95
-51 | 4431565.9
-50.95 | 4415170.15
-50.9 | 4398840.4
-50.85 | 4382576.35
-50.8 | 4366377.75
-50.75 | 4350244.25
-50.7 | 4334175.65
-50.65 | 4318171.6
-50.6 | 4302231.85
-50.55 | 4286356.15
-50.5 | 4270544.15
-50.45 | 4254795.65
-50.4 | 4239110.35
-50.35 | 4223487.95
-50.3 | 4207928.25
-50.25 | 4192430.9
-50.2 | 4176995.65
-50.15 | 4161622.25
-50.1 | 4146310.4
-50.05 | 4131059.9
-50 | 4115870.45
-49.95 | 4100741.75
-49.9 | 4085673.6
-49.85 | 4070665.75
-49.8 | 4055717.85
-49.75 | 4040829.7
-49.7 | 4026001.05
-49.65 | 4011231.6
-49.6 | 3996521.15
-49.55 | 3981869.45
-49.5 | 3967276.2
-49.45 | 3952741.15
-49.4 | 3938264.1
-49.35 | 3923844.75
-49.3 | 3909482.9
-49.25 | 3895178.25
-49.2 | 3880930.6
-49.15 | 3866739.65
-49.1 | 3852605.25
-49.05 | 3838527.05
-49 | 3824504.9
-48.95 | 3810538.5
-48.9 | 3796627.65
-48.85 | 3782772.1
-48.8 | 3768971.6
-48.75 | 3755225.9
-48.7 | 3741534.8
-48.65 | 3727898.05
-48.6 | 3714315.45
-48.55 | 3700786.7
-48.5 | 3687311.65
-48.45 | 3673890
-48.4 | 3660521.55
-48.35 | 3647206.1
-48.3 | 3633943.4
-48.25 | 3620733.2
-48.2 | 3607575.35
-48.15 | 3594469.55
-48.1 | 3581415.6
-48.05 | 3568413.3
-48 | 3555462.4
-47.95 | 3542562.7
-47.9 | 3529714
-47.85 | 3516916.05
-47.8 | 3504168.6
-47.75 | 3491471.55
-47.7 | 3478824.6
-47.65 | 3466227.5
-47.6 | 3453680.15
-47.55 | 3441182.25
-47.5 | 3428733.65
-47.45 | 3416334.1
-47.4 | 3403983.4
-47.35 | 3391681.35
-47.3 | 3379427.7
-47.25 | 3367222.35
-47.2 | 3355065
-47.15 | 3342955.45
-47.1 | 3330893.55
-47.05 | 3318879.1
-47 | 3306911.8
-46.95 | 3294991.55
-46.9 | 3283118.15
-46.85 | 3271291.35
-46.8 | 3259511
-46.75 | 3247776.85
-46.7 | 3236088.75
-46.65 | 3224446.5
-46.6 | 3212849.85
-46.55 | 3201298.7
-46.5 | 3189792.8
-46.45 | 3178331.95
-46.4 | 3166916
-46.35 | 3155544.75
-46.3 | 3144218
-46.25 | 3132935.55
-46.2 | 3121697.25
-46.15 | 3110502.85
-46.1 | 3099352.25
-46.05 | 3088245.2
-46 | 3077181.55
-45.95 | 3066161.1
-45.9 | 3055183.7
-45.85 | 3044249.1
-45.8 | 3033357.2
-45.75 | 3022507.75
-45.7 | 3011700.65
-45.65 | 3000935.65
-45.6 | 2990212.6
-45.55 | 2979531.35
-45.5 | 2968891.65
-45.45 | 2958293.4
-45.4 | 2947736.4
-45.35 | 2937220.5
-45.3 | 2926745.5
-45.25 | 2916311.2
-45.2 | 2905917.5
-45.15 | 2895564.2
-45.1 | 2885251.1
-45.05 | 2874978.05
-45 | 2864744.9
-44.95 | 2854551.45
-44.9 | 2844397.6
-44.85 | 2834283.1
-44.8 | 2824207.85
-44.75 | 2814171.65
-44.7 | 2804174.35
-44.65 | 2794215.75
-44.6 | 2784295.8
-44.55 | 2774414.2
-44.5 | 2764570.85
-44.45 | 2754765.65
-44.4 | 2744998.35
-44.35 | 2735268.8
-44.3 | 2725576.9
-44.25 | 2715922.45
-44.2 | 2706305.3
-44.15 | 2696725.3
-44.1 | 2687182.3
-44.05 | 2677676.15
-44 | 2668206.65
-43.95 | 2658773.75
-43.9 | 2649377.2
-43.85 | 2640016.85
-43.8 | 2630692.6
-43.75 | 2621404.3
-43.7 | 2612151.75
-43.65 | 2602934.9
-43.6 | 2593753.45
-43.55 | 2584607.4
-43.5 | 2575496.5
-43.45 | 2566420.65
-43.4 | 2557379.75
-43.35 | 2548373.55
-43.3 | 2539402
-43.25 | 2530464.85
-43.2 | 2521562.1
-43.15 | 2512693.5
-43.1 | 2503858.95
-43.05 | 2495058.3
-43 | 2486291.4
-42.95 | 2477558.1
-42.9 | 2468858.3
-42.85 | 2460191.85
-42.8 | 2451558.6
-42.75 | 2442958.4
-42.7 | 2434391.15
-42.65 | 2425856.7
-42.6 | 2417354.9
-42.55 | 2408885.65
-42.5 | 2400448.75
-42.45 | 2392044.15
-42.4 | 2383671.65
-42.35 | 2375331.1
-42.3 | 2367022.45
-42.25 | 2358745.55
-42.2 | 2350500.2
-42.15 | 2342286.35
-42.1 | 2334103.85
-42.05 | 2325952.5
-42 | 2317832.3
-41.95 | 2309743
-41.9 | 2301684.55
-41.85 | 2293656.8
-41.8 | 2285659.6
-41.75 | 2277692.9
-41.7 | 2269756.45
-41.65 | 2261850.25
-41.6 | 2253974.1
-41.55 | 2246127.9
-41.5 | 2238311.55
-41.45 | 2230524.9
-41.4 | 2222767.8
-41.35 | 2215040.2
-41.3 | 2207341.9
-41.25 | 2199672.85
-41.2 | 2192032.9
-41.15 | 2184421.9
-41.1 | 2176839.8
-41.05 | 2169286.4
-41 | 2161761.7
-40.95 | 2154265.45
-40.9 | 2146797.6
-40.85 | 2139358.05
-40.8 | 2131946.65
-40.75 | 2124563.3
-40.7 | 2117207.9
-40.65 | 2109880.3
-40.6 | 2102580.4
-40.55 | 2095308.1
-40.5 | 2088063.25
-40.45 | 2080845.8
-40.4 | 2073655.6
-40.35 | 2066492.55
-40.3 | 2059356.5
-40.25 | 2052247.4
-40.2 | 2045165.1
-40.15 | 2038109.55
-40.1 | 2031080.55
-40.05 | 2024078.05
-40 | 2017101.95
-39.95 | 2010152.1
-39.9 | 2003228.4
-39.85 | 1996330.8
-39.8 | 1989459.15
-39.75 | 1982613.3
-39.7 | 1975793.25
-39.65 | 1968998.8
-39.6 | 1962229.9
-39.55 | 1955486.45
-39.5 | 1948768.3
-39.45 | 1942075.35
-39.4 | 1935407.6
-39.35 | 1928764.8
-39.3 | 1922146.95
-39.25 | 1915553.9
-39.2 | 1908985.6
-39.15 | 1902441.9
-39.1 | 1895922.75
-39.05 | 1889427.95
-39 | 1882957.55
-38.95 | 1876511.3
-38.9 | 1870089.25
-38.85 | 1863691.15
-38.8 | 1857317.05
-38.75 | 1850966.75
-38.7 | 1844640.15
-38.65 | 1838337.25
-38.6 | 1832057.85
-38.55 | 1825801.95
-38.5 | 1819569.35
-38.45 | 1813360.05
-38.4 | 1807173.9
-38.35 | 1801010.85
-38.3 | 1794870.75
-38.25 | 1788753.6
-38.2 | 1782659.2
-38.15 | 1776587.5
-38.1 | 1770538.4
-38.05 | 1764511.85
-38 | 1758507.75
-37.95 | 1752525.95
-37.9 | 1746566.45
-37.85 | 1740629.05
-37.8 | 1734713.75
-37.75 | 1728820.45
-37.7 | 1722949.05
-37.65 | 1717099.45
-37.6 | 1711271.6
-37.55 | 1705465.35
-37.5 | 1699680.65
-37.45 | 1693917.4
-37.4 | 1688175.55
-37.35 | 1682455
-37.3 | 1676755.6
-37.25 | 1671077.4
-37.2 | 1665420.15
-37.15 | 1659783.9
-37.1 | 1654168.5
-37.05 | 1648573.9
-37 | 1643000
-36.95 | 1637446.7
-36.9 | 1631913.95
-36.85 | 1626401.65
-36.8 | 1620909.7
-36.75 | 1615438.1
-36.7 | 1609986.65
-36.65 | 1604555.35
-36.6 | 1599144.1
-36.55 | 1593752.8
-36.5 | 1588381.4
-36.45 | 1583029.8
-36.4 | 1577697.95
-36.35 | 1572385.75
-36.3 | 1567093.1
-36.25 | 1561819.95
-36.2 | 1556566.25
-36.15 | 1551331.85
-36.1 | 1546116.75
-36.05 | 1540920.8
-36 | 1535744
-35.95 | 1530586.2
-35.9 | 1525447.4
-35.85 | 1520327.45
-35.8 | 1515226.3
-35.75 | 1510143.9
-35.7 | 1505080.15
-35.65 | 1500035
-35.6 | 1495008.35
-35.55 | 1490000.15
-35.5 | 1485010.3
-35.45 | 1480038.75
-35.4 | 1475085.45
-35.35 | 1470150.25
-35.3 | 1465233.15
-35.25 | 1460334.05
-35.2 | 1455452.9
-35.15 | 1450589.6
-35.1 | 1445744.05
-35.05 | 1440916.3
-35 | 1436106.15
-34.95 | 1431313.6
-34.9 | 1426538.55
-34.85 | 1421780.9
-34.8 | 1417040.7
-34.75 | 1412317.75
-34.7 | 1407612.05
-34.65 | 1402923.55
-34.6 | 1398252.15
-34.55 | 1393597.75
-34.5 | 1388960.3
-34.45 | 1384339.8
-34.4 | 1379736.1
-34.35 | 1375149.2
-34.3 | 1370578.95
-34.25 | 1366025.4
-34.2 | 1361488.35
-34.15 | 1356967.85
-34.1 | 1352463.8
-34.05 | 1347976.1
-34 | 1343504.7
-33.95 | 1339049.55
-33.9 | 1334610.6
-33.85 | 1330187.75
-33.8 | 1325780.95
-33.75 | 1321390.15
-33.7 | 1317015.3
-33.65 | 1312656.3
-33.6 | 1308313.1
-33.55 | 1303985.65
-33.5 | 1299673.9
-33.45 | 1295377.75
-33.4 | 1291097.15
-33.35 | 1286832.05
-33.3 | 1282582.4
-33.25 | 1278348.1
-33.2 | 1274129.15
-33.15 | 1269925.4
-33.1 | 1265736.9
-33.05 | 1261563.55
-33 | 1257405.25
-32.95 | 1253261.95
-32.9 | 1249133.65
-32.85 | 1245020.2
-32.8 | 1240921.65
-32.75 | 1236837.85
-32.7 | 1232768.8
-32.65 | 1228714.4
-32.6 | 1224674.65
-32.55 | 1220649.4
-32.5 | 1216638.7
-32.45 | 1212642.4
-32.4 | 1208660.5
-32.35 | 1204692.95
-32.3 | 1200739.65
-32.25 | 1196800.6
-32.2 | 1192875.7
-32.15 | 1188964.9
-32.1 | 1185068.15
-32.05 | 1181185.45
-32 | 1177316.65
-31.95 | 1173461.7
-31.9 | 1169620.65
-31.85 | 1165793.35
-31.8 | 1161979.8
-31.75 | 1158179.95
-31.7 | 1154393.7
-31.65 | 1150621
-31.6 | 1146861.8
-31.55 | 1143116.1
-31.5 | 1139383.8
-31.45 | 1135664.9
-31.4 | 1131959.25
-31.35 | 1128266.9
-31.3 | 1124587.75
-31.25 | 1120921.75
-31.2 | 1117268.85
-31.15 | 1113629
-31.1 | 1110002.15
-31.05 | 1106388.25
-31 | 1102787.3
-30.95 | 1099199.15
-30.9 | 1095623.8
-30.85 | 1092061.25
-30.8 | 1088511.35
-30.75 | 1084974.15
-30.7 | 1081449.55
-30.65 | 1077937.5
-30.6 | 1074437.95
-30.55 | 1070950.85
-30.5 | 1067476.2
-30.45 | 1064013.9
-30.4 | 1060563.9
-30.35 | 1057126.2
-30.3 | 1053700.7
-30.25 | 1050287.4
-30.2 | 1046886.2
-30.15 | 1043497.1
-30.1 | 1040120
-30.05 | 1036754.95
-30 | 1033401.8
-29.95 | 1030060.55
-29.9 | 1026731.15
-29.85 | 1023413.6
-29.8 | 1020107.75
-29.75 | 1016813.65
-29.7 | 1013531.25
-29.65 | 1010260.45
-29.6 | 1007001.2
-29.55 | 1003753.5
-29.5 | 1000517.3
-29.45 | 997292.55
-29.4 | 994079.25
-29.35 | 990877.25
-29.3 | 987686.6
-29.25 | 984507.2
-29.2 | 981339.05
-29.15 | 978182.1
-29.1 | 975036.25
-29.05 | 971901.55
-29 | 968777.9
-28.95 | 965665.25
-28.9 | 962563.55
-28.85 | 959472.85
-28.8 | 956393
-28.75 | 953324
-28.7 | 950265.85
-28.65 | 947218.4
-28.6 | 944181.75
-28.55 | 941155.75
-28.5 | 938140.4
-28.45 | 935135.65
-28.4 | 932141.45
-28.35 | 929157.8
-28.3 | 926184.65
-28.25 | 923221.9
-28.2 | 920269.6
-28.15 | 917327.6
-28.1 | 914396
-28.05 | 911474.65
-28 | 908563.55
-27.95 | 905662.65
-27.9 | 902771.9
-27.85 | 899891.3
-27.8 | 897020.8
-27.75 | 894160.4
-27.7 | 891309.95
-27.65 | 888469.5
-27.6 | 885639
-27.55 | 882818.35
-27.5 | 880007.6
-27.45 | 877206.7
-27.4 | 874415.55
-27.35 | 871634.2
-27.3 | 868862.55
-27.25 | 866100.55
-27.2 | 863348.2
-27.15 | 860605.5
-27.1 | 857872.3
-27.05 | 855148.7
-27 | 852434.55
-26.95 | 849729.9
-26.9 | 847034.65
-26.85 | 844348.8
-26.8 | 841672.3
-26.75 | 839005.15
-26.7 | 836347.25
-26.65 | 833698.6
-26.6 | 831059.15
-26.55 | 828428.9
-26.5 | 825807.8
-26.45 | 823195.8
-26.4 | 820592.9
-26.35 | 817999
-26.3 | 815414.15
-26.25 | 812838.25
-26.2 | 810271.3
-26.15 | 807713.25
-26.1 | 805164.1
-26.05 | 802623.75
-26 | 800092.2
-25.95 | 797569.45
-25.9 | 795055.45
-25.85 | 792550.15
-25.8 | 790053.5
-25.75 | 787565.5
-25.7 | 785086.15
-25.65 | 782615.35
-25.6 | 780153.1
-25.55 | 777699.35
-25.5 | 775254.1
-25.45 | 772817.3
-25.4 | 770388.9
-25.35 | 767968.9
-25.3 | 765557.25
-25.25 | 763153.9
-25.2 | 760758.85
-25.15 | 758372.1
-25.1 | 755993.55
-25.05 | 753623.2
-25 | 751261.05
-24.95 | 748907
-24.9 | 746561.1
-24.85 | 744223.25
-24.8 | 741893.45
-24.75 | 739571.65
-24.7 | 737257.85
-24.65 | 734952.05
-24.6 | 732654.15
-24.55 | 730364.1
-24.5 | 728082
-24.45 | 725807.7
-24.4 | 723541.2
-24.35 | 721282.5
-24.3 | 719031.55
-24.25 | 716788.3
-24.2 | 714552.8
-24.15 | 712324.9
-24.1 | 710104.7
-24.05 | 707892.05
-24 | 705687.05
-23.95 | 703489.55
-23.9 | 701299.6
-23.85 | 699117.15
-23.8 | 696942.15
-23.75 | 694774.6
-23.7 | 692614.45
-23.65 | 690461.7
-23.6 | 688316.3
-23.55 | 686178.25
-23.5 | 684047.5
-23.45 | 681924
-23.4 | 679807.8
-23.35 | 677698.8
-23.3 | 675596.95
-23.25 | 673502.35
-23.2 | 671414.85
-23.15 | 669334.45
-23.1 | 667261.2
-23.05 | 665194.95
-23 | 663135.8
-22.95 | 661083.6
-22.9 | 659038.45
-22.85 | 657000.2
-22.8 | 654968.9
-22.75 | 652944.55
-22.7 | 650927.05
-22.65 | 648916.4
-22.6 | 646912.6
-22.55 | 644915.6
-22.5 | 642925.4
-22.45 | 640941.95
-22.4 | 638965.25
-22.35 | 636995.25
-22.3 | 635031.9
-22.25 | 633075.25
-22.2 | 631125.2
-22.15 | 629181.75
-22.1 | 627244.95
-22.05 | 625314.65
-22 | 623390.9
-21.95 | 621473.7
-21.9 | 619562.95
-21.85 | 617658.7
-21.8 | 615760.85
-21.75 | 613869.45
-21.7 | 611984.4
-21.65 | 610105.8
-21.6 | 608233.5
-21.55 | 606367.5
-21.5 | 604507.85
-21.45 | 602654.45
-21.4 | 600807.3
-21.35 | 598966.4
-21.3 | 597131.7
-21.25 | 595303.2
-21.2 | 593480.85
-21.15 | 591664.65
-21.1 | 589854.55
-21.05 | 588050.55
-21 | 586252.65
-20.95 | 584460.75
-20.9 | 582674.95
-20.85 | 580895.1
-20.8 | 579121.25
-20.75 | 577353.4
-20.7 | 575591.45
-20.65 | 573835.45
-20.6 | 572085.35
-20.55 | 570341.1
-20.5 | 568602.7
-20.45 | 566870.15
-20.4 | 565143.45
-20.35 | 563422.5
-20.3 | 561707.3
-20.25 | 559997.9
-20.2 | 558294.2
-20.15 | 556596.2
-20.1 | 554903.95
-20.05 | 553217.3
-20 | 551536.3
-19.95 | 549860.95
-19.9 | 548191.2
-19.85 | 546527.05
-19.8 | 544868.45
-19.75 | 543215.4
-19.7 | 541567.85
-19.65 | 539925.85
-19.6 | 538289.3
-19.55 | 536658.2
-19.5 | 535032.55
-19.45 | 533412.35
-19.4 | 531797.55
-19.35 | 530188.15
-19.3 | 528584.1
-19.25 | 526985.4
-19.2 | 525392
-19.15 | 523803.9
-19.1 | 522221.15
-19.05 | 520643.65
-19 | 519071.35
-18.95 | 517504.35
-18.9 | 515942.5
-18.85 | 514385.9
-18.8 | 512834.45
-18.75 | 511288.15
-18.7 | 509747
-18.65 | 508210.95
-18.6 | 506680
-18.55 | 505154.15
-18.5 | 503633.35
-18.45 | 502117.6
-18.4 | 500606.9
-18.35 | 499101.2
-18.3 | 497600.5
-18.25 | 496104.75
-18.2 | 494613.95
-18.15 | 493128.1
-18.1 | 491647.15
-18.05 | 490171.15
-18 | 488700
-17.95 | 487233.7
-17.9 | 485772.3
-17.85 | 484315.7
-17.8 | 482863.9
-17.75 | 481416.95
-17.7 | 479974.75
-17.65 | 478537.3
-17.6 | 477104.6
-17.55 | 475676.65
-17.5 | 474253.4
-17.45 | 472834.8
-17.4 | 471420.95
-17.35 | 470011.7
-17.3 | 468607.15
-17.25 | 467207.2
-17.2 | 465811.85
-17.15 | 464421.1
-17.1 | 463034.95
-17.05 | 461653.35
-17 | 460276.3
-16.95 | 458903.75
-16.9 | 457535.75
-16.85 | 456172.25
-16.8 | 454813.2
-16.75 | 453458.65
-16.7 | 452108.5
-16.65 | 450762.85
-16.6 | 449421.55
-16.55 | 448084.7
-16.5 | 446752.2
-16.45 | 445424.1
-16.4 | 444100.35
-16.35 | 442780.95
-16.3 | 441465.85
-16.25 | 440155.05
-16.2 | 438848.55
-16.15 | 437546.35
-16.1 | 436248.4
-16.05 | 434954.7
-16 | 433665.2
-15.95 | 432379.95
-15.9 | 431098.9
-15.85 | 429822.05
-15.8 | 428549.35
-15.75 | 427280.8
-15.7 | 426016.4
-15.65 | 424756.15
-15.6 | 423500
-15.55 | 422247.95
-15.5 | 420999.95
-15.45 | 419756.05
-15.4 | 418516.2
-15.35 | 417280.4
-15.3 | 416048.6
-15.25 | 414820.85
-15.2 | 413597.1
-15.15 | 412377.3
-15.1 | 411161.5
-15.05 | 409949.65
-15 | 408741.7
-14.95 | 407537.7
-14.9 | 406337.65
-14.85 | 405141.45
-14.8 | 403949.2
-14.75 | 402760.75
-14.7 | 401576.2
-14.65 | 400395.5
-14.6 | 399218.6
-14.55 | 398045.55
-14.5 | 396876.3
-14.45 | 395710.8
-14.4 | 394549.15
-14.35 | 393391.2
-14.3 | 392237.05
-14.25 | 391086.6
-14.2 | 389939.9
-14.15 | 388796.9
-14.1 | 387657.6
-14.05 | 386521.95
-14 | 385390.05
-13.95 | 384261.75
-13.9 | 383137.1
-13.85 | 382016.1
-13.8 | 380898.7
-13.75 | 379784.95
-13.7 | 378674.75
-13.65 | 377568.2
-13.6 | 376465.15
-13.55 | 375365.7
-13.5 | 374269.75
-13.45 | 373177.4
-13.4 | 372088.5
-13.35 | 371003.15
-13.3 | 369921.3
-13.25 | 368842.9
-13.2 | 367768
-13.15 | 366696.55
-13.1 | 365628.55
-13.05 | 364564
-13 | 363502.85
-12.95 | 362445.15
-12.9 | 361390.8
-12.85 | 360339.85
-12.8 | 359292.3
-12.75 | 358248.1
-12.7 | 357207.25
-12.65 | 356169.75
-12.6 | 355135.55
-12.55 | 354104.7
-12.5 | 353077.1
-12.45 | 352052.85
-12.4 | 351031.85
-12.35 | 350014.15
-12.3 | 348999.7
-12.25 | 347988.5
-12.2 | 346980.55
-12.15 | 345975.8
-12.1 | 344974.25
-12.05 | 343975.95
-12 | 342980.8
-11.95 | 341988.85
-11.9 | 341000.05
-11.85 | 340014.45
-11.8 | 339031.95
-11.75 | 338052.65
-11.7 | 337076.4
-11.65 | 336103.3
-11.6 | 335133.3
-11.55 | 334166.4
-11.5 | 333202.6
-11.45 | 332241.85
-11.4 | 331284.15
-11.35 | 330329.55
-11.3 | 329377.95
-11.25 | 328429.4
-11.2 | 327483.85
-11.15 | 326541.3
-11.1 | 325601.75
-11.05 | 324665.2
-11 | 323731.65
-10.95 | 322801.05
-10.9 | 321873.4
-10.85 | 320948.7
-10.8 | 320026.9
-10.75 | 319108.05
-10.7 | 318192.15
-10.65 | 317279.15
-10.6 | 316369
-10.55 | 315461.8
-10.5 | 314557.4
-10.45 | 313655.9
-10.4 | 312757.3
-10.35 | 311861.5
-10.3 | 310968.55
-10.25 | 310078.4
-10.2 | 309191.1
-10.15 | 308306.6
-10.1 | 307424.9
-10.05 | 306546
-10 | 305669.85
-9.95 | 304796.45
-9.9 | 303925.85
-9.85 | 303058
-9.8 | 302192.9
-9.75 | 301330.5
-9.7 | 300470.85
-9.65 | 299613.85
-9.6 | 298759.6
-9.55 | 297908.05
-9.5 | 297059.2
-9.45 | 296213
-9.4 | 295369.45
-9.35 | 294528.55
-9.3 | 293690.35
-9.25 | 292854.75
-9.2 | 292021.8
-9.15 | 291191.45
-9.1 | 290363.7
-9.05 | 289538.6
-9 | 288716.05
-8.95 | 287896.1
-8.9 | 287078.75
-8.85 | 286263.95
-8.8 | 285451.7
-8.75 | 284642
-8.7 | 283834.85
-8.65 | 283030.2
-8.6 | 282228.1
-8.55 | 281428.5
-8.5 | 280631.45
-8.45 | 279836.85
-8.4 | 279044.75
-8.35 | 278255.15
-8.3 | 277468
-8.25 | 276683.35
-8.2 | 275901.1
-8.15 | 275121.35
-8.1 | 274344
-8.05 | 273569.1
-8 | 272796.6
-7.95 | 272026.55
-7.9 | 271258.9
-7.85 | 270493.6
-7.8 | 269730.75
-7.75 | 268970.25
-7.7 | 268212.1
-7.65 | 267456.35
-7.6 | 266702.95
-7.55 | 265951.9
-7.5 | 265203.2
-7.45 | 264456.8
-7.4 | 263712.75
-7.35 | 262971
-7.3 | 262231.6
-7.25 | 261494.45
-7.2 | 260759.65
-7.15 | 260027.1
-7.1 | 259296.8
-7.05 | 258568.8
-7 | 257843.1
-6.95 | 257119.6
-6.9 | 256398.35
-6.85 | 255679.35
-6.8 | 254962.6
-6.75 | 254248.05
-6.7 | 253535.75
-6.65 | 252825.65
-6.6 | 252117.75
-6.55 | 251412
-6.5 | 250708.5
-6.45 | 250007.15
-6.4 | 249307.95
-6.35 | 248610.95
-6.3 | 247916.1
-6.25 | 247223.4
-6.2 | 246532.85
-6.15 | 245844.4
-6.1 | 245158.15
-6.05 | 244473.95
-6 | 243791.9
-5.95 | 243111.95
-5.9 | 242434.1
-5.85 | 241758.35
-5.8 | 241084.65
-5.75 | 240413.1
-5.7 | 239743.55
-5.65 | 239076.1
-5.6 | 238410.7
-5.55 | 237747.35
-5.5 | 237086.05
-5.45 | 236426.8
-5.4 | 235769.55
-5.35 | 235114.35
-5.3 | 234461.15
-5.25 | 233810
-5.2 | 233160.8
-5.15 | 232513.65
-5.1 | 231868.45
-5.05 | 231225.25
-5 | 230584
-4.95 | 229944.75
-4.9 | 229307.45
-4.85 | 228672.1
-4.8 | 228038.7
-4.75 | 227407.25
-4.7 | 226777.75
-4.65 | 226150.2
-4.6 | 225524.55
-4.55 | 224900.8
-4.5 | 224278.95
-4.45 | 223659.05
-4.4 | 223041.05
-4.35 | 222424.9
-4.3 | 221810.65
-4.25 | 221198.3
-4.2 | 220587.8
-4.15 | 219979.2
-4.1 | 219372.4
-4.05 | 218767.5
-4 | 218164.45
-3.95 | 217563.25
-3.9 | 216963.85
-3.85 | 216366.3
-3.8 | 215770.6
-3.75 | 215176.7
-3.7 | 214584.6
-3.65 | 213994.3
-3.6 | 213405.8
-3.55 | 212819.15
-3.5 | 212234.2
-3.45 | 211651.1
-3.4 | 211069.75
-3.35 | 210490.15
-3.3 | 209912.35
-3.25 | 209336.3
-3.2 | 208762
-3.15 | 208189.45
-3.1 | 207618.65
-3.05 | 207049.55
-3 | 206482.2
-2.95 | 205916.55
-2.9 | 205352.65
-2.85 | 204790.45
-2.8 | 204229.95
-2.75 | 203671.2
-2.7 | 203114.1
-2.65 | 202558.7
-2.6 | 202004.95
-2.55 | 201452.95
-2.5 | 200902.55
-2.45 | 200353.85
-2.4 | 199806.8
-2.35 | 199261.45
-2.3 | 198717.7
-2.25 | 198175.6
-2.2 | 197635.15
-2.15 | 197096.35
-2.1 | 196559.2
-2.05 | 196023.6
-2 | 195489.7
-1.95 | 194957.35
-1.9 | 194426.65
-1.85 | 193897.5
-1.8 | 193370
-1.75 | 192844.05
-1.7 | 192319.75
-1.65 | 191796.95
-1.6 | 191275.8
-1.55 | 190756.2
-1.5 | 190238.15
-1.45 | 189721.65
-1.4 | 189206.7
-1.35 | 188693.35
-1.3 | 188181.5
-1.25 | 187671.2
-1.2 | 187162.45
-1.15 | 186655.25
-1.1 | 186149.5
-1.05 | 185645.35
-1 | 185142.7
-0.95 | 184641.5
-0.9 | 184141.85
-0.85 | 183643.7
-0.8 | 183147.05
-0.75 | 182651.9
-0.7 | 182158.2
-0.65 | 181666
-0.6 | 181175.3
-0.55 | 180686.05
-0.5 | 180198.25
-0.45 | 179711.95
-0.4 | 179227.05
-0.35 | 178743.65
-0.3 | 178261.7
-0.25 | 177781.15
-0.2 | 177302.05
-0.15 | 176824.4
-0.1 | 176348.2
-0.05 | 175873.4
0 | 175400
0.05 | 174927.3
0.1 | 174456
0.15 | 173986.1
0.2 | 173517.65
0.25 | 173050.55
0.3 | 172584.9
0.35 | 172120.6
0.4 | 171657.7
0.45 | 171196.2
0.5 | 170736.05
0.55 | 170277.3
0.6 | 169819.9
0.65 | 169363.9
0.7 | 168909.25
0.75 | 168455.95
0.8 | 168003.95
0.85 | 167553.35
0.9 | 167104.1
0.95 | 166656.2
1 | 166209.6
1.05 | 165764.35
1.1 | 165320.4
1.15 | 164877.8
1.2 | 164436.5
1.25 | 163996.5
1.3 | 163557.85
1.35 | 163120.45
1.4 | 162684.4
1.45 | 162249.6
1.5 | 161816.15
1.55 | 161383.95
1.6 | 160953.05
1.65 | 160523.4
1.7 | 160095.05
1.75 | 159667.95
1.8 | 159242.15
1.85 | 158817.6
1.9 | 158394.3
1.95 | 157972.25
2 | 157551.45
2.05 | 157131.9
2.1 | 156713.6
2.15 | 156296.55
2.2 | 155880.7
2.25 | 155466.1
2.3 | 155052.7
2.35 | 154640.55
2.4 | 154229.6
2.45 | 153819.9
2.5 | 153411.4
2.55 | 153004.1
2.6 | 152598
2.65 | 152193.1
2.7 | 151789.35
2.75 | 151386.85
2.8 | 150985.5
2.85 | 150585.35
2.9 | 150186.4
2.95 | 149788.6
3 | 149392
3.05 | 148996.55
3.1 | 148602.25
3.15 | 148209.1
3.2 | 147817.15
3.25 | 147426.35
3.3 | 147036.65
3.35 | 146648.15
3.4 | 146260.75
3.45 | 145874.5
3.5 | 145489.4
3.55 | 145105.4
3.6 | 144722.55
3.65 | 144340.85
3.7 | 143960.25
3.75 | 143580.75
3.8 | 143202.35
3.85 | 142825.1
3.9 | 142448.95
3.95 | 142073.9
4 | 141699.9
4.05 | 141327.05
4.1 | 140955.25
4.15 | 140584.6
4.2 | 140215
4.25 | 139846.45
4.3 | 139479
4.35 | 139112.65
4.4 | 138747.35
4.45 | 138383.1
4.5 | 138019.95
4.55 | 137657.85
4.6 | 137296.8
4.65 | 136936.8
4.7 | 136577.85
4.75 | 136219.95
4.8 | 135863.1
4.85 | 135507.3
4.9 | 135152.5
4.95 | 134798.75
5 | 134446.05
5.05 | 134094.35
5.1 | 133743.7
5.15 | 133394.05
5.2 | 133045.4
5.25 | 132697.8
5.3 | 132351.2
5.35 | 132005.6
5.4 | 131661.05
5.45 | 131317.45
5.5 | 130974.85
5.55 | 130633.25
5.6 | 130292.65
5.65 | 129953.05
5.7 | 129614.4
5.75 | 129276.75
5.8 | 128940.1
5.85 | 128604.4
5.9 | 128269.7
5.95 | 127935.95
6 | 127603.15
6.05 | 127271.35
6.1 | 126940.5
6.15 | 126610.6
6.2 | 126281.65
6.25 | 125953.65
6.3 | 125626.6
6.35 | 125300.5
6.4 | 124975.35
6.45 | 124651.1
6.5 | 124327.85
6.55 | 124005.5
6.6 | 123684.05
6.65 | 123363.55
6.7 | 123044
6.75 | 122725.35
6.8 | 122407.65
6.85 | 122090.8
6.9 | 121774.9
6.95 | 121459.95
7 | 121145.85
7.05 | 120832.7
7.1 | 120520.4
7.15 | 120209.05
7.2 | 119898.55
7.25 | 119588.95
7.3 | 119280.25
7.35 | 118972.45
7.4 | 118665.55
7.45 | 118359.5
7.5 | 118054.35
7.55 | 117750.05
7.6 | 117446.65
7.65 | 117144.1
7.7 | 116842.4
7.75 | 116541.6
7.8 | 116241.65
7.85 | 115942.6
7.9 | 115644.35
7.95 | 115347
8 | 115050.45
8.05 | 114754.8
8.1 | 114459.95
8.15 | 114165.95
8.2 | 113872.85
8.25 | 113580.5
8.3 | 113289.05
8.35 | 112998.4
8.4 | 112708.6
8.45 | 112419.65
8.5 | 112131.5
8.55 | 111844.15
8.6 | 111557.65
8.65 | 111271.95
8.7 | 110987.1
8.75 | 110703
8.8 | 110419.75
8.85 | 110137.35
8.9 | 109855.7
8.95 | 109574.85
9 | 109294.8
9.05 | 109015.55
9.1 | 108737.15
9.15 | 108459.5
9.2 | 108182.6
9.25 | 107906.55
9.3 | 107631.25
9.35 | 107356.75
9.4 | 107083
9.45 | 106810.05
9.5 | 106537.9
9.55 | 106266.5
9.6 | 105995.85
9.65 | 105726
9.7 | 105456.9
9.75 | 105188.55
9.8 | 104921
9.85 | 104654.2
9.9 | 104388.15
9.95 | 104122.8
10 | 103858.25
10.05 | 103594.45
10.1 | 103331.4
10.15 | 103069.1
10.2 | 102807.55
10.25 | 102546.7
10.3 | 102286.6
10.35 | 102027.25
10.4 | 101768.65
10.45 | 101510.75
10.5 | 101253.6
10.55 | 100997.15
10.6 | 100741.4
10.65 | 100486.45
10.7 | 100232.15
10.75 | 99978.6
10.8 | 99725.75
10.85 | 99473.65
10.9 | 99222.2
10.95 | 98971.5
11 | 98721.5
11.05 | 98472.2
11.1 | 98223.6
11.15 | 97975.75
11.2 | 97728.55
11.25 | 97482.05
11.3 | 97236.2
11.35 | 96991.1
11.4 | 96746.65
11.45 | 96502.95
11.5 | 96259.85
11.55 | 96017.5
11.6 | 95775.8
11.65 | 95534.8
11.7 | 95294.45
11.75 | 95054.8
11.8 | 94815.8
11.85 | 94577.45
11.9 | 94339.8
11.95 | 94102.8
12 | 93866.5
12.05 | 93630.85
12.1 | 93395.85
12.15 | 93161.5
12.2 | 92927.8
12.25 | 92694.75
12.3 | 92462.4
12.35 | 92230.65
12.4 | 91999.55
12.45 | 91769.1
12.5 | 91539.35
12.55 | 91310.15
12.6 | 91081.65
12.65 | 90853.8
12.7 | 90626.55
12.75 | 90399.95
12.8 | 90173.95
12.85 | 89948.6
12.9 | 89723.9
12.95 | 89499.8
13 | 89276.35
13.05 | 89053.5
13.1 | 88831.3
13.15 | 88609.7
13.2 | 88388.7
13.25 | 88168.3
13.3 | 87948.55
13.35 | 87729.4
13.4 | 87510.9
13.45 | 87292.95
13.5 | 87075.6
13.55 | 86858.9
13.6 | 86642.8
13.65 | 86427.25
13.7 | 86212.35
13.75 | 85998
13.8 | 85784.3
13.85 | 85571.15
13.9 | 85358.6
13.95 | 85146.65
14 | 84935.3
14.05 | 84724.5
14.1 | 84514.3
14.15 | 84304.7
14.2 | 84095.65
14.25 | 83887.2
14.3 | 83679.3
14.35 | 83472
14.4 | 83265.25
14.45 | 83059.1
14.5 | 82853.5
14.55 | 82648.45
14.6 | 82444
14.65 | 82240.1
14.7 | 82036.8
14.75 | 81834
14.8 | 81631.8
14.85 | 81430.15
14.9 | 81229.05
14.95 | 81028.5
15 | 80828.55
15.05 | 80629.1
15.1 | 80430.2
15.15 | 80231.85
15.2 | 80034.05
15.25 | 79836.8
15.3 | 79640.1
15.35 | 79443.95
15.4 | 79248.3
15.45 | 79053.2
15.5 | 78858.65
15.55 | 78664.65
15.6 | 78471.15
15.65 | 78278.2
15.7 | 78085.8
15.75 | 77893.9
15.8 | 77702.5
15.85 | 77511.65
15.9 | 77321.35
15.95 | 77131.55
16 | 76942.25
16.05 | 76753.5
16.1 | 76565.25
16.15 | 76377.55
16.2 | 76190.3
16.25 | 76003.6
16.3 | 75817.45
16.35 | 75631.75
16.4 | 75446.6
16.45 | 75261.9
16.5 | 75077.75
16.55 | 74894.1
16.6 | 74710.95
16.65 | 74528.3
16.7 | 74346.1
16.75 | 74164.45
16.8 | 73983.3
16.85 | 73802.65
16.9 | 73622.45
16.95 | 73442.75
17 | 73263.55
17.05 | 73084.85
17.1 | 72906.65
17.15 | 72728.9
17.2 | 72551.65
17.25 | 72374.9
17.3 | 72198.6
17.35 | 72022.8
17.4 | 71847.45
17.45 | 71672.6
17.5 | 71498.25
17.55 | 71324.35
17.6 | 71150.9
17.65 | 70977.95
17.7 | 70805.45
17.75 | 70633.45
17.8 | 70461.85
17.85 | 70290.8
17.9 | 70120.15
17.95 | 69950
18 | 69780.3
18.05 | 69611.05
18.1 | 69442.3
18.15 | 69273.95
18.2 | 69106.1
18.25 | 68938.65
18.3 | 68771.7
18.35 | 68605.2
18.4 | 68439.15
18.45 | 68273.55
18.5 | 68108.4
18.55 | 67943.65
18.6 | 67779.4
18.65 | 67615.55
18.7 | 67452.2
18.75 | 67289.25
18.8 | 67126.75
18.85 | 66964.7
18.9 | 66803.05
18.95 | 66641.85
19 | 66481.1
19.05 | 66320.8
19.1 | 66160.9
19.15 | 66001.45
19.2 | 65842.4
19.25 | 65683.8
19.3 | 65525.65
19.35 | 65367.9
19.4 | 65210.6
19.45 | 65053.7
19.5 | 64897.2
19.55 | 64741.15
19.6 | 64585.5
19.65 | 64430.3
19.7 | 64275.5
19.75 | 64121.1
19.8 | 63967.15
19.85 | 63813.55
19.9 | 63660.45
19.95 | 63507.7
20 | 63355.35
20.05 | 63203.45
20.1 | 63051.95
20.15 | 62900.85
20.2 | 62750.15
20.25 | 62599.85
20.3 | 62449.95
20.35 | 62300.45
20.4 | 62151.4
20.45 | 62002.7
20.5 | 61854.4
20.55 | 61706.5
20.6 | 61559
20.65 | 61411.9
20.7 | 61265.2
20.75 | 61118.85
20.8 | 60972.95
20.85 | 60827.4
20.9 | 60682.25
20.95 | 60537.45
21 | 60393.1
21.05 | 60249.1
21.1 | 60105.5
21.15 | 59962.25
21.2 | 59819.4
21.25 | 59676.95
21.3 | 59534.85
21.35 | 59393.15
21.4 | 59251.85
21.45 | 59110.9
21.5 | 58970.3
21.55 | 58830.1
21.6 | 58690.25
21.65 | 58550.8
21.7 | 58411.75
21.75 | 58273
21.8 | 58134.65
21.85 | 57996.7
21.9 | 57859.05
21.95 | 57721.8
22 | 57584.9
22.05 | 57448.4
22.1 | 57312.25
22.15 | 57176.45
22.2 | 57041
22.25 | 56905.9
22.3 | 56771.2
22.35 | 56636.85
22.4 | 56502.8
22.45 | 56369.15
22.5 | 56235.85
22.55 | 56102.9
22.6 | 55970.3
22.65 | 55838.1
22.7 | 55706.2
22.75 | 55574.65
22.8 | 55443.45
22.85 | 55312.6
22.9 | 55182.1
22.95 | 55051.9
23 | 54922.1
23.05 | 54792.6
23.1 | 54663.5
23.15 | 54534.7
23.2 | 54406.25
23.25 | 54278.1
23.3 | 54150.35
23.35 | 54022.9
23.4 | 53895.8
23.45 | 53769
23.5 | 53642.6
23.55 | 53516.5
23.6 | 53390.7
23.65 | 53265.25
23.7 | 53140.15
23.75 | 53015.35
23.8 | 52890.9
23.85 | 52766.8
23.9 | 52643
23.95 | 52519.5
24 | 52396.35
24.05 | 52273.55
24.1 | 52151.05
24.15 | 52028.85
24.2 | 51907
24.25 | 51785.45
24.3 | 51664.2
24.35 | 51543.3
24.4 | 51422.7
24.45 | 51302.45
24.5 | 51182.45
24.55 | 51062.85
24.6 | 50943.5
24.65 | 50824.45
24.7 | 50705.75
24.75 | 50587.35
24.8 | 50469.3
24.85 | 50351.5
24.9 | 50234
24.95 | 50116.85
25 | 50000
25.05 | 49883.45
25.1 | 49767.2
25.15 | 49651.25
25.2 | 49535.6
25.25 | 49420.25
25.3 | 49305.2
25.35 | 49190.5
25.4 | 49076.05
25.45 | 48961.9
25.5 | 48848.05
25.55 | 48734.5
25.6 | 48621.25
25.65 | 48508.3
25.7 | 48395.6
25.75 | 48283.25
25.8 | 48171.15
25.85 | 48059.4
25.9 | 47947.9
25.95 | 47836.65
26 | 47725.75
26.05 | 47615.1
26.1 | 47504.8
26.15 | 47394.7
26.2 | 47284.95
26.25 | 47175.45
26.3 | 47066.25
26.35 | 46957.35
26.4 | 46848.7
26.45 | 46740.35
26.5 | 46632.25
26.55 | 46524.5
26.6 | 46416.95
26.65 | 46309.7
26.7 | 46202.75
26.75 | 46096.1
26.8 | 45989.7
26.85 | 45883.55
26.9 | 45777.7
26.95 | 45672.1
27 | 45566.8
27.05 | 45461.75
27.1 | 45357
27.15 | 45252.5
27.2 | 45148.25
27.25 | 45044.3
27.3 | 44940.6
27.35 | 44837.2
27.4 | 44734.05
27.45 | 44631.15
27.5 | 44528.55
27.55 | 44426.2
27.6 | 44324.1
27.65 | 44222.25
27.7 | 44120.7
27.75 | 44019.35
27.8 | 43918.35
27.85 | 43817.55
27.9 | 43717
27.95 | 43616.75
28 | 43516.75
28.05 | 43416.95
28.1 | 43317.5
28.15 | 43218.25
28.2 | 43119.25
28.25 | 43020.5
28.3 | 42922.05
28.35 | 42823.8
28.4 | 42725.85
28.45 | 42628.1
28.5 | 42530.65
28.55 | 42433.4
28.6 | 42336.45
28.65 | 42239.7
28.7 | 42143.25
28.75 | 42047
28.8 | 41951
28.85 | 41855.3
28.9 | 41759.8
28.95 | 41664.55
29 | 41569.55
29.05 | 41474.75
29.1 | 41380.25
29.15 | 41285.95
29.2 | 41191.95
29.25 | 41098.15
29.3 | 41004.6
29.35 | 40911.25
29.4 | 40818.2
29.45 | 40725.35
29.5 | 40632.75
29.55 | 40540.35
29.6 | 40448.2
29.65 | 40356.3
29.7 | 40264.65
29.75 | 40173.25
29.8 | 40082.05
29.85 | 39991.05
29.9 | 39900.3
29.95 | 39809.8
30 | 39719.55
30.05 | 39629.5
30.1 | 39539.7
30.15 | 39450.1
30.2 | 39360.75
30.25 | 39271.6
30.3 | 39182.7
30.35 | 39094
30.4 | 39005.55
30.45 | 38917.35
30.5 | 38829.35
30.55 | 38741.55
30.6 | 38654
30.65 | 38566.65
30.7 | 38479.55
30.75 | 38392.65
30.8 | 38305.95
30.85 | 38219.5
30.9 | 38133.25
30.95 | 38047.25
31 | 37961.45
31.05 | 37875.85
31.1 | 37790.5
31.15 | 37705.35
31.2 | 37620.4
31.25 | 37535.7
31.3 | 37451.2
31.35 | 37366.9
31.4 | 37282.8
31.45 | 37198.95
31.5 | 37115.3
31.55 | 37031.85
31.6 | 36948.6
31.65 | 36865.55
31.7 | 36782.75
31.75 | 36700.15
31.8 | 36617.75
31.85 | 36535.55
31.9 | 36453.6
31.95 | 36371.8
32 | 36290.25
32.05 | 36208.85
32.1 | 36127.7
32.15 | 36046.75
32.2 | 35966
32.25 | 35885.45
32.3 | 35805.1
32.35 | 35724.95
32.4 | 35645
32.45 | 35565.25
32.5 | 35485.7
32.55 | 35406.35
32.6 | 35327.25
32.65 | 35248.3
32.7 | 35169.55
32.75 | 35091
32.8 | 35012.65
32.85 | 34934.5
32.9 | 34856.5
32.95 | 34778.75
33 | 34701.2
33.05 | 34623.8
33.1 | 34546.6
33.15 | 34469.65
33.2 | 34392.85
33.25 | 34316.25
33.3 | 34239.8
33.35 | 34163.6
33.4 | 34087.55
33.45 | 34011.75
33.5 | 33936.1
33.55 | 33860.6
33.6 | 33785.35
33.65 | 33710.25
33.7 | 33635.35
33.75 | 33560.65
33.8 | 33486.1
33.85 | 33411.8
33.9 | 33337.65
33.95 | 33263.65
34 | 33189.85
34.05 | 33116.25
34.1 | 33042.85
34.15 | 32969.6
34.2 | 32896.55
34.25 | 32823.7
34.3 | 32751
34.35 | 32678.5
34.4 | 32606.15
34.45 | 32534
34.5 | 32462.05
34.55 | 32390.25
34.6 | 32318.65
34.65 | 32247.2
34.7 | 32175.95
34.75 | 32104.9
34.8 | 32034
34.85 | 31963.25
34.9 | 31892.7
34.95 | 31822.35
35 | 31752.1
35.05 | 31682.1
35.1 | 31612.25
35.15 | 31542.55
35.2 | 31473.05
35.25 | 31403.7
35.3 | 31334.55
35.35 | 31265.55
35.4 | 31196.75
35.45 | 31128.1
35.5 | 31059.6
35.55 | 30991.3
35.6 | 30923.15
35.65 | 30855.15
35.7 | 30787.35
35.75 | 30719.7
35.8 | 30652.25
35.85 | 30584.95
35.9 | 30517.8
35.95 | 30450.8
36 | 30384
36.05 | 30317.35
36.1 | 30250.9
36.15 | 30184.55
36.2 | 30118.4
36.25 | 30052.4
36.3 | 29986.6
36.35 | 29920.9
36.4 | 29855.4
36.45 | 29790.1
36.5 | 29724.9
36.55 | 29659.85
36.6 | 29595
36.65 | 29530.3
36.7 | 29465.75
36.75 | 29401.4
36.8 | 29337.15
36.85 | 29273.1
36.9 | 29209.15
36.95 | 29145.4
37 | 29081.8
37.05 | 29018.4
37.1 | 28955.1
37.15 | 28891.95
37.2 | 28829
37.25 | 28766.15
37.3 | 28703.5
37.35 | 28640.95
37.4 | 28578.6
37.45 | 28516.4
37.5 | 28454.35
37.55 | 28392.45
37.6 | 28330.7
37.65 | 28269.1
37.7 | 28207.65
37.75 | 28146.35
37.8 | 28085.2
37.85 | 28024.2
37.9 | 27963.35
37.95 | 27902.6
38 | 27842.05
38.05 | 27781.65
38.1 | 27721.4
38.15 | 27661.3
38.2 | 27601.3
38.25 | 27541.5
38.3 | 27481.8
38.35 | 27422.3
38.4 | 27362.9
38.45 | 27303.65
38.5 | 27244.55
38.55 | 27185.6
38.6 | 27126.8
38.65 | 27068.15
38.7 | 27009.6
38.75 | 26951.25
38.8 | 26893
38.85 | 26834.9
38.9 | 26776.95
38.95 | 26719.15
39 | 26661.45
39.05 | 26603.95
39.1 | 26546.55
39.15 | 26489.3
39.2 | 26432.15
39.25 | 26375.2
39.3 | 26318.35
39.35 | 26261.65
39.4 | 26205.1
39.45 | 26148.65
39.5 | 26092.35
39.55 | 26036.2
39.6 | 25980.2
39.65 | 25924.3
39.7 | 25868.55
39.75 | 25812.95
39.8 | 25757.45
39.85 | 25702.15
39.9 | 25646.9
39.95 | 25591.85
40 | 25536.9
40.05 | 25482.1
40.1 | 25427.4
40.15 | 25372.85
40.2 | 25318.45
40.25 | 25264.15
40.3 | 25210
40.35 | 25156
40.4 | 25102.1
40.45 | 25048.35
40.5 | 24994.7
40.55 | 24941.2
40.6 | 24887.85
40.65 | 24834.6
40.7 | 24781.5
40.75 | 24728.5
40.8 | 24675.65
40.85 | 24622.9
40.9 | 24570.3
40.95 | 24517.8
41 | 24465.45
41.05 | 24413.25
41.1 | 24361.15
41.15 | 24309.15
41.2 | 24257.3
41.25 | 24205.6
41.3 | 24154
41.35 | 24102.5
41.4 | 24051.15
41.45 | 23999.9
41.5 | 23948.8
41.55 | 23897.8
41.6 | 23846.95
41.65 | 23796.2
41.7 | 23745.6
41.75 | 23695.1
41.8 | 23644.7
41.85 | 23594.45
41.9 | 23544.3
41.95 | 23494.3
42 | 23444.4
42.05 | 23394.6
42.1 | 23344.95
42.15 | 23295.4
42.2 | 23246
42.25 | 23196.7
42.3 | 23147.5
42.35 | 23098.45
42.4 | 23049.5
42.45 | 23000.65
42.5 | 22951.9
42.55 | 22903.3
42.6 | 22854.85
42.65 | 22806.45
42.7 | 22758.2
42.75 | 22710.05
42.8 | 22662.05
42.85 | 22614.15
42.9 | 22566.35
42.95 | 22518.65
43 | 22471.1
43.05 | 22423.6
43.1 | 22376.3
43.15 | 22329.05
43.2 | 22281.95
43.25 | 22234.9
43.3 | 22188.05
43.35 | 22141.25
43.4 | 22094.55
43.45 | 22048
43.5 | 22001.55
43.55 | 21955.2
43.6 | 21909
43.65 | 21862.85
43.7 | 21816.85
43.75 | 21770.95
43.8 | 21725.15
43.85 | 21679.45
43.9 | 21633.9
43.95 | 21588.45
44 | 21543.05
44.05 | 21497.8
44.1 | 21452.65
44.15 | 21407.6
44.2 | 21362.7
44.25 | 21317.85
44.3 | 21273.15
44.35 | 21228.55
44.4 | 21184
44.45 | 21139.6
44.5 | 21095.3
44.55 | 21051.1
44.6 | 21007.05
44.65 | 20963.05
44.7 | 20919.15
44.75 | 20875.4
44.8 | 20831.7
44.85 | 20788.15
44.9 | 20744.65
44.95 | 20701.3
45 | 20658.05
45.05 | 20614.85
45.1 | 20571.8
45.15 | 20528.85
45.2 | 20486
45.25 | 20443.25
45.3 | 20400.55
45.35 | 20358
45.4 | 20315.55
45.45 | 20273.2
45.5 | 20230.95
45.55 | 20188.8
45.6 | 20146.75
45.65 | 20104.75
45.7 | 20062.9
45.75 | 20021.15
45.8 | 19979.5
45.85 | 19937.9
45.9 | 19896.45
45.95 | 19855.05
46 | 19813.8
46.05 | 19772.6
46.1 | 19731.55
46.15 | 19690.55
46.2 | 19649.65
46.25 | 19608.85
46.3 | 19568.15
46.35 | 19527.55
46.4 | 19487.05
46.45 | 19446.65
46.5 | 19406.3
46.55 | 19366.1
46.6 | 19325.95
46.65 | 19285.9
46.7 | 19246
46.75 | 19206.15
46.8 | 19166.35
46.85 | 19126.7
46.9 | 19087.15
46.95 | 19047.65
47 | 19008.25
47.05 | 18968.95
47.1 | 18929.75
47.15 | 18890.65
47.2 | 18851.65
47.25 | 18812.7
47.3 | 18773.85
47.35 | 18735.1
47.4 | 18696.45
47.45 | 18657.9
47.5 | 18619.4
47.55 | 18581
47.6 | 18542.7
47.65 | 18504.5
47.7 | 18466.4
47.75 | 18428.35
47.8 | 18390.4
47.85 | 18352.55
47.9 | 18314.8
47.95 | 18277.1
48 | 18239.5
48.05 | 18202
48.1 | 18164.6
48.15 | 18127.25
48.2 | 18090
48.25 | 18052.85
48.3 | 18015.75
48.35 | 17978.8
48.4 | 17941.9
48.45 | 17905.05
48.5 | 17868.35
48.55 | 17831.7
48.6 | 17795.15
48.65 | 17758.65
48.7 | 17722.25
48.75 | 17685.95
48.8 | 17649.75
48.85 | 17613.6
48.9 | 17577.55
48.95 | 17541.55
49 | 17505.65
49.05 | 17469.85
49.1 | 17434.15
49.15 | 17398.5
49.2 | 17362.95
49.25 | 17327.45
49.3 | 17292.05
49.35 | 17256.75
49.4 | 17221.5
49.45 | 17186.35
49.5 | 17151.3
49.55 | 17116.3
49.6 | 17081.4
49.65 | 17046.55
49.7 | 17011.8
49.75 | 16977.15
49.8 | 16942.55
49.85 | 16908.05
49.9 | 16873.6
49.95 | 16839.25
50 | 16805
50.05 | 16770.8
50.1 | 16736.7
50.15 | 16702.65
50.2 | 16668.7
50.25 | 16634.8
50.3 | 16601
50.35 | 16567.3
50.4 | 16533.65
50.45 | 16500.1
50.5 | 16466.6
50.55 | 16433.15
50.6 | 16399.85
50.65 | 16366.55
50.7 | 16333.4
50.75 | 16300.25
50.8 | 16267.25
50.85 | 16234.25
50.9 | 16201.4
50.95 | 16168.6
51 | 16135.85
51.05 | 16103.2
51.1 | 16070.6
51.15 | 16038.1
51.2 | 16005.65
51.25 | 15973.3
51.3 | 15941
51.35 | 15908.8
51.4 | 15876.65
51.45 | 15844.6
51.5 | 15812.6
51.55 | 15780.7
51.6 | 15748.85
51.65 | 15717.05
51.7 | 15685.35
51.75 | 15653.7
51.8 | 15622.15
51.85 | 15590.7
51.9 | 15559.25
51.95 | 15527.9
52 | 15496.65
52.05 | 15465.45
52.1 | 15434.3
52.15 | 15403.25
52.2 | 15372.25
52.25 | 15341.35
52.3 | 15310.5
52.35 | 15279.75
52.4 | 15249
52.45 | 15218.4
52.5 | 15187.8
52.55 | 15157.3
52.6 | 15126.9
52.65 | 15096.55
52.7 | 15066.25
52.75 | 15036
52.8 | 15005.85
52.85 | 14975.75
52.9 | 14945.75
52.95 | 14915.8
53 | 14885.95
53.05 | 14856.1
53.1 | 14826.35
53.15 | 14796.7
53.2 | 14767.05
53.25 | 14737.55
53.3 | 14708.05
53.35 | 14678.65
53.4 | 14649.3
53.45 | 14620
53.5 | 14590.8
53.55 | 14561.65
53.6 | 14532.6
53.65 | 14503.55
53.7 | 14474.6
53.75 | 14445.75
53.8 | 14416.9
53.85 | 14388.15
53.9 | 14359.45
53.95 | 14330.85
54 | 14302.3
54.05 | 14273.8
54.1 | 14245.35
54.15 | 14217
54.2 | 14188.7
54.25 | 14160.45
54.3 | 14132.25
54.35 | 14104.15
54.4 | 14076.1
54.45 | 14048.1
54.5 | 14020.2
54.55 | 13992.35
54.6 | 13964.55
54.65 | 13936.8
54.7 | 13909.15
54.75 | 13881.5
54.8 | 13853.95
54.85 | 13826.5
54.9 | 13799.05
54.95 | 13771.7
55 | 13744.4
55.05 | 13717.15
55.1 | 13689.95
55.15 | 13662.85
55.2 | 13635.8
55.25 | 13608.8
55.3 | 13581.85
55.35 | 13555
55.4 | 13528.15
55.45 | 13501.4
55.5 | 13474.7
55.55 | 13448.05
55.6 | 13421.5
55.65 | 13394.95
55.7 | 13368.5
55.75 | 13342.1
55.8 | 13315.75
55.85 | 13289.5
55.9 | 13263.25
55.95 | 13237.1
56 | 13211
56.05 | 13184.95
56.1 | 13158.95
56.15 | 13133.05
56.2 | 13107.15
56.25 | 13081.35
56.3 | 13055.6
56.35 | 13029.85
56.4 | 13004.25
56.45 | 12978.65
56.5 | 12953.1
56.55 | 12927.65
56.6 | 12902.2
56.65 | 12876.85
56.7 | 12851.55
56.75 | 12826.3
56.8 | 12801.1
56.85 | 12776
56.9 | 12750.9
56.95 | 12725.9
57 | 12700.9
57.05 | 12676
57.1 | 12651.15
57.15 | 12626.35
57.2 | 12601.6
57.25 | 12576.9
57.3 | 12552.25
57.35 | 12527.7
57.4 | 12503.15
57.45 | 12478.7
57.5 | 12454.25
57.55 | 12429.9
57.6 | 12405.6
57.65 | 12381.35
57.7 | 12357.1
57.75 | 12332.95
57.8 | 12308.9
57.85 | 12284.85
57.9 | 12260.85
57.95 | 12236.9
58 | 12213
58.05 | 12189.2
58.1 | 12165.4
58.15 | 12141.7
58.2 | 12118
58.25 | 12094.4
58.3 | 12070.8
58.35 | 12047.3
58.4 | 12023.85
58.45 | 12000.4
58.5 | 11977.05
58.55 | 11953.75
58.6 | 11930.5
58.65 | 11907.3
58.7 | 11884.1
58.75 | 11861
58.8 | 11837.95
58.85 | 11814.95
58.9 | 11792
58.95 | 11769.1
59 | 11746.25
59.05 | 11723.45
59.1 | 11700.7
59.15 | 11678
59.2 | 11655.35
59.25 | 11632.75
59.3 | 11610.2
59.35 | 11587.7
59.4 | 11565.25
59.45 | 11542.8
59.5 | 11520.45
59.55 | 11498.15
59.6 | 11475.9
59.65 | 11453.7
59.7 | 11431.55
59.75 | 11409.4
59.8 | 11387.35
59.85 | 11365.35
59.9 | 11343.4
59.95 | 11321.45
60 | 11299.6
60.05 | 11277.75
60.1 | 11256
60.15 | 11234.25
60.2 | 11212.6
60.25 | 11190.95
60.3 | 11169.35
60.35 | 11147.85
60.4 | 11126.35
60.45 | 11104.9
60.5 | 11083.5
60.55 | 11062.15
60.6 | 11040.85
60.65 | 11019.6
60.7 | 10998.4
60.75 | 10977.2
60.8 | 10956.1
60.85 | 10935
60.9 | 10914
60.95 | 10893
61 | 10872.1
61.05 | 10851.2
61.1 | 10830.35
61.15 | 10809.55
61.2 | 10788.8
61.25 | 10768.1
61.3 | 10747.45
61.35 | 10726.8
61.4 | 10706.25
61.45 | 10685.7
61.5 | 10665.25
61.55 | 10644.8
61.6 | 10624.4
61.65 | 10604.05
61.7 | 10583.75
61.75 | 10563.5
61.8 | 10543.25
61.85 | 10523.1
61.9 | 10502.95
61.95 | 10482.85
62 | 10462.85
62.05 | 10442.85
62.1 | 10422.85
62.15 | 10402.95
62.2 | 10383.1
62.25 | 10363.25
62.3 | 10343.5
62.35 | 10323.75
62.4 | 10304.05
62.45 | 10284.4
62.5 | 10264.75
62.55 | 10245.2
62.6 | 10225.65
62.65 | 10206.2
62.7 | 10186.75
62.75 | 10167.35
62.8 | 10148
62.85 | 10128.65
62.9 | 10109.4
62.95 | 10090.15
63 | 10070.95
63.05 | 10051.8
63.1 | 10032.7
63.15 | 10013.6
63.2 | 9994.6
63.25 | 9975.6
63.3 | 9956.65
63.35 | 9937.75
63.4 | 9918.9
63.45 | 9900.05
63.5 | 9881.3
63.55 | 9862.55
63.6 | 9843.85
63.65 | 9825.15
63.7 | 9806.55
63.75 | 9787.95
63.8 | 9769.4
63.85 | 9750.9
63.9 | 9732.45
63.95 | 9714.05
64 | 9695.65
64.05 | 9677.3
64.1 | 9659
64.15 | 9640.75
64.2 | 9622.5
64.25 | 9604.3
64.3 | 9586.15
64.35 | 9568.05
64.4 | 9550
64.45 | 9531.95
64.5 | 9513.95
64.55 | 9496
64.6 | 9478.1
64.65 | 9460.2
64.7 | 9442.4
64.75 | 9424.6
64.8 | 9406.8
64.85 | 9389.1
64.9 | 9371.4
64.95 | 9353.75
65 | 9336.15
65.05 | 9318.55
65.1 | 9301.05
65.15 | 9283.55
65.2 | 9266.05
65.25 | 9248.65
65.3 | 9231.25
65.35 | 9213.9
65.4 | 9196.6
65.45 | 9179.3
65.5 | 9162.1
65.55 | 9144.9
65.6 | 9127.7
65.65 | 9110.6
65.7 | 9093.5
65.75 | 9076.45
65.8 | 9059.4
65.85 | 9042.45
65.9 | 9025.5
65.95 | 9008.55
66 | 8991.7
66.05 | 8974.85
66.1 | 8958.05
66.15 | 8941.3
66.2 | 8924.55
66.25 | 8907.85
66.3 | 8891.2
66.35 | 8874.55
66.4 | 8857.95
66.45 | 8841.4
66.5 | 8824.9
66.55 | 8808.4
66.6 | 8791.95
66.65 | 8775.55
66.7 | 8759.15
66.75 | 8742.8
66.8 | 8726.5
66.85 | 8710.25
66.9 | 8694
66.95 | 8677.8
67 | 8661.6
67.05 | 8645.45
67.1 | 8629.35
67.15 | 8613.3
67.2 | 8597.25
67.25 | 8581.25
67.3 | 8565.3
67.35 | 8549.35
67.4 | 8533.45
67.45 | 8517.6
67.5 | 8501.75
67.55 | 8485.95
67.6 | 8470.15
67.65 | 8454.45
67.7 | 8438.75
67.75 | 8423.05
67.8 | 8407.45
67.85 | 8391.85
67.9 | 8376.25
67.95 | 8360.75
68 | 8345.2
68.05 | 8329.75
68.1 | 8314.3
68.15 | 8298.9
68.2 | 8283.55
68.25 | 8268.2
68.3 | 8252.9
68.35 | 8237.6
68.4 | 8222.35
68.45 | 8207.15
68.5 | 8191.95
68.55 | 8176.8
68.6 | 8161.7
68.65 | 8146.6
68.7 | 8131.55
68.75 | 8116.55
68.8 | 8101.55
68.85 | 8086.6
68.9 | 8071.65
68.95 | 8056.75
69 | 8041.9
69.05 | 8027.05
69.1 | 8012.25
69.15 | 7997.5
69.2 | 7982.75
69.25 | 7968.05
69.3 | 7953.35
69.35 | 7938.7
69.4 | 7924.1
69.45 | 7909.5
69.5 | 7894.95
69.55 | 7880.45
69.6 | 7865.95
69.65 | 7851.45
69.7 | 7837.05
69.75 | 7822.65
69.8 | 7808.25
69.85 | 7793.9
69.9 | 7779.6
69.95 | 7765.3
70 | 7751.05
70.05 | 7736.85
70.1 | 7722.65
70.15 | 7708.45
70.2 | 7694.35
70.25 | 7680.25
70.3 | 7666.15
70.35 | 7652.1
70.4 | 7638.1
70.45 | 7624.1
70.5 | 7610.15
70.55 | 7596.2
70.6 | 7582.3
70.65 | 7568.45
70.7 | 7554.6
70.75 | 7540.75
70.8 | 7527
70.85 | 7513.2
70.9 | 7499.5
70.95 | 7485.8
71 | 7472.1
71.05 | 7458.5
71.1 | 7444.85
71.15 | 7431.25
71.2 | 7417.7
71.25 | 7404.2
71.3 | 7390.7
71.35 | 7377.2
71.4 | 7363.75
71.45 | 7350.35
71.5 | 7336.95
71.55 | 7323.6
71.6 | 7310.25
71.65 | 7296.95
71.7 | 7283.65
71.75 | 7270.4
71.8 | 7257.2
71.85 | 7244
71.9 | 7230.8
71.95 | 7217.65
72 | 7204.55
72.05 | 7191.45
72.1 | 7178.4
72.15 | 7165.35
72.2 | 7152.35
72.25 | 7139.35
72.3 | 7126.4
72.35 | 7113.5
72.4 | 7100.6
72.45 | 7087.7
72.5 | 7074.85
72.55 | 7062.05
72.6 | 7049.25
72.65 | 7036.45
72.7 | 7023.75
72.75 | 7011
72.8 | 6998.3
72.85 | 6985.65
72.9 | 6973
72.95 | 6960.4
73 | 6947.8
73.05 | 6935.25
73.1 | 6922.75
73.15 | 6910.2
73.2 | 6897.75
73.25 | 6885.3
73.3 | 6872.85
73.35 | 6860.45
73.4 | 6848.05
73.45 | 6835.7
73.5 | 6823.35
73.55 | 6811.05
73.6 | 6798.8
73.65 | 6786.55
73.7 | 6774.3
73.75 | 6762.1
73.8 | 6749.95
73.85 | 6737.75
73.9 | 6725.65
73.95 | 6713.55
74 | 6701.45
74.05 | 6689.4
74.1 | 6677.4
74.15 | 6665.35
74.2 | 6653.4
74.25 | 6641.45
74.3 | 6629.5
74.35 | 6617.6
74.4 | 6605.7
74.45 | 6593.85
74.5 | 6582
74.55 | 6570.2
74.6 | 6558.4
74.65 | 6546.65
74.7 | 6534.95
74.75 | 6523.2
74.8 | 6511.5
74.85 | 6499.85
74.9 | 6488.2
74.95 | 6476.6
75 | 6465
75.05 | 6453.45
75.1 | 6441.9
75.15 | 6430.35
75.2 | 6418.85
75.25 | 6407.4
75.3 | 6395.95
75.35 | 6384.5
75.4 | 6373.1
75.45 | 6361.7
75.5 | 6350.35
75.55 | 6339
75.6 | 6327.7
75.65 | 6316.4
75.7 | 6305.15
75.75 | 6293.9
75.8 | 6282.7
75.85 | 6271.5
75.9 | 6260.3
75.95 | 6249.15
76 | 6238.05
76.05 | 6226.9
76.1 | 6215.85
76.15 | 6204.75
76.2 | 6193.75
76.25 | 6182.7
76.3 | 6171.7
76.35 | 6160.75
76.4 | 6149.8
76.45 | 6138.85
76.5 | 6127.95
76.55 | 6117.05
76.6 | 6106.2
76.65 | 6095.35
76.7 | 6084.55
76.75 | 6073.75
76.8 | 6062.95
76.85 | 6052.2
76.9 | 6041.5
76.95 | 6030.75
77 | 6020.1
77.05 | 6009.4
77.1 | 5998.75
77.15 | 5988.15
77.2 | 5977.55
77.25 | 5966.95
77.3 | 5956.4
77.35 | 5945.85
77.4 | 5935.35
77.45 | 5924.85
77.5 | 5914.35
77.55 | 5903.9
77.6 | 5893.5
77.65 | 5883.05
77.7 | 5872.7
77.75 | 5862.3
77.8 | 5851.95
77.85 | 5841.65
77.9 | 5831.3
77.95 | 5821.05
78 | 5810.75
78.05 | 5800.5
78.1 | 5790.3
78.15 | 5780.1
78.2 | 5769.9
78.25 | 5759.75
78.3 | 5749.6
78.35 | 5739.5
78.4 | 5729.4
78.45 | 5719.3
78.5 | 5709.25
78.55 | 5699.2
78.6 | 5689.15
78.65 | 5679.15
78.7 | 5669.2
78.75 | 5659.2
78.8 | 5649.3
78.85 | 5639.35
78.9 | 5629.45
78.95 | 5619.55
79 | 5609.7
79.05 | 5599.85
79.1 | 5590.05
79.15 | 5580.25
79.2 | 5570.45
79.25 | 5560.7
79.3 | 5550.95
79.35 | 5541.2
79.4 | 5531.5
79.45 | 5521.8
79.5 | 5512.15
79.55 | 5502.5
79.6 | 5492.9
79.65 | 5483.25
79.7 | 5473.7
79.75 | 5464.1
79.8 | 5454.55
79.85 | 5445
79.9 | 5435.5
79.95 | 5426
80 | 5416.55
80.05 | 5407.05
80.1 | 5397.65
80.15 | 5388.2
80.2 | 5378.8
80.25 | 5369.45
80.3 | 5360.05
80.35 | 5350.7
80.4 | 5341.4
80.45 | 5332.1
80.5 | 5322.8
80.55 | 5313.5
80.6 | 5304.25
80.65 | 5295.05
80.7 | 5285.8
80.75 | 5276.6
80.8 | 5267.45
80.85 | 5258.3
80.9 | 5249.15
80.95 | 5240
81 | 5230.9
81.05 | 5221.8
81.1 | 5212.75
81.15 | 5203.7
81.2 | 5194.65
81.25 | 5185.65
81.3 | 5176.65
81.35 | 5167.65
81.4 | 5158.7
81.45 | 5149.75
81.5 | 5140.8
81.55 | 5131.9
81.6 | 5123
81.65 | 5114.15
81.7 | 5105.3
81.75 | 5096.45
81.8 | 5087.6
81.85 | 5078.8
81.9 | 5070
81.95 | 5061.25
82 | 5052.5
82.05 | 5043.75
82.1 | 5035.05
82.15 | 5026.35
82.2 | 5017.65
82.25 | 5009
82.3 | 5000.35
82.35 | 4991.7
82.4 | 4983.1
82.45 | 4974.5
82.5 | 4965.9
82.55 | 4957.35
82.6 | 4948.8
82.65 | 4940.25
82.7 | 4931.75
82.75 | 4923.25
82.8 | 4914.75
82.85 | 4906.3
82.9 | 4897.85
82.95 | 4889.4
83 | 4881
83.05 | 4872.6
83.1 | 4864.2
83.15 | 4855.85
83.2 | 4847.5
83.25 | 4839.15
83.3 | 4830.85
83.35 | 4822.55
83.4 | 4814.25
83.45 | 4806
83.5 | 4797.75
83.55 | 4789.5
83.6 | 4781.3
83.65 | 4773.1
83.7 | 4764.9
83.75 | 4756.7
83.8 | 4748.55
83.85 | 4740.4
83.9 | 4732.3
83.95 | 4724.2
84 | 4716.1
84.05 | 4708.05
84.1 | 4699.95
84.15 | 4691.9
84.2 | 4683.9
84.25 | 4675.9
84.3 | 4667.9
84.35 | 4659.9
84.4 | 4651.95
84.45 | 4644
84.5 | 4636.05
84.55 | 4628.15
84.6 | 4620.2
84.65 | 4612.35
84.7 | 4604.45
84.75 | 4596.6
84.8 | 4588.75
84.85 | 4580.95
84.9 | 4573.1
84.95 | 4565.3
85 | 4557.55
85.05 | 4549.75
85.1 | 4542
85.15 | 4534.3
85.2 | 4526.55
85.25 | 4518.85
85.3 | 4511.15
85.35 | 4503.5
85.4 | 4495.85
85.45 | 4488.2
85.5 | 4480.55
85.55 | 4472.95
85.6 | 4465.35
85.65 | 4457.75
85.7 | 4450.15
85.75 | 4442.6
85.8 | 4435.05
85.85 | 4427.55
85.9 | 4420
85.95 | 4412.5
86 | 4405.05
86.05 | 4397.55
86.1 | 4390.1
86.15 | 4382.65
86.2 | 4375.25
86.25 | 4367.85
86.3 | 4360.45
86.35 | 4353.05
86.4 | 4345.65
86.45 | 4338.3
86.5 | 4331
86.55 | 4323.65
86.6 | 4316.35
86.65 | 4309.05
86.7 | 4301.75
86.75 | 4294.5
86.8 | 4287.2
86.85 | 4280
86.9 | 4272.75
86.95 | 4265.55
87 | 4258.35
87.05 | 4251.15
87.1 | 4243.95
87.15 | 4236.8
87.2 | 4229.65
87.25 | 4222.55
87.3 | 4215.4
87.35 | 4208.3
87.4 | 4201.2
87.45 | 4194.15
87.5 | 4187.1
87.55 | 4180.05
87.6 | 4173
87.65 | 4165.95
87.7 | 4158.95
87.75 | 4151.95
87.8 | 4145
87.85 | 4138
87.9 | 4131.05
87.95 | 4124.1
88 | 4117.2
88.05 | 4110.25
88.1 | 4103.35
88.15 | 4096.5
88.2 | 4089.6
88.25 | 4082.75
88.3 | 4075.9
88.35 | 4069.05
88.4 | 4062.25
88.45 | 4055.4
88.5 | 4048.6
88.55 | 4041.85
88.6 | 4035.05
88.65 | 4028.3
88.7 | 4021.55
88.75 | 4014.85
88.8 | 4008.1
88.85 | 4001.4
88.9 | 3994.7
88.95 | 3988.05
89 | 3981.35
89.05 | 3974.7
89.1 | 3968.05
89.15 | 3961.45
89.2 | 3954.8
89.25 | 3948.2
89.3 | 3941.6
89.35 | 3935.05
89.4 | 3928.5
89.45 | 3921.9
89.5 | 3915.4
89.55 | 3908.85
89.6 | 3902.35
89.65 | 3895.85
89.7 | 3889.35
89.75 | 3882.85
89.8 | 3876.4
89.85 | 3869.95
89.9 | 3863.5
89.95 | 3857.05
90 | 3850.65
90.05 | 3844.25
90.1 | 3837.85
90.15 | 3831.45
90.2 | 3825.1
90.25 | 3818.75
90.3 | 3812.4
90.35 | 3806.05
90.4 | 3799.75
90.45 | 3793.4
90.5 | 3787.1
90.55 | 3780.85
90.6 | 3774.55
90.65 | 3768.3
90.7 | 3762.05
90.75 | 3755.8
90.8 | 3749.6
90.85 | 3743.4
90.9 | 3737.15
90.95 | 3731
91 | 3724.8
91.05 | 3718.65
91.1 | 3712.5
91.15 | 3706.35
91.2 | 3700.2
91.25 | 3694.1
91.3 | 3687.95
91.35 | 3681.9
91.4 | 3675.8
91.45 | 3669.7
91.5 | 3663.65
91.55 | 3657.6
91.6 | 3651.55
91.65 | 3645.55
91.7 | 3639.5
91.75 | 3633.5
91.8 | 3627.5
91.85 | 3621.55
91.9 | 3615.55
91.95 | 3609.6
92 | 3603.65
92.05 | 3597.7
92.1 | 3591.8
92.15 | 3585.85
92.2 | 3579.95
92.25 | 3574.05
92.3 | 3568.2
92.35 | 3562.3
92.4 | 3556.45
92.45 | 3550.6
92.5 | 3544.75
92.55 | 3538.95
92.6 | 3533.1
92.65 | 3527.3
92.7 | 3521.5
92.75 | 3515.75
92.8 | 3509.95
92.85 | 3504.2
92.9 | 3498.45
92.95 | 3492.7
93 | 3487
93.05 | 3481.25
93.1 | 3475.55
93.15 | 3469.85
93.2 | 3464.15
93.25 | 3458.5
93.3 | 3452.85
93.35 | 3447.2
93.4 | 3441.55
93.45 | 3435.9
93.5 | 3430.3
93.55 | 3424.65
93.6 | 3419.05
93.65 | 3413.45
93.7 | 3407.9
93.75 | 3402.3
93.8 | 3396.75
93.85 | 3391.2
93.9 | 3385.65
93.95 | 3380.15
94 | 3374.65
94.05 | 3369.1
94.1 | 3363.6
94.15 | 3358.15
94.2 | 3352.65
94.25 | 3347.2
94.3 | 3341.75
94.35 | 3336.3
94.4 | 3330.85
94.45 | 3325.4
94.5 | 3320
94.55 | 3314.6
94.6 | 3309.2
94.65 | 3303.8
94.7 | 3298.45
94.75 | 3293.05
94.8 | 3287.7
94.85 | 3282.35
94.9 | 3277.05
94.95 | 3271.7
95 | 3266.4
95.05 | 3261.1
95.1 | 3255.8
95.15 | 3250.5
95.2 | 3245.25
95.25 | 3239.95
95.3 | 3234.7
95.35 | 3229.45
95.4 | 3224.2
95.45 | 3219
95.5 | 3213.75
95.55 | 3208.55
95.6 | 3203.35
95.65 | 3198.2
95.7 | 3193
95.75 | 3187.85
95.8 | 3182.65
95.85 | 3177.5
95.9 | 3172.35
95.95 | 3167.25
96 | 3162.1
96.05 | 3157
96.1 | 3151.9
96.15 | 3146.8
96.2 | 3141.75
96.25 | 3136.65
96.3 | 3131.6
96.35 | 3126.55
96.4 | 3121.5
96.45 | 3116.45
96.5 | 3111.4
96.55 | 3106.4
96.6 | 3101.4
96.65 | 3096.4
96.7 | 3091.4
96.75 | 3086.4
96.8 | 3081.45
96.85 | 3076.5
96.9 | 3071.55
96.95 | 3066.6
97 | 3061.65
97.05 | 3056.7
97.1 | 3051.8
97.15 | 3046.9
97.2 | 3042
97.25 | 3037.1
97.3 | 3032.2
97.35 | 3027.35
97.4 | 3022.5
97.45 | 3017.65
97.5 | 3012.8
97.55 | 3007.95
97.6 | 3003.1
97.65 | 2998.3
97.7 | 2993.5
97.75 | 2988.7
97.8 | 2983.9
97.85 | 2979.1
97.9 | 2974.35
97.95 | 2969.55
98 | 2964.8
98.05 | 2960.05
98.1 | 2955.35
98.15 | 2950.6
98.2 | 2945.85
98.25 | 2941.15
98.3 | 2936.45
98.35 | 2931.75
98.4 | 2927.05
98.45 | 2922.4
98.5 | 2917.7
98.55 | 2913.05
98.6 | 2908.4
98.65 | 2903.75
98.7 | 2899.1
98.75 | 2894.5
98.8 | 2889.85
98.85 | 2885.25
98.9 | 2880.65
98.95 | 2876.05
99 | 2871.5
99.05 | 2866.9
99.1 | 2862.35
99.15 | 2857.75
99.2 | 2853.2
99.25 | 2848.65
99.3 | 2844.15
99.35 | 2839.6
99.4 | 2835.1
99.45 | 2830.6
99.5 | 2826.1
99.55 | 2821.6
99.6 | 2817.1
99.65 | 2812.6
99.7 | 2808.15
99.75 | 2803.7
99.8 | 2799.25
99.85 | 2794.8
99.9 | 2790.35
99.95 | 2785.9
100 | 2781.5
100.05 | 2777.1
100.1 | 2772.7
100.15 | 2768.3
100.2 | 2763.9
100.25 | 2759.5
100.3 | 2755.15
100.35 | 2750.8
100.4 | 2746.4
100.45 | 2742.05
100.5 | 2737.75
100.55 | 2733.4
100.6 | 2729.05
100.65 | 2724.75
100.7 | 2720.45
100.75 | 2716.15
100.8 | 2711.85
100.85 | 2707.55
100.9 | 2703.3
100.95 | 2699
101 | 2694.75
101.05 | 2690.5
101.1 | 2686.25
101.15 | 2682
101.2 | 2677.75
101.25 | 2673.55
101.3 | 2669.3
101.35 | 2665.1
101.4 | 2660.9
101.45 | 2656.7
101.5 | 2652.55
101.55 | 2648.35
101.6 | 2644.2
101.65 | 2640
101.7 | 2635.85
101.75 | 2631.7
101.8 | 2627.55
101.85 | 2623.45
101.9 | 2619.3
101.95 | 2615.2
102 | 2611.1
102.05 | 2606.95
102.1 | 2602.9
102.15 | 2598.8
102.2 | 2594.7
102.25 | 2590.65
102.3 | 2586.55
102.35 | 2582.5
102.4 | 2578.45
102.45 | 2574.4
102.5 | 2570.35
102.55 | 2566.35
102.6 | 2562.3
102.65 | 2558.3
102.7 | 2554.3
102.75 | 2550.3
102.8 | 2546.3
102.85 | 2542.3
102.9 | 2538.3
102.95 | 2534.35
103 | 2530.4
103.05 | 2526.4
103.1 | 2522.45
103.15 | 2518.55
103.2 | 2514.6
103.25 | 2510.65
103.3 | 2506.75
103.35 | 2502.8
103.4 | 2498.9
103.45 | 2495
103.5 | 2491.1
103.55 | 2487.2
103.6 | 2483.35
103.65 | 2479.45
103.7 | 2475.6
103.75 | 2471.75
103.8 | 2467.9
103.85 | 2464.05
103.9 | 2460.2
103.95 | 2456.35
104 | 2452.55
104.05 | 2448.7
104.1 | 2444.9
104.15 | 2441.1
104.2 | 2437.3
104.25 | 2433.5
104.3 | 2429.75
104.35 | 2425.95
104.4 | 2422.2
104.45 | 2418.4
104.5 | 2414.65
104.55 | 2410.9
104.6 | 2407.15
104.65 | 2403.4
104.7 | 2399.7
104.75 | 2395.95
104.8 | 2392.25
104.85 | 2388.55
104.9 | 2384.85
104.95 | 2381.15
105 | 2377.45
105.05 | 2373.75
105.1 | 2370.05
105.15 | 2366.4
105.2 | 2362.75
105.25 | 2359.1
105.3 | 2355.45
105.35 | 2351.8
105.4 | 2348.15
105.45 | 2344.5
105.5 | 2340.9
105.55 | 2337.25
105.6 | 2333.65
105.65 | 2330.05
105.7 | 2326.45
105.75 | 2322.85
105.8 | 2319.25
105.85 | 2315.7
105.9 | 2312.1
105.95 | 2308.55
106 | 2304.95
106.05 | 2301.4
106.1 | 2297.85
106.15 | 2294.3
106.2 | 2290.8
106.25 | 2287.25
106.3 | 2283.7
106.35 | 2280.2
106.4 | 2276.7
106.45 | 2273.2
106.5 | 2269.7
106.55 | 2266.2
106.6 | 2262.7
106.65 | 2259.25
106.7 | 2255.75
106.75 | 2252.3
106.8 | 2248.8
106.85 | 2245.35
106.9 | 2241.9
106.95 | 2238.45
107 | 2235.05
107.05 | 2231.6
107.1 | 2228.15
107.15 | 2224.75
107.2 | 2221.35
107.25 | 2217.95
107.3 | 2214.5
107.35 | 2211.15
107.4 | 2207.75
107.45 | 2204.35
107.5 | 2200.95
107.55 | 2197.6
107.6 | 2194.25
107.65 | 2190.9
107.7 | 2187.5
107.75 | 2184.15
107.8 | 2180.85
107.85 | 2177.5
107.9 | 2174.15
107.95 | 2170.85
108 | 2167.5
108.05 | 2164.2
108.1 | 2160.9
108.15 | 2157.6
108.2 | 2154.3
108.25 | 2151
108.3 | 2147.7
108.35 | 2144.45
108.4 | 2141.15
108.45 | 2137.9
108.5 | 2134.65
108.55 | 2131.4
108.6 | 2128.15
108.65 | 2124.9
108.7 | 2121.65
108.75 | 2118.4
108.8 | 2115.2
108.85 | 2111.95
108.9 | 2108.75
108.95 | 2105.55
109 | 2102.35
109.05 | 2099.15
109.1 | 2095.95
109.15 | 2092.75
109.2 | 2089.6
109.25 | 2086.4
109.3 | 2083.25
109.35 | 2080.05
109.4 | 2076.9
109.45 | 2073.75
109.5 | 2070.6
109.55 | 2067.45
109.6 | 2064.3
109.65 | 2061.2
109.7 | 2058.05
109.75 | 2054.95
109.8 | 2051.85
109.85 | 2048.7
109.9 | 2045.6
109.95 | 2042.5
110 | 2039.4
110.05 | 2036.35
110.1 | 2033.25
110.15 | 2030.15
110.2 | 2027.1
110.25 | 2024.05
110.3 | 2020.95
110.35 | 2017.9
110.4 | 2014.85
110.45 | 2011.8
110.5 | 2008.75
110.55 | 2005.75
110.6 | 2002.7
110.65 | 1999.7
110.7 | 1996.65
110.75 | 1993.65
110.8 | 1990.65
110.85 | 1987.65
110.9 | 1984.65
110.95 | 1981.65
111 | 1978.65
111.05 | 1975.65
111.1 | 1972.7
111.15 | 1969.7
111.2 | 1966.75
111.25 | 1963.8
111.3 | 1960.85
111.35 | 1957.85
111.4 | 1954.95
111.45 | 1952
111.5 | 1949.05
111.55 | 1946.1
111.6 | 1943.2
111.65 | 1940.25
111.7 | 1937.35
111.75 | 1934.45
111.8 | 1931.55
111.85 | 1928.65
111.9 | 1925.75
111.95 | 1922.85
112 | 1919.95
112.05 | 1917.1
112.1 | 1914.2
112.15 | 1911.35
112.2 | 1908.45
112.25 | 1905.6
112.3 | 1902.75
112.35 | 1899.9
112.4 | 1897.05
112.45 | 1894.2
112.5 | 1891.35
112.55 | 1888.55
112.6 | 1885.7
112.65 | 1882.9
112.7 | 1880.05
112.75 | 1877.25
112.8 | 1874.45
112.85 | 1871.65
112.9 | 1868.85
112.95 | 1866.05
113 | 1863.25
113.05 | 1860.5
113.1 | 1857.7
113.15 | 1854.95
113.2 | 1852.15
113.25 | 1849.4
113.3 | 1846.65
113.35 | 1843.9
113.4 | 1841.15
113.45 | 1838.4
113.5 | 1835.65
113.55 | 1832.9
113.6 | 1830.2
113.65 | 1827.45
113.7 | 1824.75
113.75 | 1822
113.8 | 1819.3
113.85 | 1816.6
113.9 | 1813.9
113.95 | 1811.2
114 | 1808.5
114.05 | 1805.8
114.1 | 1803.1
114.15 | 1800.45
114.2 | 1797.75
114.25 | 1795.1
114.3 | 1792.45
114.35 | 1789.75
114.4 | 1787.1
114.45 | 1784.45
114.5 | 1781.8
114.55 | 1779.15
114.6 | 1776.5
114.65 | 1773.9
114.7 | 1771.25
114.75 | 1768.65
114.8 | 1766
114.85 | 1763.4
114.9 | 1760.8
114.95 | 1758.15
115 | 1755.55
115.05 | 1752.95
115.1 | 1750.4
115.15 | 1747.8
115.2 | 1745.2
115.25 | 1742.6
115.3 | 1740.05
115.35 | 1737.45
115.4 | 1734.9
115.45 | 1732.35
115.5 | 1729.8
115.55 | 1727.2
115.6 | 1724.65
115.65 | 1722.15
115.7 | 1719.6
115.75 | 1717.05
115.8 | 1714.5
115.85 | 1712
115.9 | 1709.45
115.95 | 1706.95
116 | 1704.45
116.05 | 1701.9
116.1 | 1699.4
116.15 | 1696.9
116.2 | 1694.4
116.25 | 1691.9
116.3 | 1689.4
116.35 | 1686.95
116.4 | 1684.45
116.45 | 1681.95
116.5 | 1679.5
116.55 | 1677.05
116.6 | 1674.55
116.65 | 1672.1
116.7 | 1669.65
116.75 | 1667.2
116.8 | 1664.75
116.85 | 1662.3
116.9 | 1659.85
116.95 | 1657.45
117 | 1655
117.05 | 1652.55
117.1 | 1650.15
117.15 | 1647.7
117.2 | 1645.3
117.25 | 1642.9
117.3 | 1640.5
117.35 | 1638.1
117.4 | 1635.7
117.45 | 1633.3
117.5 | 1630.9
117.55 | 1628.5
117.6 | 1626.15
117.65 | 1623.75
117.7 | 1621.4
117.75 | 1619
117.8 | 1616.65
117.85 | 1614.25
117.9 | 1611.9
117.95 | 1609.55
118 | 1607.2
118.05 | 1604.85
118.1 | 1602.5
118.15 | 1600.2
118.2 | 1597.85
118.25 | 1595.5
118.3 | 1593.2
118.35 | 1590.85
118.4 | 1588.55
118.45 | 1586.25
118.5 | 1583.9
118.55 | 1581.6
118.6 | 1579.3
118.65 | 1577
118.7 | 1574.7
118.75 | 1572.4
118.8 | 1570.15
118.85 | 1567.85
118.9 | 1565.55
118.95 | 1563.3
119 | 1561
119.05 | 1558.75
119.1 | 1556.5
119.15 | 1554.2
119.2 | 1551.95
119.25 | 1549.7
119.3 | 1547.45
119.35 | 1545.2
119.4 | 1542.95
119.45 | 1540.7
119.5 | 1538.5
119.55 | 1536.25
119.6 | 1534.05
119.65 | 1531.8
119.7 | 1529.6
119.75 | 1527.35
119.8 | 1525.15
119.85 | 1522.95
119.9 | 1520.75
119.95 | 1518.55
120 | 1516.35
120.05 | 1514.15
120.1 | 1511.95
120.15 | 1509.75
120.2 | 1507.6
120.25 | 1505.4
120.3 | 1503.25
120.35 | 1501.05
120.4 | 1498.9
120.45 | 1496.7
120.5 | 1494.55
120.55 | 1492.4
120.6 | 1490.25
120.65 | 1488.1
120.7 | 1485.95
120.75 | 1483.8
120.8 | 1481.65
120.85 | 1479.55
120.9 | 1477.4
120.95 | 1475.25
121 | 1473.15
121.05 | 1471
121.1 | 1468.9
121.15 | 1466.8
121.2 | 1464.65
121.25 | 1462.55
121.3 | 1460.45
121.35 | 1458.35
121.4 | 1456.25
121.45 | 1454.15
121.5 | 1452.1
121.55 | 1450
121.6 | 1447.9
121.65 | 1445.8
121.7 | 1443.75
121.75 | 1441.65
121.8 | 1439.6
121.85 | 1437.55
121.9 | 1435.45
121.95 | 1433.4
122 | 1431.35
122.05 | 1429.3
122.1 | 1427.25
122.15 | 1425.2
122.2 | 1423.15
122.25 | 1421.15
122.3 | 1419.1
122.35 | 1417.05
122.4 | 1415.05
122.45 | 1413
122.5 | 1411
122.55 | 1408.95
122.6 | 1406.95
122.65 | 1404.95
122.7 | 1402.95
122.75 | 1400.9
122.8 | 1398.9
122.85 | 1396.9
122.9 | 1394.9
122.95 | 1392.95
123 | 1390.95
123.05 | 1388.95
123.1 | 1386.95
123.15 | 1385
123.2 | 1383
123.25 | 1381.05
123.3 | 1379.05
123.35 | 1377.1
123.4 | 1375.15
123.45 | 1373.2
123.5 | 1371.25
123.55 | 1369.25
123.6 | 1367.3
123.65 | 1365.4
123.7 | 1363.45
123.75 | 1361.5
123.8 | 1359.55
123.85 | 1357.6
123.9 | 1355.7
123.95 | 1353.75
124 | 1351.85
124.05 | 1349.9
124.1 | 1348
124.15 | 1346.1
124.2 | 1344.15
124.25 | 1342.25
124.3 | 1340.35
124.35 | 1338.45
124.4 | 1336.55
124.45 | 1334.65
124.5 | 1332.75
124.55 | 1330.85
124.6 | 1329
124.65 | 1327.1
124.7 | 1325.2
124.75 | 1323.35
124.8 | 1321.45
124.85 | 1319.6
124.9 | 1317.75
124.95 | 1315.85
125 | 1314
125.05 | 1312.15
125.1 | 1310.3
125.15 | 1308.45
125.2 | 1306.6
125.25 | 1304.75
125.3 | 1302.9
125.35 | 1301.05
125.4 | 1299.2
125.45 | 1297.35
125.5 | 1295.55
125.55 | 1293.7
125.6 | 1291.9
125.65 | 1290.05
125.7 | 1288.25
125.75 | 1286.45
125.8 | 1284.6
125.85 | 1282.8
125.9 | 1281
125.95 | 1279.2
126 | 1277.4
126.05 | 1275.6
126.1 | 1273.8
126.15 | 1272
126.2 | 1270.2
126.25 | 1268.4
126.3 | 1266.65
126.35 | 1264.85
126.4 | 1263.05
126.45 | 1261.3
126.5 | 1259.5
126.55 | 1257.75
126.6 | 1256
126.65 | 1254.2
126.7 | 1252.45
126.75 | 1250.7
126.8 | 1248.95
126.85 | 1247.2
126.9 | 1245.45
126.95 | 1243.7
127 | 1241.95
127.05 | 1240.2
127.1 | 1238.45
127.15 | 1236.75
127.2 | 1235
127.25 | 1233.25
127.3 | 1231.55
127.35 | 1229.8
127.4 | 1228.1
127.45 | 1226.35
127.5 | 1224.65
127.55 | 1222.95
127.6 | 1221.25
127.65 | 1219.5
127.7 | 1217.8
127.75 | 1216.1
127.8 | 1214.4
127.85 | 1212.7
127.9 | 1211
127.95 | 1209.35
128 | 1207.65
128.05 | 1205.95
128.1 | 1204.25
128.15 | 1202.6
128.2 | 1200.9
128.25 | 1199.25
128.3 | 1197.55
128.35 | 1195.9
128.4 | 1194.25
128.45 | 1192.55
128.5 | 1190.9
128.55 | 1189.25
128.6 | 1187.6
128.65 | 1185.95
128.7 | 1184.3
128.75 | 1182.65
128.8 | 1181
128.85 | 1179.35
128.9 | 1177.7
128.95 | 1176.05
129 | 1174.45
129.05 | 1172.8
129.1 | 1171.15
129.15 | 1169.55
129.2 | 1167.9
129.25 | 1166.3
129.3 | 1164.65
129.35 | 1163.05
129.4 | 1161.45
129.45 | 1159.85
129.5 | 1158.2
129.55 | 1156.6
129.6 | 1155
129.65 | 1153.4
129.7 | 1151.8
129.75 | 1150.2
129.8 | 1148.6
129.85 | 1147.05
129.9 | 1145.45
129.95 | 1143.85
130 | 1142.25
130.05 | 1140.7
130.1 | 1139.1
130.15 | 1137.55
130.2 | 1135.95
130.25 | 1134.4
130.3 | 1132.8
130.35 | 1131.25
130.4 | 1129.7
130.45 | 1128.15
130.5 | 1126.55
130.55 | 1125
130.6 | 1123.45
130.65 | 1121.9
130.7 | 1120.35
130.75 | 1118.8
130.8 | 1117.3
130.85 | 1115.75
130.9 | 1114.2
130.95 | 1112.65
131 | 1111.15
131.05 | 1109.6
131.1 | 1108.05
131.15 | 1106.55
131.2 | 1105
131.25 | 1103.5
131.3 | 1102
131.35 | 1100.45
131.4 | 1098.95
131.45 | 1097.45
131.5 | 1095.95
131.55 | 1094.4
131.6 | 1092.9
131.65 | 1091.4
131.7 | 1089.9
131.75 | 1088.4
131.8 | 1086.9
131.85 | 1085.45
131.9 | 1083.95
131.95 | 1082.45
132 | 1080.95
132.05 | 1079.5
132.1 | 1078
132.15 | 1076.55
132.2 | 1075.05
132.25 | 1073.6
132.3 | 1072.1
132.35 | 1070.65
132.4 | 1069.15
132.45 | 1067.7
132.5 | 1066.25
132.55 | 1064.8
132.6 | 1063.35
132.65 | 1061.85
132.7 | 1060.4
132.75 | 1058.95
132.8 | 1057.5
132.85 | 1056.1
132.9 | 1054.65
132.95 | 1053.2
133 | 1051.75
133.05 | 1050.3
133.1 | 1048.9
133.15 | 1047.45
133.2 | 1046
133.25 | 1044.6
133.3 | 1043.15
133.35 | 1041.75
133.4 | 1040.35
133.45 | 1038.9
133.5 | 1037.5
133.55 | 1036.1
133.6 | 1034.65
133.65 | 1033.25
133.7 | 1031.85
133.75 | 1030.45
133.8 | 1029.05
133.85 | 1027.65
133.9 | 1026.25
133.95 | 1024.85
134 | 1023.45
134.05 | 1022.05
134.1 | 1020.65
134.15 | 1019.3
134.2 | 1017.9
134.25 | 1016.5
134.3 | 1015.15
134.35 | 1013.75
134.4 | 1012.4
134.45 | 1011
134.5 | 1009.65
134.55 | 1008.25
134.6 | 1006.9
134.65 | 1005.55
134.7 | 1004.15
134.75 | 1002.8
134.8 | 1001.45
134.85 | 1000.1
134.9 | 998.75
134.95 | 997.4
135 | 996.05